## Introduction
LOCAL LAW 87 - RETRO-COMMISSIONING DATA COLLECTION TOOL
Welcome to the Local Law 87 (LL87) Retro-Commissioning Data Collection Workbook from the New York City Department of Buildings. As part of the Greener, Greater Buildings Plan (GGBP), the City of New York enacted Local Law 87 which requires large buildings to undergo retro-commissioning once every ten years. This workbook captures critical information about your Lot/Building that should have been included in the retro-commissioning that was performed. New York City Department of Buildings will use the information found on this workbook to verify compliance with Local Law 87.
| For more information and to download a copy of Local Law 87/Rule visit: |  | https://www1.nyc.gov/site/buildings/business/energy-audits-and-retro-commissioning.page
| Questions or comments about this tool should be e-mailed to: | LL87@NYCsustainability.org
Tip #1: Only cells shaded in blue need to be entered/edited manually as mandatory fields. Enter "N/A" or leave as blank if a particular field does not apply. Do not "Change/Edit" white or grey cells.
Tip #2: Follow the formatting guidelines and/or instructions presented as pop-up comments (as indicated by a red triangle located in the upper right hand corner) for certain fields.
Tip #3: Provide a justification or explanation within the "Comments/Notes" window located at the bottom of each tab for any mandatory field entered as "N/A" or left blank.
Tip #4: Team Info(1), Building Info(1) and RCMs(1) tabs/sheets can be copied multiple times in their entirety manually, if needed for multiple buildings information entry. Do not Cut, Copy, Paste or Edit portions of sections within any sheet.
Tip #5: Use Energy Star Portfolio Manager Technical Reference "Thermal Energy Conversions" for all unit conversions/heat contents of each fuel type.
Note: This Retro-Commissioning tool is only a summary of a full Retro-Cx report. It does not replace the Retro-Commissioning report. A complete copy of the Retro-Commissioning report must also be submitted to the department for review and enforcement purposes. See AC §28-308.3.1 for the contents of the Retro-Commissioning report.

## Submittal Information
SUBMITTAL INFORMATION
Energy Efficiency Report (EER) Submission Information
Submitted by:
Company:
Phone:
Extension (If Applicable)
E-mail:
Date:
Filing Status:
Lot Information
Borough:
Block:
Lot:
# of Buildings on Lot:
Building(s) Information
| BIN | Address(es) | Zip Code
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Comments/Notes: (If Applicable)
Note on B8: Department of Buildings: Enter name of the professional/owner submitting this tool in the following format: last name then first name, separated by a space, not a comma.
Note on B10: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B13: Department of Buildings: Date of submission of this Retro-Cx workbook to DOB. Format: MM/DD/YYYY
Note on B18: Department of Buildings: Enter tax block as assigned by Department of Finance. Must be entered as 5-digits without any commas, dashes or spaces. For example, enter 00001 for Block 1.
Note on B19: Department of Buildings: Enter tax lot as assigned by Department of Finance. Must be entered as 4-digits without any commas, dashes or spaces. For example, enter 0010 for Lot 10.
Note on B20: Department of Buildings: For each building enter BIN, Address and Zip Code in Building(s) Information section below.
Note on B23: Department of Buildings: Building Identification Number - Unique 7-digit Building Identification Number, assigned by City Planning, to a specific building. Enter all digits without any commas, dashes or spaces.

## Team Info
The Information in this tab is applicable to the following buildings:
TEAM INFORMATION
Retro-Commissioning Team Information | BIN(s)
Name of professional signing off:
License:
License #:
Organization/Company:
Address:
Telephone:
Qualified Commissioning Agent:
Years of Experience:
Type of Certification:
Certification Expiration Date:
Retro-Commissioning Report Date:
Comments/Notes: (If Applicable)
Note on B9: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B15: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B17: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B18: Department of Buildings: Enter years of experience performing Retro-Commissioning on buildings larger than 50,000 gross square feet. Enter in digit format e.g. enter as 1 not "one".
Note on B20: Department of Buildings: Format: MM/DD/YYYY
Note on B21: Department of Buildings: Enter date when final Retro-Commissioning report was submitted to the owner. Format: MM/DD/YYYY

## Building Info
The Information in this tab is applicable to the following buildings:
BUILDING INFORMATION
Building Contacts | BIN(s)
Building Owner:
Owner's Representative:
Management Company:
Property Management Contact Person:
Telephone:
Building Operator:
Operator's Certification:
if "Other", please specify:
License # (if applicable):
State:
Comments/Notes: (If Applicable)
Note on B12: Department of Buildings: last name first then first name, separated by a space, not a comma
Note on B13: Department of Buildings: Enter as (Area Code) xxx-xxxx
Note on B15: Department of Buildings: last name first then first name, separated by a space, not a comma

## Inventory
MAJOR EQUIPMENT INVENTORY
Major Equipment Inventory (Group R Occupancies) | Boilers with rated input capacity ≥ 300,000 Btu/h | Chillers | Cooling towers and Dry coolers | Air Handling Units (AHU) ≥ 2,500 CFMs | Fan Coil Units (FCU) ≥ 2,500 CFMs | Heat Recovery Units (HRU) ≥ 2,500 CFMs | Heating and Ventilation Units (H&V) ≥ 2,500 CFMs | Packaged Air Conditioning Units ≥ 2,500 CFMs | Split Air Conditioning Units ≥ 2,500 CFMs | HVAC motors, fans and pumps ≥ 2.5 hp | Heat exchangers serving areas ≥ 10,000 sq.ft. | Domestic hot water heaters (storage and instantaneous) with rated input capacity > 155,000 Btu/h | Domestic water pumps ≥ 10 hp | The Information in this tab is applicable to the following buildings:
Quantity located in common areas | [13 empty] | BIN(s)
Quantity located in non-common owner areas
Quantity located in non-common tenant areas
Sample (%) Tested (Common Areas)
Sample (%) Tested (Non-Common Owner Areas)
Sample (%) Tested (Non-Common Tenant Areas)
Date(s) Pre-testing verification conducted 1RCNY f(1)(i)
Date(s) Functional Performance Test (FPT) conducted 1RCNY f(1)(ii)
FPT forms provided in the Retro-Cx report
Major Equipment Inventory (Other than Group R Occupancies) | Boilers with rated input capacity ≥ 300,000 Btu/h | Chillers | Cooling towers and Dry coolers | Air Handling Units (AHU) ≥ 5,000 CFMs | Fan Coil Units (FCU) ≥ 5,000 CFMs | Heat Recovery Units (HRU) ≥ 5,000 CFMs | Heating and Ventilation Units (H&V) ≥ 5,000 CFMs | Packaged air conditioning units ≥ 5,000 CFMs | Split air conditioning units ≥ 5,000 CFMs | HVAC motors, fans and pumps ≥ 5 hp | Heat exchangers serving areas ≥ 10,000 sq.ft. | Domestic hot water heaters (storage and instantaneous) with rated input capacity > 155,000 Btu/h | Domestic water pumps ≥ 10 hp
Quantity located in common areas
Quantity located in non-common owner areas
Quantity located in non-common tenant areas
Sample (%) Tested (Common Areas)
Sample (%) Tested (Non-Common Owner Areas)
Sample (%) Tested (Non-Common Tenant Areas)
Date(s) Pre-testing verification conducted 1RCNY f(1)(i)
Date(s) Functional Performance Test (FPT) conducted 1RCNY f(1)(ii)
FPT forms provided in the Retro-Cx report
Comments/Notes: (If Applicable)
Note on B16: Department of Buildings: Use semi colon (;) to separate multiple dates.
Note on B17: Department of Buildings: Use semi colon (;) to separate multiple dates.
Note on B27: Department of Buildings: Use semi colon (;) to separate multiple dates.
Note on B28: Department of Buildings: Use semi colon (;) to separate multiple dates.

## Identification
RETRO-COMMISSIONING TESTING SUMMARY
The Information in this tab is applicable to the following buildings:
| Deficiency Identified | Summary of Testing Methodology | BIN(s)
1RCNY 103-07 f(1) HVAC and Service Water Equipment
Pre-testing verification
Functional performance testing
Temperature and pressure setpoints and setbacks
Sensors
Simultaneous heating and cooling
Boilers tuned for optimal efficiency
Manual override remediation
Leaks
1RCNY 103-07 f(2) HVAC and Service Water Distribution
Pipe insulation
High pressure steam traps
One-pipe steam distribution
Two-pipe steam distribution
Air-side distribution
Water-side distribution
Domestic hot water system temperature settings
Mechanical ventilation rates
1RCNY 103-07 f(3) Lighting System
Light levels
Sensors and controls
1RCNY 103-07 f(4) Envelope
Sealants and weather-stripping
Windows and doors
1RCNY 103-07 f(5) Training and Documentation
Training of critical operations and maintenance staff
Preventative maintenance schedules
Comments/Notes: (If Applicable)
Note on D8: If "YES" is selected for "Deficiency Identified", enter the associated RCM# matching with the RCM# in the "Correction" tab and the summary of testing methodology. If "NO" is selected for "Deficiency Identified", list the project specific information on major equipment, sub-equipment and components tested in common areas, non-common owner areas, and non-common tenant areas and the summary of the testing methodology adapted to arrive to the conclusion that there exist no deficiency as compared to the established CFR. Refer to the section within the retro-commissioning report for the details on the testing documentation. If "NOT APPLICABLE" is selected for "Deficiency Identified", provide a statement on the justification.

## Correction
RETRO-COMMISSIONING MASTER LIST OF FINDINGS
Retro-Commissioning Measures
RCM # | Retro-Commissioning Category | Sub Category | Measure Description and Summary of Deficiency Corrected | Status of Implementation | Provide explanation If the Status of Implementation is "In Progress" or "Not Applicable" | Deficiency Corrected (Date) | Deficiency verified by the Retro-cx agent as Corrected (Date) | By whom the correction was made | Actual cost ($) of Implementation | Annual Energy Savings based on Fuel Type |  |  |  |  | Total Annual Energy Savings (kBTU) | Annual Cost Savings ($) | Simple Payback (Years) | The Information in this tab is applicable to the following buildings:
[10 empty] | Electricity (kWh) | Natural Gas (Therms) | Fuel Oil (Gallons) | Steam (lb.) | Other Fuel Type (kBTU)
1 | [16 empty] | #DIV/0! | BIN(s)
2 | [16 empty] | #DIV/0!
3 | [16 empty] | #DIV/0!
4 | [16 empty] | #DIV/0!
5 | [16 empty] | #DIV/0!
6 | [16 empty] | #DIV/0!
7 | [16 empty] | #DIV/0!
8 | [16 empty] | #DIV/0!
9 | [16 empty] | #DIV/0!
10 | [16 empty] | #DIV/0!
11 | [16 empty] | #DIV/0!
12 | [16 empty] | #DIV/0!
13 | [16 empty] | #DIV/0!
14 | [16 empty] | #DIV/0!
15 | [16 empty] | #DIV/0!
16 | [16 empty] | #DIV/0!
17 | [16 empty] | #DIV/0!
18 | [16 empty] | #DIV/0!
19 | [16 empty] | #DIV/0!
20 | [16 empty] | #DIV/0!
21 | [16 empty] | #DIV/0!
22 | [16 empty] | #DIV/0!
23 | [16 empty] | #DIV/0!
24 | [16 empty] | #DIV/0!
25 | [16 empty] | #DIV/0!
#VALUE!
Comments/Notes (if applicable):
Note on E9: Department of Buildings: Summary of methodology of correction adopted. List, quantify and describe all associated items adjusted, calibrated, balanced, repaired, replaced, installed, insulated, tuned or cleaned.
Note on Q9: Department of Buildings: Sum of annual electricity, natural gas, fuel oil, steam and other fuel type in common units (kBTU)

## DropDowns (hidden)
LT_Boro | LT_FilStat | LT_Typ | LT_ProfTyp | LT_CertTyp1 | Space Types | Metering Configuration | LT_OperCert | System Designation | Heating Equip. Type | Equipment Location | Spaces Served | Fuel Source | Efficiency Units | Venting Type | Burner Equip. Type | Heating Distribution Types | Heating Terminal Equip. Type | Cooling Equipment Type | Air or Water Cooled | Cooling Efficiency Units | DHW Equipment Types | DHW from Space Heating Boiler | Roof Pitch | Ventilation Conditioned Supply | Ventilation System Operational | Windows Framing Material | # of Panes | Glass Coating | ECM Categories | ECMs_Conveying Systems | ECMs_Cooling System | ECMs_Distribution System | ECMs_Domestic Hot Water | ECMs_Envelope | ECMs_Fuel Switching | ECMs_Heating System | ECMs_HVAC Controls and Sensors | ECMs_Lighting | ECMs_Motors | ECMs_On-Site Generation | ECMs_Process/Plug Loads | ECMs_Submetering | ECMs_Ventilation | ECMs_Non-Base Building | ECMs_NonBaseBuildingCategories | ECM Recommendations | LT_RCMComp | LT_DEFID
Manhattan | Initial Filing | Yes | PE | Certified Commissioning Professional certified by the Building Commissioning Association | Bank/Financial Institution | Tenants directly metered | BOC | Primary | Air Source Heat Pump | Below Ground | 100% - 75% | Natural Gas | AFUE | Condensing | Full Modulation - Set to Manual | Electric | Baseboard | Absorption Chiller - 1 Stage | Air Cooled | SEER | Loop through Heating Boiler | Yes - Year Round | > 2:12 | No | Yes | Aluminum | Single | Heat Absorbing Tints | Conveying_Systems | Add Elevator Regenerative Drives | Add economizer cycle | Capture and return condensate | Decrease DHW Temperature | Add Window Films | #2 oil to natural gas | Add static pressure control | Change Set Points / Setbacks - Cooling | Delamp | Install VFDs | Install Cogeneration Plant | Automatic Shutdown / Sleep Mode for Computers | Install Submetering | Convert CV system to VAV type system | Appliances - Replace Air Conditioners | Non-Base Building | Recommended | YES | YES
Brooklyn | Amended Filing | No | RA | Certified Building Commissioning Professional certified by the AEE | Courthouse | Tenants sub-meterd by building owner | BPI | Secondary | Combined Heat and Power | Ground Level | 75% - 50% | #2 Oil | Et | Near-Condensing | Full Modulation - Set to Modulated | Forced Air | Radiator | Absorption Chiller - 2 Stage | Water Cooled | EER | Separate Hot Water Boiler with Storage Tank | Yes - Heating Season only | <2:12 | Yes - MAU | No | Wood | Single w/Storm | Reflective Coating | Cooling_System | Upgrade Controls | Add or upgrade cooling tower | Install or Upgrade Master Venting | Install DHW Controls | Exterior Door Replacement | #6 oil or #4 oil to #2 oil | Clean & Tune Boiler/Furnace | Change Set Points / Setbacks - Heating | Install Bi-level Lighting | Remove Motors | Install Ground Source Heat Pump | Data Center - Hot aisle/cold aisle design | Other | Install CAR Dampers | Appliances - Replace Dishwashers |  | Further Study Recommended | N/A | NO
Queens |  |  | Approved Agent | Existing Building Commissioning Professional as certified by the AEE | Data Center | Tenants not directly metered or sub-metered | Other | Tertiary | Electric Resistance | Above Ground | 50% - 25% | #4 Oil | HSPF | Forced Draft | Step Modulation | 1-pipe Steam | Fan Coil | Gas Engine Chiller | N/A | COP | Heat Exchanger from Heating System | No |  | Yes - ERV / HRV | Yes, but not used | Fiberglass | Double | Low-E Coating | Distribution_System | Upgrade Motors | Heat recovery - Cooling only | Insulate Ducts | Install Low-Flow Aerators | Increase insulation - Basement/Crawl Space | #6 oil or #4 oil to natural gas | Electric to Gas Conversion | Implement Static Pressure Reset | Install Occupancy/Vacancy Sensors | Upgrade Motors | Install Solar/Photovoltaic | Data Center - Other |  | Install Demand Control Ventilation | Appliances - Replace Refrigerators |  | Not Recommended |  | NOT APPLICABLE
Bronx |  |  |  | Commissioning Process Management Professional certified by ASHRAE | Hospital |  |  |  | Furnace |  | 25% - 0% | #6 Oil | COP | Atmospheric | Hi-Lo Operation | 2-pipe Steam | Duct | Electric Chiller |  | kW/Ton | Direct Fired Storage Tank |  |  | Yes - Economizer |  | Other | Triple | None | Domestic_Hot_Water | Other | Install VSD on Electric Centrifugal Chillers | Insulate Pipes | Install Low-Flow Showerheads | Increase insulation - Floor | #6 to dual fuel | Electric to Hydronic Conversion | Install Indoor Sensors | Install Photocell Control | Other | Other | Data Center - Server Virtualization |  | Install Exhaust Fan Timers | Appliances - Replace Washer / Dryer |  | Implemented
Staten Island |  |  |  | Accredited Commissioning Process Authority Professional approved by the University of Wisconsin | Hotel |  |  |  | Gas fired Packaged Terminal Units |  |  | Dual Fuel |  | N/A | On/Off | Hydronic | Radiant Floor | Window A/C |  |  | Instantaneous (Point of Use) | [6 empty] | Unknown | Envelope |  | Replace Chiller | Repair Leaks | Install Solar Thermal DHW | Increase insulation - Roof | District steam to on-site generation | Electric to Steam Conversion | Install or Upgrade EMS/BMS | Install Timers |  |  | Data Center - Upgrade Servers |  | Upgrade Exhaust Fans | Upgrade Lighting to Fluorescent
|  |  |  | Certified Commissioning Authority certified by the Associated Air Balance Council Commissioning Group | House of Worship |  |  |  | Gas Fired Rooftop Unit |  |  | Distric Steam |  |  | N/A | Vacuum Steam | PTAC | Through Wall A/C |  |  | Solar Thermal | [6 empty] | Other | Fuel_Switching |  | Upgrade Chiller | Replace or repair Main Steam Trap | Install Water Pressure Booster | Increase insulation - Wall | Utility steam to on-site generation | Heat recovery - Heating only | Install Programmable Thermostats | Replace Diffusers |  |  | Drain Water Heat Recovery |  | Upgrade Fan/Air Handlers | Upgrade Lighting to LED
|  |  |  | Building Commissioning Professional certified by ASHRAE | K-12 School |  |  |  | Ground Source Heat Pump |  |  | Electric |  |  |  |  | Other | PTAC |  |  | Other | [7 empty] | Heating_System |  | Replace packaged units | Replace or repair Steam Traps | Insulate DHW Piping | Install Cool or Green Roof | Other | Heat recovery from Utility Steam | Install TRVs | Upgrade Exit Signs to LED |  |  | Replace Clothes Dryers |  | Other | Other
|  |  |  | Commissioning Process Professional certified by NEBB | Medical Office |  |  |  | Hot Water Boiler |  |  | Propane | [5 empty] | Ductless Mini Split System | [10 empty] | HVAC_Controls_and_Sensors |  | Upgrade packaged units | Replace or repair Vacuum Pump | Insulate DHW Tank | Replace Curtain/Window Wall |  | Install Barometric Damper | Pneumatic to DDC conversion | Upgrade Exterior Lighting |  |  | Replace Washing Machines
|  |  |  | Technical Retro-Commissioning Professional certified by NEBB | Office |  |  |  | Steam Boiler |  |  | Other | [5 empty] | Split System Central Air | [10 empty] | Lighting |  | Other | Replace PTACs | Replace Piping | Replace Glazing and Frames |  | Install Bleeders | Replace Outdoor Reset | Upgrade to Fluorescent |  |  | Other
|  |  |  | Building Systems Commissioning Professional certified by NEBB | Residence Hall/Dorm |  |  |  | Distric Steam | [8 empty] | Steam Turbine Chiller | [10 empty] | Motors |  |  | Upgrade PTACs | Replace Tankless Coil | Replace Windows |  | Install Circulators | Zone control upgrades | Upgrade to LED
[5 empty] | Retail |  |  |  | Utility Steam | [8 empty] | DX Units | [10 empty] | On_Site_Generation |  |  | Seal Ducts | Separate DHW from Heating | Sealing - Door |  | Install Thermostatic Damper | Other | Other
[5 empty] | Senior Care Facility |  |  |  | Water Source Heat Pump | [8 empty] | Rooftop Units | [10 empty] | Process_and_Plug_Loads |  |  | Upgrade Pumps | Upgrade DHW Boiler | Sealing - Roof Penetrations |  | Insulate Condensate Tank
[5 empty] | Supermarket/Grocery | [12 empty] | Geothermal | [10 empty] | Submetering |  |  | Other | Other | Sealing - Room AC |  | Replace Boiler
[5 empty] | Warehouse | [12 empty] | Thermal Storage | [10 empty] | Ventilation |  |  |  |  | Sealing - Vertical Shafts |  | Upgrade Boiler
[5 empty] | Multifamily | [12 empty] | Water Side Economizer | [15 empty] | Sealing - Windows |  | Replace Boiler Jacket
[5 empty] | Other | [12 empty] | Other | [15 empty] | Other |  | Replace Burner
Upgrade Burner
Replace Furnace
Upgrade Furnace
Replace Steam Control Valves
Replace Steam Header
Steam to Hydronic Conversion
Other

## Dropdown List (hidden)
Categories | HVACandservicewaterequipment | HVACandservicewaterdistribution | LightingSystems | Envelope | Traininganddocumentation | StatusofImplementations
HVAC and service water equipment | Pre-testing verification | Pipe insulation | Light levels | Sealants and weather-stripping | Training | Completed
HVAC and service water distribution | Functional performance testing | High-pressure steam traps | Sensor controls | Windows and doors | Documentation | In Progress
Lighting Systems | Temperature and pressure setpoints and setbacks | One-pipe steam distribution |  |  |  | Not Applicable
Envelope | Sensors | Two-pipe steam distribution
Training and Documentation | Simultaneous heating and cooling | Air-side distribution
| Boilers tuned for optimal efficiency | Water-side distribution
| Manual Overrides | Domestic hot water system temperature settings
| Leaks | Mechanical ventilation rates
Envelope | Sealants and weather-stripping