[image: image1.png]lID1aN) (e

M Office of Environmental
Remediation





Instructions – Air Quality & Noise Remedial Action Plan Template

This document is a generic template for the development of a Remedial Action Plan (RAP) to be submitted to the New York City Office of Environmental Remediation (OER) as part of the application and approval process for projects that must satisfy Air Quality and/or Noise E‑Designation requirements.   To ensure that you have the most updated version check the OER website http://www.nyc.gov/html/oer/html/e-designation/ceqr-documents.shtml or contact your OER Project Manager.  
Purpose:  Adhering to this template is required by OER and is intended to shorten the review period and approval process.  This template is intended to be generic and not site-specific.  It is not intended to replace relevant guidance documents that govern the procedures for environmental assessment including the New York City Environmental Quality Review (CEQR) Technical Manual Air Quality and Noise Chapters and it is not a substitute for the OER review and approval process.
Formatting and Submissions:  Throughout the template, text of different colors and highlighted items are used to signify specific directions to adhere to while drafting the RAP.  Green text provides direction to be used in the drafting process as a guide in the development of content.  Highlighted text is a placeholder for site-specific information and should be used as a prompt to insert requested information and then deleted.
Editing: When editing the RAP, adhere to the following conventions:


Formatting:

· Use ‘track changes’ redline/strikeout method for editing (removal or replacement) text (i.e., redline/strikeout method); 

· All green text in the template should be deleted prior to RAP submission; all text that is included in response to suggestions in green text should be inserted using track changes (i.e., redline/strikeout); 

· Replace text highlighted in yellow with site-specific information as requested;

· Remove highlighting format once site-specific information has been provided; and


E‑Designation Type(s):

· If Site has a Restrictive Declaration for Air Quality and/or Noise rather than an E‑Designation, please replace occurrences of “E‑Designation” with “Restrictive Declaration.”

· If the Site does not have Air Quality requirements, strike the Air Quality section.  If the Site does not have Noise requirements, strike the Noise section.  Similarly, if there is no stack setback requirement or inoperable window requirement, delete the applicable subsections.
Submission: When submitting the RAP to OER, please submit two files:
· Submit the tracked changes version of this RAP as a Word file.
· Submit one PDF file that includes the RAP text (clean – track changes not shown, formatting consistent with guidance above) followed by applicable Appendices.
Depending on the type(s) of E‑Designation (Air Quality and/or Noise) and accompanying requirements that apply to the Site, different forms of supporting documentation will be required. Please see the summary below that briefly describes when to include this supporting documentation as appendices to the RAP template. Additional guidance is provided throughout the template text as well as in the Appendices title pages. All Appendices, including architectural and engineering drawings, should be in PDF format.
Appendices:  All RAPs should include the following appendices:

· Architectural Plans for the project (R.A. stamped and signed drawings of typical floor plans and elevation drawings of each façade)
· A copy of the E‑Designation Requirements found in the EIS, EAS, City Planning Commission Zoning Resolution, or Negative Declaration or a copy of the Restrictive Declaration.  

· Owner/ Developer Commitment Letter

· Reports/studies used to update the E‑Designation requirements, if applicable
Air Quality RAPs should also include the following appendices:

· PLEASE NOTE THAT IF THE SITE HAS AN E-DESIGNATION FOR AIR QUALITY AND DOES NOT HAVE AN E-DESIGNATION FOR NOISE, AND THERE ARE NO STACK SETBACK, LOW NOX BURNER, OR INOPERABLE WINDOW REQUIREMENTS, PLEASE PREPARE AND SUBMIT ONLY THE SHORT FORM AIR QUALITY RAP TEMPLATE AVAILABLE IN ATTACHMENT 1 AT THE END OF THIS TEMPLATE.

· If stack setback/location restriction(s) apply, please include a P.E./R.A. signed and stamped Gas Riser Diagram if using natural gas or P.E./R.A. signed and stamped plans showing locations of fuel lines and tanks if using fuel oil. 
· If stack setback/location restriction(s) apply, P.E./R.A. signed and stamped plans showing the stack locations and the distances to each of the lot lines or applicable E‑Designation landmarks.  Insert PDF copies of P.E./R.A. stamped drawings showing the location of the stack(s) with any supporting calculations and spreadsheets.  

· If low NOx burners are required, Manufacturer Specifications for the burners.  Insert (i) catalog cut sheets, model information, and/or manufacturer letters supporting the ability of the proposed equipment to use the proposed fuel and (ii) stamped mechanical drawings showing either gas lines or the location of fuel tanks.
· If E-Designation requires inoperable windows, please contact OER.
Noise RAPs should also include the following appendices:

· Window schedule. Insert PDF copies of P.E./R.A. stamped drawings.
· Acoustical Laboratory Test Reports for each proposed window/door assembly

· Alternate Means of Ventilation Equipment Manufacturer Cut Sheets. Insert catalog cut sheets, model information, and/or manufacturer letters demonstrating that the equipment will provide fresh air.
· Alternate Means of Ventilation Plans. If Trickle Vents or PTAC units are proposed, include a P.E./R.A. stamped and signed drawing showing the location of the Trickle Vents or PTACs in the living spaces (e.g. living rooms and bedrooms).  If central system or combination of dedicated fresh air/ HVAC system is proposed, include P.E./R.A. signed and stamped mechanical drawings clearly showing how fresh air will be delivered to living spaces.
· Alternate Means of Ventilation Description Letter from Mechanical Engineer, if mechanical systems are used, describing components and function of systems.

· Composite Window/ Wall Attenuation Report (see OER template for Report and guidance in Appendix).  If masonry façade elements will be used to calculate a composite window/wall attenuation value, include a detailed description of the façade elements and documentation of their respective OITC ratings.  If OITC ratings of walls are estimated based on mass, a certification of the mass of the wall by the Architect of Record for the project should also be included.
Feedback on this Template:  This generic RAP template will be subject to periodic modification and improvement.  As you work with this template, comments and suggestions regarding improvement of this document are welcome and can be sent to EDesignation@dep.nyc.gov.  

Air Quality and Noise 

Remedial Action Plan
Project Name
Site Address
Borough Block xxxx, Lot(s) xxx
E‑Designation Number E/R- xxx (e.g. E-138 or R-101)
OER Project Number xxxxxxxxx (e.g. 14EHAN123M)

DEP Project Number xxDEPTECHxxxx (delete if no DEPTECH Number)
Prepared For:

Applicant Name

Applicant Address
Preparer Phone
Preparer Email
Prepared By:

Preparer Name
Preparer Address
Preparer Phone
Preparer Email
Month Year
Certifications
I, name, am a Professional Engineer/Registered Architect licensed in the State of New York and the P.E./R.A. of Record with the NYC Department of Buildings for the Site name Site. I certify that this Remedial Action Plan (RAP) has a plan for meeting the Air Quality and Noise E‑Designation requirements. All architectural and engineering plans and specifications included in the RAP have been either personally developed by me, developed with my oversight or have been developed in collaboration with the co-signer below and they are appropriate for the intended purpose of the RAP and are consistent with industry standards. 

 Name
NYS P.E./R.A. License Number 
Signature

Date

CO-SIGNER

 Name
NYS P.E./R.A. License Number 
Signature

Date

It is a violation of Article 130 of New York State Education Law for any person to alter this document in any way without the express written verification of adoption by any New York State licensed engineer in accordance with Section 7209(2), Article 130, New York State Education Law

Table of Contents (Edit as applicable – delete all of section 2 if Air Quality requirements do not apply; delete all of section 3 if Noise requirements do not apply)
Certifications
Table of Contents

List of Acronyms

1.0
Introduction

1.1
Proposed Development Description

2.0
Air Quality

2.1
Requirement

2.2
Fuel Type Requirement
2.3
Stack Setback Requirement

2.4
Installation Report Guidelines and Certifications

3.0
Noise

3.1
Requirement

3.2
Window/ Wall Attenuation

3.3
Alternate Means of Ventilation

3.4
Installation Report Certifications and Guidelines

Appendices

Appendix A:
Stamped Architectural Drawings

Appendix B:
E‑Designation Documents & Requirements 

Appendix C:
Owner/ Developer Commitment Letter

Appendix D:
Installation Report for Air Quality and/or Noise – Certification & Guidance

Select appropriate appendices, if applicable, based on guidance in the instructions. Inapplicable appendices should be deleted.
Appendix x:
E/RD Requirement Modification Study/Report (Air/Noise)
Appendix x:
Lead Agency Approval of E/RD Requirement Modification (Air/Noise)
Appendix x:
Low NOx Burner Specifications (Air)
Appendix x:
Gas Riser Diagram (Air)
Appendix x:
Plans showing fuel lines and tanks (Air)
Appendix x:
Stack Location Plan (Air)
Appendix x:
Window Schedule (Noise)
Appendix x:
Acoustical Laboratory Test Report (Noise)
Appendix x:
Composite Window/ Wall Attenuation Report (template) (Noise)
Appendix x:
Alternate Means of Ventilation Equipment Specifications (Noise)
Appendix x:  Alternate Means of Ventilation Plans (Noise)
Appendix x:
Certified Alternate Means of Ventilation Letter from Mechanical Engineer (Noise)
List of Acronyms

	Acronym
	Definition

	A/C
	Air Conditioning

	AMV 
	Alternate Means of Ventilation 

	CEQR 
	City Environmental Quality Review 

	HVAC 
	Heating, Ventilating and Air Conditioning 

	IR
	Installation Report

	NYC DEP 
	New York City Department of Environmental Protection 

	NYC DOB 
	New York City Department of Buildings 

	NYC OER 
	New York City Office of Environmental Remediation 

	NYC DCP
	New York City Department of City Planning

	OITC 
	Outdoor-Indoor Transmission Class 

	PE 
	Professional Engineer 

	PTAC 
	Packaged Terminal Air Conditioning 

	QA/QC 
	Quality Assurance/Quality Control 

	RA 
	Registered Architect 

	RAP 
	Remedial Action Plan 

	STC 
	Sound Transmission Class 

	
	

	
	

	
	

	
	

	
	

	
	


Remedial Action Plan
1.0 Introduction

Applicant is developing a site located at address in borough, New York City and identified as Block xxxx, Lot(s) xxx on the New York City Tax Map.  Identify all full or partial tax lots.    This project has been assigned OER project number xxxxxxxxxx by the NYC Office of Environmental Remediation (OER).  Identify all project numbers associated with the Site (e.g., DEP Project #, NYC VCP #, etc.)
An E‑Designation for Air Quality and Noise (E-###) was placed pursuant to the Name of the rezoning or variance action rezoning action (CEQR # xxDCPxxxx) to render the Site protective of Air Quality and Noise impacts. 

The proposed action satisfies the requirements of the E‑Designation for the intended use of the property. This RAP may only be implemented for this proposed development scenario. The remedial action described in this document will address all of the requirements of the Air Quality and Noise the E‑Designation requirements, complies with applicable New York City environmental standards, criteria and guidance. Significant changes to the development scenario will be communicated to OER for review, and if applicable, approval. 

1.1
Proposed Development Description

For new buildings: The applicant is proposing to build a new #-story building with a full/ partial cellar. The building will be used for describe the use(s) of the building by floor.  Example: The applicant is proposing to build a new 8-story building with a full cellar.  The building will be used for parking and mechanical space in the cellar level, retail and residential lobby and accessory space at grade, and residential units on floors 2-8.
If the project is a renovation project, replace the previous paragraph with the following:  The applicant is proposing to convert the existing x-story describe existing use (e.g. industrial, commercial, etc.)-use building to describe proposed use(s) (e.g. residential use).  The building will consist of describe the use(s) of the building by floor.  Example: The applicant is proposing to convert the existing 3-story industrial-use slab-on-grade building to mixed commercial- and residential-use.  The building will contain retail, mechanical and residential lobby uses at grade, and floors 2 and 3 will be used for residential units.
Include any other relevant development details, such as the height of the building or location and height of surrounding buildings, if site-specific adjustments to the window/wall attenuation levels are being proposed (i.e. based on building height, setbacks, shielding from surrounding buildings, etc.); affordable vs. market rate units; etc.

The proposed use is consistent with existing zoning for the property.  
Appendix A shows copies of the P.E./R.A. stamped and signed floor plans and elevation drawings of each façade.
2.0
Air Quality

2.1
Air Quality Requirement

The Air Quality E‑Designation (E-xxx) for Block xxxx and Lot(s) xxx requires the following:  “insert exact language from Air Quality E‑Designation”.  Insert the requirements of the specific E‑Designation for Air Quality found in the environmental studies and archived on the OER website at: http://www.nyc.gov/html/oer/html/e_designation/ceqr.shtml. 

Example: The Air Quality E‑Designation (E-123) for Block 123 and Lot 1234 requires the following:  “Any new residential and/or commercial development on the above-referenced properties must ensure that the heating, ventilating and air conditioning stack(s) are located at least 43 feet from the lot lines for No. 2 fuel oil or use natural gas as the type of fuel for space heating, hot water, or HVAC systems, to avoid any potential significant adverse air quality impacts.”
Example: The Air Quality E‑Designation (E-123) for Block 123 and Lot 1234 requires the following:  “Any new residential and/or commercial development must use No. 2 fuel oil or natural gas as the type of fuel for HVAC systems, and ensure that the heating, ventilating and air conditioning stack(s) is located at least 70 feet from the lot line facing Hillside Avenue when firing No. 2 fuel oil, or at least 20 feet from the same lot line when firing natural gas, to avoid any potential significant air quality impacts.”
Delete this paragraph if no modifications to air quality requirement have been proposed and accepted by the lead agency in coordination with OER.  The stack locations requirements were modified according to a study conducted by NAME OF CONSULTANT. Based on the modifications approved by LEAD AGENCY NAME on DATE, the updated requirements are describe. The study and the approval correspondence is included in Appendix x.
2.2
Fuel Type

In order to satisfy the requirements of the E-designation, fuel type (e.g. natural gas, electric equipment, and/or No. 2 fuel oil) will be utilized at the site for space heating, hot water, or HVAC systems. Remaining systems, including (specify: space heating, hot water, or HVAC systems), will be powered electrically. 

Delete this paragraph if there is no low NOx requirement in the Air Quality E‑Designation.  In order to satisfy the requirement to use low NOx (< 30 ppm) burners, model burner manufactured by manufacturer will be used.  Manufacturer’s specifications demonstrating that the burner achieves this standard are included in Appendix x.
2.3
Stack Location

In order to satisfy the requirements of the E‑Designation, number of stacks stack(s) will be located on the roof.  Stack # will be located # feet from the north line of lot, # feet from the east line of the lot, # feet from the south line of the lot, and # feet from the west line of the lot. The north lot line is closest to Street A, the east lot line is closest to Street B, the south lot line is closest to Street C, the west lot line is closest to Street D.  Add additional Stack location descriptions as necessary for multiple stacks placed in different locations.
Provide distances from lot lines subject to E‑Designation restrictions for all stacks. For projects that cannot meet the stack setback, offer an explanation on how and why the proposed location meets the E‑Designation requirements.  If calculations are utilized to support the statement, submit the original spreadsheet, with formulas as an Appendix. Attach as an appendix stamped mechanical drawings showing the location of the stack(s) and the distances and the calculations mentioned above.  

A copy of the stamped gas riser diagram (if using natural gas)/ plans showing locations of fuel lines and tanks (if using fuel oil) are provided in Appendix x.  A copy of the plan showing stack locations and the distances to each of the lot lines or applicable receptors is provided in Appendix x.
2.4
Installation Report Certification and Guidance

An Air Quality Installation Report (IR) will be submitted to OER following implementation of the remedial action defined in this RAP.  The IR will document that the remedial work required under this RAP has been completed and has been performed in compliance with this plan.  Guidance on preparing the Installation Report is included in Appendix D.
3.0
Noise

3.1
Noise Requirements

The Noise E-### for Block xxxx and Lot(s) xxx requires the following: “insert exact language from Noise E‑Designation.” Insert the requirements of the specific E‑Designation for Noise found in the environmental studies and archived on the OER website at: http://www.nyc.gov/html/oer/html/e_designation/ceqr.shtml.

Example: The Noise E-123 for Block: 123, Lot: 1 requires the following: “in order to insure an acceptable interior noise environment, future residential/commercial uses must provide a closed window condition with a minimum of 35 dB(A) window/wall attenuation, in order to maintain an interior noise level of 45 dB(A). In order to maintain a closed-window condition, an alternate means of ventilation must also be provided. Alternate means of ventilation includes, but is not limited to, central air conditioning or air conditioning sleeves, or containing air conditioners.” 

Include this paragraph if attenuation requirement was modified by OER based on updated CEQR Technical Manual: The required attenuation was adjusted to xx dBA by OER based on a reevaluation of the Max L​​10​​ value (xx dBA) identified for the Site in the Name of the rezoning or variance action rezoning action (CEQR # xxDCPxxxx) according to Table 19-3 of the 2014 CEQR Technical Manual.  
Include this paragraph if the attenuation requirement was modified by the lead agency based on acoustical testing. The required attenuation was modified according to a study conducted by NAME OF CONSULTANT. Based on the modifications approved by LEAD AGENCY NAME on DATE, the updated requirements are describe. The study and Lead Agency Approval of the E/RD Requirement Modification are included in Appendix B.  Example:  The required attenuation was modified according to a study conducted by XYZ Consultant.  Based on the modifications approved by the Department of City Planning on January 3, 2014, the updated requirement is to provide a minimum window/ wall attenuation of 31 dBA and Alternate Means of Ventilation.  The study and Lead Agency Approval of E Requirement Modification are included in Appendix B.
3.2
Window/ Wall Noise Attenuation

In order to meet the requirements of the E‑Designation, the following window/wall attenuation(s) will be achieved at the locations described below:  
Select applicable and modify for specific Site conditions; delete lines that are not applicable, and add additional lines as needed;
1. xx dBA for all facades;

2. xx dBA in residential spaces;

3. xx dBA in the commercial space based on an allowed reduction of 5 dBA from the attenuation requirement outlined in the E-Designation;  Note: unless specified by the E‑Designation, a reduction of 5 dBA is allowed for commercial spaces.  Please note:  day care uses and hotels are not eligible for 5 dBA reduction based on commercial use allowance.
4. xx dBA for windows less than 100 feet above street level ;
5. xx dBA for windows from 101 - 200 feet above street level based on a reduction of 3 dBA from the projected street-level L10 value of xx to xx; Note: a reduction by height of 3 dBA is allowed for windows greater than 100’ above street level.  Example:  31 dBA for windows from 101-200 feet above street level based on a reduction of 3 dBA from the projected L10 value of 77 dBA to 74 dBA;
6. xx dBA for windows from 201 - 400 feet above street level based on a reduction of 6 dBA from the projected street-level L10 value of xx to xx; Note: an additional 3 dBA reduction for a total reduction from street-level L10 of 6 dBA is allowed for windows greater than 200’ above street level.  Further reductions based on height should be discussed with OER prior to submitting this RAP.  
7. xx dBA on the northern façade;
8. xx dBA on the eastern façade;

9. xx dBA on the southern façade;

10. xx dBA on the western facades; and
11. xx dBA with the masonry/ wall elements outlined in Appendix x and as documented by the composite calculations included in Appendix x. If using composite calculations, please contact your OER PM for composite calculation appendix templates.
Reductions described above should be taken from the projected L10 value which was used to assign the required window/wall attenuation level as presented in the EIS/EAS for the rezoning action.  The most current CEQR Technical Manual should then be used to determine the required window/ wall attenuation (http://www.nyc.gov/html/oec/html/ceqr/ceqr.shtml).  The “Projected L10 value” is the L10 projected for the build year indicated in the EIS/EAS for the rezoning action.  Any other reductions not outlined here should be discussed with OER prior to submitting this RAP.
The following window(s) will be installed:
The OITC ratings of the proposed windows listed in the table below must be justified either by

1. available ASTM E-90 Lab Test Report(s) included in Appendix x; and/or 

2. available ASTM E-90 Lab Test Report(s) for glazing (only) included in Appendix x and a commitment to provide OER with an ASTM E-90 Lab Test Report for the proposed window(s) prior to purchase and installation both described in the table and included in the owner’s/developer’s commitment letter (Appendix C).

If an acoustical report demonstrating the OITC rating of the exact window(s) is not available (e.g. report is available for the glazing only or for a fixed window unit where windows are both fixed and operable), contact your OER project manager.

	Façade 

Floor Range


	OITC Rating
	OITC Certification
	Manufacturer and Model
	Glazing

	Façade

Floors (include height above street-level if taking reduction by height)

Use
	# 
	ASTM E-90 Lab Test Report(s), Letter from Laboratory, Certification from Architect, Commitment to test, etc.
	Window type, Manufacturer, Model #
	inner lite; air space; outer lite

	All Facades

1st Floor (Commercial)
	30
	See ASTM E-90 acoustical report for the exact window and glazing in Appendix x
	234 Casement window manufactured by abc
	1/4" – 1/2" air space – 1/4"

	Northern Façade 

Floors 2-11 (less than 100’ above street level)

Residential
	35
	Rating based on glass only (see ASTM E-90 Lab Test Report in Appendix x). Window ASTM E-90 Lab Test Report  to be provided to OER prior to purchase and installation
	234 Double Hung window manufactured by abc
	1/4" – 1/2" air space – 1/4" laminated

	Northern Façade 

Floors 12-20 (between 101’-200’ above street level)

Residential
	32
	See ASTM E-90 acoustical report for partial (e.g. fixed portion) window test with exact glazing in Appendix x
	234 curtain wall manufactured by abc
	1/4" – 1/2" air space – 1/4" laminated

	Southern Façade 

Floors 12-20 (less than 100’ above street level)

Residential
	33
	See ASTM E-90 acoustical report in Appendix x
	Xyz Balcony Doors manufactured by abc
	1/4" – 1/2" air space – 1/4" laminated

	Eastern, Southern, Western Facades

2-20 Floors (Residential)
	30 (see existing ASTM E-90 Lab Test Report(s) included in Appendix x)
	See ASTM E-90 acoustical report in Appendix x
	Xyz Casement windows manufactured by abc
	1/4" – 1/2" air space – 1/4"


The acoustical reports described above are representative of the acoustical performance of all proposed windows/doors/curtain walls.  Color coded elevations and the labeled window schedule attached in Appendix x show the locations of the window/ door types.  Please show on the elevations the window types and their OITC ratings using one color per window type.  If only one window type is proposed, color coding the elevation drawings is not required.
3.3
Alternate Means of Ventilation
In order to satisfy the requirements of the E‑Designation, Alternate Means of Ventilation (AMV) will be installed in order to maintain a closed window condition.  AMV for this project will be achieved by: 
Select applicable type(s) of AMV equipment and/or give a detailed explanation of the system and how fresh air will be provided; delete bullets that are not applicable:
1. Trickle Vents:  Installing model info/# trickle vents manufactured by manufacturer in describe where trickle vents will be installed (i.e. which uses/floors/units). Fresh air will be provided to all bedrooms and living rooms by the trickle vents.  Floor plans showing the locations of trickle vents are included in Appendix x.  Clearly indicate the locations of trickle vents on representative floor plans.  If multiple floors have the same layout, please include one representative floor plan per floor layout type.  Trickle vents should be provided at a minimum frequency of one trickle vent per living room or bedroom. Manufacturer specifications for the trickle vents are included as Appendix x.  
2. PTAC Units:  Installing model info/# PTAC units manufactured by manufacturer in describe where PTAC units will be installed (i.e. which uses/floors/units). Fresh air will be provided to all bedrooms and living rooms by the PTAC units. Floor plans showing the locations of PTAC units are included in Appendix x.  Clearly indicate the locations of PTAC units on representative floor plans.  If multiple floors have the same layout, please include one floor plan per floor layout type.  PTAC units should be provided at a minimum frequency of one PTAC per living room or bedroom.  Manufacturer specifications showing the fresh air intake for the PTAC units are included as Appendix x. The PTAC units (choose control mechanism: continuously provide outdoor air, can be operated by user to provide outdoor air, etc.). Please include documentation demonstrating that the PTAC units are capable of providing outdoor air and/or can be operated by user to provide outdoor air.  
3. Central System:  Installing model info/# model split systems with condensing systems manufactured by manufacturer on the roof or describe where the equipment will be located and air handling units in each residential unit or describe where the equipment will be located serving which areas they will serve (e.g. serving residential units on floors 1 to 3). Fresh air intakes are located on the roof or describe where the equipment will be located and air handling units and associated ducting will provide fresh air to each bedroom and living room in each residential unit or describe where the equipment will be located.  For central AMV systems, include the following language:  P.E./R.A. certified mechanical drawings depicting the AMV system and the pathway of fresh air delivery into each of the living spaces (bedrooms and living rooms) are provided in Appendix x.   Clearly show fresh air intakes and ducting and air distribution to living spaces on plans; include manufacturer and model information on plans or include equipment schedule.  A letter from the engineer who designed the HVAC system that describes the system, the equipment involved (stating the manufacturer and model information), and how fresh air is delivered into each of the living spaces is attached as Appendix x.  The Mechanical P.E. letter should copy the final text from this bullet.
4. Combination of Dedicated Fresh Air/ HVAC System.  Installing model info/# model split systems with condensing systems manufactured by manufacturer on the roof or describe where the equipment will be located and air handling units in each residential unit or describe where the equipment will be located serving which areas they will serve (e.g. serving residential units on floors 1 to 3) for heating and cooling. Façade mounted louvers located on the north and south facades or describe where the equipment will be located and air handling units and associated ducting will provide fresh air to each bedroom and living room in each residential unit or describe where the equipment will be located.  For central AMV systems, include the following language:  P.E./R.A. certified mechanical drawings depicting the AMV system and how fresh air is delivered into each of the living spaces are provided in Appendix x.   Clearly show fresh air intakes and ducting and air distribution to living spaces on plans; include manufacturer and model information on plans or include equipment schedule.  A letter from the engineer who designed the dedicated fresh air/ HVAC system describing the system, the equipment involved (stating the manufacturer and model information), and how fresh air is delivered into each of the living spaces is attached as Appendix x.  The Mechanical P.E. letter should copy the final text from this bullet.
5. Compliance with Mechanical Code:  Providing outside air to commercial spaces and common areas such as lobbies and corridors in accordance with the NYC Mechanical Code.  No further Alternate Means of Ventilation documentation is needed for commercial space and common areas such as lobbies and corridors.  Please note that a full description of Alternate Means of Ventilation, as well as all applicable backup documentation is required for residential space, community facilities, play rooms, and any uses not governed by the NYC Mechanical Code requirements for fresh air ventilation.
3.4
Installation Report Certification and Guidance
A Noise Attenuation Installation Report (IR) will be submitted to OER following implementation of the remedial action defined in this RAP.  The IR will document that the remedial work required under this RAP has been completed and has been performed in compliance with this plan.  Guidance on preparing the Installation Report is included in Appendix D.
Appendix A
Architectural Drawings

Appendix B
E‑Designation/ Restrictive Declaration Requirements and Documents

These documents can be found in the Borough-specific lists available on OER’s webpage:

http://www.nyc.gov/html/oer/html/e-designation/ceqr-documents.shtml 
Appendix C
Owner/ Developer Commitment Letter

Please submit a letter using the following template.  The owner/ developer commitment letter should either be notarized or submitted on the owner/ developer’s letterhead.
DATE
Mr. Maurizio Bertini, Assistant Director

NYC Office of Environmental Remediation

100 Gold Street, 2nd Floor

New York, NY 10038

Re: Project Name
       Address, Block ##, Lot(s) ##, OER Project # xxxxxxxxxx
       DOB Job # XXXXXXXXX
Dear Mr. Bertini:

As the developer/owner of the above referenced project, developer/owner name is aware of the remedial actions as presented in the Remedial Action Plan (RAP) for Noise and Air Quality dated DATE as prepared by Company and certified by (For cases where the RAP is prepared by a firm other than that of the architect/engineer certifying the RAP. Please delete if not applicable.) our project Architect/Engineer, NAME/Company. 

Include if applicable:  In addition, the fresh air intake for the proposed PTAC units will be purchased separately and added to the PTAC units when installed to provide fresh air to each living and bedroom.
Include if applicable:  It is agreed that updated documentation will be provided to OER once the OITC ratings of the windows are confirmed by laboratory testing according to ASTM E-90.
It is agreed that any changes to the RAP must be submitted and approved by OER before being implemented.

We have considered the cost of these remedial actions and commit to installing the required elements as specified in the above referenced documents and agree to bring into compliance any construction which is found not to comply with the proposed remedial actions.

Please contact me if you have any questions regarding this commitment.

SIGNATURE
Print Name
Appendix D
Installation Report for Air Quality and Noise – Certification and Guidance

An Installation Report (IR) will be submitted to OER following implementation of the remedial action defined in this RAP.  The IR will document that the remedial work required under this RAP has been completed and has been performed in compliance with this plan.  The IR will include:
Air Quality E‑Designation
1. Letter stamped with a P.E. or R.A. seal certifying the completion of the installation of the HVAC system and/or boilers, as per the commitments specified in the Notice to Proceed and approved RAP. The letter must specify the system and/or units’ manufacturer, model, type of fuel’s usage and where required, the location of the stack (e.g., distance from lot line, height above street level). In addition, the letter should include a brief description of the project (e.g., number of floors, building height, number of units/rooms, total square footage, etc.). If requesting a Notice of No Objection for a Temporary Certificate of Occupancy, the letter must specify the reasons for requesting it, the areas of the building for which the installations have and have not been completed, the floors and/or the residential units which will be covered by the TCO. Please use a table listing the apartments to be included and excluded from the TCO request, by floor.  Note: Notice of No Objection requests for TCO applications are for large scale development projects (only) and are issued by OER on a case by case basis.  

2. Signed and stamped gas riser diagram or plan showing the location of the fuel tank (highlighted), marked “AS-BUILT”.

3. Signed and stamped plans, marked “AS-BUILT”, showing the location of the stack (highlighted) and the distances (highlighted) from each edge of the building (ONLY IF REQUIRED BY E‑DESIGNATION). 

4. Pictures of natural gas meter, tank where present, line connection to the HVAC system or boiler(s), HVAC system or boiler(s), stack.

Noise E‑Designation
1. Letter stamped with a P.E. or R.A. seal certifying the completion of the installation of all the windows and alternate means of ventilation’s components, as per the commitments specified in the Notice to Proceed and approved RAP. The letter must specify the windows’ manufacturer, model, and glazing composition (e.g., ¼-inch glass, ½-inch air space, ¼-inch glass), and the alternate means of ventilation’s manufacturer and model. In addition, the letter should include a brief description of the project (e.g., number of floors, building height, number of units/rooms, total square footage, etc.). If requesting a Notice of No Objection for a Temporary Certificate of Occupancy, the letter must specify the reasons for requesting it, the areas of the building for which the installations have and have not been completed, the floors and/or the residential units which will be covered by the TCO.  Please use a table listing the apartments to be included and excluded from the TCO request, by floor.  Note: Notice of No Objection requests for TCO applications are for large scale development projects (only) and are issued by OER on a case by case basis.  

2. Signed and stamped elevations, marked as “AS-BUILT”, showing the locations of the different windows and glazing as described in the approved RAP 

3. Signed and stamped plans, marked as “AS-BUILT”, showing the locations of the alternate means of ventilation (AMV) as described in the approved RAP
4. Pictures (maximum of two 4” X 6” or larger photos per page) of each façade of the building, installed windows (interior and exterior) and alternate means of ventilation (interior and exterior).

Installation Report Certification

The following certification will appear in front of the Executive Summary of the Installation Report. The certification will include the following statements:

I, name, am currently a registered professional engineer/ registered architect licensed by the State of New York.  I had primary direct responsibility for implementation of the remedial program for the Site name Site (NYC Block xxxx and Lot(s) xxx).

I certify that the Site description presented in this Installation Report is identical to the Site description and associated amendments presented in the Notice to Proceed issued by DEP/OER to the NYC DOB on date.

I certify that the OER-approved Remedial Action Plan dated month, day, year and Stipulations in the Decision Document dated month, day, year were implemented and that all requirements in those documents have been complied with.

I certify that the remedial activities were observed by qualified professionals under my supervision and that the remediation requirements set forth in the Remedial Action Plan have been achieved.

I certify that all information and statements in this certification are true.  I understand that a false statement made herein is punishable as Class “A” misdemeanor, pursuant to Section 210.45 of the Penal Law.

 Name
NYS P.E./R.A. License Number 
Signature

Date
Appendix x
Composite Window/ Wall Attenuation Report

When conducting composite calculations, use the worst case-scenario room configuration (i.e. the highest percentage of glazing relative to the total façade area of the room).  If the project has more than one window/wall attenuation requirement, please conduct one worst-case scenario composite calculation per attenuation requirement.  Include the following information for each calculation performed for each attenuation requirement.

A composite window/wall attenuation calculation has been performed by FIRM to demonstrate that an attenuation of xx dBA will be achieved describe area of building where calculation applies to (e.g. in each façade of the building/ on floors 2-8, etc.) by installing the following window(s) and façade elements:

Modify table below to reflect all façade elements.

	Façade Element
	OITC Rating
	Percent of Façade Area

	Model #/Info Window manufactured by Manufacturer, with Glazing composition
	xx (see acoustical report)
	X percent

	Exterior wall consisting of describe composition with a mass of xx pounds per square foot (psf) (see certification of mass of masonry by architect of record for the project in Appendix x)
	xx (see acoustical report or conservative estimate based on acoustical report for exterior wall with composition describe composition and mass of x psf)
	X percent

	PTAC Unit
	xx (see acoustical report)
	X percent


This calculation analyzed the worst-case scenario room defined as the room with the greatest proportion of window area to façade area.  The worst-case scenario room has been identified as the identify basis of worst-case scenario calculations (e.g. master bedroom of unit x).  The areas of façade elements used in calculation of the worst-case scenario room and the composite window-wall attenuation have been confirmed by the P.E./ R.A. certifying this RAP.  Original spreadsheet calculations (e.g. in Excel format) are provided under separate cover. 

Appendix X

Title from following list, repeat as applicable
Appendix x:
E/RD Requirement Modification Study/Report (Air/Noise)
Appendix x:
Lead Agency Approval of E/RD Requirement Modification (Air/Noise)
Appendix x:
Low NOx Burner Specifications (Air)
Appendix x:
Gas Riser Diagram (Air)
Appendix x:
Plans showing fuel lines and tanks (Air)
Appendix x:
Stack Location Plan (Air)
Appendix x:
Window Schedule (Noise)
Appendix x:
Acoustical Laboratory Test Report (Noise)
Appendix x:
Composite Window/ Wall Attenuation Report (Noise)
Appendix x:
Alternate Means of Ventilation Equipment Specifications (Noise)
Appendix x:  Alternate Means of Ventilation Plans (Noise)
Appendix x:
Certified Alternate Means of Ventilation Letter from Mechanical Engineer (Noise)
Attachment 1
Short Form Air Quality RAP Template for Fuel Type Restriction Only

PLEASE NOTE THAT IF THE SITE HAS AN E-DESIGNATION FOR AIR QUALITY AND DOES NOT HAVE AN E-DESIGNATION FOR NOISE, AND THERE ARE NO STACK SETBACK, LOW NOX BURNER, OR INOPERABLE WINDOW REQUIREMENTS, PLEASE PREPARE AND SUBMIT ONLY THIS SHORT FORM AIR QUALITY RAP TEMPLATE.  NO FURTHER DOCUMENTATION IS REQUIRED.

[Letterhead]

The future use of the Site will consist of [residential; commercial; industrial] use and will include [paved parking, open space, and commercial retail stores at ground level, residential space from second floor up, etc.].  The layout of the site development is presented in Figure 2.  

The applicant is proposing to build [convert the existing [commercial]/[residential] building into] a [mixed-used]/[residential]/[commercial] [#]-story building, with [cellar]/[slab-on grade], [commercial space on first floor]. The building will have all [market rate]/[affordable]/[mix – give # of affordable/market rate] units. [Add other spaces such as community facility, gym, roof-top space, etc.].

The Air Quality E-[##] for Block [xxxx] and Lot(s) [xxx] requires the use of [Air Quality requirements].

In order to satisfy the requirements of E-[##], [fuel type] will be utilized at the site.  

I, [______________________], am a Professional Engineer/Registered Architect licensed in the State of New York and the P.E./R.A. of Record with the NYC Department of Buildings for the [Site name] Site. I certify that this Remedial Action Plan (RAP) has a plan for meeting the Air Quality E-designation requirements. All architectural and engineering plans and specifications included in the RAP have been either personally developed by me, developed with my oversight or have been developed in collaboration with the co-signer below and they are appropriate for the intended purpose of the RAP and are consistent with industry standards. 

 Name
NYS P.E./R.A. License Number 
Signature

Date

CO-SIGNER

 Name
NYS P.E./R.A. License Number 
Signature

Date

It is a violation of Article 130 of New York State Education Law for any person to alter this document in any way without the express written verification of adoption by any New York State licensed engineer in accordance with Section 7209(2), Article 130, New York State Education Law

E-Designation Program


 Air Quality & Noise





Revised on 09/24/2014








PE/RA Stamp











PE/RA Stamp











PE/RA Stamp











PE/RA Stamp











PE/RA Stamp











