## Monthly Accident Details
Monthly Accident Details: January 2021
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2021-01-04 | Manhattan | 124 | EAST 14 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker using a box cutter to cut a plastic shim when the knife slipped and grazed the worker’s left middle finger. The worker went to a City MD on his own. The worker returned to work, filled out paperwork, and then left to go home. | No Dispatch |  |  | NEW BUILDING | 121189203 | Other Construction Related Incidents | DCAS | SUFFOLK CONSTRUCTION COMP
2021-01-04 | Queens | 90-11 | 170 STREET | 0 | 2 | A DOB inspector reported that there were two workers moving sheets of drywall when a newly installed staircase that went from the first floor to the cellar collapsed. The two workers sustained injuries, and were taken to a local hospital. Four ECB Violations were issued: one Aggravated Level 2 violation for a failure to safeguard, one violation for a failure to ensure that all workers were in compliance with Building Code Chapter 3321.1, one violation for the performance of work without a permit, and one violation for a failure to file evidence of compliance with worker's compensation. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39034287P 39034288R 39034289Z 39034301M |  | A2 - ALTERATION TYPE 2 | 440611866-01-EW-OT | Other Construction Related Incidents | SUNITA J VERAPEN | URENA CONST & DESIGN INC
2021-01-05 | Queens | 45-18 | COURT SQUARE | 0 | 1 | A DOB inspector reported that a worke was standing on a scissor lift and removing the guardrails from the scissor lift, in order to take it inside of the hoist, when the worker fell from the scissor lift. The worker was transported to a hospital. Fortunately, the worker did not suffer any fractures, and was in stable condition. The Construction Superintendent provided all orientation logs and training certificates for the worker. However, an ECB Violation was issued for a failure to comply with the manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all use of scissor lifts at the site. | ECB Violation | 35509546L |  | ALT-1 | 420665462 | Worker Fell | 45-18 COURT SQUARE LLC | PAVARINI MCGOVERN LLC
2021-01-06 | Brooklyn | 424 | ALBEE SQUARE | 0 | 1 | A DOB inspector reported that a worker fell from an A Frame ladder. The worker went to a clinic. The ladder was unstable, off-balance, defective, and bent. An inspection for the ladder was not provided when requested. There were no design drawings for the Yodock and chain link fence that were being used for a storage zone. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for the absence of design drawings for the Yodock and fence. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders. An inspection checklist for ladders must be provided. | ECB Violation | 35544558M,59Y | 010621CE02TA04,05 | NB | 321191027 | Worker Fell | JEMB ALBEE SQUARE LLC | Gilbane Building Comp.
2021-01-07 | Brooklyn | 11 | HOYT STREET | 0 | 1 | The Site Safety Manager reported that there was a worker walking down the stairs while carrying a bucket of materials that slipped and fell a few steps. The worker suffered a leg injury. An ambulance transported the worker to a hospital in a conscious state. A DOB inspector responded to the incident and visited the site and reported that the stairs and landing were being mopped down, and that there were no cones or warnings in place to signify that the area was wet. An ECB Violation was issued for a failure to institute safety measures, and for inadequate Pre-Shift Safety Meeting content. | ECB Violation | 35543101H | 010721CE02MA01 | ALT-1 | 321197058 | Worker Fell | 11 HOYT PROPERTY OWNER, L.P. | Triton Construction Co.
2021-01-07 | Manhattan | 301 | PARK AVENUE | 0 | 1 | A DOB inspector reported that during an interior alteration job, there was a shanty that was being constructed on the thirteenth floor. There was a worker performing an elevated carpentry operation of screwing plywood onto framing when the worker/carpenter fell five feet off of an A Frame ladder. The worker suffered minor hand and back injuries. The worker was taken to a hospital by an ambulance. The A Frame ladder that was being used was defective, and was not being used as per the manufacturer’s specifications. Two ECB Violations were issued: one violation for a failure to provide safety measures, and one violation for a failure to communicate required contents during a Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all elevated operations. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35543466 K / 35543457 M | 010721CE05PK01 / 02 | Alteration Type 1 | 121191245 | Worker Fell | UNAVAILABLE OWNER | Tishman Construction Corp
2021-01-11 | Brooklyn | 292 | KENT AVENUE | 0 | 1 | A DOB inspector reported that there was a worker using a gang ladder to go from the second floor to the first floor that fell from the last step of the ladder. An ambulance was called. The ladder was not found to be faulty. The injured worker was not in the Pre-Shift Safety Meeting. Among the 48 workers that were at the site, only 9 of the workers received a Site Safety Orientation. The site is the site of a New Building that was constructed up to the third floor without a permit. The site does not feature an active New Building permit, and only features an active Alteration 1 permit. Three ECB Violations were issued: one violation for a failure to maintain safety, as there was no Pre-Shift Safety Meeting, one violation for no Site Safety Orientation for all workers at the site, and one violation for the absence of an active New Building permit. A full Stop Work Order (FSWO) was issued. | ECB Violation | 3554463R,64Z, 65K | 011121CE01TA01,02,03 | ALT-1 | 321385504 | Other Construction Related Incidents | DOMINO A PARTNERS LLC | Refinery Construction
2021-01-11 | Brooklyn | 425 | Grand Concourse | 0 | 1 | A DOB inspector reported that there was a worker stripping concrete forms at a column when a small piece of concrete went into the worker’s eye. The worker was wearing eye protection at the time of the incident. The worker walked to Lincoln Hospital to seek treatment, and then returned to the site. An OSHA card, a Pre-Shift Safety Meeting, a Tool Box Talk, and a witness report were all provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 22056999 | Other Construction Related Incidents | PH425 HOUSING DEVELOPMENT FUND | Monadnock Construction
2021-01-11 | Manhattan | 611 | WEST 56 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker who mis-stepped from a ladder and suffered a twisted ankle. An ambulance was called. | No Dispatch |  |  | NB | 121190585 | Other Construction Related Incidents | 611 W 56TH STREET PROPERTY LLC | Foundations Group Inc.
2021-01-12 | Queens | 2021-01-15 | 57 AVENUE | 0 | 1 | A DOB inspector reported that during a rebar delivery operation, there was a worker standing on the back of a flatbed truck that fell approximately five feet from the truck. The worker hit their head on the grade level, suffering a laceration. An ambulance was called, and the worker was taken to a nearby hospital. There were no contents for the operation communicated during the Pre-Shift Safety Meeting. There were no safety measures provided for the operation, and there was no certification for attaching and detaching equipment provided for the workers. Five ECB Violations were issued: two violations, one that was issued to the General Contractor, and one that was issued to the Concrete Sub Contractor, for a failure to maintain safety measures, one violation for a failure to provide certification for attaching and detaching equipment, one violation for contents in the Pre-Shift Safety Meeting that were not communicated, and one violation for the failure to provide a vertical and guardrail system on the perimeter of the second and third floor level. A partial Stop Work Order (PSWO) was issued for all concrete operations. Both the General Contractor, and Concrete Sub Contractor, will be required to provide and maintain adequate safety measures for concrete operations going forward. | ECB Violation | 35543108 K / 35543109 M 35543110 J / 35543111 L 36643112 N | 011221CE02MA01/02/03/04/05 | New Building | 420665346 | Worker Fell | SOUTH POINT HOUSING DEVELOPMEN | Gilbane Residential Construction
2021-01-13 | Manhattan | 270 | PARK AVENUE | 0 | 1 | A DOB inspector reported that there was a worker acting as a fire watch during a welding operation when a 2” X 4” piece of wood fell from a stripping operation that was underway fifteen feet above the welding operation. The 2” X 4” hit the fire watch worker in the leg. The injured worker was taken to a hospital. The worker was released from the hospital, and was experiencing leg pains, but will return to work on January 18, 2021. An inadequate Control Access Zone (CAZ) was implemented. Pre-Shift Safety Meeting contents were not communicated, and there were no safety measures provided. Two ECB Violations were issued: one violation for a failure to provide safety measures, and one violation for not communicating Pre-Shift Safety Meeting contents. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35544566 M / 35544567 Y | 011321CE05TA01 / 02 | Alteration Type 2 | 121189285 | Other Construction Related Incidents | MANUFACTURES HANOVER TRUST COM | John Civetta & Sons INC
2021-01-14 | Brooklyn | 130 | CLYMER STREET | 0 | 1 | The Site Safety Manager reported that at a NYCHA building, there was a worker pushing a dolly full of shelves that was hit in the face by a loose bungee cord that was holdng down the shelves. The worker was taken to an emergency room by a co-worker. | No Dispatch |  |  | A2 - ALTERATION TYPE 2 | 322001935-01-EW-OT | Other Construction Related Incidents | NYC HOUSING AUTHORITY | RENEWAL CONSTRUCTION SERV
2021-01-14 | Brooklyn | 333 | JOHNSON AVENUE | 0 | 1 | The Site Safety Manager reported that during the installation of coned vaults, a worker was climbing a ladder inside of a trench that fell ten feet. The worker was taken to a hospital in a conscious state. | No Dispatch |  |  | A1 - ALTERATION TYPE 1 | 321765835-01-AL | Other Construction Related Incidents | MORGAN STEEL, LLC | AURORA CONTRACTORS INC
2021-01-14 | Manhattan | 614 | WEST 131 STREET | 0 | 1 | A DOB inspector reported that there was a worker using an A Frame ladder to perform a taping operation in a stairwell on the sixth floor level when the worker fell approximately seven feet and suffered arm, back, and leg injuries. An ambulance was called, and the worker was taken to a nearby hospital for treatment. There were no safety measures implemented, and there was no compliance with the manufacturer’s specification for the A Frame ladder. Three ECB Violations were issued: one violation for the tampering with the evidence of an incident, one violation for no contents communicated during the Pre-Shift Safety Meeting, and one violation for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all elevated operations. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35543479 J / 35543480 R 35543481 Z | 011221CE09PK05 / 06 / 07 | New Building | 121187189 | Worker Fell | THE TRUSTEES OF COLUMBIA UNIVE | Turner Construction Company
2021-01-14 | Staten Island | 45 | WAVERLY PLACE | 0 | 1 | A DOB inspector reported that there was a steel frame staircase being installed at the first floor level. During this time, the stair frame was not secured on the grade level. The stair frame moved, and a worker lost their balance and fell. The worker fell approximately five feet and suffered chest and hand injuries. An ambulance was called, and the worker was taken to Richmond University Medical Center to receive treatment. The worker was waiting to get an X-Ray, because the worker was in a lot of pain, and may have possibly suffered broken ribs. There was no bracing, ties, or safety measures in place for the steel stair operation, which created the movement that caused the worker to fall. There was no Pre-Shift Safety Meeting for the operation. Five ECB Violations were issued: one violation for the presence of vertical netting that was not maintained as per code, one violation for the presence of inadequate housekeeping, one violation for the presence of supported pipe scaffolding that was not as per code, as the scaffolding was missing guardrails and base plates, one violation for a failure to provide a Pre-Shift Safety Meeting, and one violation for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued to stop all work, except for work to provide safety measures for the operation, and to maintain the vertical netting and housekeeping as per code. The General Contractor will be required to maintain the site in code compliance, and to provide safety measures for the staircase operation going forward. | ECB Violation | 35544162 X / 35544163 H 35544164 J / 35544165 L 35544166 N | 011421CE01GM01/02/03/04/05 | New Building | 500871005 | Worker Fell | NEW YORK CITY SCHOOL CONSTRUCT | Leon D Dematteis Construction
2021-01-15 | Brooklyn | 1 | EAGLE STREET | 0 | 1 | A DOB inspector reported that during a stripping operation on the thirteenth floor level that involved the use of an elevated working formwork deck, there was a worker who stepped backwards onto unsecured planking that fell approximately five feet to the lower level. The worker suffered a chest injury. An ambulance was called, and the worker was taken to a nearby hospital to obtain treatment. The worker was waiting to get an X-Ray at the hospital. There were no safety measures provided for the operation, the horizontal netting that was present was not as per code requirements, and there were required contents that were not communicated during the Pre-Shift Safety Meeting. Three ECB Violations were issued: one violation for a failure to provide safety measures, one violation for inadequate Pre-Shift Safety Meeting contents, and one violation for the presence of horizontal netting that was not as per code. A partial Stop Work Order (PSWO) was also issued. | ECB Violation | 35543604 J / 35543405 L 35543406 N | 011521CE01KG05 / 06 / 07 | New Building | 321387021 | Worker Fell | BOP GREENPOINT D LLC | New Line Structures & Development
2021-01-15 | Manhattan | 100 | CLAREMONT AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker who bent down to pick up his tools when he suffered a laceration on his eye. The worker was taken to an emergency room by his supervisor. | No Dispatch |  |  | NB | 121189436 | Other Construction Related Incidents | UNION THEOLOGICAL SEM | Leadlease Construction
2021-01-15 | Queens | 29-27 | 41 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was erecting a scaffold when a bracing pin that was not fully engaged came loose, fell, and hit the worker, grazing his back. The worker went to a City MD with the on-site medic. The worker did not suffer any serious injuries. An ECB Violation was issued for a failure to maintain, as the scaffolding at exposure 1 was not maintained as per code. A partial Stop Work Order (PSWO) was issued for all scaffold use at exposure 1. The General Contractor is to provide a Means and Methods for safe scaffold operations moving forward, and to maintain the scaffold as per code. | ECB Violation | 35543116K | 011521CE02MA01 | ALT-2 | 42162442 | Other Construction Related Incidents | QPP CLOCKTOWER LLC | Hunter Roberts Construction
2021-01-18 | Manhattan | 660 | 5 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a steam fitter working on a five foot tall ladder. When the steam fitter was attempting to descend from the ladder, the ladder unleveled and kicked out from the side, causing the worker to fall four feet. the worker landed on his knee. The worker was taken to a hospital. | No Dispatch |  |  | ALTERATION TYPE 1 | 123880005-01-AL | Worker Fell | UNAVAILABLE OWNER | TURNER CONSTRUCTION COMPA
2021-01-18 | Manhattan | 413 | 10 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a New Building job, there was a curtain wall operation being conducted at the thirty-third floor. There was a panel being lifted with a forklift and slings from a pallet to a trolley, in order to prepare for a panel placement, when the panel dislodged, tipped, and crushed a worker’s hand. Two of the worker’s middle fingers were severed. The worker was taken to Bellevue Hospital. A Means and Methods for the work operation was not available. Three Aggravated Level 2 ECB Violations were issued: one violation for a failure to maintain safeguards during construction operations, one violation for a failure to comply with the manufacturer’s specifications for the use of forklifts, and one violation for a failure to communicate required information during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all work involving curtain walls. A Means and Methods must be developed. A Pre-Shift Safety Meeting that includes the hazards of curtain wall operations, and the specifications for the use of a forklift during lifting operations, must be provided. | ECB Violation | 35475013X, 35475014H, 35475015J | 011821CERJG02/JG03/JG04 | NB - NEW BUILDING | 121191414-01-NB | Other Construction Related Incidents | 50 HYMC OWNER LLC | HUDSON YARDS CONST II LLC
2021-01-19 | Manhattan | 470 | PARK AVENUE SOUTH | 0 | 1 | A DOB inspector reported that there was a worker that was lifting a decorative stone for a water table in order to install it when the stone fell five feet and slightly hit the worker on his shoulder. The worker went to a hospital. The decorative stone fell because the hook of the hoist that was to hold the stone in place twisted and got loose from the rope that was holding it. Four ECB Violations were issued: one violation for inadequate Pre-Shift Safety Meeting content, one violation for a failure to comply with manufacturer’s specifications, one violation for a failure to safeguard all persons and property affected by construction operations, and one violation for a failure to maintain on-site documents, as required by Chapter 33. A partial Stop Work Order (PSWO) was issued for all work at the façade. | ECB Violation | 35544533X, 35544534H, 35544535J, 35544536L |  | Alt-2 | 123862427 | Material Fell | PRII SJP 470 PARK LLC | UPGRADE CONTR. CO. INC
2021-01-22 | Manhattan | 1 | WALL STREET | 0 | 1 | A DOB inspector reported that at the site of an Alteration 1 job, there was a worker using an eight-foot tall A Frame ladder to perform a carpentry operation on the twenty-third floor when the worker fell approximately five feet and suffered a lacerated lip. The worker walked to a nearby urgent care center in order to obtain stitches. The A Frame ladder was not adequately maintained and inspected as required, and the injured worker failed to participate in a Site Safety Orientation or refresher. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to ensure that all workers participated in a Site Safety Orientation refresher. A partial Stop Work Order (PSWO) was issued for all carpentry operations. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35543800 R / 35543801 Z | 012221CE01TA01 / 02 | Alteration Type 1 | 121190086 | Worker Fell | UNAVAILABLE OWNER | JT Magen & Company INC
2021-01-22 | Manhattan | 200 | EAST 83 STREET | 0 | 1 | A DOB inspector reported that there was a pedestrian walking under the sidewalk shed on Third Avenue that was struck in the head by an unknown object. The pedestrian suffered swelling and redness. The pedestrian refused medical attention and left the site. The on-site Site Safety Plan (SSP) and Site Safety Manager (SSM) logs were both current. An Aggravated Level 2 ECB Violation was issued for a failure to safeguard. A full Stop Work Order (FSWO) was also issued. | ECB Violation | 35507305L |  | NEW BUILDING | 121205356-01-FO-EA | Material Fell | 1461-1469 THIRD AVE OWNER LLC | LEEDING BUILDERS GROUP LL
2021-01-22 | Queens | 2021-01-15 | 57th street | 0 | 1 | The Site Safety Manager reported that a worker mis-stepped on the third step of a wooden gang ladder, and fell approximately three feet. The worker complained about neck pain. An ambulance was called. | No Dispatch |  |  | NB | 420665346 | Other Construction Related Incidents | SOUTH POINT HOUSING DEVELOPMEN | Gilbane Residential
2021-01-26 | Manhattan | 224 | WEST 124 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker stripping a wooden panel when the worker complained about shoulder pain. The worker suffered a possible pulled muscle. The worker was taken to a hospital. | No Dispatch |  |  | Foundation | 121188856 | Other Construction Related Incidents | CARTHAGE 124TH L.P. | Key Developers INC
2021-01-26 | Manhattan | 300 | WEST 30 STREET | 0 | 1 | A DOB inspector reported there was a worker removing a slide gate wheel that fell down onto the worker’s head. The worker was not wearing his hard hat at the time he was struck in the head. The worker was taken to obtain medical care. Two ECB Violations were issued: one violation for Pre-Shift Safety Meeting contents that did not include the task or risk concerns, and one violation for an inadequate Site Safety Orientation, or Site Safety Refresher, as DOB was not immediately notified of the incident. | ECB Violation | 35544541X, 35544540Y | 102721CE04SM01 | NB | 123561369 | Other Construction Related Incidents | HW MANHATTAN ONE LLC | EFN Management
2021-01-26 | Queens | 35-32 | LEAVITT STREET | 0 | 1 | The Site Safety Coordinator reported that, at the site of a thirteen-story new building that was at an excavation and foundation phase, there was a worker going down the steps of his trailer that slipped on ice that was on the last step. The worker went up into the air and fell. The worker suffered a broken femur. This incident took place on January 26, 2021, but the Department Of Buildings was not notified of the incident until January 29, 2021. A DOB inspector visited the site and issued five ECB Violations: one violation for a failure to maintain safety measures, because there were nails and screws that were sticking out of the fence, which created a hazardous condition for pedestrians, one violation for a failure to maintain a five-foot clear walkway on the sidewalk, one violation for a failure to comply with the New York City Fire Code, as there was no fire extinguisher present on site around the perimeter, one violation for a failure to notify DOB of an incident involving a worker injury, and one violation for a failure to provide a watchperson while there was no work in progress. A full Stop Work Order (FSWO) was also issued. | ECB Violation | 35543121P, 22R, 23Z, 24K & 25M. |  | NEW BUILDING | 421644787 | Worker Fell | CG AND J REALTY LLC | DLC DEVELOPMENT CORP
2021-01-27 | Manhattan | 1 | BEEKMAN STREET | 0 | 1 | A DOB inspector reported that at the site of a twenty-five story New Building, there was a worker on the ninth floor that fell six feet off of a ladder. The worker was transported to Presbyterian Hospital by an ambulance. The injured worker called the ambulance. No one at the site was aware of the incident until the ambulance arrived at the site. Three Aggravated Level 2 ECB Violations were issued: one violation for a failure to maintain a record of orientations that were performed at the work site, one violation for a failure to safeguard all persons affected by construction operations, and one violation for a failure to maintain a daily log. A partial Stop Work Order (PSWO) was issued for all window work in interior apartments. A Means and Methods will need to be provided for access to closed and unmonitored areas of the construction site, as well as for ladder use. | ECB Violation | 35454550Z, 35454551K, 35454551K | 012721CNEMR01/MR02, 012721CERJG0 | NB - NEW BUILDING | 121193546-01-NB | Worker Fell | ONE BEEKMAN OWNER, LLC | CONSIGLI & ASSOCIATES LLC
2021-01-27 | Brooklyn | 1399 | MYRTLE AVENUE | 0 | 1 | The Construction Superintendent reported that a jack fell on a worker, causing an injury to the worker's back. The worker was transported to a hospital. | No Dispatch |  |  | NEW BUILDING | 321123495-01-NB | Other Construction Related Incidents | 1397 MYRTLE LLC | PACIFIC RIM, LLC
2021-01-27 | Bronx | 1169 | RIVER AVENUE | 0 | 1 | A DOB inspector reported that while there was foundation work being performed, there was a worker that was laying a rebar mat on the floor when the rebar mat gave way, which caused the nail on the worker’s index finger to come off. The worker was taken to a hospital by an ambulance. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for an inadequate Pre-Shift Safety Meeting log. | ECB Violation | 35552107N,08P | 012721CE04PK08,09 | NB | 210179705 | Excavation/Soil Work | 1159 RIVER AVENUE HOUSING DEVE | Joy Construction Corp
2021-01-28 | Bronx | 1755 | WATSON AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was accessing a ladder in order to perform waterproofing work at the first floor doorway at exposure 1 when the worker slipped and fell approximately two feet. The worker suffered a sprained ankle. The worker was taken to a nearby hospital to receive treatment. The worker went home after being treated, and will return to work on February 1, 2021. All applicable logs and documents at the site were provided, and were in compliance. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 210177627 | Worker Fell | BPDC HOUSING DEVELOPMENT FUND | Joy Construction Corp
2021-01-28 | Brooklyn | 96 | NEW LOTS AVENUE | 0 | 1 | A DOB inspector reported that there was a worker (a painter) that was struck by a door that fell. The worker suffered a bruise to her leg. An ambulance was called, and the worker was taken to Brookdale Hospital. There was no Pre-Shift Safety Meeting for the worker. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for no contents during the Pre-Shift Safety Meeting, as required. A partial Stop Work Order (PSWO) was issuing for all painting and taping operations. | ECB Violation | 035543953H, 035543954J |  | NB | 321384140 | Material Fell | HP EBENEZER PLAZA HDFC, INC. | PROCIDA CONSTRUCTION CORP
2021-01-28 | Manhattan | 1114 | 6 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was walking on the thirtieth floor that tripped on a duct lift that was in the pathway. The worker fell and suffered a knee injury. The worker was taken to a nearby hospital to receive treatment. It was determined that this incident occurred as a result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alteration Type 2 | 140986262 | Worker Fell | 1114 6TH AVENUE OWNER LLC | JRM Construction MGMT LLC
2021-01-28 | Manhattan | 34 | HUDSON BLVD. EAST | 0 | 1 | A DOB inspector reported that there was a worker walking on a ramp on the fifty-seventh floor when another crew member/co-worker called out to him. The worker was walking up the ramp turned fast to see who was calling out to him, and slipped and fell on his ribs. The worker was transported to a hospital. The worker was in stable condition, and fortunately did not suffer any broken bones. An ECB Violation was issued for the presence of an inadequate ramp slope. The General Contractor removed the ramp in the inspector’s presence. | ECB Violation | 35543499R |  | NB | 122885422 | Worker Fell | 509 W 34, L.L.C. | TURNER CONSTRUCTION COMP
2021-01-29 | Brooklyn | 333 | JOHNSON AVENUE | 0 | 1 | A DOB inspector reported that there was a worker walking on the first floor level that was struck at the ankle by a moving man lift. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. There were no safety measures implemented to safeguard the personnel working, and the accessible areas around the man lift operation, as per the manufacturer’s specification. The contents of the Pre-Shift Safety Meeting did not communicate the activity and risk concerns. Three ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for Pre-Shift Safety Meeting contents that were not communicated, and one violation for the absence of guardrails on the roof level. A partial Stop Work Order (PSWO) was issued for all use of man lifts on site. The General Contractor will be required to provide and maintain safety measures for the operation. | ECB Violation | 35543884 P / 35543885 P 35543886 R | 012921CE01NP01 / 02 / 03 | Alteration Type 1 | 321765835 | Other Construction Related Incidents | MORGAN STEEL, LLC | Aurora Contractors INC
2021-01-29 | Manhattan | 145 | WEST 47 STREET | 0 | 1 | A DOB inspector reported that there was a worker attempting to secure the scaffolding and lifeline at the setback when he slipped on ice that was on the floor next to a suspended scaffolding platform. The worker hit his side on the motor. The worker was taken to an area hospital for observation. The worker had been told not to work, and to just secure the scaffolding and lifeline. An ECB Violation was issued for a failure to maintain, due to the presence of snow and ice. The General Contractor corrected the issue and put de-icer on the floor. | ECB Violation | 35544246N |  | NB | 121187802 | Worker Fell | CLARITY 47 LLC | TB USA, L.L.C
2021-01-29 | Manhattan | 225 | WEST 28 STREET | 0 | 1 | A DOB inspector reported that there was an electrician attempting to retrieve a standing conduit in the storage area when the electrician/worker slipped and fell, and approximately fifteen tubes of conduit fell on the worker’s legs. An ambulance was called, and the worker was taken to a nearby hospital. The worker was waiting to get an X-ray. An ECB Violation was issued for the presence of housekeeping that was not maintained as per code, as adequate storage for the conduits was not maintained This incident was also considered to partially be the result of a worker error. | ECB Violation | 35552109 R | 012921CE05PK01 | New Building | 121191049 | Worker Fell | 225 WEST 28TH STREET PROPERTY | Hap Construction LLC
2021-01-29 | Manhattan | 425 | PARK AVENUE | 0 | 1 | A DOB inspector reported that during an operation that involved the dismantling of a hoist at exposure 4 of the forty-first floor level, there was a worker transporting and stacking metal pieces onto a truck at the grade level from a platform when the worker got their finger caught between a metal pole. The tip of the worker’s finger was severed. The worker was transported to a nearby hospital, where the tip of the worker’s finger was reattached. There were no contents communicated for the scope of work during the Pre-Shift Safety Meeting. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all hoist dismantling operations. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35543955L | 012921CE05DG01 | New Building | 121333921 | Other Construction Related Incidents | 425 PARK AVE GROUND OWNER LLC | Tishman Construction Corp
2021-01-29 | Manhattan | 635 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that there was a worker (a plumber) using a six-feet tall A frame ladder to perform plumbing work in and above a ten-foot ceiling when the worker fell and injured their back on a dumpster. An ambulance was called, and the worker was taken to a nearby hospital. The worker was treated, and was then released to go home in minor pain, but in stable condition. There were no safety measures in place for the operation. The ladder was found chopped up into pieces. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the tampering with the evidence of an incident. A partial Stop Work Order (PSWO) was issued for all elevated operations. Safety measures for the operation going forward must be provided. | ECB Violation | 35552113 J / 35552114 L | 020321CE08PK01 / 02 | Alterartion Type 2 | 140986690 | Worker Fell | 635 MADISON FEE PROPERTY OWNER | Tectonic Builders INC