## Monthly Accident Details
Monthly Accident Details: January 2022
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2022-01-03 | Manhattan | 1568 Air | BROADWAY | 0 | 1 | A DOB inspector reported that at a 47-story concrete frame building in which there was alteration work being performed (under an Alteration 1 application), there were workers that were in the process of removing infills for a curtain wall operation on the perimeter of the building at the twenty-fifth floor level when a piece of concrete came loose, fell to the ninth floor setback, and hit a worker on their hard hat, neck, and shoulder. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The area on the ninth floor setback that was being used as a staging and loading area for a concrete operation was not identified on the Site Safety Plan (SSP), as the worker was entering the area when the worker was injured by falling debris. The Pre-Shift Safety Meeting did not address the scope of work and the hazards affected by the operation. A Controlled Access Zone (CAZ) was not implemented at both work locations (the ninth floor location, and the twenty-fifth floor location), and there were no additional safety measures instituted or coordinated. Four ECB Violations were issued: two violations, one that was issued to the General Contractor, and one that was issued to the Sub Contractor, for a failure to institute and maintain safety equipment measures, one violation for the presence of a standpipe that was not maintained to be in a state of readiness, and one violation for the presence of an existing condition that was not reflected on the Site Safety Plan. A partial Stop Work Order (PSWO) was issued for all exterior perimeter work, and for all work ten feet back from the perimeter edge at all exposures. Both the General Contractor, and the Sub Contractor, will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35638780 K / 35638781 N 35638782 Y / 35638783 X | 010322CE05TA01 / 02 / 03 / 04 | Alteration Type 1 | 121191236 | Other Construction Related Incidents | TIMES SQUARE HOTEL SUB, LLC | Pavarini McGovern LLC
2022-01-06 | Manhattan | 270 | Park Avenue | 0 | 1 | A DOB inspector reported that at a a new building, there was a worker that fell off of a ladder and into a six-foot pit. The worker suffered a fractured left shoulder, and was taken to a hospital. The ladder that the worker was using had not been secured, and was being used contrary to the manufacturer's specifications, which created a falling hazard condition. Two ECB Violations were issued: one violation for a failure to institute and maintain safe equipment, and one violation for the tampering with the evidence of the incident, as evidence was removed from the site. A partial Stop Work Order (PSWO) was issued for all ladder use. The General Contractor is to provide a Means and Methods for the safe use of ladders going forward. | ECB Violation | 35639977Z / 78K |  | NB | 121205604 | Worker Fell | METROPOLITAN TRANSPORTATION AU | TISHMAN CONSTRUCTION CORP
2022-01-07 | Bronx | 2401 | 3 AVENUE | 0 | 1 | A DOB inspector reported that at a 25-story concrete frame new building that was at a roof level and partially enclosed, there was a worker (an electrician) that was attempting to access the grade level in order to remove debris from the work location when the worker slipped and fell on ice. The worker suffered pain in the back, leg, and arm. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The area of operation had not been maintained to be free from slipping and tripping conditions, and there was no Pre-Shift Safety Meeting conducted for the scope of work and risk concerns. There was also no overhead protection in place for the suspended scaffolding operation. Five ECB Violations were issued: two violations, one that was issued to the General Contractor, and one that was issued to the Electrical Sub Contractor, for a failure to institute and maintain safety equipment measures, one violation for the site not conforming to the approved Site Safety Plan (SSP), one violation for a failure to perform an orientation refresher for the workers, and one violation for the absence of records and contents for the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all work at the grade level, all exterior work over the courtyard, and for all electrical operations. The General Contractor, and the Electrical Sub Contractor, will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35641129 Z / 35641130 X 35641131 H / 35641132 J / 33 L | 010722CE01KS02 / 03 / 04 / 05 / 06 | New Building | 220151939 | Worker Fell | BOP 2401 THIRD AVENUE OWNER LL | Hudson Meridian Construction
2022-01-12 | Brooklyn | 35 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that at a 22-story concrete frame new building that was at a seventh floor level, there was a worker that was walking on the first floor level when the worker hit a three-inch edge. The worker fell and suffered leg and hand injuries, as well as minor bruises. An ambulance was called, and the worker was taken to a nearby hospital. There was an inadequate walkway provided within the site, and the three-inch edge that the worker hit was not provided with a slope in order to maintain an adequate transition from elevation. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to provide escape hatches for emergency egress. A partial Stop Work Order (PSWO) was issued for all work on the first floor level. | ECB Violation | 35640028 P / 35640029 R | 011222CE01KG01 / 02 | New Building | 321589704 | Worker Fell | HP H1H2 HOUSING DEVELOPMENT FU | Monadnock Construction IN
2022-01-13 | Manhattan | 1100 | 6 AVENUE | 0 | 1 | The Site Safety Manager reported that a worker (an electrician) was using a utility knife to open wire when the worker cut his hand. The worker went to an urgent care center, and the urgent care center sent the worker to Bellevue Hospital in order to receive stitches. | No Dispatch |  |  | ALT-1 | 123660190 | Other Construction Related Incidents | 1100 AVE. OF THE AMERICAS ASSO | Tishman Construction
2022-01-14 | Bronx | 414 | GERARD AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using a platform ladder in order to hang a pipe when the pipe slipped from the worker's hands and cut him on the cheek. An ambulance was called, and the worker was taken to a hospital. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 220613735 | Other Construction Related Incidents | 414 GERARD OWNER LLC | MONADOCK CONSTRUCTION
2022-01-14 | Brooklyn | 60 | FRONT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new building, there was a worker that was using a faulty extension ladder that was missing footing. The ladder slipped, and the worker fell. The worker was taken to a hospital. The hospital reported that the worker did not suffer any broken bones, and had only suffered minor injuries. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all ladder use on the seventh floor. The General Contractor is to provide a Means and Methods for safe equipment and ladder use, and is also to remove the broken extension ladder from the job site. | ECB Violation | 35639860P | 011422CE01SM01 | NB | 321384364 | Worker Fell | FORTIS DUMBO ACQUISITION, LLC | Urban Atelier Group
2022-01-14 | Queens | 46-09 | 69 STREET | 0 | 1 | A DOB inspector reported that at a 15-story new building, there was a worker that was performing decking work on the second floor level when the worker fell approximately eight feet from the second floor deck to the first level. The worker was tied off with a harness. The worker was taken to a hospital by an ambulance in a conscious state. Two ECB Violations were issued: one violation for a failure to maintain guardrails, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all work on the second floor. Guardrails must be provided, and housekeeping must be maintained. | ECB Violation | 35640087P, 35640088r |  | NB | 420665845 | Worker Fell | QB DEVELOPMENT OWNER LLC | OMNIBUILD CONSTRUCTION
2022-01-14 | Queens | 52-29 | 35 STREET | 0 | 1 | A project manager reported that at the site of a demolition job, there was a worker that slipped at the top of a flight of stairs and fell several steps. The worker suffered back and leg injuries. The worker was transported to a hospital by an ambulance. A DOB inspector responded and visited the site and reported that there were housekeeping issues present, as there was debris near the stairway where the worker fell. No approved demolition plans were provided to the inspector as of the time of inspection, as the General Contractor provided a set of plans that had not been approved by DOB. Two ECB Violations were issued: one violation for a failure to provide adequate housekeeping, and one violation for a failure to provide DOB approved plans/documents. A full Stop Work Order (FSWO) was issued for all non-approved demolition work. The only work that will be allowed will be work to maintain the housekeeping at the site. The General Contractor must provide DOB-approved plans and documents, and must notify DOB's Construction Safety Enforcement Unit for a re-inspection. | ECB Violation | 35641276Z,277K | 011422CE02KS03,04 | DM | 421791207 | Worker Fell | SC-STARR AVE, LLC | COLE PARTNERS INC
2022-01-14 | Staten Island | 1000 T | RICHMOND TERRACE | 0 | 1 | A DOB inspector reported that there was a worker that was carrying a metal door down a corridor when the worker slipped, fell, and suffered a knee injury. An ambulance was called. There was no procedure in place for material handling. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all material handling. The General Contractor is to provide a Means and Methods for the safe handling of materials. | ECB Violation | 35639861R | 011422CE01MS02 | ALT 1 | 520135354 | Worker Fell | CULTURAL AFFAIRS 2 | NSP ENTERPRISES INC
2022-01-18 | Bronx | 1210 | SIMPSON STREET | 0 | 1 | A DOB inspector reported that there was a worker that was spreading salt on the roof (because of the weather conditions) that slipped and fell. The worker called an ambulance on his own, and was taken to a Bronx health care system. The worker was released two hours later, and returned to work at the site. The Construction Superintendent was on site, and Pre-Shift Safety Meeting logs, Site Safety Orientation logs, and a Site Safety Plan (SSP) were all provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 210180365 | Other Construction Related Incidents | HOME SIMPSON HOUSING DEVELOPME | WJ Professional Expedition
2022-01-18 | Manhattan | 138 | WEST 48 STREET | 0 | 1 | A DOB inspector reported that at a 4-story existing building in which there was a vertical and horizontal operation being performed, there was a worker that was on top of material that had been stored for a façade operation that was attempting to retrieve material when the stretch wrap that was being used to enclose the material came loose, and the worker fell approximately four feet. The worker suffered minor injuries to the left shoulder and back. An ambulance was called, and the worker was taken to a nearby hospital. There was no record of a Pre-Shift Safety Meeting, and no record of any contents, with safety hazards and risk concerns, provided for the scope of work. There were also no safety measures implemented to safeguard the worker. Two ECB Violations were issued: one violation for a failure to ensure that all workers received and participated in a Pre-Shift Safety Meeting, and one violation for a failure to institute and maintain safety equipment measures. A partial Stop Work Order (PSWO) was issued for all material handling for the facade operation. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639999 J / 35639150 K | 011822CE05IH02 / 03 | Alteration Type 1 | M00462158 | Worker Fell | CORT THEATRE LLC | JRM Construction MGMT LLC
2022-01-19 | Manhattan | 55 | LIBERTY STREET | 0 | 1 | A DOB inspector reported that there was a worker that was on a needle beam platform that was handing a cement bag through a window to another worker when the worker that was handing off the cement bag lost his balance and fell down stairs. The worker that fell suffered an arm injury. An ambulance was called. The area that the worker was handing off the cement bag from was under an existing Stop Work Order. Three ECB Violations were issued: one violation for the performance of work against a Stop Work Order, one violation for a failure to institute safety measures, and one violation for an inadequate orientation. The General Contractor is to provide a Means and Methods for safe material handling from the platform to the stairwell landing. | ECB Violation | 35638662J,663L,664N | 011922CE01GM01,02,03 | ALT-2 | 123493898 | Worker Fell | 55 LIBERTY OWNERS CORP | Skyline Restoration Inc
2022-01-19 | Manhattan | 66 | HUDSON BOULEVARD | 0 | 1 | A DOB inspector reported that at a 66-story new building, there was a worker on the thirtieth floor that was walking from the post platform to an entrance door when the worker stepped on a ramp, and the worker slipped and suffered a twisted ankle. The worker was treated by the on site medic, and was later taken to a hospital by an ambulance. This incident took place on January 19, 2022, but was not reported to DOB until January 20, 2022. The incident itself was determined to have been the result of a worker error. However, an ECB Violation was issued to the Site Safety Manager for a failure to notify DOB of the incident. | ECB Violation | 35639131P |  | NB | 122885422 | Other Construction Related Incidents | 509 W 34, L.L.C. | TURNER CONSTRUCTION CO
2022-01-19 | Queens | 3-50 | ST NICHOLAS AVENUE | 0 | 1 | A DOB inspector reported that at a 17-story concrete frame new building that was at a third floor level, there was a gate that dislodged and fell onto a worker. The worker suffered minor bruises to the head, and went to an urgent care center to receive treatment. The gate that dislodged had not been constructed as per the approved plans, as there were braces and wheels missing. Three ECB Violations were issued: one violation for a failure to file or renew General Liability insurance, as required (the General Liability insurance expired on 12/28/2021), one violation for a failure to file or renew Disability insurance, as required (the Disability insurance expired on 12/31/2021), and one violation for the performance of work that does not conform to approved construction documents. A full Stop Work Order (FSWO) was issued. The General Contractor will be required to maintain the gate as per plans, and to update both insurances (the General Liability insurance and the Disability insurance). | ECB Violation | 35640091 H / 35640092 J 35640093 L | 011922CE05MA01 / 02 / 03 | NB | 421928953 | Other Construction Related Incidents | RIDGEWOOD TOWER II LLC | AB Capstone Builders
2022-01-20 | Bronx | 2455 | 3 AVENUE | 0 | 1 | A DOB inspector reported that at a 24-story new building that was at an excavation and foundation phase, there was an excavator that was being used to transport rebar in the interior of the site when rebar came loose and hit the left leg of a worker that was standing nearby the operation. An ambulance was called, and the worker was taken to a nearby hospital for treatment. The worker was treated and then released to go home, and will return to work on January 24, 2022. There were no safety measures in place for the operation, and the operation was performed on a walking surface that was inadequate, as it was wet and slippery. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to maintain housekeeping as per code. A partial Stop Work Order (PSWO) was issued to stop all work, except for work to provide safety measures going forward and to maintain the housekeeping. The General Contractor will be required to provide and maintain safety measures for the rebar hoisting operation going forward. | ECB Violation | 35504867 J / 35504868 L | 012022CE01RV01 / 02 | New Building | 210180542 | Other Construction Related Incidents | E 135 AND 3RD AVE OWNER LLC | Artimus Construction INC
2022-01-20 | Manhattan | 270 | park ave | 0 | 1 | A DOB inspector reported that there was a worker that was on a platform while performing a stripping operation in the cellar area when a beam that had been held by jacks fell and hit the worker in the head. The worker was wearing a hard hat. An ambulance was called for the worker. There was no approved deign drawing for the working platform, and there were no Means and Methods for the stripping operation. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all formwork operations. The General Contractor is to provide a Means and Methods for safe stripping operations moving forward, as well as a design drawing for work platforms. | ECB Violation | 35639798N,99P | 012022CE05NO01,02 | ALT-2 | 140956366 | Other Construction Related Incidents | METROPOLITAN TRANSPORTATION AU | John Civetta & Sons
2022-01-21 | Manhattan | 142 | WEST 19 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a circular saw to cut plywood when the worker put the saw down on a table while it was still spinning, and the worker suffered a cut to his finger. The worker walked to an urgent care center. An ambulance was not called. The circular saw did have a safety guard. All logs, and an orientation for the worker, were provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121190549 | Other Construction Related Incidents | USD 142 W 19 LLC | OTL Enterprises LLC
2022-01-24 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at a 40-story concrete frame new building that was at the fortieth floor level, there was a worker (a plumber) that was handling cast-iron black pipe when another worker that was assisting with the operation cut a strap that released pipes, and the pipes hit the worker/plumber on the fingers. The worker suffered two broken fingers. An ambulance was called, and the worker was taken to a nearby hospital. The scope of the operation was not adequately communicated and discussed during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to provide an escape hatch for a concrete pouring operation. A partial Stop Work Order (PSWO) was issued for all cast-iron pipe handling operations, and for all concrete pouring operations. | ECB Violation | 35639437 H / 35639438 J | 012422CE01NP01 / 02 | New Building | 320909996 | Other Construction Related Incidents | WEST DEVELOPMENT B LLC | Ninth Avenue Construction Group
2022-01-24 | Queens | 1626 | VILLAGE LANE | 0 | 1 | A DOB inspector reported that there was a worker that fell twelve feet from an A Frame ladder. The worker suffered a back injury. An ambulance was called. There were no safety measures in place, and the Pre-Shift Safety Meeting that was held did not provide safety hazards for the use of an A Frame ladder. An ECB Violation was issued for a failure to provide safety equipment measures. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders. Safety measures, and a Means and Methods for moving forward, must be provided. | ECB Violation | 35640095P | 012422CE14MA01 | NB | 420667558 | Worker Fell |  | LETTIRE CONSTRUCTION CORP.
2022-01-25 | Brooklyn | 70 | ATLANTIC AVENUE | 0 | 1 | A DOB inspector reported that there was a worker on the second floor that was performing framing work on a slab level. There was a hole in the slab where the curtain wall had been installed, and the worker tripped, fell, and suffered a dislocated finger. The worker was seen by the on site medic, and then went to a hospital next door for treatment. The worker returned to the job site after being seen at the hospital. The hole in the slab had not been secured with plywood. A review of the Pre-Shift Safety Meeting that was held at the site revealed that the meeting did not communicate required information for the operation. An ECB Violation was issued for a failure to institute and maintain safety measures. | ECB Violation | 35639551L | 012522CE06DG04 | NB | 320908559 | Other Construction Related Incidents | NYU LANGONE HOSPITALS | Skanska USA Building
2022-01-25 | Manhattan | 215 | WEST 28 STREET | 0 | 1 | A DOB inspector reported that at a 20-story concrete frame new building, there was a worker in the basement that was using a six-foot tall A Frame ladder to install a bracket on a ceiling. The worker attempted to descend the ladder, and the worker lost balance, fell, and suffered a cut to the left hand. The worker walked to a nearby City MD in order to receive treatment. The worker was treated and then released to go home. All applicable logs and documents were provided. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 121185813 | Other Construction Related Incidents | 215 WEST 28TH STREET PROPERTY | Hap Construction LLC
2022-01-27 | Manhattan | 250 | 5 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was picking up material from underneath a demolished heavy steel pipe when the pipe slipped, and the worker suffered an injury to his pinky finger. The worker went to the emergency room. An ambulance was not called. The housekeeping at the site was poor, and the Site Safety Orientation that was held at the site was found to have been inadequate. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all steel fitting operations. Safety measures, adequate housekeeping, and proper training for the operation going forward must be provided. | ECB Violation | 35639866X | 012722CE05SM02 | ALT-1 | 122414002 | Other Construction Related Incidents | COSMIC REALTY PARTNERS LLC | CNY Building Corp
2022-01-28 | Brooklyn | 108 | 2 Street | 0 | 1 | A DOB inspector reported that at a 3-story occupied building/house in which there was an alteration operation being performed, there was a worker that was walking on the second floor deck that fell approximately sixteen feet to the grade level. The worker was suffering from minor pain to the neck and back. An ambulance was called, and the worker was taken to a nearby hospital in a conscious state. There had been no safety measures implemented or discussed in the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to provide a Tenant Protection Plan (TPP). A full Stop Work Order (FSWO) was issued. The General Contractor will be required to implement adequate safety measures, and a Tenant Protection Plan, for the operation going forward. | ECB Violation | 35639563 Z / 35639564 K | 012822CE06DG03 / 04 | Alteration Type 2 | 340776798 | Worker Fell | MASERATI REALTY LLC | Ryszard & Sons Construction
2022-01-28 | Manhattan | 415 | COLUMBUS AVENUE | 0 | 1 | A DOB inspector reported that at a 6-story concrete frame new building that was at a roof level, there were two workers that were using a manlift to cover supported pipe scaffolding with a tarp when the manlift got caught on the scaffolding. While an attempt was being made to free the manlift platform, the basket jolted up, which caused one of the workers to be ejected into the air. The worker was seen hanging from the manlift by a harness. The worker was pulled into the site on the fourth floor, and the worker then laid on the floor until an ambulance arrived at the site. The worker was suffering from shoulder pain. The worker was taken to a nearby hospital. There had been no worksite and equipment inspections performed, as per the manufacturer specifications, and there were no additional safety measures instituted in order to safeguard the operation. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to notify DOB of a permanent or alternate change in Site Safety Manager (SSM), as an alternate Site Safety Manager had been performing duties since December 20, 2021. A full Stop Work Order (FSWO) was issued. The General Contractor will be required to provide and maintain adequate safety measures for both manlift use, and for the operation going forward. | ECB Violation | 35639156 L / 35639157 N | 012822CE07IH02 / 03 | New Building | 121204017 | Other Construction Related Incidents | CULTURAL AFFAIRS 2 | Tishman Construction Corp
2022-01-31 | Bronx | 2069 | BRUCKNER BOULEVARD | 0 | 1 | A DOB inspector reported that during an asbestos removal operation, there was a worker that was using a circular saw to cut plywood. After he (the worker) made a cut, the worker put the circular saw down, while the blade was still running. The saw blade then cut the arm of a second worker that was behind him (the worker that was cutting the plywood). The worker that was cut was taken to a hospital by an ambulance. There were no manufacturer's specifications on site for the proper use of the circular saw, and there were no safety procedures, or an orientation, in place for the use of circular saws during the operation. There was no safe egress from the site, as there was a parking lot in front of the entrance that was covered with ice and snow. Two ECB Violations will be issued: one violation for a failure to maintain or institute safety measures, and one violation for the presence of inadequate housekeeping. A partial Stop Work Order (PSWO) will be issued for all circular saw use. The General Contractor is to provide a Means and Methods for the safe operation of the use of circular saws, as well as manufacturer's specifications and a safe entrance and exit for workers to access the job site. | ECB Violation | 35639104J, 35639105L | 013122CE09MA03,04 | ALT-1 | X00619070 | Other Construction Related Incidents | HP BRUCKNER HOUSING DEVELOPMEN | Northeast Specialist Group
2022-01-31 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at a new building that featured forty completed floors, and a partially-poured forty-first floor, there was a hoist jumping operation being performed between the thirty-fourth and thirty-fifth floors when a worker that was coming down from an interior ladder onto the hoist floor fell and struck his head The worker was taken to an area hospital by an ambulance. The extent of the worker's injuries were not known. Hoist jumping operations have stopped. The hoist will remain in service for workers during the temporary heating of the freshly poured concrete. No enforcement action was necessary. | No Action Necessary |  |  | NB - NEW BUILDING | 320909996-01-NB | Worker Fell | WEST DEVELOPMENT B LLC | NINTH AVE CONSTRUCTION GR