## Sheet1
Monthly Incident Details: January 2024
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2024-01-03 | Brooklyn | 316 | RUTLEDGE STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building in which there was support of excavation (SOE) work in progress, during an underpinning operation, a piece of the existing foundation from the adjacent property dislodged, and a piece of concrete foundation fell onto a worker. Four co-workers assisted with removing the piece of concrete from the struck worker. The struck worker was transported to Woodhull Hospital by an ambulance. The struck worker was conscious the entire time. There was no Professional Engineer (PE) assessment for new site conditions while performing underpinning work, which created an unsafe condition, and the General Contractor had failed to follow the underpinning sequence. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the performance of work that was contrary to the approved plans. A partial Stop Work Order (PSWO) was issued for all underpinning work. Work to correct the unsafe violating conditions will be allowed. | ECB Violation | 39524493H 39524492X |  | SE FO | B00811066 | Excavation/Soil Work | SIG 314 RUTLEDGE LLC | B T General Builders
2024-01-03 | Brooklyn | 480 | KENT AVENUE | 0 | 1 | A DOB inspector reported that at a site in which there was a multi-station mobile crane that was hoisting a power jack to the eighteenth floor, there was a worker (one worker) that was functioning as both the signal person and the rigger. The worker was landing the load when the worker's finger got caught between the forks and the surface. The worker was taken to Brooklyn Hospital by the General Contractor. The worker was attempting to give signals and guide the load at the same time, and became distracted, which led to the incident. An ECB Violation was issued for inadequate safety measures. A partial Stop Work Order (PSWO) was issued for all work under crane permit CN 131322. | ECB Violation | 39102648N |  | NB | 321599560 | Mechanical Construction Equipment | 470 KENT AVE ASSOCIATES LLC | Highbury Concrete
2024-01-03 | Manhattan | 740 | 8 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a concrete pour being performed when a worker/laborer was struck in the face by the handle of a concrete bucket. The worker went to a City MD to be evaluated. | No Dispatch |  |  | NB Major Building | 121208326 | Other Construction Related Incidents | 726 EIGHTH LLC | LENDLEASE(US)CONSTRUCTION
2024-01-04 | Manhattan | 2023 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 23-story concrete frame building that was topped off and partially enclosed, there was a worker that was moving a mini-garbage container on the loading dock when the worker was found lying down on the ground level, with the container. The worker complained about back pain. The worker was transported to a nearby hospital by an ambulance. There were no unsafe conditions observed, as there was a loading ramp in place, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | M00537657-I1-GC | Worker Fell | 2033 NATIONAL BLACK THEATRE WA | CHATSWORTH BUILDERS LLC
2024-01-05 | Brooklyn | 240 | WILLOUGHBY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 33-story building, there was a worker that was carrying a ladder while walking down a staircase between the third & fourth floors when the worker fell down. The worker was not feeling well. An ambulance was called, and the worker was taken to New York Presbyterian Brooklyn Methodist Hospital. There were no unsafe conditions observed on the staircase. The staircase had handrails provided. All requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | B00525904-S1-FO-EA | Worker Fell | 240 WILLOUGHBY GROUND LESSOR L | GALAXY DEVELOPERS LLC
2024-01-05 | Brooklyn | 577 | UNION STREET | 0 | 2 | A DOB inspector reported that at the site of a proposed new nine-story concrete frame building that was topped off, there were two workers that were using an A-Frame cart to move sheetrock when the plywood ramp was pierced by the cart load, which caused the A-Frame cart to tip over and fall on top of the two workers. The struck workers complained about leg and chest pain. Both workers were transported to a nearby hospital by an ambulance. Two ECB Violations were issued: one violation for a failure to institute & maintain safety equipment measures, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 39524573H / 39524574J |  | NB | B00621076 | Worker Fell | GOWANUS UNION STREET LLC | Broadway Construction
2024-01-08 | Bronx | 334 | EAST 176 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building, there was a worker that was using a prybar to strip formwork when a piece of wood fell and struck the worker on his hardhat, and on his forehead, above the left eye. The worker went to an urgent care center on his own to receive treatment. There were no unsafe conditions observed at the site, and all applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 210182041-01-NB | Material Fell | COMMUNITY ACCESS HOUSING DEVEL | JOY CONSTRUCTION CORP
2024-01-08 | Brooklyn | 2931 | WEST 23 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing & occupied seventeen-story building in which there was a horizontal enlargement being performed, there were two workers that were in the process of removing a concrete pump line when the concrete pump line shifted out of control and struck one of the workers. The struck worker fell to the ground and suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION TYPE 1 | 321187327-01-AL | Worker Fell | NYC HOUSING AUTHORITY | DOBCO, INC
2024-01-08 | Brooklyn | 8 | GRAND AVENUE | 0 | 1 | A Project Manager reported that there was a worker that was using a six-foot tall ladder while working when the worker fell from the ladder. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | 7 STORY ALT-1 | 321593067 | Worker Fell | 8-10 GRAND AVENUE OWNER LLC | EMPIRE PCS
2024-01-08 | Manhattan | 270 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 57-story building, there was a worker on the fifteenth floor that was using an A-Frame cart to move eighteen pieces of galvanized steel when the cart flipped over and fell on the worker. The worker suffered an injury to his right ankle, and was transported to a nearby hospital. An ECB Violation was issued for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. The General Contractor is to provide & maintain adequate safety measures for the operation going forward. | ECB Violation | 39524590J |  | NB | 121205604 | Material Fell | 720 WEA VENTURES LLC | TISHMAN CONSTRUCTION CORP
2024-01-09 | Manhattan | 3880 | 9 AVENUE | 0 | 5 | A DOB inspector reported that at the site of a proposed seventeen-story new building that was in a superstructure phase up to the second floor level, there was a knuckle boom that was lifting a load of plywood when the boom gave way and landed on the second floor deck. Five workers were injured. Three of the workers suffered minor injuries, and the other two workers suffered injuries that were serious, but not life-threatening. Four of the injured workers were transported to hospitals. The fifth injured worker refused medical treatment. There was no inspection report provided for the equipment that was being used, and there was no orientation provided for the workers to address the safety concerns and hazards. Two ECB Violations were issued by the Construction Safety Enforcement unit: one violation for a failure to provide the requested truck logs, and one violation for a failure to maintain a record of the orientations that were performed at the site. The Construction Safety Enforcement unit also issued a partial Stop Work Order (PSWO) for all delivery operations (see Complaint # 1657543 for these two ECB Violations and the partial Stop Work Order). The Cranes & Derricks unit issued three ECB Violations for inadequate safety measures when operating a crane. The Cranes & Derricks unit also issued a partial Stop Work Order (PSWO) for all hoisting at the site (see Complaint # 1657575 for these three violations and the partial Stop Work Order). | ECB Violation | 39524685M 39524686Y 39103186M 39103198J 39103210N |  | New Building | M00666777 | Mechanical Construction Equipment | 3761 207TH STREET REALTY LLC | On Star Management
2024-01-10 | Manhattan | 25 | WATER STREET | 0 | 1 | A DOB inspector reported that at the site of an existing 22-story commercial building, there was a worker on the eighth floor that was helping with the installation of a corrugated sheet on a steel beam when the worker slipped and fell. The worker complained about knee pain and hip pain. The worker was gripping on the steel beam before being helped by co-workers. The worker was transported to a nearby hospital to receive treatment. There were no unsafe conditions found, as there was both a fall protection system and a Controlled Access Zone (CAZ) in place. All requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. | No Action Necessary |  |  | ALTERATION | M08027672-I1-GC | Worker Fell | 25 WATER OWNER, LLC | PAVARINI MCGOVERN LLC
2024-01-11 | Manhattan | 159 | WEST 53 STREET | 0 | 1 | A DOB inspector reported that at the site of a fully occupied 38-story building in which there was façade repair work being performed, there was a worker that was walking down a staircase while carrying a bucket of cement when the worker fell at the bulkhead level. The worker was found lying flat on the staircase landing, complaining about having suffered a back injury. The worker requested an ambulance, and the worker was transported to Presbyterian Hospital by an ambulance. The staircase was found to have been well lit, with handrails in place, and free of any tripping hazards. The injured worker had attended both a Pre-Shift Safety Meeting and a Site Safety Orientation. The Pre-Shift Safety Meeting was found to have been adequate for the scope of work that was being performed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration 2 | M006841163 | Worker Fell | TOWER 53 CONDO | New rock Contracting Corp
2024-01-11 | Manhattan | 40 | EAST 4 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was moving materials for a masonry operation when the worker suffered a back injury. An ambulance was called. | No Dispatch |  |  | New Building | 121209227 | Other Construction Related Incidents | 4TH ST REALTY HOLDING CORP | CM and Associates Construction
2024-01-12 | Brooklyn | 420 | CARROLL STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 21-story concrete frame building that was at a roof level, there were workers that were in the process of installing an HVAC condenser on the roof when one of the workers attempted to manually move the system into place, and the worker suffered a laceration to the right hand. The injured worker left the site to receive treatment. The worker was treated at a hospital, and received stitches. The scope of work was found to have not been adequately communicated. Two ECB Violations were issued: one violation for a failure to provide & maintain safety measures, and one violation for a failure to communicate the scope of work during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all HVAC installations, and for all hoisting operations at the roof and bulkhead levels. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524816N 39524817P |  | New Building | B00614338 | Other Construction Related Incidents | 420 CARROLL LLC | Mega Contracting GP LLC
2024-01-12 | Queens | 23-15 | 44 ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new 70-story concrete frame building that was partially enclosed, there was a worker that was using an A-Frame ladder while performing insulation work when the worker fell approximately three feet. The worker suffered an elbow injury. An ambulance was called, and the worker was transported to an area hospital. All safety measures were in place at the site, and the paperwork at the site was found to be compliant. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building | 420656695 | Worker Fell | CP VIII LIC OWNER, LLC | CARMEL CONSTRUCTION EAST
2024-01-15 | Brooklyn | 15 | HANOVER PLACE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 34-story concrete frame building that was at a roof level and partially enclosed from the second floor up, there was a worker that was performing a fireproofing operation in the stairway that was stretching in order to reach an elevated ceiling when the worker lost balance, slipped, and fell. The worker suffered back and hand injuries. An ambulance was called, and the worker was taken to a nearby hospital for treatment. There was no working platform provided, and there were no ladders in place for an elevated operation. An ECB Violation was issued for a failure to institute and maintain safety measures. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39524842 R |  | New Building | B00588594 | Worker Fell | THE LIEBERMAN GROUP LLC | Noble Construction Group LLC
2024-01-15 | Brooklyn | 346 | AVENUE U | 0 | 1 | A DOB inspector reported that at the site of a proposed new six-story concrete frame building that was at a fifth floor level, there was a worker that was using a gang ladder to carry material from the first floor to the second floor when the material got stuck, and the worker fell down backwards. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. There were no permanent stairs in a state of readiness at the site. There were no safety measures for material handling provided. The worker had failed to maintain three points of contact during the operation. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to maintain permanent stairs at the site. A partial Stop Work Order (PSWO) was issued for all work on the fifth floor level, and for all material handling involving the use of a ladder. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524846 Y / 39524847 X |  | New Building | B08011331 | Worker Fell | DDG 346 AVE U OWNER LLC | Redhoek Construction LLC
2024-01-15 | Manhattan | 25 | TUDOR CITY PLACE | 0 | 1 | A DOB inspector reported that at the site of a fully occupied 23-story building in which there was exterior renovation and façade repair work being performed, there were two workers that were on a suspended scaffold on the fourth floor level of exposure 2 that were grinding & cutting while performing pointing work when a cable for the scaffold was cut by the grinder, and the scaffold swung ninty degress to a vertical position. The workers had lifelines, and were able to climb to the fourth floor ledge. The workers were then able to walk the ledge and access the top of the sidewalk shed. One of the two workers suffered a minor leg injury, and was transported to an area hospital. The Pre-Shift Safety Meeting that was held was found to have been inadequate, as the use of a grinder during pointing operations was not clearly discussed during the meeting. The grinder was being used contrary to the manufacturer's specifications, as the grinder was missing a handle and a wheel guard, which caused the suspended scaffold's cable to be cut. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for a failure to comminicate required information to workers prior to the start of work, and one violation for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all use of suspended scaffolding, and for all facade operations (at all exposures). | ECB Violation | 39524843Z 39524844K 39524845M |  | ew-other | 123341721 | Mechanical Construction Equipment | 25 TUDOR OWNERS | upgrade construction corp inc
2024-01-15 | Queens | 31-41 | 23 STREET | 0 | 1 | A DOB inspector reported that at the site of an occupied eleven-story building in which there was interior renovation, minor parapet, and bulkhead work being performed, there was a worker that was using an A-Frame ladder to remove sheetrock from an apartment wall when the worker hit his head on a metal door jam. An ambulance was called, and the worker was taken to a nearby hospital. All applicable documents were provided & maintained as required. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alteration Type 2 | Q00545781 | Worker Fell | CATHERIN SHERIDAN HOUSING DEV | MDG Design and Construction LLC
2024-01-16 | Brooklyn | 499 | PRESIDENT STREET | 0 | 1 | A DOB inspector reported that there was a worker that was operating a forklift in order to receive a delivery of rebar when the load of the delivery caused the forklift to tip forward, and the worker (the forklift operator) hit his head on the machine. The worker suffered a laceration. The worker was evaluated by an on site medic, and was then transported to Methodist Hospital for further treatment. The load was found to have overloaded the forklift. An ECB Violation was isssued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all forklift operations. | ECB Violation | 35593382Z |  | NEW BUILDING | 321598400 | Worker Fell | 473 PRESIDENT LLC | URBAN ATELIER GROUP LLC
2024-01-16 | Manhattan | 25 | WEST 4 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing six-story building in which there was alteration work being performed, there were two workers that were working in a three-foot deep trench/excavation that were removing foam pockets from voids in the underpinning. One of the workers was using a hammer drill, and this drill struck the other worker on his right hand. The struck worker suffered a laceration. The struck worker was escorted to an area hospital by a foreman. The hammer drill that was being used was found to have been used contrary to the manufacturer's specifications. The hammer drill was removed from the site prior to the inspector's arrival to the site. The injured worker was found to have not received a Site-Specific Safety Orientation, and to have not attended the Pre-Shift Safety Meeting, prior to the commencement of work. There was a passenger elevator at the site that was being used to transport personnel & material at the site. When asked to view a copy of the temporary permit for the conversion of the elevator, a permit was not provided. Five ECB Violations were issued: one violation for the tampering with the evidence of an incident, one violation for a failure to comply with the manufacturer's specifications, one violation for a failure to ensure that all workers had attended the Pre-Shift Safety Meeting, one violation for a failure to ensure that all workers had received a Site Safety Orientation or Refresher, and one violation for a failure to provide a temporary permit for the conversion of the elevator from a passenger elevator to construction use. A partial Stop Work Order (PSWO) was issued for all use of hammer drills, for all underpinning operations, and for all use of the elevator for construction purposes. The General Contractor will be required to maintain all safety measures moving forward. | ECB Violation | 39524899H 39524898X 39524903L 39524896M 39524897Y |  | alteration | M00791674 | Excavation/Soil Work | NEW YORK UNIVERSITY | structure tone llc
2024-01-16 | Queens | 23-15 | 44 ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new 67-story concrete frame building that was up to the 62nd floor level, there was a worker that was using an A-Frame to remove sheetrock from a hoist when the worker slipped on ice and fell. The worker suffered a back injury, as well as hand bruises. An ambulance was called, and the worker was taken to a nearby hospital. The area where the incident occurred was not adequately maintained to be free from tripping and falling hazards. The scope of work for daily operations was not communicated, and there had been no hydrostatic test performed for the work being performed above the 42nd floor level. Three ECB Violations were issued: one violation for a failure to maintain housekeeping, one violation for a failure to maintain a standpipe in a state of readiness, and one violation for a failure to communicate the scope of work for daily operations. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524889 Y / 29524890 L / 39524891 N |  | New Building | 420656695 | Worker Fell | CP VIII LIC OWNER, LLC | Carmel Construction East
2024-01-17 | Manhattan | 1076 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing four-story building in which there was gut renovation being performed, there was a worker (a carpenter) that was installing a baseboard trim that was using a handheld knife to cut masonite floor protection when the knife slipped, and the worker's wrist was cut by the knife. The worker was taken to a hospital by a co-worker. The worker did participate in the Pre-Shift Safety Meeting, and the Pre-Shift Safety Meeting was found to have adequately discussed the scope of work. There were no unsafe conditions observed, and all required documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration-1 | 121208497 | Other Construction Related Incidents | MAD AVE & 81 ST CP | The J Construction company llc
2024-01-18 | Bronx | 1120 | Bronx River Avenue | 0 | 1 | A DOB inspector reported that at the site of an existing two-story building in which there was an interior alteration being performed, there was a worker that was using a six-foot tall A-Frame ladder to wipe down window frames when the worker fell from the sixth step of the ladder. The worker suffered a fractured ankle, and was transported to an area hospital. The ladder that was being used was found to have been defective, as it was twisted, and the worker did not maintain contact with all points of the floor, which made the ladder unstable. The ladder was not visually inspected prior to use. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 39524942Y |  | ALTERATION 1 | X00786753 | Worker Fell | 1120 BRONX RIVER AVENUE PE LLC | CNY BUILDING CORP
2024-01-19 | Bronx | 1763 | WEST FARMS ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new eight-story building, there was a worker that was installing concrete formwork when the worker lost balance and fell into a water main pit that was approximately five to six feet deep. The worker was taken to a hospital. An Aggravated Level 2 ECB Violation was issued for a failure to institute adequate safety measures. A partial Stop Work Order (PSWO) was issued for all concrete work. | ECB Violation | 35667686R |  |  | X00634103-I1-GC | Worker Fell | 1759-63 W. FARMS RD LLC | City Wide
2024-01-19 | Brooklyn | 268 | BARBEY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new fourteen-story building, there was a worker that using stilts while painting that tripped and fell. The worker suffered injuries to his back and to one of his knees. The worker was transported to a nearby hospital by an ambulance. The walking/working area was not maintained to be free of obstacles & tripping hazards. There were no safety measures in place. Two ECB Violations were issued: one violation for a failure to safeguard all persons and property, and one violation for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of stilts. | ECB Violation | 39524976M / 39524977Y |  | NEW BUILDING | 321594137 | Worker Fell | EMPIRE STATE DAIRY LLC | BUSHBURG BUILDERS LLC
2024-01-19 | Brooklyn | 815 | KINGS HIGHWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story concrete frame building that was at a fifth floor level, there was a worker on the first floor that was performing a housekeeping operation when the worker fell through a hole opening & landed in the cellar. The worker fell approximately seventeen feet. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. An X-ray showed that the worker did not suffer any major injuries. The hole opening that the worker fell through was being used to handle material between floors. There had been plywood placed on the opening, but the plywood was not secured, and the plywood and the opening were not marked. There were no additional safety measures (such as guardrails) implemented to safeguard personnel from a hazardous falling condition. There was a concrete washout box present at exposure 1, and a dumpster container present at exposure 4, without a Department Of Transportation (DOT) permit. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to obtain DOT permits. A partial Stop Work Order (PSWO) was issued for all material handling. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39524974 Z / 39524975 K |  | New Building | BOO645335 | Worker Fell | 815 KHY GROUP LLC | Vinbaytel Developments LL
2024-01-19 | Manhattan | 126 | EAST 57 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 28-story building, there was a worker (a carpenter) that was using an A-Frame ladder to strip formwork when a beam slipped from the worker's hand and struck the worker on the head. The worker did not suffer any cuts, bruises, or bleeding. The worker was transported to Cornell Hospital by an ambulance. The worker had failed to maintain three points of contact while using the ladder. An ECB Violation was issued for a failure to institute and maintain safety measures. The General Contractor will be required to provide & maintain adequate safety measures for operations moving forward. | ECB Violation | 39524971N |  | NEW BUILDING | M00556884-I1-GC | Other Construction Related Incidents | MRR 1326 LLC | PLAZA CONSTRUCTION LLC
2024-01-19 | Manhattan | 212 | WEST 124 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story building that was topped off and fully enclosed, there was a worker (a mason) that was carrying a cement bag in order bring the bag to a designated storage area when the worker tripped over two cement bags that had already been placed & stacked in the storage area. The worker was found by a co-worker bleeding on the floor. The worker that tripped suffered injuries to the back, to the neck, and to the right hand. The worker was transported to Harlem Hospital by an ambulance. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 121188847 | Worker Fell | HP MARCUS GARVEY HOUSING DEVEL | ARDSLEY CONSTRUCTION SERV
2024-01-22 | Queens | 72-01 | QUEENS BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of a proposed new twelve-story building that was topped off and fully enclosed, there was a worker on the sixth floor that was using an A-Frame ladder to install a grill for an air conditioner/AC when the worker fell off of the ladder. The worker suffered injuries to his back and to one of his legs. The worker was transported to a hospital by an ambulance. The worker had failed to maintain three points of contact on the ladder. An ECB Violation was issued for a failure to institute & maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524997L |  | NEW BUILDING | 420666283 | Worker Fell | WOODSIDE DEVELOPMENT GROUP LLC | SBGC LLC
2024-01-24 | Brooklyn | 1352 | 36 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new eight-story concrete frame building that was at a roof level, there was a worker that performing housekeeping work that was removing tape from a painting operation in the stairway between the third & fourth floors when the worker was then found sitting in the stairway, complaining about back pain. The worker walked to an ambulance. At the hospital, the worker was treated for a sprained wrist. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, logs for the Pre-Shift Safety Meeting were found to have been inadequate. An ECB Violation, unrelated to the incident, was issued for a failure to communicate the scope of work for all trades at the construction site during the Pre-Shift Safety Meeting. | ECB Violation | 39525066H |  | New Building | 320911607 | Worker Fell | CONGREGATION BEIS SHLOIME | Ray Builders INC
2024-01-24 | Brooklyn | 20 | VITAL AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new six-story concrete frame building, there was a worker on the fourth floor level that was using an A-Frame ladder to perform a carpentry operation on a window frame when the worker lost balance and fell five feet off of the ladder. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The worker did not maintain three points of contact while using the ladder. The worker was not provided with a working platform for an elevated operation, which created an unsafe & hazardous falling condition. An ECB Violation was issued for a failure to comply with the manufacturer's specifications for the use of the ladder. The General Contractor will be required to provide and maintain adequate safety measures for elevated operations going forward. | ECB Violation | 39525068 L |  | New Building | 321600530 | Worker Fell | VBK C3 OWNER LLC | Apex Building Company INC
2024-01-24 | Queens | 78-29 | AUSTIN STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a wooden gang ladder to descend from the erection floor when the worker fell from the ladder. The worker was taken to an area hospital by an ambulance. The ladder that was being used was missing handrails. An Aggravated Level 2 ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work on the erection floor. | ECB Violation | 039104262J | 012424CERFC01 | NB 7 STORIES | Q00775081 | Worker Fell | 78-29 AUSTIN STREET HOLDING LL | RYBAK DEVELOPMENT CORP
2024-01-25 | Brooklyn | 16 | DUPONT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 41-sotry building that was topped off, there was a worker (a carpenter) at the first ring beam of the roof level that was stripping a column when the worker fell approximately ten feet. The worker was wearing a personal fall arrest system (PFAS), but was not tied off. The worker suffered a back injury, and was transported to Bellevue Hospital by an ambulance. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39525096Z |  | NEW BUILDING | B00604543-I1-GC | Worker Fell | GREENPOINT LANDING LOT 6 LLC | MONADNOCK GEN'L CONT INC
2024-01-25 | Brooklyn | 60 | CEDAR STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story concrete frame building that was at a roof level, there was a pedestrian that was walking that has alleged to have slipped and fallen on the sidewalk of exposure 1. There were no witnesses to the incident. An ambulance was called, and the pedestrian was taken to a nearby hospital. There were multiple areas that were found to have been consumed with water. An ECB Violation was issued for a failure to maintain adequate housekeeping, as there were public areas that were not maintained to be free from slipping & tripping conditions. | ECB Violation | 39525122 N |  | New Building | B00653212 | Other Construction Related Incidents | CEDAR TOWER LLC | City Builders NYC LLC
2024-01-25 | Queens | 95-25 | WALTHAM STREET | 0 | 1 | A DOB inspector reported that there was an unidentified male that walked through an open gate and entered the site that then laid down on the ramp to the hoist and claimed to have suffered an injury. The unidentified person was transported to a hospital for evaluation. An ECB Violation was issued for a construction site gate that was left wide open & easily accessible, which created a hazardous wandering and trespassing opportunity and engagement. | No Dispatch | 39525129X |  | new building | Q00682720 | Other Construction Related Incidents | AMAR MARKETING ENTERPRISE 2 LL | Shalbro construction group
2024-01-30 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 30-story building in which the thirteenth floor was being formed, there was a worker that was moving a gang box when the worker hit a reshore, and the reshore fell on the worker's shoulder. The worker went to a City MD, and then to a hospital, to receive treatment. The incident took place at 09:00 AM, but was not reported to DOB until 03:00 PM. There were no unsafe conditions found at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was taken to address a possible condition that may have caused the incident. However, an ECB Violation was issued for a failure to promptly notify DOB of an incident. | ECB Violation | 39525225X |  | NEW BUILDING | M00623712-I1-GC | Material Fell | UES RESIDENTIAL LLC | LENDLEASE(US)CONSTRUCTION
2024-01-30 | Manhattan | 600 | WEST 125 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 34-story building that was topped off, there was a worker (a carpenter) that was in a hallway on the ground floor that was using an A-Frame ladder to install top track for metal framing & drywall operations when the worker lost balance and fell from the third step of the ladder. The worker complained about back pain. An ambulance was called, and the worker was transported to Mount Sinai Hospital. The worker did not maintain three points of contact while using the A-Frame ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 39525220R |  | new building | 121206685 | Worker Fell | THE TRUSTEES OF COLUMBIA UNIV. | Pvarini Mcgovern LLC
2024-01-31 | Bronx | 323 | JACKSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new eleven-story building that was topped out and at an interior finish stage, there was a worker (a carpenter) on the sixth floor that was using a platform ladder to insulate a bathroom wall when the worker fell from the ladder. The worker was found on the floor, and the worker was complaining about having suffered an injury to the lower left side of the back. An ambulance was called, and the worker was transported to Lincoln Hospital in a conscious and stable condition. There were no witnesses to the incident. The working area was found to have been free of any unsafe conditions. The worker did maintain three points of contact while using the ladder. The worker received a Site Safety Orientation and a Pre-Shift Safety Meeting, and the use of ladders for overhead work was discussed during the Pre-Shift Safety Meeting. A valid Site Safety Training (SST) card was provided by the General Contractor. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00759977 | Worker Fell | POWERS TRANSITIONAL HOUSING DE | Archstone Builders
2024-01-31 | Brooklyn | 1333 | BROADWAY | 0 | 1 | The Site Safety Manager reported that there was a worker (a plumber) that was using an A-Frame ladder to work on a sprinkler pipe when the worker slipped off of the ladder. An ambulance was called for the worker. | No Dispatch |  |  | NEW BUILDING | 320912376 | Worker Fell | 1333 BROADWAY LLC | E&T SKYLINE CONSTRUCTION
2024-01-31 | Queens | 26-32 | JACKSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 49-story building that was at a roof level, there was a worker (a carpenter) that was climbing a platform ladder in order to perform ceiling frame work when the worker lost balance and fell. The worker claimed to be suffering pain in the left side of his body. An ambulance was called, and the worker was taken to a hospital. There were no unsafe conditions observed. All required safety measures were in place, and a Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training (SST) were all provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | Q00608144-I1-GC | Worker Fell | ITALIC REALTY, L.L.C. | HUNTER ROBERTS CONSTRUCTI