## Sheet1
Monthly Incident Details: January 2025
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2025-01-02 | Manhattan | 301 | PARK AVENUE | 1 | 0 | At the site of an existing 44-story building in which there was alteration work being performed, there was a worker (an electrical helper) that was assisting an electrician with the installation of a kindorf. The worker was walking on the reverse side of a finished drywall ceiling (the ceiling of the grand ballroom) when a section of ceiling that the worker stepped on gave way and collapsed, and the worker fell through the ceiling. The worker's fall was fatal. The ceiling was adjacent to a catwalk, and the worker had walked around railings and was on top of the metal framing of the ceiling when the incident occurred. Co-workers that were on the catwalk did not witness the incident. There was no fall protection or personal protective equipment (PPE) instituted for the operation. The scope of work was found to have not been adequately communicated, and the lighting at the site was poor. A DOB Violation and a full Stop Work Order (FSWO) were issued. | DOB Violation |  | VIO25-50441 | Alteration Type 1 | 121191245 | Worker Fell | UNAVAILABLE OWNER | Suffolk Construction Company
2025-01-03 | Bronx | 671 | TINTON AVENUE | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker on the eleventh floor that was using a six-foot tall A-Frame ladder in order to relocate electrical wiring. The worker was using the ladder to reach a ceiling that was approximately ten feet high. The worker was found on the ground. The worker complained about pain in the right shoulder, and requested an ambulance. The worker was taken to Lincoln Hospital for evaluation. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00695344-I1-GC | Worker Fell | TINTON APARTMENTS HOUSING DEVE | MOUNTCO CONST. & DEV.CORP
2025-01-03 | Manhattan | 140 | WEST 81 STREET | 0 | 1 | At the site of a proposed new seven-story building that was topped off and fulling enclosed, there were two workers that were exiting an elevator on the third floor when one of the workers grabbed a cordless skill saw. This accidentally triggered the saw, and the tip of the worker's left index finger was cut. The worker was transported to a hospital by an ambulance. The worker received four stitches and then went home. The skill saw was being transported to another floor without being secured, which was contrary to the manufacturer's specifications. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for the failure by the contractor to secure the area of the incident, and one violation for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all use of the skill saw for carpentry operations. | ECB Violation | 39535626X / 39535626X / 39535628J |  | Alteration Type 1 | 122042306 | Other Construction Related Incidents | 142 WEST 81ST STREET LLC | EES BUILDERS GROUP LLCS Builders Group LLC
2025-01-06 | Brooklyn | 170 | FREEMAN STREET | 0 | 1 | A project manager reported that there was a worker (a carpenter) that was on the stairs between the first floor and cellar that was handling material when the worker tripped down the stairs. There were no witnesses to the incident. The worker was transported to a hospital by an ambulance in a conscious state. | No Dispatch |  |  | NB 8 Stories | 321598277 | Worker Fell | 170 FREEMAN LLC | M.N.C. GENERAL CONTR CORP
2025-01-06 | Manhattan | 895 | PARK AVENUE | 0 | 1 | At the site of an existing 20-story building in which there were façade repairs being performed, there was a worker that was using an extension ladder to access a supported pipe scaffold (a baker scaffold) at the twentieth floor when the worker fell from the ladder. The worker complained about back pain, and was transported to a nearby hospital. The worker did not use the extension ladder as per the manufacturer's specifications, and the scaffolding was missing guardrails and other safety features. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications for the baker scaffold, and one violation for a failure by the contractor to provide and maintain adequate protection for the workers. | ECB Violation | 039535673Z and 039535674K |  | ALT | M00507711-I1-GC-CX | Worker Fell | PARK SEVENTY-NINTH CORP | NOVA CONSTRUCTION SERVICE
2025-01-06 | Queens | 33-00 | NORTHERN BOULEVARD | 0 | 1 | A project manager reported that there was a worker (a carpenter) that suffered an electrical shock. An ambulance was called, and the worker was transported to a nearby hospital to receive treatment. A DOB inspector visited the site and reported that the incident occurred due to human error. No enforcement action was necessary. | No Action Necessary |  |  | Electrical | Q01122049 | Other Construction Related Incidents | UNAVAILABLE OWNER | John Foley Forest Electric Corp
2025-01-08 | Brooklyn | 122 | SANDFORD STREET | 0 | 2 | At the site of a proposed new ten-story concrete frame building that was at a roof level and partially enclosed from the second floor up, there were two workers that were attempting to set up a baker scaffold on the stair landing between the ninth and tenth floors for a sanding operation when both workers slipped and fell down the stairway. The workers suffered arm, leg, and back injuries. An ambulance was called, and the two workers were taken to a nearby hospital. Two ECB Violations were issued: one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for a failure to provide a scaffold user certification for one of the two workers. A partial Stop Work Order (PSWO) was issued for all use of baker scaffolding, and for all stairway operations. | ECB Violation | 39535778 P / 39535779 R |  | New Building | 321588705 | Worker Fell | MYRTLE OWNER LLC | McGowan Builders INC
2025-01-09 | Brooklyn | 71 | PRINCE STREET | 0 | 1 | At the site of a proposed new 33-story building, there was a worker (an elevator technician) that was working on a platform in an elevator shaft that was using a mini crowbar to adjust railing when the worker was accidentally hit on the nose by the crowbar. The worker walked to a nearby urgent care facility. The worker was expected to return to work. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | B00542600 | Other Construction Related Incidents | 67 PRINCE STREET GROUND OWNER | Joy Construction Corp
2025-01-09 | Manhattan | 1290 | 6th Avenue | 0 | 1 | At the site of an occupied 43-story building in which there was a façade operation being performed that was nearing completion, there was a worker that was on the top of a sidewalk shed deck that was using the cross braces in order to disembark the sidewalk shed when the worker slipped and fell. The worker suffered injuries to the back and arm, and suffered a laceration to the nose. An ambulance was called, and the worker was taken to a nearby hospital. The contractor had failed to provide adequate safety measures, such as PPE or a platform, for workers to be able to safely disembark from the sidewalk shed. Three ECB Violations were issued: one violation for a failure to safeguard all persons and property (see Complaint # 1686204 for this violation) and two violations, one that was issued to the General Contractor (see Complaint # 1686204 for this violation), and one that was issued to the Site Safety Manager (see Complaint # 1686163 for this violation), for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all exterior sidewalk shed operations (see Complaint # 1686163 for this SWO). | ECB Violation | 39535845 X , 39535843 M , 39535844 Y |  | Alteration Type 2 | M00909197 | Worker Fell | 51 W. OWNER, LP | Colgate Restoration Corp
2025-01-10 | Brooklyn | 532 | NEPTUNE AVENUE | 0 | 1 | At the site of a proposed new 22-story building, while there was a scaffold removal being performed at tower 1 of exposure 3, there was a worker that was tied off to the coupling of the scaffold when the coupling gave way, and the worker fell with the scaffolding frame. The worker fell approximately seventy feet. The worker suffered extensive injuries to the left side arm, leg, hip, and back. An ambulance was called. The worker was taken to NYU Langone Trauma Center in a responsive state. The worker was not tied off to the life line that was provided. The scaffolding was being dismantled in an unsafe manner, as there was metal planking that was being lowered that was missing a pin in the scaffold frame, which caused the coupling to snap and the frame to fall, which pulled the worker from his position. The scaffolding was found to have not been maintained, and was not inspected prior to the start of operations. The General Contractor was aware of a weather advisory that was issued by DOB on January 9, 2025. According to the Site Safety Manager's log book, the Site Safety Manager (SSM) had stopped exterior work on the previous day. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property, one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or Refresher, one violation for a failure to comply with the manufacturer's specifications, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all use and dismantling of supported scaffolding at all three towers. | ECB Violation | 39535877 K , 39535878 M , 39535875 R , 39535876 Z |  | NB | 320622714 | Worker Fell | UNAVAILABLE OWNER | Rybak Development Corp
2025-01-13 | Manhattan | 174 | MOTT STREET | 0 | 1 | The Construction Superintendent reported that there was a worker that fell at the cellar level. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | Alteration | 123819305 | Worker Fell | 174 MOTT OWNER LLC | MJM ASSOCIATES
2025-01-13 | Manhattan | 660 | LEXINGTON AVENUE | 0 | 1 | The Site Safety Manager reported that there was a pedestrian that tripped in front of the site. The pedestrian took a cab to an urgent care center. | No Dispatch | 39535933X |  | new building | M08028413 | Other Construction Related Incidents | 660 LEXINGTON AVENUE DEVELOPME | RYBACK DEVELOPMENT
2025-01-14 | Manhattan | 20 | randalls island | 0 | 1 | At the site of an existing two-story building in which there was alteration work being performed, there was a worker that was using a handheld cordless drill when the worker suffered an injury to the left index finger. The worker was taken to a hospital for evaluation. All required safety measures were found to have been in place. However, there were guardrails missing at the second floor level. Two ECB Violations that were issued: one violation for a failure to promptly notify DOB if the incident, and one violation for a failure institute and maintain safety measures. | ECB Violation | 39535976X 39535977H |  | ALT | M00918146 | Mechanical Construction Equipment | NYC PARKS DEPT | HUNTER ROBRETS CONSTRUCTI
2025-01-14 | Manhattan | 30 | EAST 85 STREET | 0 | 1 | At the site of an existing 30-story residential building in which there was a façade restoration being performed, there was a worker on the twenty-first floor balcony that was walking backwards when the worker tripped over material and fell. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. The material that the worker tripped over was placed on the balcony by the worker as part of the operation. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, an ECB Violation was issued for a failure to immediately notify DOB of the incident. | ECB Violation | 39535992 X |  | Alteration Type 2 | M01037537 | Worker Fell | 30 E 85TH ST CONDOMINIUM | Nova Construction Service
2025-01-15 | Manhattan | 1299 | 3rd AVENUE | 0 | 1 | At the site of a proposed new 33-story building, there was a worker that was carrying an A-Frame ladder that fell down the stairs between the thirty-third floor and the roof. The worker sustained a cut to the eyebrow, and was suffering from back pain. The worker was transported to a nearby hospital by an ambulance. The worker had tripped over screws that were present on the stairs. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 039536014J |  | New Building | 121187964 | Worker Fell | 215 EAST 68TH STREETL.P. | Press Builders INC
2025-01-16 | Manhattan | 341 | WEST 38 STREET | 0 | 1 | At the site of an existing twelve-story building that was being converted into a nineteen-story building, there was a worker (a painter) that was using stilts to perform a compound operation on the ceiling when the worker fell. An ambulance was called, and the worker was transported to a hospital. The work area was found to have not been free of tripping hazards, which is not in compliance with the manufacturer's specifications for the stilts. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 039536072H |  | ALTERATION TYPE 1 | 121188801-01-AL | Worker Fell | CENTRAL PROPERTIES OWNER LLC | ELK WEST 38TH LLC
2025-01-17 | Queens | 94-15 | SUTPHIN BOULEVARD | 0 | 1 | At the site of a proposed new 24-story concrete frame building that was at a roof level, there was a worker that was sitting near a stack of sheetrock when the sheetrock collapsed onto the worker's leg. An ambulance was called, and the worker was taken to a hospital. The area where the incident occurred was supposed to be a staging area for construction materials. There was no controlled access zone (CAZ) established, and the sheetrock was not strapped, braced, or secured in order to maintain stability and prevent movement. An ECB Violation was issued for a failure to institute & maintain safety measures. | ECB Violation | 39536131 Z |  | New Building | Q00657653 | Other Construction Related Incidents | 95TH AVENUE EQUITIES LLC | JOEL WEISS
2025-01-20 | Queens | 58-01 | QUEENS BOULEVARD | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker that was performing a formwork stripping operation that fell from scaffolding. The worker fell approximately six feet, and suffered a laceration to the head and a shoulder injury. The worker was transported to a hospital. The scaffolding that the worker fell from was found to have been not been properly planked. An Aggravated Level 2 ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all stripping operations on the first floor. | ECB Violation | 39135942P |  | NB Majory Building (12 Stories) | Q00790556 | Worker Fell | 5801 MANAGEMENT LLC | NEW EMPIRE BUILDER CORP
2025-01-21 | Brooklyn | 324 | 9 STREET | 0 | 1 | At the site of an existing two-story building that was being vertically enlarged into a six-story building, there was a worker (a member of the housekeeping crew) that was walking down the stairs between the second & third floors when the worker slipped and fell. The worker was transported to Methodist Hospital for evaluation. There were no unsafe conditions observed, and all required safety measures were in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | B00668652-I1-GC | Worker Fell | ABRAMS HOLDINGS, LLC | K S K CONSTRUCTION GROUP
2025-01-21 | Manhattan | 333 | EAST 38 STREET | 0 | 1 | At the site of an existing fourteen-story building in which there was alteration work being performed, there was a worker (a steel erector) on the eleventh floor that was using a steel bar to move three long pieces of Q-decking onto a platform when a section of corrugated steel fell, and the worker fell with the steel approximately eight feet to the floor below. The worker was taken to Bellevue Hospital to be evaluated. The corrugated steel platform was not secured in accordance with the structural design drawings. An ECB Violation was issued for the performance of work that does not conform to the approved design drawings. A partial Stop Work Order (PSWO) was issued for all use of the corrugated steel platform. | ECB Violation | 39536154L |  | ALTERATION | M00958873-I1-GC | Worker Fell | UNAVAILABLE OWNER | TISHMAN CONSTRUCTION CORP
2025-01-21 | Queens | 44-01 | 11 STREET | 0 | 1 | The Construction Superintendent reported that there was a delivery truck driver that got their arm/hand stuck in a lift gate. An ambulance was called. | No Dispatch |  |  | ALTERATION - FAÇADE | Q01042930-S4-GC | Other Construction Related Incidents | METROPOLITAN LIC LLC | MEGA CONTRACTING GP LLC
2025-01-22 | Manhattan | 30 | HUDSON YARDS | 0 | 1 | At the site of an existing 68-story building in which there was an interior renovation being performed, there was a delivery worker that was unloading cement at the first floor loading dock when the worker was struck by the handle of a pallet jack. The worker complained about suffering from leg pain, and was transported to Bellevue Hospital. There were no unsafe conditions observed, and all required safety measures were in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | M01116940-I1-GC | Mechanical Construction Equipment | UNAVAILABLE OWNER | JRM CONSTRUCTION MGMT LLC
2025-01-23 | Brooklyn | 506 | 6 STREET | 1 | 0 | At the site of an existing and occupied 12-story building (a hospital) in which there were structural and concrete repairs being performed in order to accommodate an emergency room/ER ramp, there as a worker that was using a wheelbarrow to remove and load concrete debris into a container when the worker was found unconscious. The worker was transported to Methodist Hospital. The worker was diagnosed with a brain hemorrhage. The worker was in critical condition. On February 6, 2025, it was reported that the worker passed away. The housekeeping around the container was found to have been poor, as the area was wet, and there was ice present. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work under the permit associated with this work, DOB permit # B01061070-I1-ST. | ECB Violation | 39536231X |  | ALTERATION | B01061070-I1-ST | Worker Fell | M E HOSPITAL | TURNER CONSTRUCTION COMPA.
2025-01-23 | Manhattan | 1 | LIBERTY PLAZA | 0 | 1 | At the site of an existing & occupied 54-story building in which there was alteration work being performed, there was a worker (a welder) that was grinding a reinforced steel plate when sparks burned the top of the worker's left hand. The worker was transported to the Cornell Hospital Burn Unit to receive meidcal attention. The worker was wearing an inflammable shirt while performing hot work. An ECB Violation was issued for a failure to provide adequate PPE (Personal Protective Equipment) during a hot work operation. A partial Stop Work Order (PSWO) was issued for all hot work. | ECB Violation | 39536206Y |  | ALTERATION | M00925043-S1-ST | Other Construction Related Incidents | ONE LIBERTY PLAZA CONDO | TURNER CONSTRUCTION COMPA
2025-01-24 | Brooklyn | 71 | PRINCE STREET | 0 | 1 | At the site of a proposed new 33-story building, there were four workers on the second floor that were using an A-Frame cart to move doors when one of the doors slid off and struck one of the worker's feet. The struck foot began to swell, and the worker left the site to go to a City MD to receive medical attention. The A-Frame cart that was being used was found to have been modified, contrary to the manufacturer's specifications. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of A-Frame carts. | ECB Violation | 39536272M |  | NEW BUILDING | B00542600-I1-GC | Other Construction Related Incidents | 67 PRINCE STREET GROUND OWNER | JOY CONSTRUCTION CORP.
2025-01-27 | Bronx | 1480 | BRYANT AVENUE | 0 | 1 | As per update provided by General Contractor (JSB WORKS INC) representative Abe Goldberg (718-286-9425) injured worker is still hospitalized and in stable condition after 30-foot fall from roof of building. Worker is recovering from significant injuries sustained during fall. CSE will take additional enforcement action as follows in addition to full SWO issued yesterday Complaint # 2409066- Violation # 395336306L- Failure to designate construction superintendent as required for conversion of 3 family building to 10 family altering and demolishing in excess of 50 percent of building and change in egress-FSWO Complaint # 2409067- failure to maintain safety measures resulting in injury to worker B109 Aggravated 2, housekeeping, no approved documents on site-FSWO Complaint # 2409069- Failure to notify the department immediately of incident involving worker injury- A8 CSE has issued 3 FSWO with a total of 6 class 1 violations and General Contractor is required to provide means and methods for all exterior work and work at roof level to prevent further occurrence. General Contractor is required to implement and maintain all safety measures for fall protection (CAZ, guardrails, issuance of PFAS for all workers performing exterior work and work at roof level. | DOB Violation | VIO25-50448 |  | ALTERATION | X0103 | Worker Fell | 1482 BRYANT LLC | JSB WORKS INC
2025-01-27 | Bronx | 75 | CANAL STREET WEST | 0 | 1 | At the site of a proposed new seven-story building, there was "Workhorse" material lifting crab that was being relocated when the "Workhorse" struck a worker (an ironworker) on the right leg. The worker was transported to Lincoln Hospital for evaluation. There was no watchperson present, and there were no safety measures in place. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property affected by construction, one violation for a failure to provide a designated Site Safety Manager or Coordinator, one violation for a failure to notify DOB of the installation of the "Workhorse" material lifting crab, and one violation for a failure to provide an authorized supervisor for the installation of the "Workhorse" material lifting crab. A partial Stop Work order (PSWO) was issued for all construction operations. | ECB Violation | 039536294N 03953629P 039536296R 039536297Z |  | NB | X00658182-I1-GC | Mechanical Construction Equipment | CANAL WEST 75, LLC | HUNTER ROBERTS CONSTRUCTI
2025-01-27 | Brooklyn | 89 | DEKALB AVENUE | 0 | 1 | At the site of a proposed new 30-story building that was topped off and enclosed up to the twentieth floor, there was a worker that tripped on the stairs at the second floor landing. The worker complained about back pain, and was transported to a nearby hospital to receive medical attention. There were no unsafe conditions observed, and all requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building 30 Stories | B00664860 | Worker Fell | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-01-28 | Manhattan | 100 | WEST 37 STREET | 0 | 1 | At the site of a proposed new 69-story mixed-use building that was having the twenty-seventh floor framed, there was a worker (an electrician) that was unloading electrical conduits from a cart when the worker tripped on loose shoring posts that were on the ground. The worker suffered a twisted ankle. The worker was transported to a nearby hospital. Two ECB Violations were issued: one violation for a failure to maintain adequate housekeeping, and one violation for an inadequate Site Safety Orientation. | ECB Violation | 39536312H / 39536313J |  | NEW BUILDING | M00643592-I1-GC | Worker Fell | RPY 989 LLC | ERTCON BUILDERS LLC
2025-01-28 | Manhattan | 450 | 11 AVENUE | 0 | 1 | At the site of a proposed new 51-story building, there was a three-man crew on the thirteenth floor that moved a panel from an A-Frame to an upright position. After the panel was secured into a track at the exterior of the building, one of the workers complained about suffering from neck pain. The worker left the site to go to a City MD to receive treatment. The A-Frame that was being used had been modified to accept an oversized panel, contrary to the manufacturer's specifications. The A-Frame had additional plywood secured to its base, and the uprights were used in an unsafe manner. An ECB Violation was issued for a failure to comply with the manufacturer's specifications (for the A-Frame). | ECB Violation | 39536314L |  | New Building | 121188641 | Other Construction Related Incidents | 37-11 OWNER LLC | Atria Builders LLC
2025-01-30 | Bronx | 1139 | ANDERSON AVENUE | 0 | 1 | At the site of a Alteration-CO job in which a building was being both vertically and horizontally enlarged from a two-story building to a four-story building, there was a construction fence that was being removed. One worker was attempting to pass down an eight-foot piece of plywood to another worker when the worker that was passing the plywood lost control, and the intended recipient of the plywood was struck by it. The struck worker suffered injuries to his right leg, and was transported to a hospital for evaluation. There was no watchperson, and no controlled access zone (CAZ), set up for the operation. There were no safety measures implemented. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property, one violation for a failure to provide adequate housekeeping (see Complaint # 2409296 for these two violations), and two violations, one that was issued to the General Contractor (please see Complaint # 2409296 for this violation), and one that was issued to the Construction Superintendent (see Complaint # 2409321 for this violation), for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all construction operations in the back yard (please see Complaint # 2409296 for this SWO). | ECB Violation | 039536463P 039536462N 039536464R 039536466K |  | NB | X00745543 | Material Fell | 1139 ANDERSON REALTY LLC | Builders Group USA INC