## Sheet1
Monthly Incident Details: February 2023
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2023-01-03 | Manhattan | 200 | EAST 20 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 19-story new building that was at a foundation phase, there was a worker that was standing on a ladder inside of a trench performing waterproofing work when the worker slipped and fell. The worker suffered leg and head injuries. The worker was rescued by the FDNY, and was taken to a hospital. A proper work platform was not provided. The grinder that was being used had the handle removed. There was a Yodock that was present in the street that was not filled with water, and was not secured or protected from being accidentally hit by a vehicle. There was no design drawing for a gangway that was being used to cross over the excavated area in the foundation. Four ECB Violations were issued: one violation for a failure to maintain safety measures, one violation for a failure to comply with the manufacturer's specifications, one violation for site logistics that were not as per the Site Safety Plan (SSP), and one violation for the absence of a design drawing for the gangway. A partial Stop Work Order (PSWO) was issued for all weatherproofing work. An appropriate work platform, and a Means and Methods, must be provided. | ECB Violation | 39511127P, 39511130X, 39511128R, 39511132J |  | NB | 121188936 | Worker Fell | 200 EAST 20TH LLC | MONCON INC
2023-01-03 | Manhattan | 53 | WEST 119 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing three-story building in which there was excavation work (a wood trench installation) being performed, there was a worker that fell from a scaffold that landed in the excavation area at the rear of the building. The worker was removed from the site and was taken to an area hospital for treatment. The rear yard of the adjacent property was not protected from the excavation. Three ECB Violations were issued: one violation for a failure to safeguard, and two violations for a failure to notify DOB of the incident: one violation was issued to the General Contractor, and the second violation was issued to the Construction Superintendent. A partial Stop Work Order (PSWO) was issued for all work at the rear of the building. | ECB Violation | 39076861X/62H/63J |  | Alt-1 4 stories Vertical & Horizontal Enlargement |  | Worker Fell | NOTICE, JAMES | BTM CONSTRUCTION CORP
2023-01-03 | Queens | 153-10 | 88 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a nine-story concrete frame new building that was at a roof level, there was a worker that was walking down the stairway from the seventh floor to the sixth floor when the worker slipped and fell. The worker suffered back and leg injuries. An ambulance was called, and the worker was taken to a nearby hospital. The worker was walking freely, and was not transporting any material or equipment, when the incident occurred. The area where the incident occurred was found to have been maintained as per code, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 421133419 | Worker Fell | RUFUS KING PARK DEVELOPMENT CO | Monadnock Construction IN
2023-01-04 | Manhattan | 37 | HILLSIDE AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed nine-story new building that was topped out, there was a worker that picked up a few pieces of timber near the wall in the side yard when the worker stepped back and tripped on a roll of waterproofing material. The worker suffered an injury to the right shoulder. An ambulance was called, and the worker was transported to Harlem Hospital. The incident was determined to have occurred as the result of a worker error. No enforcement was issued in direct response to the incident. However, there were two ECB Violations that were issued to address conditions that were not related to the incident: one violation for the absence of an electrical permit for a standpipe pressure alarm system, and one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or refresher, as the injured worker's last orientation was dated September 7, 2021. A partial Stop Work Order (PSWO) was issued for all work above seventy-five feet. | ECB Violation | 39511190H / 39511191J |  | NB | 121205445 | Worker Fell | HILLSIDE HOUSING DEVELOPMENT F | MEGA CONTRACTING GP LLC
2023-01-05 | Manhattan | 122 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at the site of an 11-story building in which there was alteration work being performed, there was a worker (a TRV worker) that was using an A Frame ladder to install insulation on pipes when the worker fell four feet from the ladder. The worker was taken to an area hospital in a conscious state. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of ladders. | ECB Violation | 039511277K |  | ALT-1 |  | Worker Fell | 122 FIFTH ASSOC | Omni Build
2023-01-05 | Manhattan | 777 | WEST END AVENUE | 0 | 1 | A DOB inspector reported that at the site of an occupied 12-story residential building in which there was façade repair work in progress, and supported pipe scaffolding present, there was a worker (a scaffolding erector) that was on the parapet of the building on the roof that was passing materials to a co-worker when the worker fell six feet back on the roof. An ambulance was called, and the worker was transported to a hospital. The worker did not have a safety harness, and there was no appropriate work platform. An ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of supported pipe scaffolding. Safety measures for material handling, and for the operation going forward, must be provided. | ECB Violation | 39511267R |  | ALTERATION | M00597367-I1-GC | Worker Fell | 777 WEST END AVENUEASSOCIATES | JERRICK ASSOCIATES INC
2023-01-06 | Brooklyn | 24 | MIDDELTON STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 7-story new building that was at the seventh floor level, there was a boom truck operator that was found behind the boom truck, on the ground and with a blood on his forehead. It is possible that something fell on the boom truck operator. An ambulance was called, and the boom truck operator was transported to a hospital. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all exterior work at exposure 3 ten feet from the leading edge and for all deliveries at the rear yard. A Means and Methods must be provided and maintained going forward. | ECB Violation | 39511305Z |  | NB | B00490620-I1-GC | Worker Fell | KRULA HOLDINGS LLC | B T GENERAL BUILDERS INC
2023-01-06 | Manhattan | 140 | WEST STREET | 0 | 1 | A DOB inspector reported that at the site of an existing 32-story building in which there was alteration work being performed, there was a worker that carrying garbage bags that had debris in them from the nineteenth floor to the eighteenth floor when the worker slipped/tripped on the stairs. The worker was suffering from knee and back pain. An ambulance was called, and the worker was taken to a hospital. The worker was found to have been carrying the garbage bags on his shoulder, and was not using a construction debris container. An ECB Violation was issued for a failure to institute and maintain safety measures. | ECB Violation | 039511327J |  | Alt | M00525664-I1-GC | Worker Fell | UNAVAILABLE OWNER | CANIDO BASONAS CONST SVC
2023-01-06 | Queens | 1607 | WOODBINE STREET | 0 | 1 | A DOB inspector reported that at the site of a seventeen-story concrete frame new building that was topped off and fully enclosed, there was a worker that was using a six-foot tall ladder to caulk a window when the worker fell approximately three feet off of the ladder. The worker suffered an injury to his left knee. An ambulance was called, and the worker was transported to a hospital in conscious and stable condition. All safety measures were implemented, and all applicable logs were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 421928953 | Worker Fell | RIDGEWOOD TOWER II LLC | AB CAPSTONE BUILDERS CORP
2023-01-09 | Manhattan | 208 | ELIZABETH STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using an A Frame ladder to remove plastic from a lighting fixture in the ceiling when the worker lost balance and fell approximately six feet. The worker suffered injuries to his neck and left leg. The worker was taken to a hospital by ambulance. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the presence of an inadequate work and storage zone at exposure 1. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders. The General Contractor is to provide a Means and Methods for safe operations moving forward. | ECB Violation | 39511385H 39511386J |  | ALT-1 | 123377862 | Worker Fell | 204-210 ELIZABETH STREET LLC | HUDSON MERIDIAN CONSTR.
2023-01-09 | Manhattan | 360 | PARK AVENUE SOUTH | 0 | 1 | A DOB inspector reported that at the site of an existing 20-story building in which there was an interior finish and exterior storefront operation being performed, there was a worker that was climbing up a baker scaffold when the worker slipped and fell off. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. No enforcement action was taken in direct response to the incident. However, there was an elevator at the site that was being used for the construction operation that had not been converted into being a construction elevator. An ECB Violation was issued for a failure to provide a certificate for the conversion of the elevator to a construction elevator. A partial Stop Work Order (PSWO) was issued for all work seventy-five feet and up. A certificate for the conversion of the elevator to a construction elevator must be provided. | ECB Violation | 39511424 L |  | Alteration Type 2 | M00773079 | Scaffold/Shed/Fence/Shoring/Installation | 360 PAS OWNER LLC | Reidy Contracting Group
2023-01-10 | Bronx | 745 | EAST 141 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing building in which there was support of excavation (SOE) work in progress, there was a worker (a carpenter) that was using a nail gun when the worker shot his finger. The worker went to a nearby City MD to receive treatment. All safety measures were found to have been in place. However, a Site Safety Training (SST) card for the injured worker was not provided. An ECB Violation was issued for a failure to ensure that each worker had completed required training. The General Contractor is to ensure that all workers at the site had completed Site Safety Training. | ECB Violation | 039511483L |  | NB | X00731424-I1-SE | Worker Fell | POLICE DEPARTMENT 1 | Yonkers contracting co
2023-01-11 | Manhattan | 3 | TIMES SQUARE | 0 | 1 | A DOB inspector reported that at the site of an existing 34-story building in which there was a fit-out operation being performed on the interior of the building, there was a worker that was using a ten-foot tall A Frame ladder to perform a cutting operation on a twelve-foot high ceiling when the worker fell and cut their hand. An ambulance was called, and the worker was taken to a nearby hospital. The ladder had been folded, and was leaning against the wall, when the worker was using it. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications for the ladder, and one violation for a failure to provide and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all elevated work, and for all use of ladders. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. The General Contractor is also to comply with the specifications and code, as the operation was not provided with a working platform or fall protection. | ECB Violation | 39511549 P / 39511551 Y |  | Alteration Type 2 | M00614344 | Worker Fell | ECONOMIC DEVELOPMENT CORP | Turner Construction Company
2023-01-11 | Manhattan | 435 | EAST 52 STREET | 0 | 1 | A DOB inspector reported that there was a worker on the twelfth floor that was installing tarp when the worker tripped over a tie-in. The worker suffered a shoulder injury. The worker was taken to a hospital by an ambulance. The tie-in that the worker had tripped over was as per plans. It was determined that the incident occurred as the result of a worker error, and no enforcement action was taken in direct response to the incident. However, the construction fence at the site was not as per code specifications, which created a hazard to the public. An ECB Violation was issued for a failure to safeguard. The General Contractor is to remove the top four feet of the plywood panels of the fence and replace them with wire mesh, or an equivalent of wire mesh, that will allow for viewing through to the sidewalk. | ECB Violation | 39511557P |  | ALT-1 | M00528059 | Worker Fell | RIVER HOUSE REALTY CORP | WEST NEW YORK RESTORATION
2023-01-12 | Manhattan | 135 | EAST 47 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that fell from the second rung of a ladder. The worker was able to feel his fingers and toes, but was not able to get up. An ambulance was called, and the worker was taken to a hospital. | No Dispatch |  |  | NB Major Building | 121190567 | Worker Fell | LEX 47TH PROPERTY OWNER LLC | Cauldwell Wingate Co. LLC
2023-01-12 | Queens | 5123 | BEACH CHANNEL DRIVE | 0 | 1 | A DOB inspector reported that at the site of a seventeen-story new building that was topped off and enclosed, there was a worker that was walking down the stairs between the fifth and sixth floors when the worker slipped and fell. The worker suffered injuries to his back and head. The worker was transported to a nearby hospital to receive treatment. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 421133339 | Worker Fell | EC A1 HOUSING DEVELOPMENT FUND | CHATEAU GC LLC
2023-01-13 | Manhattan | 401 | 7 AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 23-story building in which there was structural alteration work being performed throughout, there was a worker on the sixth floor level that was working in the elevator shaft that tripped and fell. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The work area was found to have been dark (the lighting was inadequate) and with minor debris present, which created an unsafe condition. A notification of the demolition operation was not made prior to the operation. Three ECB Violations were issued: one violation for a failure to provide a standpipe electrical permit, one violation for a failure to notify DOB of the demolition operation that was being performed, and one violation for a failure to provide and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work seventy-five feet and up. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward, and will also be required to provide an electrical permit for the standpipe. | ECB Violation | 39511644 N / 39511647 Z / 39511648 K |  | Alterartion Type 2 | M00553790 | Worker Fell | GRAPSTEIN | Turner Construction Company
2023-01-13 | Queens | 5123 | BEACH CHANNEL DRIVE | 0 | 1 | The Site Safety Manager reported that there was a worker that slipped and fell down the stairs. The worker was okay, but went to a hospital with a co-worker. | No Dispatch |  |  | NB | 421133339 | Worker Fell | EC A1 HOUSING DEVELOPMENT FUND | CHATEAU GC LLC
2023-01-14 | Brooklyn | 432 | THATFORD AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed seven-story concrete frame new building that was at a partial first and second floor level, there were workers that were using an A Frame ladder to assist with stripping the underside of the second floor deck when another worker walked underneath the operation, and this worker (the worker walking underneath the operation) was struck by a ten-foot long piece of aluminum girder that fell. The struck worker suffered a hand laceration, and was taken to Brookdale Hospital for treatment. The scope of work was found to have not been adequately communicated during the Pre-Shift Safety Meeting, and there was no removal schedule provided for the operation. There were also no safety measures, such as a Controlled Access Zone (CAZ), instituted to safeguard personnel. An ECB Violation was issued for a failure to provide and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide and maintain safety measures for stripping operations going forward. | ECB Violation | 39511680K |  | New Building | 321599212 | Material Fell | BRIDGE ROCKAWAY HOUSING DEVELO | Mega Contracting GP LLC
2023-01-16 | Brooklyn | 1508 | CONEY ISLAND AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 10-story steel frame new building that was at a fifth floor level, there was a worker on the first floor that was removing debris that was contained in garbage bags when the worker tripped and fell. The worker complained about an injury, and was transported to Maimonides Medical Center by an ambulance. The scope of work was adequately communicated during the Pre-Shift Safety Meeting, there were no holes in the floor, and the worker did not have an obstructed path of travel. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there were three ECB Violations that were issued to address safety issues that were present at the site: one violation for the performance of work that was contrary to the approved Site Safety Plan (SSP), as there was a roadway operation and a storage zone at Exposure 2 that was not indicated on the SSP, one violation for the absence of flag persons for the street operations, and one violation for inadequate housekeeping. A partial Stop Work Order (PSWO) was issued for all roadway operations, and for all use of the storage zone at Exposure 2. The work must conform to the approved construction documents and/or amendments. Adequate housekeeping, as well as flagpersons, must be provided and maintained. | ECB Violation | 39511708 N / 39511707 L 39511709 P |  | New Building | 320910181 | Worker Fell | TRIANGLE 613, LLC | Adass INC
2023-01-16 | Brooklyn | 24 | MIDDLETON STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 7-story concrete frame new building that was at a seventh floor level, there was a worker that was on the seventh floor when the worker's foot got caught in a deck rebar cage, and the worker tripped and fell. The Fire Department had to use a lift to remove the worker from the site, as the gang ladder that was being used to access the working deck was not provided with adequate clearance for first responders to gain access to the area. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. There was no clear walking path provided for the operation. Three ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for a failure to maintain adequate means of egress, and one violation for a failure to communicate required information during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all work on the seventh floor level. The General Contractor will be required to provide and maintain an adequate working deck, was well as access to the working deck for the public and for workers. An adequate Pre-Shifty Safety Meeting for operations going forward must also be provided. | ECB Violation | 39511718 R / 39511719 Z 39511720 X |  | New Building | B00490620 | Worker Fell | KRULA HOLDINGS LLC | BT General Builders INC
2023-01-16 | Manhattan | 561 | GREENWICH STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 16-story concrete frame new building that was at a roof level and partially enclosed, there was a worker that had folded an A Frame ladder, and placed the ladder on a concrete column, in order to access a ten-foot high ceiling to perform a framing operation the ceiling when the ladder slipped, and the worker fell. The worker suffered back and neck injuries. An ambulance was called, and the worker was taken to a nearby hospital. The worker had failed to use the ladder as per the manufacturer's specifications. There were no other safety measures provided to safeguard a worker against a falling condition. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all ladder use, and for all elevated work involving the use of a ladder. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward, and will also be required to comply with the manufacturer's specifications. | ECB Violation | 39511729M |  | New Building | 121206523 | Worker Fell | REMAINDERMAN 561 GREENWICH LLC | Tishman Construction Corp
2023-01-17 | Bronx | 270 | EAST 203 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed eleven-story new building in which there was interior finishing and exterior work being performed, there was a worker that was approximately five feet deep inside of a hoist pit that was using a vacuum to remove stagnant water that was found laying in the pit by a co-worker. The worker was transported to a hospital in a conscious state. The worker was suffering from back pain. There were no safety measures in place. Two ECB Violations were issued: one violation for a failure to provide an adequate Pre-Shift Safety Meeting, with specific content for the hazardous concerns with working in a wet area, and one violation for a failure to maintain adequate housekeeping. The General Contractor is to provide and maintain safety measures for the operation going forward. | ECB Violation | 039511784P and 039511782L |  | NB | 210179974-01-NB | Worker Fell | CHV BEDFORD PARK HOUSING DEVEO | BOLIVAR BUILDERS, LLC
2023-01-17 | Manhattan | 11 | EAST 39 STREET | 0 | 2 | A DOB inspector reported that the site of a 48-story fireproof masonry commercial building in which there was an interior renovation in progress on the twenty-fifth floor, there were two workers that were using a baker scaffold to install drop ceiling sheetrock when both workers fell from the scaffold. The two workers were sent to an area hospital. A worker's daily signing sheet, and OSHA cards, were presented at the site. An Aggravated Level 2 ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all use of elevated scaffolding, including frame ladders and baker scaffolds. | ECB Violation | 39077859L | 011723CERMA01 | ALT-2 DEMO on flrs 13,25,32,35 | M00763132 | Worker Fell | ROBNET 40TH STREET . | Phase 3 Interiors LLC
2023-01-17 | Manhattan | 2686 | BROADWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed thirteen-story concrete frame new building that was at a roof level and partially enclosed, there was a worker that was attempting to secure a metal panel onto a window frame when a screw came through the metal and into the worker's finger. The worker suffered a laceration, and was taken to a nearby hospital to receive treatment. All applicable documents at the site were provided and maintained. It was determined that this incident occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, one ECB Violation was issued to address the presence of a sidewalk shed that was not maintained as per code, as the panels were covered by canvass advertisements, and the parapet panels were not maintained to be hunter green. | ECB Violation | 39511786Z |  | New Building | 121207354 | Mechanical Construction Equipment | TS VENTURE I LLC | Toll GC LLC
2023-01-17 | Queens | 69-65 | YELLOWSTONE BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of a proposed eleven-story new building that was topped off and partially enclosed, there was a worker that was walking down the stairs that slipped and fell. The worker complained about knee discomfort. The worker was transported to a nearby hospital to receive treatment. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 420662982 | Worker Fell | 105-02 FOREST HILLS LLC | SD BUILDERS AND CONSTRUCT
2023-01-18 | Brooklyn | 87 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that at the site of a forty-story new building that was topped off and fully enclosed, there was a worker that was handling wooden doors when the worker suffered an injury to her right thumb. An ambulance was called, and the worker was taken to a hospital. The Pre-Shift Safety Meeting that was held did not communicate a delivery operation involving the use of an A Frame cart. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of A Frame carts, and for all delivery operations. The General Contractor will be required to provide and maintain safety measures, as required, for the operation going forward. | ECB Violation | 39511864P |  | NB | 320627112 | Material Fell | WATERVIEW OWNER LLC | RAY BUILDERS INC
2023-01-18 | Manhattan | 278 | 8 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a 14-story concrete frame new building that was at a roof level, there was a worker on the fifth floor level that was using a platform ladder to perform elevated carpentry work. The worker was standing on a rung of the ladder when the worker fell approximately four feet. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The worker was not able to access the work location from the ladder. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of ladders, and for all elevated work involving the use of a ladder. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39511851 X |  | New Building | M00499952 | Worker Fell | CHELSEA 23RD REALTY LLC | Leeding Builders Group LLC
2023-01-18 | Manhattan | 401 | 7 AVENUE | 0 | 3 | A DOB inspector reported that at the site of a demolition job in which the demolition operations were completed from the fourteenth floor to the twenty-second floor, there was an electrical fire that occurred on Level B of the sixth floor. There were three total injuries. There was one party suffered minor injuries, and two parties that suffered moderate injuries, that were transported to area hospitals. The fire damaged electrical lines. A DOB Violation was issued, as the premises were rendered non-compliant due to the fire. A partial Stop Work Order (PSWO) was issued for all demolition operations, except for work to make the site safe. | DOB Violation |  | VIO23-00121 | ALT-2 DEMO OF INTERIOR PARTITIONS | M00526991 | Other Construction Related Incidents | GRAPSTEIN | NORTHSTAR CONTRACTING
2023-01-18 | Manhattan | 55 | WATER STREET | 0 | 1 | A DOB inspector reported that at the site of a 46-story commercial building in which there was interior fit-out work being performed on the forty-sixth and forty-seventh floors, there was a worker on the forty-sixth floor that was using a baker scaffold to perform a carpentry framing operation when the worker fell from the scaffolding. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The baker scaffolding was being used without a guardrail. Two ECB Violations were issued: one violation for a failure to maintain scaffolding as per code, and one violation for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all use of scaffolding. The General Contractor will be required to provide and maintain adequate training and safety measures for scaffolding use, and for the operation, going forward. | ECB Violation | 39511859 K / 39511861 J |  | Alteration Type 2 | M08004178 | Worker Fell | NEW WATER STREET CORP. | Benchmark Builders LLC
2023-01-18 | Manhattan | 606 | WEST 30 STREET | 0 | 1 | A DOB inspector reported that at the site of a 45-story concrete frame new building that was at a roof level and partially enclosed, there was a worker on the first floor level that was walking down a ramp when the worker slipped and fell. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The ramp that was being used was not maintained to be free of tripping and falling hazards, as there was an abundance of loose gravel and sand on the walking surface. The area where the incident occurred was found to have been partially swept up as of the time of inspection. Two ECB Violations were issued: one violation for a failure to maintain housekeeping as per code, and one violation for the tampering with the evidence of the incident. | ECB Violation | 39511862 L / 39511863 N |  | New Building | 121204874 | Worker Fell | WEST 30TH STREET LLC | Hudson 37 LLC
2023-01-19 | Manhattan | 155 | WEST 29 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that had stepped on a nail. The worker went across the street to a City MD to be checked out. An ambulance was not called. | No Dispatch |  |  | NB | 121208433 | Other Construction Related Incidents | DIV WEST 29TH STREET, LLC | CAULDWELL WINGATE CO
2023-01-19 | Manhattan | 249 | EAST 62 STREET | 0 | 1 | A DOB inspector reported that at the site of a 28-story concrete frame new building that was at a roof level, there was a worker on the eleventh floor level that was using a platform ladder to perform insulation work when the worker fell approximately four feet. The worker suffered a back injury, and went to a Medrite to receive a checkup and treatment. An ambulance was not called. All required safety measures were found to have been in place. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 122975995-01-NB | Worker Fell | 249 E 62ND ST LLC | CM AND ASSOCIATES CONST
2023-01-19 | Queens | 2-29 | 50 AVENUE | 0 | 1 | A DOB inspector reported that at a proposed 12-story concrete frame new building that was at an excavation and foundation phase, there was a worker that was using an excavator to move a metal frame from a delivery trick when the strap got caught between the bracing. The worker pulled the trap, which caused the metal frame to swing and strike the worker’s foot. An ambulance was called, and the struck worker was taken to a nearby hospital to receive treatment. There was no tag line provided to safeguard against a hazardous swinging and dislodging condition. There were no other safety measures, such as a Controlled Access Zone (CAZ), maintained. An ECB Violation was issued for a failure to provide and maintain adequate safety measures. A partial Stop Work Order (PSWO) was issued for all use of an excavator for material handling. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 39511876 M |  | New Building | Q00564746 | Mechanical Construction Equipment | 50TH & 5TH LIC LLC | Congress Builders LLC
2023-01-20 | Brooklyn | 249 | WILLOUGHBY AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 17-story new building, there were Yodock barriers that were blown over by the wind that landed on a worker. The worker suffered a cut to his leg, and was taken to a hospital. The Yodocks were found to have been damaged, and were not filled with water or sand. An ECB Violation was issued for a failure to follow the manufacturer's specifications. | ECB Violation | 39511942L |  | NB | 321195684 | Material Fell | ST. MARY'S EPISCOPAL CHURCH | MC GOWAN BUILDERS INC
2023-01-20 | Brooklyn | 267 | BOND STREET | 0 | 1 | A DOB inspector reported that there were a worker that was performing a stripping operation on the foundation when the worker fell seven feet. The worker suffered a leg injury. An ambulance was called. There were no guardrails, or any other types of fall protection, being used as of the time of the incident. The work platform that the worker was using to gain access to the foundation was not in conformance with the design drawings that were provided. Three ECB Violations were issued: one violation for a failure to institute safety equipment measures, one violation for the work platform not being in conformance with the provided design drawings, and one violation for the presence of an inadequate pedestrian walkway at exposure 1. A partial Stop Work Order (PSWO) was issued for all stripping operations, and for all use of platforms. The General Contractor is to provide a Means and Methods for safe operations moving forward, and is also to conform to the design drawings. | ECB Violation | 39511924H 39511925J 39511923X |  | FO | B00612352 | Worker Fell | GOWCAN OWNER LLC | URBAN ATELIER GROUP
2023-01-20 | Manhattan | 2080 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 31-story building in which there was façade repair and minor roofing work being performed, there was a worker that, during a debris removal operation, fell approximately ten feet from a sidewalk shed. The worker suffered a head injury, as well as bruises to the face. An ambulance was called, and the worker was taken to a nearby hospital. There were no safety measures in place at the site. The sidewalk shed roof parapet had been removed, and the worker was working close to the edge of the sidewalk shed without any fall protection. An ECB Violation was issued for a failure to provide adequate equipment safety measures. The General Contractor is to provide and maintain adequate safety measures for the operation moving forward. | ECB Violation | 039511940H |  | ALT | 123899656-01-EW-OT | Worker Fell | 1199 HOUSING CORP | SKYLINE RESTORATION INC
2023-01-20 | Manhattan | 646 | 11 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using a roustabout to lift steel. The worker was cranking the steep up when the handle spun backwards and hit the worker in the head. An ambulance was called, and the worker was taken to a hospital. There were no manufacturer's specifications provided at the site. The roustabout was not mentioned during the Pre-Shift Safety Meeting. There was unsafe scaffolding present, as the scaffolding was missing guardrails, and the decks were not fully planked. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all roustabout use, and for all steel installations. | ECB Violation | 39511926L |  | ALT-1 | M00649354 | Mechanical Construction Equipment | 646 11TH OWNER LLC | JCT DEVELOPMENT NY INC.
2023-01-21 | Brooklyn | 312 | OSBORNE STREET | 0 | 1 | A DOB inspector reported that at the site of a six-story façade restoration project, there was a worker that was working on a suspended scaffold that was removing a brick when the worker injured his knee on a motor transformer. An ambulance was called, and the worker was transported to Brookdale Hospital. An x-ray revealed that the worker did not suffer any broken bones. There were no hazardous conditions observed on the suspended scaffolding that could have contributed to the worker's injury. All required safety personnel, and all required certifications and training, were on site. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION | B00710915-I1-GC | Other Construction Related Incidents | NYC HOUSING AUTHORITY | ROMA SCAFFOLDING INC
2023-01-23 | Bronx | 40 | BRUCKNER BOULEVARD | 0 | 1 | The Site Safety Coordinator reported that there was a worker that slipped off of the second step of an A Frame ladder. The worker complained about back pain. An ambulance was called. | No Dispatch |  |  | NB | X00526919-I1-GC | Worker Fell | 40 BRUCKNER LLC | ON STAR MANAGEMENT
2023-01-23 | Brooklyn | 210 | JORALEMON STREET | 0 | 1 | The Construction Superintendent that there was a worker that, near the end of a shift, fell approximately four and a half feet off of a ladder. The worker complained about arm pain. The worker went to a hospital to receive treatment. | No Dispatch |  |  |  |  | Worker Fell | 210 MUNI, LLC
2023-01-24 | Brooklyn | 292 | KENT AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 14-story concrete frame building, there was a worker on the sixth floor that was removing formwork when a screw jack slipped from a reshore and cut the worker's hand. An ambulance was called, and the worker was taken to a hospital. The reshore was found to have not been braced during the operation, and the scope of work was not adequately communicated. There was no orientation provided for the worker. Two ECB Violations were issued: one violation for a failure to ensure that all workers had received a Site Safety Orientation or refresher, and one violation for a failure to institute and maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures going forward. | ECB Violation | 39512074 P / 39512075 R |  | Alterartion Type 1 | 321385504 | Material Fell | DOMINO REFINERY LLC | Refinery Construction LLC
2023-01-24 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at a proposed 40-story new building that was at a roof level in which there was exterior stone installation work in progress, there was a mason worker that was installing stone for a façade that was leveling a stone when the worker's finger got caught, and the worker's finger was pinched. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The scaffold platform that the worker was using was found to have been unsafe, and the Pre-Shift Safety Meeting that was held was found to have been inadequate. Two ECB Violations were issued: one violation for a failure to provide adequate content during the Pre-Shift Safety Meeting, and one violation for a failure to maintain an adequate scaffold platform. | ECB Violation | 039512067R and 039512068 |  | NB | 320909996-01-NB | Worker Fell | WEST DEVELOPMENT B LLC | NINTH AVE CONSTRUCTION GR
2023-01-25 | Brooklyn | 486 | NEPTUNE AVENUE | 0 | 1 | A DOB inspector reported that there was a worker on the ground floor that was setting up a shore post when the worker tripped on wooden planks that were on the floor, and the worker lost balance and hit his head. The worker was wearing a hardhat. The worker was taken to NYU Langone Hospital in a conscious state. The wood planks that the worker tripped on were being used as mudsills. All paperwork for the formwork procedure being performed was provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 320622714 | Worker Fell | UNAVAILABLE OWNER | RYBAK DEVELOPMENT AND CON.
2023-01-25 | Manhattan | 126 | WEST 126 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 18-story new building that was topped off and fully enclosed, there was a worker that was handling a pile when the pile rolled over and pinned the worker's left foot, causing a laceration to the foot. An ambulance was called, and the worker was transported to a hospital. Three ECB Violations were issued: one violation for a failure to adequately handle construction material, one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation refresher. A partial Stop Work Order (PSWO) was issued for all pile handling. The General Contractor will be required to provide a Means and Methods, and will also be required to provide and maintain safety measures, as required, for the operation going forward. | ECB Violation | 39512133X / 39512134H / 39512135J |  | NB | 121205659 | Material Fell | THE NEW YORK STATE URBAN DEVEL | CONGRESS BUILDERS LLC
2023-01-25 | Manhattan | 430 | MAIN STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 29-story new building that was at a foundation level, there was a worker that was using hand tools to install a frame when the worker hurt his left middle finger. An ambulance was called, and the worker was taken to a nearby hospital. All required safety measures were found to have been in place, and all applicable documents were on site. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121206097-01-FO | Worker Fell | NYS URBAN DEVELOPMENT | MONADNOCK CONSTRUCTION IN
2023-01-26 | Bronx | 1746 | ANDREWS AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed nine-story new building that was at a second floor level, there was a worker that was working in the second floor plank deck that was walking backwards when the worker kicked the plywood that was covering a hole, and the worker fell to the basement level. The worker suffered minor injuries, and was taken to a hospital by an ambulance in a conscious state. Five ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for the presence of an inadequate guardrail system, one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation, one violation for a failure to communicate required information during the Pre-Shift Safety Meeting, and one violation for inadequate housekeeping. A partial Stop Work Order (PSWO) was issued for all masonry operations at the second floor level. The General Contractor will be required to provide and maintain safety measures, as required, for the operation going forward. | ECB Violation | 39512178J / 39512179L / 39512180Z / 39512181K / 39512182M |  | NB | 210180891 | Worker Fell | ANDREWS AVENUE SOUTH HOUSING D | PROCIDA CONSTRUCTION CORP
2023-01-26 | Queens | 97-12 | 65 ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed 22-story new building that was topped off and enclosed, there was a worker that was using an A Frame ladder to performing taping work when the worker fell. The worker was suffering from arm pain, and was transported to a nearby hospital for treatment. All required safety measures were found to have been in place, and no unsafe conditions were observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 420664169 | Worker Fell | RB REALTY CAPITAL LLC | NY DEVELOPERS & MANAGEMEN
2023-01-27 | Bronx | 1130 | BURKE AVENUE | 0 | 1 | The Construction Superintendent reported that there was a worker that pulled an arm muscle during the delivery of an HVAC system. The worker was taken to a hospital by an ambulance. | No Dispatch |  |  | ALT-1 | X00744737 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | RAVEN CONSTRUCTION
2023-01-27 | Bronx | 1746 | ANDREWS AVENUE SOUTH | 0 | 1 | A DOB inspector reported that at the site of a proposed 9-story new building that was at a second floor level, there was a worker that was struck in the chest by concrete debris. The worker was transported to a hospital by an ambulance. Two ECB Violations were issued: one violation for inappropriate material handling, and one violation for inadequate material storage. The General Contractor will be required to provide and maintain safety measures, as required, for the operation going forward. | ECB Violation | 39512233N / 39512234P |  | NB | 210180991 | Material Fell | ANDREWS AVENUE SOUTH HOUSING D | PROCIDA CONSTRUCTION
2023-01-27 | Brooklyn | 625 | FULTON STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 35-story concrete frame new building that was at a third floor level, there was a hoist company that was attempting to bring a personal & material hoist cab through the first floor level, between the concrete formwork, when a reshore that was between the first floor and second floor slab dislodged, fell approximately twenty feet, and struck a worker on their hands. The struck worker walked to a nearby hospital to receive treatment. The reshore that fell was found to have not been adequately braced or secured. There were multiple trades working at the location, without additional safety measures or a Controlled Access Zone (CAZ). An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all equipment handling. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39512218 P |  | New Building | 321583238 | Material Fell | FULTON REALTY DEVELOPMENT LLC | Galaxy Developers LLC
2023-01-27 | Manhattan | 561 | GREENWICH STREET | 0 | 2 | A DOB inspector reported that at the site of a proposed sixteen-story new building that was topped out, there were two workers on the thirteen floor that were riding on and using a concrete helicopter (also known as a concrete finishing trowel machine) to finish a three-inch topping slab when both workers fell ill. There was a high amount of carbon monoxide (CO2) present at the site. Both workers were taken to a local hospital for observation. The CO2 monitor at the site had malfunctioned, which caused a wrong reading. An Aggravated Level 2 ECB Violation was issued for a failure to institute adequate safety measures. A partial Stop Work Order (PSWO) was issued for all construction operations on the thirteen floor. | ECB Violation | 35593525R |  | NEW BUILDING | 121206523-01-NB | Other Construction Related Incidents | REMAINDERMAN 561 GREENWICH LLC | TISHMAN CONSTRUCTION CORP
2023-01-27 | Queens | 160-14 | HILLSIDE AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 7-story concrete frame new building that was at a roof level, there was a worker on the third floor setback that was erecting scaffolding when the worker mis-stepped and fell approximately seven feet from the scaffolding platform. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The injured worker had failed to attend the Pre-Shift Safety Meeting, and the Pre-Shift Safety Meeting did not adequately communicate the scope of work. The scaffolding at the site was found to have been missing netting and guardrails, and was not decked and flushed against the building at the level where the work was occurring. Three ECB Violations were issued: two violations, including one that was issued to the General Contractor, and one that was issued to the Sub Contractor, for a failure to institute and maintain safety measures, and one violation for the presence of an alternative scaffolding system that was not as per code. A partial Stop Work Order (PSWO) was issued for all concrete operations at exposures 1 & 4, above the sixth floor level and ten feet back. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward, and is to maintain an alternate scaffolding system. | ECB Violation | 39512219 R / 39512220 Y / 39512222 H |  | New Building | Q00596656 | Worker Fell | QOF OPERATING LLC | SS Construction Experts L
2023-01-27 | Queens | 72-01 | QUEENS BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of a proposed 12-story new building that was at a ninth floor level, there was a worker that was performing a chipping operation that fell off of a ladder. The worker was complaining about back pain, and was transported to a nearby hospital by an ambulance. An adequate working platform for overhead construction operations was not provided. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders, and for all overhead chipping. The General Contractor will be required to provide and maintain safety measures, as required, for the operation going forward. | ECB Violation | 35912229K |  | NB | 420666283 | Worker Fell | QB PROPERTIES LLC | SBGC LLC
2023-01-30 | Bronx | 1009 | NELSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed four-story new building that was topped out and enclosed, there was a worker that was removing roof protection from the roof of the adjacent property (1011 Nelson Avenue) when the worker mis-stepped and fell three stories to the ground. The worker was taken to a hospital in a fully conscious state. There was no safety harness for the worker, and there was no fall protection present at the site. There was no Controlled Access Zone (CAZ) maintained for a leading edge operation. The Pre-Shift Safety Meeting did not adequately include the operation that the worker was involved in. The site documents were missing safety orientations for the workers. The Construction Superintendent did not maintain the site documents. Seven ECB Violations were issued, including five violations that were issued to the General Contractor and two violations that were issued to the Construction Superintendent. The five ECB Violations that were issued to the General Contractor were as follows: one violation for a failure to maintain safety measures, one violation for inadequate Pre-Shift Safety Meeting content, one violation for no Site-Specific Safety Orientation, one violation for a failure to notify DOB of the incident, and one violation for the presence of inadequate housekeeping (see Complaint # 2359747 for these five violations). The two ECB Violations that were issued to the Construction Superintendent were one violation for a failure by the Construction Superintendent to perform their duties and one violation for a failure to notify DOB of the incident (please see Complaint # 2359759 for these two violations). A partial Stop Work Order (PSWO) was issued for all construction activity, except for work to correct the violating conditions. A Means and Methods, and the required construction site documents, must be provided. | ECB Violation | 39512307R / 39512308Z / 39512309K / 39512310H / 39512311J / 39512320L / 39512321N |  | NB | 210182121 | Worker Fell | NEL 1009 LLC | JRM DEVELOPMENT LLC
2023-01-30 | Bronx | 1700 | MACOMBS ROAD | 0 | 1 | A DOB inspector reported that while there was a supported scaffold at exposure 4 that was being dismantled, there was a worker that was walking on the planking when a plank snapped, and the worker fell approximately fourteen feet to the deck of the sidewalk shed. The worker was transported to an area hospital. The nature of the worker's injuries were not known. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for a failure to notify DOB of the incident. A partial Stop Work Order (PSWO) was issued. | ECB Violation | 39078716Z/15R |  | ALT-3 SUPP SCAFFOLD | 201202974 | Worker Fell | DEPARTMENT OF EDUCATION | PJP INSTALLERS INC (Pablo Perrone)
2023-01-30 | Manhattan | 270 | WEST 96 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 23-story new building that was topped out, there was a spool of electric cables that were being unloaded from a delivery truck when a spool rolled over from West 96th Street to West End Avenue and struck two vehicles in the street. One of the vehicle drivers reported to be suffering from back pain. An ambulance was called. According to the Site Safety Plan (SSP), the truck was to be inside of the site for deliveries. The workers were unloading the spool from the back of the truck manually, and were unloading the truck in the street, as opposed to inside of the site's perimeter. The operation was not adequately discussed during the day's Pre-Shift Safety Meeting. Three ECB Violations were issued: one Aggravated Level 2 ECB Violation for a failure to safeguard all persons and property, one violation for an inadequate Pre-Shift Safety Meeting, and one violation for the performance of work that did not conform to the Site Safety Plan. A partial Stop Work Order (PSWO) was issued for all shipping and deliveries. The General Contractor is to provide a Means and Methods, along with equipment, for the safe handling of marerials, as well as a worker orientation. | ECB Violation | 39512274J / 39512280X / 39512281H |  | NB | 210182121 | Material Fell | AMP PROPERTY OWNER L.P. | URBAN ATELIER GROUP LLC
2023-01-31 | Brooklyn | 11 | OCEAN PARKWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed thirteen-story concrete frame new building that was at a sixth floor level, there was a worker that was erecting a deck for the sixth floor when the worker slipped and fell approximately twelve feet to the fifth floor level. The worker was suffering from back and leg pain. An ambulance was called, and the worker was taken to a nearby hospital. The worker was found to have gone beyond the Controlled Access Zone (CAZ) to perform the operation. There was no fall protection or safety measures instituted during a formwork operation that was being performed at the perimeter edge, there were no inspection documents, and there was no adequate supervision maintained. The operation was also not communicated during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to communicate required information during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all deck installation operations, and for all formwork operations. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39512383 Z / 39512384 K |  | New Building | B00520132 | Worker Fell | INTERNATIONAL BAPT CH | PAVARINI MCGOVERN
2023-01-31 | Brooklyn | 444 | GRAHAM AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed seven-story new building that was at a roof level, there was a worker that was using an A Frame ladder to caulk a window when the worker fell and landed on top of scaffolding materials. The worker was taken to a hospital in stable condition. The worker had not removed the scaffold material from the window area when the worker was on the ladder. The worker was not instructed to remove the material before starting work. The worker may have overreached, leaned, or stretched, which may have contributed to the fall. Adequate housekeeping was not maintained. Two ECB Violations were issued: one violation for a failure to institute safety equipment measures, and one violation for a failure to maintain adequate housekeeping. | ECB Violation | 039512404Z 039512405K |  | NB | 310081639-01-NB | Worker Fell | 444 GRAHAM AVE., LLC | RECORD 13 CONSTRUCTION CO
2023-01-31 | Manhattan | 250 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a five-story building that is to be enlarged to a 23-story building, there was a worker in stairwell A of the fourth floor that was grinding a concrete wall when the worker tripped and fell approximately four steps to the third floor landing. The worker was taken to a local hospital. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all grinding operations in stairwell A. | ECB Violation | 013123CERTQ01/039078791z |  | ALT-1 MAJOR BUILDING | 122414002 | Worker Fell | COSMIC REALTY PARTNERS LLC | CNY BUILDING CORP
2023-01-31 | Manhattan | 264 | WEST 46 STREET | 0 | 2 | The Site Safety Manager reported that there was concrete being poured into pile caissons when the concrete hose broke, and two workers suffered injuries. Both workers were taken to a City MD by a taxi. | No Dispatch |  |  | NB Major Building | 121208326 | Other Construction Related Incidents | 726 EIGHTH LLC | Leandlease (US) Construction
2023-01-31 | Manhattan | 310 | HUDSON STREET | 0 | 1 | A DOB inspector reported that there was a worker that slipped off of a temporary ramp that was being used to access the roof area. An ambulance was called for the worker. The ramp that the worker had sliped off of was found to have been wet and slippery, and did not have handrails. There was also no design drawing for the ramp. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for the use of the ramp. The General Contractor is to provide a designed draeing for the ramp. | ECB Violation | 39512366R |  | NB | 121205864 | Worker Fell | HUDSON SQUARE REALTY, LLC | LEND LEASE
2023-01-31 | Queens | 41-34 | 45 STREET | 0 | 1 | The Construction Superintendent reported that there was a worker that was walking down the stairs from the fifth floor to the fourth floor when the worker slipped on the last three steps and suffered a twisted ankle. An ambulance was called. | No Dispatch |  |  | NB | 421661963 | Worker Fell | SUNNYVIEW APARTMENTS LLC | RP DEVERLOPMENT GROUP CORP
2023-02-01 | Brooklyn | 404 | CARROLL STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 32-story concrete frame new building that was at a fourth floor level, there was a worker on the second floor level that was inspecting a fire extinguisher when the worker stepped on a piece of plywood formwork that was indented into the floor that was being used to cover an opening. The formwork was not secured or provided with reshores on the underside, and the worker fell approximately twelve feet to the first floor. The worker suffered back and leg injuries. An ambulance was called, and the worker was taken to a nearby hospital. There were no additional safety measures, such as a guardrail system, provided for the opening. There was no inspection conducted on the formwork, and the design drawings did not reflect the condition at the site. An ECB Violation was issued for a failure to provide and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide and maintain safety measures for the formwork operation, as well as an inspection of the formwork. | ECB Violation | 39512464 K |  | New Building | B00614338 | Worker Fell | 420 CARROLL LLC | Mega Contracting GP LLC
2023-02-01 | Manhattan | 640 | RIVERSIDE DRIVE | 0 | 1 | A DOB inspector reported that at the site of an occupied 12-story building in which there was interior alteration work being performed, there was a worker that was using an A Frame ladder to scrape debris from the ceiling when the worker slipped and fell approximately four feet. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The worker had failed to maintain three points of contact on the ladder, as per the manufacturer's specifications. There was no working platform provided as an additional safety measure for elevated operations. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39512496 P |  | Alteration Type 2 | 122912526 | Worker Fell | GP-UHAB HOUSING DEVELOPMENT FU | MDG Design & Construction LLC
2023-02-01 | Manhattan | 900 | WEST 190 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing 15-story occupied building in which there was a façade operation being performed, there was a worker that was attempting to access a suspended scaffolding platform when the worker fell approximately three feet to the ground. The worker complained about suffering from back and shoulder pain. The worker was transported to a nearby hospital by an ambulance to receive treatment. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | FAÇADE | M00765874-I1-GC | Worker Fell | UNAVAILABLE OWNER | SKYLINE RESTORATION INC
2023-02-02 | Bronx | 221 D | MANIDA STREET | 0 | 1 | A DOB inspector reported that at a job site that was at an excavation phase, there was a worker that was using a forklift loader to pick up a steel plate from the ground level when the steel plate slid off of the fork and landed on the worker's left foot, causing a fracture to the big toe. This incident took place on February 2, 2023, but was not reported to DOB until February 3, 2023. Two ECB Violations were issued: one violation for a failure to notify DOB of the incident (please see Complaint # 2360072 for this violation), and one violation for a failure to institute safety measures (please see Complaint # 2360050 for this violation). | ECB Violation | 39512653J / 39512648P |  | SE | X00805936 | Material Fell | DEPT OF ENVIRONMENTAL PROTECTI | SKANSKA RJ INDUSTRIES
2023-02-02 | Bronx | 299 | EAST 161 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 12-story new building that was poured up to the ninth floor, and in which the pouring of the tenth floor was being prepared to be performed during the middle of the next week, there was a worker that was removing the s-pin from the bottom plate of a reshore post when the worker got distracted, and one of the worker's fingertips was pinched. The worker was taken to an area hospital by a project manager from the site. The Site Safety Coordinator (SSC) at the site stated that the next day's Pre-Shift Safety Meeting will include safety precautions for reshore removal. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 210181060-NB | Other Construction Related Incidents | BRONX 161 LLC | RAY BUILDERS INC
2023-02-02 | Brooklyn | 1271 | 60 STREET | 0 | 1 | A DOB inspector reported that there was a worker that had gotten their finger caught in a rebar bending machine. The worker suffered a broken finger. An ambulance was called for the worker. There was no certification to indicate that the worker was trained on how to use the machine, and there was no inspection of the machine maintained, as per the manufacturer's specifications. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for use of the rebar bending machine. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward, and for the use of the machinery and equipment at the site. | ECB Violation | 39512593 R |  | Alteration Type1 | B00664946 | Mechanical Construction Equipment | 13 59&60TH BUILDING LLC | Townhouse Builders INC
2023-02-02 | Queens | 43-10 | 23 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a platform ladder to perform insulation work when the worker fell four feet and hurt his back. An ambulance was called for the worker. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-3 | Q00732648 | Worker Fell | COURT SQUARE 23RD LLC | SUFFOLK CONSTRUCTION
2023-02-03 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at the site of a proposed forty-story new building that was topped off and fully enclosed, there was a DOB inspector that was performing a boiler inspection on the fourth floor mezzanine mechanical room that was climbing down a permanent ladder when the inspector's left leg slipped. All of the inspector's weight was supported by his right leg, and the worker's right leg was twisted. The inspector was taken to Bellevue Hospital by an ambulance to receive treatment. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 320909996-01-NB | Other Construction Related Incidents | WEST DEVELOPMENT B LLC | NINTH AVE CONSTRUCTION GR
2023-02-03 | Manhattan | 135 | WEST END AVENUE | 0 | 1 | Building is a 7 story building performing alteration 1 operation. Project Manager got hit on face by a ceiling grid causing a laceration. Ambulance was called and worker was taken to nearby hospital for treatment, where worker receive stitches and was release in a stable condition for home. Inspection reveal that grid was in the process of being installed and became dislodge over project manager, falling and hitting manager in face from approximately 8 feet in height. Incident will be consider a worker error and there will be no enforcement action at this time. | No Action Necessary |  |  | Alteration Type 1 | 123725184 | Other Construction Related Incidents | 125 WEST END ASSOCIATES LLC | JRM Construction Management LLC
2023-02-06 | Brooklyn | 2925 | WEST 16 STREET | 0 | 1 | A DOB inspector reported that at a 16-story concrete frame new building that was at a roof level, there were four workers that were in the process of removing leaning window panels from reshores when a window panel was accidentally placed on the foot of one of the workers. The worker walked to an urgent care center to receive treatment. All applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there was horizontal safety netting that was present at the site that was not secured to the vertical netting. An ECB Violation was issued for the performance of work that does not conform to approved construction documents. | ECB Violation | 39512704 K |  | New Building | 321599178 | Material Fell | SIRENA REALTY CORP. | LRC Construction LLC
2023-02-06 | Brooklyn | 60 | FRONT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed twenty-six story concrete frame new building that was at a roof level and partially enclosed, there was a worker (a painter) on the sixteenth floor that was using an A Frame ladder to paint in a stairway when the worker fell approximately eight feet. The worker suffered back and arm injuries. An ambulance was called, and the worker was taken to a nearby hospital. There had been no working platform provided for the operation, and the A Frame ladder that the worker was using was not being used as per the manufacturer's specifications, as the ladder was closed and leaning against a wall, and the worker did not maintain three points of contact while working on the ladder. The worker had arrived late, and did not participate in the Pre-Shift Safety Meeting. Three ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for a failure to ensure that all workers had received a Site Safety Orientation, and one violation for a failure to ensure that all workers had participated in the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all work in the stairway, and for all use of ladders in the stairway. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39512728 P / 39512731 X 39512732 H |  | NEW BUILDING | 321384364 | Worker Fell | FORTIS DUMBO ACQUISITION, LLC | URBAN ATELIER GROUP LLC
2023-02-07 | Brooklyn | 4308 | 4 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 4-story new building that was topped off, there was a worker that was walking down the stairs that tripped at the last two steps of the stairs and fell. The worker suffered an elbow injury. The worker was transported to a nearby urgent care center to receive treatment. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. However, there was one ECB Violation that was issued to address the presence of a debris chute at the site for which there was no permit obtained for the installation of the chute. A partial Stop Work Order (PSWO) was issued for all use of the debris chute. | ECB Violation | 39512802Y |  | NB | 302582783 | Worker Fell | NEW YORK CITY SCHOOL CONSTRUCT | PLAZA CONSTRUCTION LLC
2023-02-07 | Manhattan | 200 | EAST 83 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 35-story concrete frame new building that was at a roof level and fully enclosed from the second floor up, there were three workers that was in the process of installing duct work on the second floor level when one worker walked into the metal that was being cut, and the worker suffered a laceration above the right eye. An ambulance was called, and the worker was taken to a nearby hospital. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there were two ECB Violations issued to address safety conditions that were present at the site: one violation for the tampering with the evidence of the incident, as the cutting tool was removed from the location of the incident, and one violation for an existing site condition that was not reflected on the approved Site Safety Plan (SSP), as there was a gantry crane present at the site that was not on the approved Site Safety Plan. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39512784 J / 39512786 N |  | NEW BUILDINGS | 121205356 | Material Fell | 1461-1469 THIRD AVE OWNER LLC | LEEDING BUILDERS GROUP LL
2023-02-07 | Manhattan | 40 | EAST 4 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 21-story concrete frame new building that was at a third floor level, there was a worker that was using a temporary stair while carrying four clamps that were to be used on columns when the worker fell. The worker suffered an injury to the left shoulder. An ambulance was called, and the worker was taken to a nearby hospital in stable condition. There were no safety measures in place for the safe handling of concrete clamps. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the tampering with the evidence of an incident. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39512778N / 39512779P |  | NB | 121209227 | Worker Fell | ACEF-CBSKI 360 BOWERY LLC | CM AND ASSOCIATES CONST
2023-02-08 | Brooklyn | 16 | COURT STREET | 0 | 1 | A DOB inspector reported that at the site of an occupied 37-story building in which there was façade repair work being performed on the second floor, there were workers that were removing a piece of lintel stone from above the corner window of suite 200 when the stone got away from the workers, and the stone fell on a sidewalk shed, lodging onto a window stool. A pedestrian was struck in the head by lumber debris from the sidewalk shed. An ambulance was called, and the pedestrian was transported to a nearby hospital in stable condition. An ECB Violation was issued for a failure to safeguard all persons and property affected by construction operations. A partial Stop Work Order (PSWO) was issued for all exterior work. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. The sidewalk has been closed to the public. The General Contractor will brace and cover the lintel gape. | ECB Violation | 39512873L |  | Façade | B00771773-I1-GC-CX | Material Fell | 16 COURT ST BROOKLYN OWNER, LL | PRESERV BLD RESTOR MGT IN
2023-02-08 | Manhattan | 264 | WEST 46 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 52-story concrete frame new building that was at an excavation phase, there was a worker that was attempting to change a drill rig attachment. The machinery was not turned off, and the machine operator accidentally moved the equipment. The rig moved abruptly, and the worker's finger was squeezed. The worker suffered a laceration. An ambulance was called, and the worker was taken to a nearby hospital. The attachment was being replaced without the use of the proper/correct tool. The machinery was not turned off while the attachment was being replaced, which contributed towards the cause of the incident. The scope of work was not adequately communicated, and inspection documents were not maintained or provided. Three ECB Violations were issued: two violations, including one violation that was issued to the General Contractor (see Complaint # 1628633 for this violation), and one violation that was issued to the Sub Contractor (see Complaint # 1628676), for a failure to comply with the manufacturer's specifications, and one violation for the presence of a guardrail system around the excavation that was not maintained as per code (see Complaint # 1628633 for this violation). A partial Stop Work Order (PSWO) was issued for all secant pile drilling operations, and for all use of the drill rig. | ECB Violation | 39512867 P / 39512868 R 39512863 H |  | New Building | 121208836 | Mechanical Construction Equipment | 726 EIGHTH LLC | Lendlease (US) Construction
2023-02-09 | Brooklyn | 16 | DUPONT STREET | 0 | 1 | A DOB inspector reported that there was a worker that using an A Frame ladder that fell backwards off of the ladder, landing in an excavation area. An ambulance was called for the worker, and the worker was taken to a medical facility. The ladder that the worker was using was being used inappropriately, as it was placed on an unstable surface, and in an area that was not cleared. An ECB Violation was issued for a failure to safeguard. | ECB Violation | 39512895M |  | SE | B00604543 | Worker Fell | GREENPOINT LANDING LOT 6 LLC | MONADNOCK CONSTRUCTION
2023-02-10 | Brooklyn | 585 | ALBANY AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed six-story new building that was at a first floor level, there was a worker that slipped and fell on the job site. The worker was suffering from back, shoulder, and neck pain. An ambulance was called, and the worker was transported to a nearby hospital. The worker was treated and then released on the same day. This incident took place on February 10, 2023, but was not reported to DOB until February 13, 2023. An ECB Violation was issued for a failure to notify DOB of the incident. | ECB Violation | 39513051R |  | NB | 321589116 | Worker Fell | 575 ALBANY AVE LLC | PRECISION BUILDERS USA
2023-02-10 | Queens | 35-15 | 19 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using an A Frame ladder to perform overhead work when the worker was struck by a vertical man lift that was operating in the same location. The worker fell off of the ladder and suffered a back injury. An ambulance was called, and the worker was taken to a medical facility. There were no safety measures implemented for the operation, as the area around the ladder was not blocked off in order to prevent a possible collission. There was also no supervision while the ladder was being used. An ECB Violation was issued for a failure to safeguard. An ECB Violation was issued for all use of ladders for overhead work throughout the site. The General Contractor is to provide a Means and Methods to ensure safe material handling going forward. | ECB Violation | 39512955P |  | NB | 420667549 | Worker Fell | WF INDUSTRIAL IV LLC | LEEDING BUILDERS GROUP
2023-02-13 | Manhattan | 301 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at the site of a vacant 44-story building in which there was alteration work being performed, there was a worker on the thirty-sixth floor that was using a circular saw to cut pieces of plywood when two of the worker's fingers were cut. The worker walked to a nearby City MD to be treated. The worker was not provided with a workstation. The worker did not maintain two hands on the circular saw, and the plywood was not secured while it was being cut, as the worker was holding the plywood in one hand. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39513059 L |  | Alterartion Type 1 | 121191245 | Mechanical Construction Equipment | UNAVAILABLE OWNER | Suffolk Construction Company
2023-02-14 | Bronx | 1923 | WESTFARMS ROAD | 0 | 1 | A DOB inspector reported that there was a worker that was using a drill in order to create holes to run wires through to attach a sensor pad to a door frame. The drill handle was not attached. The drill got jammed, and the worker was hit in the forehead. The worker went to St. Barnabas Hospital for a checkup. The drill was not used as per the manufacturer's specifications. An ECB Violation was issued for a failure to follow the manufacturer's specifications. | ECB Violation | 39513138J |  | NB | 210178261 | Mechanical Construction Equipment | SAMARITAN-COMPASS VI HOUSING D | MONADNOCK CONSTRUCTION
2023-02-14 | Brooklyn | 1 | WELLS STREET | 0 | 1 | A DOB inspector reported that during a scaffold delivery, there was a worker that was moving scaffolding frames when the worker suffered a broken leg. An ambulance was called, and the worker was transported to a hospital. An Aggravated Level 2 ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all scaffold deliveries. The General Contractor is to provide a Means and Methods for all deliveries going forward. | ECB Violation | 39079721H | 021423CERDG01 | ALT-2 FAÇADE | 322053861 | Scaffold/Shed/Fence/Shoring/Installation | DEPARTMENT OF EDUCATION | ADAMS EUROPEAN CONSTRCTING
2023-02-14 | Brooklyn | 503 | DEKALB AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 3-story building, there was a gut alteration/gut rehab performed on the third floor in which all of the partitions were removed, and a new sub floor and new cold-formed steel were installed. This caused a 3' X 3' section of ceiling in a second floor bedroom to collapse. A tenant suffered an injury, and was taken to a hospital. There were no DOB permits issued for the work that was performed. Two ECB Violations were issued: one Aggravated Level 2 violation for a failure to maintain, and one violation for the performance of work without a permit. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39079709P, 39079708N |  |  |  | Other Construction Related Incidents | DEKALB 3 LLC
2023-02-14 | Manhattan | 50 | HUDSON YARDS | 0 | 1 | The Site Safety Manager reported that there was a worker that was carrying pipes from a delivery truck when the worker bumped into a door and suffered a cut to his knee. The worker was seen by the on site medic, and then went to a First Med. An ambulance was not called. | No Dispatch |  |  | ALT-1 | M00508650 | Other Construction Related Incidents | 50 HYMC OWNER LLC | STRUCTURE TONE
2023-02-15 | Bronx | 1504 | MACOMBS ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed 6-story new building that was at a roof level, there was a worker on the fourth floor level that was waiting for a hoist that had with them an A Frame dolly that had five pieces of sheetrock on it when all five of the pieces of sheetrock fell onto the worker's right leg. An ambulance was called, and the worker was taken to a nearby hospital. All required safety measures and certifications were in place, and there were no unsafe conditions observed. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there was one ECB Violation issued for the tampering with the evidence of the incident, as the A Frame dolly and pieces of sheetrock that were involved in the incident were removed from the area of the incident. | ECB Violation | 039513195X |  | NB | 210182210-01-NB | Worker Fell | MACOMBS 1504, LLC | HUNTER ROBERTS CONSTRUCTI
2023-02-15 | Manhattan | 250 | EAST 83 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 32-story new building in which there was framing being performed on the ninth floor, there was a worker that was coming down a deck ladder that was between the fifth and sixth floors when the worker lost his step and fell. The worker complained about suffering from shoulder pain. The worker was transported to a nearby hospital by an ambulance. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | M00547165-I1-GC | Worker Fell | 83 OWNERS LLC | CAULDWELL WINGATE CO LLC
2023-02-15 | Manhattan | 50 | EAST 77 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing 14-story building in which there was a facade operation being performed that involved the use of suspended scaffolding, there was a worker that was on site as part of a housekeeping operation that was walking down a set of stairs that were attached to a sidewalk shed when the worker slipped and fell. The worker suffered a back injury. An ambulance was called, and the worker was transported to a hospital. All applicable documents and logs were provided and maintained. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there were two ECB Violations issued: one violation for a failure to immediately notify DOB of the incident, and one violation for a failure to provide and maintain barriers for the work and storage zone. | ECB Violation | 39513210 P / 39513214 M |  | Alteration Type 2 | M00482390 | Worker Fell | CARLYLE HOUSE INC CO BROWN HAR | Schnellbacher Sendon Group
2023-02-15 | Manhattan | 64 | UNIVERSITY PLACE | 0 | 1 | A DOB inspector reported that the site of a proposed eleven-story new building that was at a fifth floor level, there was a concrete operation in progress when a worker slipped from a deck ladder that was between the third and fourth floors. The worker was taken to Bellevue Hospital for an evaluation. The ladder was found to have been erected according to the design drawings, and there were no tripping hazards or debris present. It was determined that the incident occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, the inspector observed that there was no Concrete Safety Manager (CSM) present at the site, and there was no notification made to DOB of a replacement or alternate CSM. An ECB Violation was issued for a failure to designate a Concrete Safety Manager. A partial Stop Work Order (PSWO) was issued for all concrete operations. A Concrete Safety Manager must be designated. | ECB Violation | 39513194Y |  | NB | M00492685 | Worker Fell | 64 OWNER LLC | CNY BUILDING CORP
2023-02-16 | Bronx | 1791 | MARMION AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using an extension ladder at the roof level when the ladder slipped, causing the worker to fall. The worker was taken to a hospital by an ambulance. The roof was found to have been waterproofed. The ladder that the worker was using was not secured properly, which caused it to slip. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the presence of hand rails on the stairways that were not adequate. | ECB Violation | 39513253P 39513254R |  | NB | 210177770 | Worker Fell | MARMION AVENUE INVEST LLC | GV IMPERIAL CONST GROUP
2023-02-16 | Brooklyn | 67 | HANSON PLACE | 0 | 1 | A DOB inspector reported that there was a a sidewalk shed that was being dismantled when a worker was struck by a parapet board that fell to the sidewalk. The worker was suffering from pain in the stomach and ribs. An ambulance was called, and the worker was transported to Methodist Hospital. All workers at the site had cards and were wearing protective equipment as of the time of inspection. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-3 SIDEWALK SHED PERMIT | B00739448 | Scaffold/Shed/Fence/Shoring/Installation | BEC CONTINUUM HOUSING DEVELOPM | ANDAMIO SCAFFOLDING LLCANDAMIO SCAFFOLDING LLC
2023-02-17 | Bronx | 4720 | 3 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was carrying equipment on their right shoulder while going up a temporary ladder that was between the eighth and ninth floors when the worker slipped and fell. An ambulance was called for the worker. There were no witnesses to the incident. The worker did not maintain three points of contact on the ladder. The ladder was found to have been secure, and free of any slipping hazards. The incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 220671075 | Worker Fell | 4720 JR LLC | OMNIBUILD CONSTRUCTION
2023-02-17 | Brooklyn | 2840 | ATLANTIC AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed fourteen-story concrete frame new building that was at a roof level, there was a worker that was working on the second floor of the landmark building that was lowering barrels from the second floor level to the lower floors when the worker slipped and fell approximately thirty feet through a floor opening, landing in the cellar. The worker suffered lacerations to the head and arms. An ambulance was called, and the worker was taken to a nearby hospital. The work area was found to have not been provided with safety measures, such as an A Frame, a dolly, or a working platform. The fall protection/PPE was not anchored as per the manufacturer's specifications. The scope of work was not communicated during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all demolition operations, and for all material handling on the landmark structure. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39513290 Y / 39513289 R |  | New BUILDING | 321594137 | Worker Fell | EMPIRE STATE DAIRY LLC | Bushburg Builders LLC
2023-02-17 | Brooklyn | 450 | GRAND AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed seven-story new building that was at a roof level and partially enclosed, there was a worker on the second floor that was using an A Frame ladder while performing a drilling operation on the ceiling when the ladder shifted, and the worker fell approximately four feet from the ladder. The worker suffered back and leg injuries. An ambulance was called, and the worker was taken to a nearby hospital for treatment. The worker had folded the ladder and placed it on the metal framing, which was not a sturdy surface. The worker had also failed to maintain three points of contact during use. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all elevated work involving the use of a ladder. The General Contractor will be required to provide and maintain safety measures for elevated operations going forward. | ECB Violation | 39513305 H |  | New Building | B00580210 | Worker Fell | 450 GRAND AVENUE OWNER LLC | Citi Builders NY LLC
2023-02-17 | Manhattan | 135 | EAST 47 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a two-foot tall step ladder to perform caulking work in a bathroom when the worker slipped and fell sideways. The worker called an ambulance for himself. There were no witnesses to the incident. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121190567 | Worker Fell | LEX 47TH PROPERTY OWNER LLC | CAULDWELL WINGATE
2023-02-17 | Queens | 22-61 | 45 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed eight-story new building that was at a sixth floor level, there was a worker that was walking up the stairs while carrying materials that lost his balance on the fourth step and fell backwards. An ambulance was called, and the worker was taken to a nearby hospital. All required safety measures were found to have been in place, all required certifications were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 421133035-01-NB | Worker Fell | MD45 DEVELOPERS LLC | MEGA CONTRACTING GP LLC
2023-02-21 | Bronx | 101 | LINCOLN AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 25-story new building that was at a roof level, there was a worker on the eighteenth floor that was using adjustable stilts when the worker tripped on a wire and landed on the floor. An ambulance was called, and the worker was taken to Lincoln Hospital. All required safety measures were in place, and there were no unsafe conditions observed. A Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training (SST) were all provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 220151948-01-NB | Worker Fell | BOP 101 LINCOLN AVENUE LLC | TRITON CONSTRUCTION CO.,
2023-02-21 | Manhattan | 40 | EAST 4 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed 21-story new building in which there was framing being performed at the first floor level, there was a worker that was walking on the third floor that tripped, fell, and hit their right shoulder. An ambulance was called, and the worker was transported to a nearby hospital. There were various tripping hazards, such as materials, electrical wires, debris, water, and equipment present on the third floor, which may have contributed to the incident. An ECB Violation was issued for a failure to provide adequate housekeeping. | ECB Violation | 39513379K |  | NB | 121209227 | Worker Fell | 4TH ST REALTY HOLDING CORP | CM AND ASSOCIATES CONST
2023-02-22 | Brooklyn | 142 | SOUTH PORTLAND AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 13-story concrete frame new building that was at a roof level, there was a worker on the thirteenth floor level that was using an eight-foot tall platform ladder to install an angle bracket on the ceiling when the worker lost balance and fell approximately four feet to the floor. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. All applicable documents were provided and maintained on site, as required. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 321593101 | Worker Fell | UNAVAILABLE OWNER | LETTIRE CONSTRUCTION CORP
2023-02-22 | Brooklyn | 85 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that there was a worker in the water pump room on the ground level that was using a twelve-foot tall A Frame ladder to perform chipping work on a concrete masonry unit (CMU) wall when the worker fell from the ladder. The worker was taken to Bellevue Hospital by an ambulance. There were no witnesses to the worker's fall. The A Frame ladder that was being used was being used incorrectly. The General Contractor had failed to institute and maintain safety measures, as per the Pre-Shift Safety Meeting, which created an unsafe slipping and falling condition. An ECB Violation was issued for a failure to institute and maintain safety measures. The General Contractor is to provide and comply with adequate safety procedures, and is to use ladders at the job site as per the manufacturer's specifications. | ECB Violation | 39513397Y |  | NB | 320627103 | Worker Fell | WATERVIEW OWNER LLC | RAY BUILDERS INC
2023-02-22 | Manhattan | 112 | EAST 75 STREET | 0 | 1 | The General Contractor reported that there was a worker that was assembling a baker scaffold that fell eight feet. The worker was taken to a hospital by an ambulance in a conscious state. | No Dispatch |  |  | ALT-1 | m00646808 | Worker Fell | TEMPLE ISRAEL OF NYC | Consigli Construction Co.
2023-02-22 | Manhattan | 181 | EAST 121 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed ten-story new building, there was an A Frame cart that had material on it that was being moved up a makeshift ramp when the cart tipped over. A worker tried to grab the material, and suffered a cut. An ambulance was called for the worker. There were no straps used to prevent the material that was on the cart from tipping over, and the surface that the cart was being pushed on was uneven. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for a failure to comply with manufacturer's specifications. | ECB Violation | 39513429J 39513430R |  | NB | 121209156 | Material Fell | EIK HARLEM ASSOCIATES, LLC | THE RINALDI GROUP
2023-02-22 | Queens | 5123 | BEACH CHANNEL DRIVE | 0 | 1 | The Site Safety Manager reported that there was a worker in a shanty that was putting tools away in a gang box when another worker passed by metal door frames that were being stored in the shanty, and the door frames fell on the worker that was putting tools away. An ambulance was called for the struck worker. | No Dispatch |  |  | NB MAJOR BUILDING | 421133339 | Other Construction Related Incidents | EC A1 HOUSING DEVELOPMENT FUND | CHATEAU GC LLC
2023-02-22 | Queens | 92-33 | GUY R BREWER BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of a proposed 25-story concrete frame new building that was at a roof level and partially enclosed, there was a worker that was using a platform ladder to paint a closet. The worker had placed the ladder on the outside of the closet, and was leaning towards the closet from the side of the ladder. The ladder kicked out, and the worker lost balance and fell approximately four feet from the ladder. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39513414 R |  | New Building | 420666176 | Worker Fell | ARCHER TOWERS PHASE I DEVELOPM | SKYCORE BUILDERS, INC
2023-02-22 | Staten Island | 1000 | WEST SERVICE ROAD | 0 | 1 | A DOB inspector reported that there was a worker that was walking on compacted gravel when the worker lost his balance and grabbed onto the cross brace of a hopper. The worker suffered a shoulder injury from grabbing the cross brace. The worker went to a hospital on his own, without notifying his superiors. The worker was found to have received both a Pre-Shift Safety Meeting and a Site Safety Orientation. There were no unsafe conditions found at the site, and the housekeeping at the site was adequate. It was determined that the incident occurred as the result of a worker error. | No Action Necessary |  |  | NB | 510113315 | Other Construction Related Incidents | NYC SANITATION DEPT | PRISMATIC DEVELOPMENT
2023-02-23 | Queens | 88-36 | 139 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed seven-story new building, there was a worker that was performing a stripping operation when the worker stepped back and suffered an injury to his back and side. An ambulance was called, and the worker was taken away from the site. There were no tripping hazards observed, and there were no violating conditions found. All appropriate paperwork was provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 421133972 | Worker Fell | ZDJ JAMAICA LLC | WARNER CONSTRUCTION
2023-02-24 | Bronx | 263 | EAST 203 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed six-story new building that was at a foundation phase, there was a worker that tripped and fell while carrying a piece of plywood. The worker complained to be suffering from pain in the back and neck. The worker was taken to a hospital by an ambulance. There were no safety measures in place for the operation, as there were tripping hazards present all throughout the site, without a clear pathway in place. Three ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for the absence of rebar caps at several areas, and one violation for the tampering with the evidence of the incident, as the plywood that was involved in the incident was removed from the site. The General Contractor will be required to provide and maintain adequate safety measures for elevated operations going forward. | ECB Violation | 39513555K / 39513556M / 39513558X |  | NB | X00629381 | Worker Fell | 203 STREET NORTH LLC | BOLIVAR BUILDERS
2023-02-24 | Manhattan | 20 | EAST 110 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed eight-story new building that was at a roof level, there was a worker that was performing cleaning work that was carrying a garbage bag down the stairs at the third floor when the worker tripped and fell down one landing. The worker was suffering from shoulder pain, and was taken to a nearby hospital. All required safety measures were found to have been in place, and there were no unsafe conditions observed. A Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training (SST) were all provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121209469-01-NB | Worker Fell | 1650 MADISON HOLDINGS, LLC | SS CONSTRUCTION EXPERTS L
2023-02-24 | Manhattan | 606 | WEST 30 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed forty-five story concrete frame new building that was at a roof level and partially enclosed, there was a worker on the fifteenth floor that was using an A Frame ladder to perform a taping operation when the worker fell approximately six feet and suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The worker had failed to use the ladder as per the manufacturer's specifications, as the worker did not maintain three points of contact on the ladder. There were no additional safety measures, such as a working platform or a guardrail system, provided for the operation. An ECB Violation was issued for a failure to provide and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of ladders during elevated operations. The General Contractor will be required to provide and maintain adequate safety measures for elevated operations going forward. | ECB Violation | 39513553 R |  | New Building | 121204874 | Worker Fell | WEST 30TH STREET LLC | HUDSON 37 LLC
2023-02-28 | Bronx | 2136 | Matthews Avenue | 0 | 1 | A DOB inspector reported that at the site of a proposed four-story new building that was topped off, there was a worker that was removing a guardrail in order to install studs when the worker was struck on the eyelid by a piece of concrete. The worker was taken to a hospital by an ambulance. The worker did not attend the Pre-Shift Safety Meeting, and the Pre-Shift Safety Meeting contained contents that were found to have been inadequate. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for a failure to inspect temporary construction equipment, as an inspection log or record for the harness and sitrrup that the worker was using was not provided. | ECB Violation | 39513646X / 39513647H |  | NB | X00598191-I1-GC-CX | Material Fell | VEER HOLDINGS LLC | TURNKEY 88 CONTRACTING IN
2023-02-28 | Manhattan | 181 | EAST 121 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed ten-story new building that was topped off, there was a worker that was using an A Frame ladder to perform an electrical wiring connection on a conduit pipe in the ceiling when the worker fell approximately eight feet. The worker suffered back and arm injuries. An ambulance was called, and the worker was taken to a nearby hospital. The worker had failed to use the ladder as per the manufacturer's specifications, as the worker was using the ladder while it was folded and leaning against the wall, and the worker did not maintain three points of contact on the ladder. There were also no additional safety measures, such as a working platform or a guardrail system, provided for the operation. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, and one violation for an inadequate Pre-Shift Safety Meeting, as both the injured worker, and the competent person, did not sign in for the meeting. The General Contractor will be required to provide and maintain adequate safety measures for elevated operations going forward. | ECB Violation | 39513658N / 39513659P |  | NB | 121209156 | Worker Fell | EIK HARLEM ASSOCIATES, LLC | THE RINALDI GROUP OF NY
2023-02-28 | Manhattan | 204 | ELIZABETH STREET | 0 | 1 | A DOB inspector reported that at the site of an existing six-story building that was at a roof level and partially enclosed in which there was an alteration operation being performed, there were two workers at the courtyard area that were installing glass panels on the exterior of the building when a glass panel slipped and fell on one of the workers. The glass shattered, and the worker's hand was lacerated. The worker was taken to a nearby hospital to receive treatment. The worker received stitches, and was then released to go home. The workers that were installing the glass panels were not provided with safety measures, for an exterior operation during a weather condition, and the scope of work was not adequately communicated. The record for the Pre-Shift Safety Meeting for that day did not have the injured worker's name documented. Two ECB Violations were issued: one violation for a failure to provide and maintain safety measures, and one violation for a failure to ensure that all workers had attended the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all glass installation operations at the site. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39513656 J / 39513657 L |  | Alteration Type 1 | 123377862 | Material Fell | 204-210 ELIZABETH STREET LLC | Hudson Meridian Construction