## Monthly Accident Details
Monthly Accident Details: March 2022
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2022-01-03 | Manhattan | 1568 Air | BROADWAY | 0 | 1 | A DOB inspector reported that at a 47-story concrete frame building in which there was alteration work being performed (under an Alteration 1 application), there were workers that were in the process of removing infills for a curtain wall operation on the perimeter of the building at the twenty-fifth floor level when a piece of concrete came loose, fell to the ninth floor setback, and hit a worker on their hard hat, neck, and shoulder. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The area on the ninth floor setback that was being used as a staging and loading area for a concrete operation was not identified on the Site Safety Plan (SSP), as the worker was entering the area when the worker was injured by falling debris. The Pre-Shift Safety Meeting did not address the scope of work and the hazards affected by the operation. A Controlled Access Zone (CAZ) was not implemented at both work locations (the ninth floor location, and the twenty-fifth floor location), and there were no additional safety measures instituted or coordinated. Four ECB Violations were issued: two violations, one that was issued to the General Contractor, and one that was issued to the Sub Contractor, for a failure to institute and maintain safety equipment measures, one violation for the presence of a standpipe that was not maintained to be in a state of readiness, and one violation for the presence of an existing condition that was not reflected on the Site Safety Plan. A partial Stop Work Order (PSWO) was issued for all exterior perimeter work, and for all work ten feet back from the perimeter edge at all exposures. Both the General Contractor, and the Sub Contractor, will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35638780 K / 35638781 N 35638782 Y / 35638783 X | 010322CE05TA01 / 02 / 03 / 04 | Alteration Type 1 | 121191236 | Other Construction Related Incidents | TIMES SQUARE HOTEL SUB, LLC | Pavarini McGovern LLC
2022-01-06 | Manhattan | 270 | Park Avenue | 0 | 1 | A DOB inspector reported that at a a new building, there was a worker that fell off of a ladder and into a six-foot pit. The worker suffered a fractured left shoulder, and was taken to a hospital. The ladder that the worker was using had not been secured, and was being used contrary to the manufacturer's specifications, which created a falling hazard condition. Two ECB Violations were issued: one violation for a failure to institute and maintain safe equipment, and one violation for the tampering with the evidence of the incident, as evidence was removed from the site. A partial Stop Work Order (PSWO) was issued for all ladder use. The General Contractor is to provide a Means and Methods for the safe use of ladders going forward. | ECB Violation | 35639977Z / 78K |  | NB | 121205604 | Worker Fell | METROPOLITAN TRANSPORTATION AU | TISHMAN CONSTRUCTION CORP
2022-01-07 | Bronx | 2401 | 3 AVENUE | 0 | 1 | A DOB inspector reported that at a 25-story concrete frame new building that was at a roof level and partially enclosed, there was a worker (an electrician) that was attempting to access the grade level in order to remove debris from the work location when the worker slipped and fell on ice. The worker suffered pain in the back, leg, and arm. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The area of operation had not been maintained to be free from slipping and tripping conditions, and there was no Pre-Shift Safety Meeting conducted for the scope of work and risk concerns. There was also no overhead protection in place for the suspended scaffolding operation. Five ECB Violations were issued: two violations, one that was issued to the General Contractor, and one that was issued to the Electrical Sub Contractor, for a failure to institute and maintain safety equipment measures, one violation for the site not conforming to the approved Site Safety Plan (SSP), one violation for a failure to perform an orientation refresher for the workers, and one violation for the absence of records and contents for the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all work at the grade level, all exterior work over the courtyard, and for all electrical operations. The General Contractor, and the Electrical Sub Contractor, will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35641129 Z / 35641130 X 35641131 H / 35641132 J / 33 L | 010722CE01KS02 / 03 / 04 / 05 / 06 | New Building | 220151939 | Worker Fell | BOP 2401 THIRD AVENUE OWNER LL | Hudson Meridian Construction
2022-01-12 | Brooklyn | 35 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that at a 22-story concrete frame new building that was at a seventh floor level, there was a worker that was walking on the first floor level when the worker hit a three-inch edge. The worker fell and suffered leg and hand injuries, as well as minor bruises. An ambulance was called, and the worker was taken to a nearby hospital. There was an inadequate walkway provided within the site, and the three-inch edge that the worker hit was not provided with a slope in order to maintain an adequate transition from elevation. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to provide escape hatches for emergency egress. A partial Stop Work Order (PSWO) was issued for all work on the first floor level. | ECB Violation | 35640028 P / 35640029 R | 011222CE01KG01 / 02 | New Building | 321589704 | Worker Fell | HP H1H2 HOUSING DEVELOPMENT FU | Monadnock Construction IN
2022-01-13 | Manhattan | 1100 | 6 AVENUE | 0 | 1 | The Site Safety Manager reported that a worker (an electrician) was using a utility knife to open wire when the worker cut his hand. The worker went to an urgent care center, and the urgent care center sent the worker to Bellevue Hospital in order to receive stitches. | No Dispatch |  |  | ALT-1 | 123660190 | Other Construction Related Incidents | 1100 AVE. OF THE AMERICAS ASSO | Tishman Construction
2022-01-14 | Bronx | 414 | GERARD AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using a platform ladder in order to hang a pipe when the pipe slipped from the worker's hands and cut him on the cheek. An ambulance was called, and the worker was taken to a hospital. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 220613735 | Other Construction Related Incidents | 414 GERARD OWNER LLC | MONADOCK CONSTRUCTION
2022-01-14 | Brooklyn | 60 | FRONT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new building, there was a worker that was using a faulty extension ladder that was missing footing. The ladder slipped, and the worker fell. The worker was taken to a hospital. The hospital reported that the worker did not suffer any broken bones, and had only suffered minor injuries. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all ladder use on the seventh floor. The General Contractor is to provide a Means and Methods for safe equipment and ladder use, and is also to remove the broken extension ladder from the job site. | ECB Violation | 35639860P | 011422CE01SM01 | NB | 321384364 | Worker Fell | FORTIS DUMBO ACQUISITION, LLC | Urban Atelier Group
2022-01-14 | Queens | 46-09 | 69 STREET | 0 | 1 | A DOB inspector reported that at a 15-story new building, there was a worker that was performing decking work on the second floor level when the worker fell approximately eight feet from the second floor deck to the first level. The worker was tied off with a harness. The worker was taken to a hospital by an ambulance in a conscious state. Two ECB Violations were issued: one violation for a failure to maintain guardrails, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all work on the second floor. Guardrails must be provided, and housekeeping must be maintained. | ECB Violation | 35640087P, 35640088r |  | NB | 420665845 | Worker Fell | QB DEVELOPMENT OWNER LLC | OMNIBUILD CONSTRUCTION
2022-01-14 | Queens | 52-29 | 35 STREET | 0 | 1 | A project manager reported that at the site of a demolition job, there was a worker that slipped at the top of a flight of stairs and fell several steps. The worker suffered back and leg injuries. The worker was transported to a hospital by an ambulance. A DOB inspector responded and visited the site and reported that there were housekeeping issues present, as there was debris near the stairway where the worker fell. No approved demolition plans were provided to the inspector as of the time of inspection, as the General Contractor provided a set of plans that had not been approved by DOB. Two ECB Violations were issued: one violation for a failure to provide adequate housekeeping, and one violation for a failure to provide DOB approved plans/documents. A full Stop Work Order (FSWO) was issued for all non-approved demolition work. The only work that will be allowed will be work to maintain the housekeeping at the site. The General Contractor must provide DOB-approved plans and documents, and must notify DOB's Construction Safety Enforcement Unit for a re-inspection. | ECB Violation | 35641276Z,277K | 011422CE02KS03,04 | DM | 421791207 | Worker Fell | SC-STARR AVE, LLC | COLE PARTNERS INC
2022-01-14 | Staten Island | 1000 T | RICHMOND TERRACE | 0 | 1 | A DOB inspector reported that there was a worker that was carrying a metal door down a corridor when the worker slipped, fell, and suffered a knee injury. An ambulance was called. There was no procedure in place for material handling. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all material handling. The General Contractor is to provide a Means and Methods for the safe handling of materials. | ECB Violation | 35639861R | 011422CE01MS02 | ALT 1 | 520135354 | Worker Fell | CULTURAL AFFAIRS 2 | NSP ENTERPRISES INC
2022-01-18 | Bronx | 1210 | SIMPSON STREET | 0 | 1 | A DOB inspector reported that there was a worker that was spreading salt on the roof (because of the weather conditions) that slipped and fell. The worker called an ambulance on his own, and was taken to a Bronx health care system. The worker was released two hours later, and returned to work at the site. The Construction Superintendent was on site, and Pre-Shift Safety Meeting logs, Site Safety Orientation logs, and a Site Safety Plan (SSP) were all provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 210180365 | Other Construction Related Incidents | HOME SIMPSON HOUSING DEVELOPME | WJ Professional Expedition
2022-01-18 | Manhattan | 138 | WEST 48 STREET | 0 | 1 | A DOB inspector reported that at a 4-story existing building in which there was a vertical and horizontal operation being performed, there was a worker that was on top of material that had been stored for a façade operation that was attempting to retrieve material when the stretch wrap that was being used to enclose the material came loose, and the worker fell approximately four feet. The worker suffered minor injuries to the left shoulder and back. An ambulance was called, and the worker was taken to a nearby hospital. There was no record of a Pre-Shift Safety Meeting, and no record of any contents, with safety hazards and risk concerns, provided for the scope of work. There were also no safety measures implemented to safeguard the worker. Two ECB Violations were issued: one violation for a failure to ensure that all workers received and participated in a Pre-Shift Safety Meeting, and one violation for a failure to institute and maintain safety equipment measures. A partial Stop Work Order (PSWO) was issued for all material handling for the facade operation. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639999 J / 35639150 K | 011822CE05IH02 / 03 | Alteration Type 1 | M00462158 | Worker Fell | CORT THEATRE LLC | JRM Construction MGMT LLC
2022-01-19 | Manhattan | 55 | LIBERTY STREET | 0 | 1 | A DOB inspector reported that there was a worker that was on a needle beam platform that was handing a cement bag through a window to another worker when the worker that was handing off the cement bag lost his balance and fell down stairs. The worker that fell suffered an arm injury. An ambulance was called. The area that the worker was handing off the cement bag from was under an existing Stop Work Order. Three ECB Violations were issued: one violation for the performance of work against a Stop Work Order, one violation for a failure to institute safety measures, and one violation for an inadequate orientation. The General Contractor is to provide a Means and Methods for safe material handling from the platform to the stairwell landing. | ECB Violation | 35638662J,663L,664N | 011922CE01GM01,02,03 | ALT-2 | 123493898 | Worker Fell | 55 LIBERTY OWNERS CORP | Skyline Restoration Inc
2022-01-19 | Manhattan | 66 | HUDSON BOULEVARD | 0 | 1 | A DOB inspector reported that at a 66-story new building, there was a worker on the thirtieth floor that was walking from the post platform to an entrance door when the worker stepped on a ramp, and the worker slipped and suffered a twisted ankle. The worker was treated by the on site medic, and was later taken to a hospital by an ambulance. This incident took place on January 19, 2022, but was not reported to DOB until January 20, 2022. The incident itself was determined to have been the result of a worker error. However, an ECB Violation was issued to the Site Safety Manager for a failure to notify DOB of the incident. | ECB Violation | 35639131P |  | NB | 122885422 | Other Construction Related Incidents | 509 W 34, L.L.C. | TURNER CONSTRUCTION CO
2022-01-19 | Queens | 3-50 | ST NICHOLAS AVENUE | 0 | 1 | A DOB inspector reported that at a 17-story concrete frame new building that was at a third floor level, there was a gate that dislodged and fell onto a worker. The worker suffered minor bruises to the head, and went to an urgent care center to receive treatment. The gate that dislodged had not been constructed as per the approved plans, as there were braces and wheels missing. Three ECB Violations were issued: one violation for a failure to file or renew General Liability insurance, as required (the General Liability insurance expired on 12/28/2021), one violation for a failure to file or renew Disability insurance, as required (the Disability insurance expired on 12/31/2021), and one violation for the performance of work that does not conform to approved construction documents. A full Stop Work Order (FSWO) was issued. The General Contractor will be required to maintain the gate as per plans, and to update both insurances (the General Liability insurance and the Disability insurance). | ECB Violation | 35640091 H / 35640092 J 35640093 L | 011922CE05MA01 / 02 / 03 | NB | 421928953 | Other Construction Related Incidents | RIDGEWOOD TOWER II LLC | AB Capstone Builders
2022-01-20 | Bronx | 2455 | 3 AVENUE | 0 | 1 | A DOB inspector reported that at a 24-story new building that was at an excavation and foundation phase, there was an excavator that was being used to transport rebar in the interior of the site when rebar came loose and hit the left leg of a worker that was standing nearby the operation. An ambulance was called, and the worker was taken to a nearby hospital for treatment. The worker was treated and then released to go home, and will return to work on January 24, 2022. There were no safety measures in place for the operation, and the operation was performed on a walking surface that was inadequate, as it was wet and slippery. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to maintain housekeeping as per code. A partial Stop Work Order (PSWO) was issued to stop all work, except for work to provide safety measures going forward and to maintain the housekeeping. The General Contractor will be required to provide and maintain safety measures for the rebar hoisting operation going forward. | ECB Violation | 35504867 J / 35504868 L | 012022CE01RV01 / 02 | New Building | 210180542 | Other Construction Related Incidents | E 135 AND 3RD AVE OWNER LLC | Artimus Construction INC
2022-01-20 | Manhattan | 270 | park ave | 0 | 1 | A DOB inspector reported that there was a worker that was on a platform while performing a stripping operation in the cellar area when a beam that had been held by jacks fell and hit the worker in the head. The worker was wearing a hard hat. An ambulance was called for the worker. There was no approved deign drawing for the working platform, and there were no Means and Methods for the stripping operation. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all formwork operations. The General Contractor is to provide a Means and Methods for safe stripping operations moving forward, as well as a design drawing for work platforms. | ECB Violation | 35639798N,99P | 012022CE05NO01,02 | ALT-2 | 140956366 | Other Construction Related Incidents | METROPOLITAN TRANSPORTATION AU | John Civetta & Sons
2022-01-21 | Manhattan | 142 | WEST 19 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a circular saw to cut plywood when the worker put the saw down on a table while it was still spinning, and the worker suffered a cut to his finger. The worker walked to an urgent care center. An ambulance was not called. The circular saw did have a safety guard. All logs, and an orientation for the worker, were provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121190549 | Other Construction Related Incidents | USD 142 W 19 LLC | OTL Enterprises LLC
2022-01-24 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at a 40-story concrete frame new building that was at the fortieth floor level, there was a worker (a plumber) that was handling cast-iron black pipe when another worker that was assisting with the operation cut a strap that released pipes, and the pipes hit the worker/plumber on the fingers. The worker suffered two broken fingers. An ambulance was called, and the worker was taken to a nearby hospital. The scope of the operation was not adequately communicated and discussed during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to provide an escape hatch for a concrete pouring operation. A partial Stop Work Order (PSWO) was issued for all cast-iron pipe handling operations, and for all concrete pouring operations. | ECB Violation | 35639437 H / 35639438 J | 012422CE01NP01 / 02 | New Building | 320909996 | Other Construction Related Incidents | WEST DEVELOPMENT B LLC | Ninth Avenue Construction Group
2022-01-24 | Queens | 1626 | VILLAGE LANE | 0 | 1 | A DOB inspector reported that there was a worker that fell twelve feet from an A Frame ladder. The worker suffered a back injury. An ambulance was called. There were no safety measures in place, and the Pre-Shift Safety Meeting that was held did not provide safety hazards for the use of an A Frame ladder. An ECB Violation was issued for a failure to provide safety equipment measures. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders. Safety measures, and a Means and Methods for moving forward, must be provided. | ECB Violation | 35640095P | 012422CE14MA01 | NB | 420667558 | Worker Fell |  | LETTIRE CONSTRUCTION CORP.
2022-01-25 | Brooklyn | 70 | ATLANTIC AVENUE | 0 | 1 | A DOB inspector reported that there was a worker on the second floor that was performing framing work on a slab level. There was a hole in the slab where the curtain wall had been installed, and the worker tripped, fell, and suffered a dislocated finger. The worker was seen by the on site medic, and then went to a hospital next door for treatment. The worker returned to the job site after being seen at the hospital. The hole in the slab had not been secured with plywood. A review of the Pre-Shift Safety Meeting that was held at the site revealed that the meeting did not communicate required information for the operation. An ECB Violation was issued for a failure to institute and maintain safety measures. | ECB Violation | 35639551L | 012522CE06DG04 | NB | 320908559 | Other Construction Related Incidents | NYU LANGONE HOSPITALS | Skanska USA Building
2022-01-25 | Manhattan | 215 | WEST 28 STREET | 0 | 1 | A DOB inspector reported that at a 20-story concrete frame new building, there was a worker in the basement that was using a six-foot tall A Frame ladder to install a bracket on a ceiling. The worker attempted to descend the ladder, and the worker lost balance, fell, and suffered a cut to the left hand. The worker walked to a nearby City MD in order to receive treatment. The worker was treated and then released to go home. All applicable logs and documents were provided. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 121185813 | Other Construction Related Incidents | 215 WEST 28TH STREET PROPERTY | Hap Construction LLC
2022-01-27 | Manhattan | 250 | 5 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was picking up material from underneath a demolished heavy steel pipe when the pipe slipped, and the worker suffered an injury to his pinky finger. The worker went to the emergency room. An ambulance was not called. The housekeeping at the site was poor, and the Site Safety Orientation that was held at the site was found to have been inadequate. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all steel fitting operations. Safety measures, adequate housekeeping, and proper training for the operation going forward must be provided. | ECB Violation | 35639866X | 012722CE05SM02 | ALT-1 | 122414002 | Other Construction Related Incidents | COSMIC REALTY PARTNERS LLC | CNY Building Corp
2022-01-28 | Brooklyn | 108 | 2 Street | 0 | 1 | A DOB inspector reported that at a 3-story occupied building/house in which there was an alteration operation being performed, there was a worker that was walking on the second floor deck that fell approximately sixteen feet to the grade level. The worker was suffering from minor pain to the neck and back. An ambulance was called, and the worker was taken to a nearby hospital in a conscious state. There had been no safety measures implemented or discussed in the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to provide a Tenant Protection Plan (TPP). A full Stop Work Order (FSWO) was issued. The General Contractor will be required to implement adequate safety measures, and a Tenant Protection Plan, for the operation going forward. | ECB Violation | 35639563 Z / 35639564 K | 012822CE06DG03 / 04 | Alteration Type 2 | 340776798 | Worker Fell | MASERATI REALTY LLC | Ryszard & Sons Construction
2022-01-28 | Manhattan | 415 | COLUMBUS AVENUE | 0 | 1 | A DOB inspector reported that at a 6-story concrete frame new building that was at a roof level, there were two workers that were using a manlift to cover supported pipe scaffolding with a tarp when the manlift got caught on the scaffolding. While an attempt was being made to free the manlift platform, the basket jolted up, which caused one of the workers to be ejected into the air. The worker was seen hanging from the manlift by a harness. The worker was pulled into the site on the fourth floor, and the worker then laid on the floor until an ambulance arrived at the site. The worker was suffering from shoulder pain. The worker was taken to a nearby hospital. There had been no worksite and equipment inspections performed, as per the manufacturer specifications, and there were no additional safety measures instituted in order to safeguard the operation. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to notify DOB of a permanent or alternate change in Site Safety Manager (SSM), as an alternate Site Safety Manager had been performing duties since December 20, 2021. A full Stop Work Order (FSWO) was issued. The General Contractor will be required to provide and maintain adequate safety measures for both manlift use, and for the operation going forward. | ECB Violation | 35639156 L / 35639157 N | 012822CE07IH02 / 03 | New Building | 121204017 | Other Construction Related Incidents | CULTURAL AFFAIRS 2 | Tishman Construction Corp
2022-01-31 | Bronx | 2069 | BRUCKNER BOULEVARD | 0 | 1 | A DOB inspector reported that during an asbestos removal operation, there was a worker that was using a circular saw to cut plywood. After he (the worker) made a cut, the worker put the circular saw down, while the blade was still running. The saw blade then cut the arm of a second worker that was behind him (the worker that was cutting the plywood). The worker that was cut was taken to a hospital by an ambulance. There were no manufacturer's specifications on site for the proper use of the circular saw, and there were no safety procedures, or an orientation, in place for the use of circular saws during the operation. There was no safe egress from the site, as there was a parking lot in front of the entrance that was covered with ice and snow. Two ECB Violations will be issued: one violation for a failure to maintain or institute safety measures, and one violation for the presence of inadequate housekeeping. A partial Stop Work Order (PSWO) will be issued for all circular saw use. The General Contractor is to provide a Means and Methods for the safe operation of the use of circular saws, as well as manufacturer's specifications and a safe entrance and exit for workers to access the job site. | ECB Violation | 35639104J, 35639105L | 013122CE09MA03,04 | ALT-1 | X00619070 | Other Construction Related Incidents | HP BRUCKNER HOUSING DEVELOPMEN | Northeast Specialist Group
2022-01-31 | Brooklyn | 65 | PRIVATE DRIVE | 0 | 1 | A DOB inspector reported that at a new building that featured forty completed floors, and a partially-poured forty-first floor, there was a hoist jumping operation being performed between the thirty-fourth and thirty-fifth floors when a worker that was coming down from an interior ladder onto the hoist floor fell and struck his head. The worker was taken to an area hospital by an ambulance. The extent of the worker's injuries were not known. Hoist jumping operations have stopped. The hoist will remain in service for workers during the temporary heating of the freshly poured concrete. No enforcement action was necessary. | No Action Necessary |  |  | NB - NEW BUILDING | 320909996-01-NB | Worker Fell | WEST DEVELOPMENT B LLC | NINTH AVE CONSTRUCTION GR
2022-02-01 | Manhattan | 401 | 9 AVENUE | 0 | 1 | A DOB inspector reported that at a 60-story steel frame new building that was at a roof level, there was a worker that was working and walking on the fifty-fifth floor level that slipped and fell on the floor. The worker suffered a laceration to the head. An ambulance was called, and the worker was taken to a nearby hospital. The area where the incident occurred had not been adequately maintained, as there was piled-up snow, cords, debris, and material present. These conditions created an obstacle course for workers that were attempting to access the area. Three ECB Violations were issued: one violation for a failure to institute and maintain safety equipment measures, one violation for the presence of vertical safety netting that had not been maintained as per code, and one violation for a failure to ensure that the workers had received a Site Safety Orientation refresher. A partial Stop Work Order (PSWO) was issued for all work from the fifty-fifth floor and up. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639872 M / 35639873 Y 35639874 X | 020122CE04SM01 / 02 / 03 | New Building | 121204295 | Worker Fell | BOP NE LLC | Tishman Construction Corp
2022-02-02 | Manhattan | 1166 | 6 AVENUE | 0 | 1 | A DOB inspector reported that at a 44-story existing building in which there was alteration work being performed between floors 41 and 44, there were four workers that were using suction cups while replacing a damaged glass panel that was located at the stairwell that goes from the forty-first floor to the forty-fourth floor when the glass shattered, and one of the workers suffered a cut to the hand. The injured worker was taken to an area hospital by an ambulance. The worker received stitches for their hand at the hospital. An ECB Violation was issued for a failure to institute adequate safety measures. A partial Stop Work Order (PSWO) was issued for all glass panel operations at the stairwell that goes between the forty-first and forty-fourth floors. | ECB Violation | 35581949M | 020222CERCM01 | General Construction | M00511578-I1-GC | Other Construction Related Incidents | UNAVAILABLE OWNER | STRUCTURE TONE, LLC
2022-02-02 | Manhattan | 1841 | BROADWAY | 0 | 1 | A DOB inspector reported that at a 27-story concrete frame new building that was at a fourth floor level, there was a worker that was stripping formwork on a column when a piece of joist from slab formwork fell and hit the worker on their head and hard hat. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. There had been no removal schedule implemented, as there was column formwork that was being removed where there was slab formwork that had been recently erected for a concrete pouring operation. There was no communication, or scope of work, discussed during the Pre-Shift Safety Meeting. Two ECB Violations were issued, including one violation that was issued to the General Contractor, and one violation that was issued to the Concrete Sub Contractor, for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639137 Y / 35639138 H | 020222CE07TA01 / 02 | New Building | 121189301 | Other Construction Related Incidents | GLOBAL 1845 BROADWAY LLC | Pavarini McGovern LLC
2022-02-03 | Manhattan | 341 | 9 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that had forgotten the key for his tool box. The worker attempted to use a hammer and a screwdriver to open the tool box, and a piece of the key cylinder chipped off and went into the worker's eye. The worker was seen by the on site medic. A small piece of metal was found in the worker's eye. The worker did not have any blood in his eye. The worker then went to a hospital to be evaluated. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-1 | 121207416 | Other Construction Related Incidents | USPS | Urban Atelier Group LLC
2022-02-03 | Queens | 97-12 | 65 ROAD | 0 | 1 | A DOB inspector reported that at a 22-story concrete frame new building that was at a fourth floor level, there was a worker that was erecting formwork for the fourth floor level when the worker walked backwards, stepped on a stack of material, and suffered a twisted ankle. An ambulance was called, and the worker was taken to a nearby hospital. All applicable documents and logs were provided for the scope of work. This incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 420664169 | Worker Fell | RB REALTY CAPITAL LLC | NY Developers & Management
2022-02-04 | Manhattan | 509 | WEST 34 STREET | 0 | 1 | A DOB inspector reported that at a 66-story steel frame new building that was up to a roof level, there was a worker that was using a mag drill to drill holes into a steel plate for an exterior panel when the worker attempted to remove debris from the operation, and the worker's clothing got caught while the drill was rotating. The worker suffered hand injuries. An ambulance was called, and the worker was taken to a nearby hospital. The worker had failed to comply with the manufacturer's specifications for machine use, and there were no additional safety measures instituted to safeguard against a hazardous condition. An ECB Violation was issued for a failure to institute and maintain safety equipment measures. A partial Stop Work Order (PSWO) was issued for all use of mag drills, and for all exterior panel installations. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639140 R | 020422CE04TA01 | New Building | 122885422 | Other Construction Related Incidents | 509 W 34, L.L.C. | Turner Construction Company
2022-02-05 | Manhattan | 125 | WEST END AVENUE | 0 | 1 | A DOB inspector reported that at a 7-story building in which there was alteration work being performed (an Alteration 1 job), there was a worker that was installing stairway decking that fell approximately nine feet to the lower level. The worker sustained a head injury that caused a laceration. An ambulance was called, and the worker was taken to Mount Sinai Hospital to receive treatment. The worker was cleared from having a concussion, and received eight stitches for the laceration. There had been no inspection performed on the fall protection equipment, there had been no working platform provided, and there were no additional safety measures instituted to safeguard a worker from a hazardous fall condition. Three ECB Violations were issued: one violation for a failure to institute safety measures, one violation for a failure to provide a notification for the suspended scaffolding, and one violation for a filed and signed statement that was false. A partial Stop Work Order (PSWO) was issued for all stairwell operations, and for all suspended scaffolding operations. The General Contractor will be required to provide a notification, and required documents, as required. | ECB Violation | 35639453 H / 35639454 J 35639455 L | 020522CE07ML01 / 02 / 03 | Alteration Type 1 | 140983390 | Worker Fell | 125 WEST END ASSOCIATES LLC | JRM Construction MGMT LLC
2022-02-07 | Brooklyn | 2230 | CROPSEY AVENUE | 0 | 1 | A DOB inspector reported that at a 30-story new building that was at a foundation level, there was a worker that was working next to a non-engineering site build platform that had been made from a U-shaped piece of rebar. The platform had been loaded with multiple 30-foot bars of # 11 rebar, and the platform collapsed and pinned the worker beneath the steel. The FDNY rescued the worker, and the worker was taken to a hospital. The worker suffered serious injuries. The work area had been photographed immediately before the injury. An ECB Violation was issued for a failure to maintain safeguards, as the non-engineering platform was overloaded, which caused the platform to collapse and cause the serious injury. A full Stop Work Order (FSWO) was issued. | ECB Violation | 35581994L | 020722CNEJG01 | NB - NEW BUILDING | 321384756-01-NB | Material Fell | SHORE TOWERS QZB LLC | NY DEVELOPERS & MANAGEMENT
2022-02-08 | Queens | 188-11 | HILSIDE AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that hurt his right thumb during a rebar bending operation. The worker went to a hospital with a co-worker to receive treatment for the injury. An ambulance was not called. The place where the work was being performed featured water from ice that had melted. Two ECB Violations were issued: one violation for a failure to provide manufacturer's specifications, and one violation for inadequate housekeeping. A partial Stop Work order (PSWO) was issued for all rebar use on the third floor. The General Contractor is to provide a Means and Methods for safe rebar operations moving forward, as well as adequate housekeeping for the ice. | ECB Violation | 356389576P,57R | 020822CE08SA01,02 | NB | 420666087 | Other Construction Related Incidents | 188-11 HILLSIDE PARTNERS LLC | Racanelli Construction
2022-02-09 | Brooklyn | 77 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that at a 30-story concrete frame new building that was at a twentieth floor level, there was a worker that was sweeping a stairwell that slipped, fell, and suffered a back injury. The worker called an ambulance on their own. There were no witnesses to the incident. It was determined that this incident occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, there were two violations issued for safety conditions that were present at the site: one violation for an inadequate Site Safety Plan (SSP), as there was a mini-crane in operation on the site, and a material loading platform present, and neither were shown on the Site Safety Plan, and one violation for the existing site condition not being reflected on the approved drawings. A partial Stop Work Order (PSWO) was issued for all use of the mini-crane, and for all use of the loading platform. An amended Site Safety Plan that reflects the site condition must be provided. | ECB Violation | 35639142 K / 35639143 M | 020922CE01TA01 / 02 | New Building | 320627096 | Other Construction Related Incidents | WATERVIEW OWNER LLC | Ray Builders INC
2022-02-10 | Bronx | 322 | GRAND CONCOURSE | 0 | 1 | A DOB inspector reported that there was a yodock system that was blown down by the wind that struck a female pedestrian on the head and right shoulder. The pedestrian was taken to Lincoln Hospital by an ambulance. The pedestrian was in a responsive state when leaving the site. The yodock system had not been pinned down, and the two sections of the yodock were wired together. The yodock was also not in the area that was reflected on the Site Safety Plan (SSP), and was not safety placed, which created a hazardous condition. Three ECB Violations were issued: one violation for a failure to safeguard, one violation for work that does not conform to the approved documents/Site Safety Plan, and one violation for failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for the storage zone area. | ECB Violation | 35639947H,48J,49L | 021022CE01RO11,12,13 | NB | 220696851 | Material Fell | 336 GRAND CONCOURSE LLC | NY Developers & Management
2022-02-10 | Manhattan | 181 | MERCER STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was pushing in the outrigger on a scissor lift when the worker suffered a cut to his finger. The worker saw the on site medic, and then went to a City MD outside of the site. | No Dispatch |  |  |  |  | Other Construction Related Incidents | NEW YORK UNIVERSITY | TURNER CONSTRUCTION COMPANY
2022-02-10 | Manhattan | 66 | HUDSON BOULEVARD | 0 | 1 | A DOB inspector reported that at a 66-story steel new building that was at a roof level, there was a worker that was installing a stairwell that spanned from the tenth floor to the eleventh floor when a grinder that was being used for a metal cutting operation kicked back, and the worker suffered a cut to the left leg. The worker walked to an urgent care center, where the worker was treated and received stitches. The grinder was found to have not been used as per the manufacturer's specifications, as the grinder's side handle was removed from the operation. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stairwell operations, and for all grinder use. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35639146 H | 021022CE04TA01 | Alteration Type 2 | 140920029 | Other Construction Related Incidents | 509 W 34, L.L.C. | Structure Tone LLC
2022-02-11 | Brooklyn | 124 | COLUMBIA HEIGHTS | 1 | 0 | A DOB inspector reported that there was a worker that was taking a measurement on the eighth floor on the edge of the roof. The parapet was low in height, and the worker fell over the parapet while walking and fell to the second floor setback. The worker was not using a safety harness. The worker succumbed to the injuries that he sustained. The worker, and his co-worker, did not receive a Site-Specific Safety Orientation, and there was no record to indicate that they had participated in a Pre-Shift Safety Meeting before they began their work. The two workers also did not possess any Site Safety Training (SST) cards. A DOB Violation was issued for a failure to safeguard persons and property affected by construction operations. A full Stop Work Order (FSWO) was also issued. Appropriate ECB Violations will be prepared and served, once the review of all documentation has been completed. | DOB Violation |  | 021122CE0201GM | ALTERATION -1 | 321194391 | Worker Fell | EASTERN DIVISION LLC | KBENY, LLC
2022-02-11 | Manhattan | 270 | PARK AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that suffered a twisted ankle while laying out a rebar mat. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  |  |  | Other Construction Related Incidents | METROPOLITAN TRANSPORTATION AU
2022-02-11 | Manhattan | 39 | WEST 23 STREET | 0 | 1 | A DOB inspector reported that there was a worker on the third floor level that was using an A Frame ladder to paint the trim around a window when the worker fell from the second rung of the ladder and landed on a section of cardboard boxes. The worker had a pre-existing back injury that was aggravated from the fall. The worker was taken to a hospital by an ambulance. There had been no proper safety orientation for the work that was being performed. An ECB Violation was issued for a failure to institute and maintain adequate safety measures. A partial Stop Work Order (PSWO) was issued for all painting on the third floor that involves the use of A Frame ladders. The General Contractor is to provide a Means and Methods for safe operations moving forward., along with a proper safety orientation for the workers. | ECB Violation | 35639169K | 021122CE05IH04 | NB | 121190424 | Other Construction Related Incidents | 39 WEST 23RD STREET, LLC | Ryder Construction Inc.
2022-02-11 | Manhattan | 512 | WEST 143 STREET | 0 | 1 | A DOB inspector reported that there were two workers for a sub contractor that were cutting fence panels. One of the workers was holding the end of the panels while the other worker was using a circular saw. The worker that was holding the panels moved his left hand closer to the circular saw, and the saw caught the worker's glove and cut his hand (the worker that was holding the panels). The worker was transported to Malcom X Hospital by a co-worker's personal vehicle. The Construction Superintendent was able to provide all paperwork. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121187955 | Other Construction Related Incidents | NEW YORK CITY BROTHERHOOD, INC | RACANELLI CONSTRUCTION CO
2022-02-11 | Queens | 37-01 | 138 STREET | 0 | 1 | A DOB inspector reported that at the site of a full demolition job, there was a gas cylinder that had been lifted onto a hydraulic lift in the back of a delivery truck that had been left unattended, and the gas cylinder fell and injured a worker on their head. The worker was taken to a hospital by an ambulance. The Construction Superintendent provided all paper work at the site, as well as some pictures of the incident. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all handling of gas cylinders. The General Contractor is to provide a Means and Methods for gas handling. | ECB Violation | 35639536N |  | DM | 421791234 | Other Construction Related Incidents | FLUSHING COMMONS SPONSOR PHASE | PAL ENVIRONMENTAL SAFETY
2022-02-12 | Manhattan | 111 | WEST 57 STREET | 0 | 1 | A DOB inspector reported that at an 82-story residential building in which there was work being performed under an Alteration 1 permit, there was a worker on the seventh floor that was using stilts while performing a sheetrock taping operation that fell from the stilts and suffered injuries to both ankles. The worker was taken to Mount Sinai Hospital. All permits and paperwork at the site were in order. An ECB Violation was issued for a failure to maintain safety measures on the use of equipment. A partial Stop Work Order (PSWO) was issued for the use of stilts. An inspection checklist must be provided, and safe operations must be maintained going forward. | ECB Violation | 35639579N |  | Alt-1 | 121332968 | Other Construction Related Incidents | 111 WEST 57TH PROPERTY OWNER L | JDS CONSTRUCTION GROUP
2022-02-14 | Brooklyn | 1601 | SURF AVENUE | 0 | 1 | A DOB inspector reported that at a 10-story new building that was at a second floor level, there was a worker that tripped, fell, and suffered a cut on his hand. The worker was taken to a hospital. The Pre-Shift Safety Meeting that was conducted was found to have been inadequate. Poor housekeeping was observed at the site, as well as unsafe supported scaffolding, missing rebar caps and guardrails, and inadequate pedestrian protection. Eight total ECB Violations were issued: one violation for a failure to provide an adequate Pre-Shift Safety Meeting, one violation for the presence of poor housekeeping, one violation for the presence of unsafe supported scaffolding, one violation for the absence of rebar caps, one violation for the absence of guardrails, one violation for pedestrian protection that does not meet code specifications, one violation for a failure to institute and maintain safety measures, and one violation for the performance of work that does not conform to the approved Site Safety Plan (SSP). A partial Stop Work Order (PSWO) was issued for all use of supported pipe scaffolding, and for all work at the perimeter of the second floor and ten feet in from the leading edges. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 25645832Z/33K/34M/35Y/36X/37H/38J/39L |  | NB | 321589134 | Other Construction Related Incidents | CONEY ISLAND PHASE 2 HOUSING D | CONEY ISLAND PHASE 2
2022-02-14 | Manhattan | 1661 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using an A Frame ladder to perform a framing operation at the perimeter of a window on the fourth floor level when the worker fell over the vertical netting, and fell approximately thirty feet to the grade level. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The worker was receiving emergency treatment, but was reported to have been in a conscious condition. The worker did not suffer any broken bones. The workers at the site were not provided with a Site-Specific Safety Orientation before the commencement of work. The Pre-Shift Safety Meeting did not contain contents to address the scope of work and safety concerns. There were no additional safety measures instituted to safeguard a worker from a hazardous fall condition, such as a harness (PPE). Seven total ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for a failure to ensure that all workers received a Site-Specific Safety Orientation, one violation for inadequate Pre-Shift Safety Meeting contents, one violation for a failure to provide horizontal netting, one violation for the presence of vertical netting that was not as per code, one violation for the presence of a hoist that was not in a state of readiness, and one violation for the failure by the Construction Superintendent to perform duties. A full Stop Work Order (FSWO) was issued. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639581 M / 82 Y / 83 X / 84 H 35639885 J / 86 L / 87 N | 021422CE11TA02/03/04/05/06/07/08 | New Building | 121207185 | Worker Fell | 1661 MADISON HOLDINGS LLC | SS Construction Experts L
2022-02-14 | Manhattan | 310 | EAST 86 STREET | 0 | 1 | A DOB inspector reported that at a 20-story new building that was at a foundation phase, there was a sidewalk shed installation in progress at the front of the adjacent building, 304 East 86 Street, when the sidewalk shed crew accidentally hit the drop ladder of a fire escape that was by one of the shed's posts. The ladder came loose, fell, and hit one of the workers (from the sidewalk shed company/crew) in the shoulder. The worker was taken to Cornell Hospital. The worker was waiting to receive an X-ray. An ECB Violation was issued for a failure to institute and maintain safety equipment measures and temporary construction equipment. A partial Stop Work Order (PSWO) was issued for all sidewalk shed installations. The sidewalk shed company/contractor is to provide a Means and Methods to proceed with safe operations. | ECB Violation | 35639170H |  | NB | 121204892 | Other Construction Related Incidents | IGI E86 LLC | HUNTER ROBERTS CONSTRUCTION
2022-02-15 | Bronx | 3651 | JEROME AVENUE | 0 | 1 | A DOB inspector reported that there was a worker (an electrician) that was making a connection that walked over to an area that featured snow and ice mixed together, and the worker slipped and hurt his ankle. The worker was taken to a hospital by an ambulance. The Construction Superintendent was on site. All paperwork and documents at the site were provided, and a Pre-Shift Safety Meeting and Site-Specific Safety Orientation were provided. However, an ECB Violation was issued for a failure to safeguard. The General Contractor is to provide safety measures for adequate and safe walkway areas around the site, where the operations are being conducted. | ECB Violation | 35639904H | 021522CE26JG01 | NB | 220016346 | Other Construction Related Incidents | NYC PARKS DEPT | C&L Contracting Corp
2022-02-16 | Bronx | 2505 | BRUCKNER BOULEVARD | 0 | 1 | A DOB inspector reported that at a 4-story steel frame warehouse new building that was at a finishing phase, there was a worker (a plumber) that was using a Polaris Ranger UTV to transport materials to the roof level when the UTV overturned, and the worker was thrown to the floor. The worker suffered a knee injury. An ambulance was called. The worker, and the contractor, had failed to adhere to the manufacturer's specifications for the use of the vehicle, as there was no inspection done on the platform before use, maintenance was not maintained, and the worker was not wearing required Personal Protective Equipment (PPE), such as a helmet and seatbelt. There were also no additional safety measures instituted for the use of the vehicle. Two ECB Violations for a failure to institute and maintain safety measures were issued: one violation that was issued to the General Contractor, and one violation that was issued to the Sub Contractor. A partial Stop Work Order (PSWO) was issued for all use of UTV vehicles on site. Both the General Contractor, and the Sub Contractor, will be required to provide and maintain adequate safety measures for the operation, and for the use of the UTV vehicle, going forward. | ECB Violation | 35639696 M / 35639697 Y | 021622CE10RO01 / 02 | New Building | 210178957 | Other Construction Related Incidents | BRUCKNER BOULEVARD OWNER LLC | Aurora Contractors INC
2022-02-18 | Brooklyn | 230 | CLASSON AVENUE | 0 | 2 | A DOB inspector reported that at a 17-story concrete frame new building that was at a roof level, and partially enclosed, there were two workers on the ninth floor that were moving a window panel frame that was approximately 200 pounds and 3' X 4' in dimension when the frame fell onto both workers, injuring both of the workers' legs. An ambulance was called, and both workers were taken to a nearby hospital. There were no contents, and no scope, discussed during the Pre-Shift Safety Meeting, the material handling and storage at the site was inadequate, and there was no compliance with the manufacturer's specifications. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all window installations, and for all material handling of windows. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35639404 L | 021822CE02NP01 | New Building | 321195684 | Other Construction Related Incidents | ST. MARY'S EPISCOPAL CHURCH | Mc Gowan Builders INC
2022-02-18 | Manhattan | 359 | 2 AVENUE | 0 | 1 | A DOB inspector reported that at a 13-story new building that was topped-off, there was a worker (a carpenter) that was using a ladder to install ceiling framing in the basement level when the worker felt pain in his shoulder, and claimed to have hurt his back. An ambulance took the worker to a hospital. EMS reported that the worker may have suffered a possible heart attack, but this could not be verified. The worker did not attend the Pre-Shift Safety Meeting before the start of the day. Four ECB Violations were issued: one violation for poor housekeeping, one violation for the presence of a chain-link fence on the Yodocks at the storage zone without a design drawing, one violation for an inadequate Pre-Shift Safety Meeting, and one violation for illegal advertising. A partial Stop Work Order (PSWO) was issued for the storage zone. | ECB Violation | 35639906L/ 07N/ 08P/ 09R |  | nb | 123800093 | Other Construction Related Incidents | SD SECOND AVENUE PROPERTY, LLC | ROSS & ASSOCIATES LLC
2022-02-18 | Manhattan | 413 | 10 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was coming down from baker scaffolding when the worker his knee. The worker fainted on the floor. The worker was taken to a hospital by an ambulance. All required construction documents were provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121191414 | Other Construction Related Incidents | 50 HYMC OWNER LLC | HUDSON YARDS CONST II LLC
2022-02-18 | Manhattan | 620 | 8 AVENUE | 0 | 1 | A DOB inspector reported that during a stair removal operation, there was a worker (a fire watch) that was climbing down from a scaffold when the worker fell from the scaffold. The worker suffered a back injury. An ambulance was called. This incident took place on February 18, 2022, but was not reported to DOB until February 23, 2022. Five ECB Violations were issued: one violation for the presence of inadequate scaffolding, as guardrails were missing, one violation for the absence of a Tenant Protection Plan (TPP), one violation for the tampering with the evidence of an incident, one violation for a failure to promptly notify DOB of the incident, and one violation for the absence of a scaffold user training card. A partial Stop Work Order (PSWO) was issued for all scaffold use, for all demolition work, and for all stair removal operations from between the eighteenth and twentieth floors. A Means and Methods for safe operations must be provided, and a Tenant Protection Plan must be maintained. | ECB Violation | 35639596P 35639595N 35639593J 35639594L 35639597R |  | Alt | M00627556-I1-GC | Worker Fell | ECONOMIC DEVELOPMENT CORP | BENCHMARK BUILDERS LLC
2022-02-21 | Brooklyn | 35 | COMMERCIAL STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was passing form to the ninth floor when the worker tripped on shoring and suffered a knee injury. EMS was called. | No Dispatch |  |  | NB - NEW BUILDING | 321589704-01-NB | Other Construction Related Incidents | HP H1H2 HOUSING DEVELOPMENT FU | MONADNOCK CONSTRUCTION IN
2022-02-21 | Manhattan | 200 | EAST 34 STREET | 0 | 1 | A DOB inspector reported that at a 31-story new building, there was a worker that was moving a portable toilet when a steel door frame was knocked over, and the door frame caused a minor abrasion to the worker. The worker was transported to an area hospital. The metal door frame had been moved out of place from its original storage location. It was not known why the door frame was moved. An ECB Violation was issued for the improper storage of materials. A partial Stop Work Order (PSWO) was issued for all work at the southeast corner of the first floor. | ECB Violation | 39056489K |  | NB - NEW BUILDING | 121205221-01-NB | Other Construction Related Incidents | COA 200 E 34TH LLC | NOBLE CONSTRUCTION GR LLC
2022-02-21 | Manhattan | 920 | BROADWAY | 0 | 1 | A DOB inspector reported that at a 17-story commercial building in which there was a façade being constructed, there were two workers that were attempting to reinstall a plank that had been removed in order to set in place a new stone at the fourth floor. One of the workers was at the location of the stone, and the second worker was underneath the location, passing the plank up to the first worker. The first worker (the worker that was above the other worker) could not hold the plank that was being passed upwards, and the plank fell onto the worker below. The struck worker suffered minor injuries, and walked to an urgent care center on his own. All active permits at the site were in place, and there was protection around the entire site to protect the public and property. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | A2 - ALTERATION TYPE 2 | 140995680-01-EW-OT | Other Construction Related Incidents | WALNUT POINT REALTY LLC | SKYLINE RESTORATION INC
2022-02-22 | Manhattan | 270 | PARK AVENUE | 0 | 1 | A DOB inspector reported that there was an iron worker that was tying rebar in the center of the building, under the west wall on the second floor, when the worker slipped and suffered an injury. The worker was transported to a hospital by an ambulance. No unsafe conditions were observed in the immediate area. The related documents were on site, except for that day's Pre-Shift Safety Meeting, which was in the possession of a foreman that left the site for the day. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 121205604 | Other Construction Related Incidents | METROPOLITAN TRANSPORTATION AU
2022-02-22 | Manhattan | 468 | COLUMBUS AVENUE | 0 | 1 | A DOB inspector reported that at an 8-story new building that was at a roof level, there was a worker on the roof level that cut his left finger with a grinder. An ambulance was called, and the worker was transported to a nearby hospital to receive treatment. The worker did not attend the daily Pre-Shift Safety Meeting, and there were no safety measures implemented to safeguard the worker. Two ECB Violations were issued: one violation for a failure to ensure that all workers attended the Pre-Shift Safety Meeting, and one violation for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all grinder use, and for all metal cutting operations. The General Contractor will be required to provide and maintain safety measures as required. | ECB Violation | 35639505K / 06M |  | NB | 121190255 | Other Construction Related Incidents | 468 PROPERTY OWNER, LLC | HUDSON MERIDIAN CONSTRUCT
2022-02-22 | Manhattan | 476 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at an existing building in which there was a structural modification being performed, there was a worker that was moving material around a storage area when the material fell over onto one of the worker's legs. An ambulance was called, and the worker was transported to a nearby hospital to receive treatment. DOB was not immediately notified of the incident, and the evidence of the incident was tampered with. There had been no safety measures implemented in order to safeguard the personnel that was working and handling material, and the Site-Specific Safety Orientation that was given was found to have been inadequate. Five ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for a failure to provide an adequate Site-Specific Safety Orientation, one violation for the tampering with the evidence of the incident, and two violations, one that was issued to the General Contractor, and one that was issued to the Construction Superintendent, for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all material handling operations. The General Contractor will be required to provide a Means and Methods for safe material handling moving forward. | ECB Violation | 35645678J/ 79L/ 80Z/ 81K/ 82M |  | ALT2 | 123760206 | Other Construction Related Incidents | NEW YORK PUBLIC LIBRARY | TURNER CONSTRUCTION COMPA
2022-02-23 | Manhattan | 145 | WEST 47 STREET | 0 | 1 | A DOB inspector reported that at a 49-story new building that featured a TCO (Temporary Certificate of Occupancy), there was a worker that was at the end of his shift that was coming down a bulkhead ladder when the worker slipped off of the rungs. The worker was transported to an area hospital to receive treatment. The work area featured water puddles on the deck of the upper roof. The electrical wire for the suspended scaffolding was found laying in a puddle of water. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all work at the roof level. | ECB Violation | 039056753K |  | NB - NEW BUILDING | 121187802-01-NB | Worker Fell | CLARITY 47 LLC | TB USA, L.L.C
2022-02-25 | Brooklyn | 180 | LIVINGSTON STREET | 0 | 1 | A DOB inspector reported that at the fifth floor, there was a worker (an electrician) that was using a platform ladder to pull a wire when the worker tripped on his own foot while coming down from the ladder. The worker suffered a shoulder injury. An ambulance was called, and the worker was taken to a hospital. The incident was considered to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-2 | 320908899 | Other Construction Related Incidents | THE 180 LIVINGSTON STREET COND | JRM CONSTRUCTION MGMT
2022-02-25 | Brooklyn | 20 | PRESCOTT PLACE | 0 | 1 | A DOB inspector reported that at a 9-story new building that has been topped off, there was a worker that was on a six-foot tall A Frame ladder placing a wooden jack under a standpipe in order to support it. The ladder was standing on loose soil and on an unstable plywood sheet, and the ladder slipped, and the worker fell to the ground. The worker suffered an injury to his left ankle. An ambulance was called, and the worker was taken to a nearby hospital. There had been no safety measures implemented to safeguard working personnel. The ladder had been placed on unstable support, and the manufacturer specifications had not been conformed with. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of A Frame ladders throughout the entire site. The General Contractor will be required to provide a Means and Methods, along with a Tool Box Talk, for the safe use of an A Frame ladders. | ECB Violation | 35639408Z |  | NB | 321194783 | Worker Fell | MOR ROSEN LLC | B T GENERAL BUILDERS INC
2022-03-03 | Manhattan | 2750 | FREDERICK DOUGLASS BOULEVARD | 0 | 1 | A DOB inspector reported that at a 6-story new building, there was a worker that was erecting a sixteen-foot vertical scaffold support when the worker lost control of the support, and was struck by the support. The worker lost consciousness. The worker was taken to an area hospital. The extent of the worker's injuries was not known. An Aggravated Level 2 ECB Violation was issued for a failure to carry out proper safety measures. A partial Stop Work Order (PSWO) was issued for all overhead protection within the site. | ECB Violation | 35593154R | 030322CERMP01 |  |  | Other Construction Related Incidents | FDB 13 LLC | JC ELITE CONSTRUCTION SER
2022-03-03 | Queens | 89-46 | 164 STREET | 0 | 1 | A DOB inspector reported that at a 12-story steel and concrete plank new building that was at a roof level and partially enclosed from the second floor up, there was a worker in the cellar level that was using an extension ladder to install an electrical connection for an HVAC unit when the ladder accidentally slipped from its location, and the worker fell approximately 17 feet. The worker was experiencing minor pain to the arm and back. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The extension ladder was found to have been used incorrectly, as it was found to have not been secure, and to have been used on an inadequate surface. There were no additional safety measures provided for the operation or discussed during the Pre-Shift Safety Meeting. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all ladder use during elevated operations. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 35645636 L | 030322CE12MA04 | New Building | 420657113 | Worker Fell | FIRST JAMAICA 164 STREET HOUSI | Banta Homes Corp
2022-03-04 | Manhattan | 301 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at an 44-story building in which there was alteration work being performed (under an Alteration 1 job), there were two workers that were using mini containers to remove debris from the site, and place it onto a garbage truck, when a cable that was holding the mini container came loose, and one of the workers suffered an injury to their right foot. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The worker was waiting to receive an X-Ray of the injured foot. The incident was determined to have occurred as the result of a worker error, and no enforcement action was taken in response to the incident. However, an ECB Violation was issued for the tampering with the evidence of an incident, as the garbage truck was removed from the site before the DOB inspector arrived. | ECB Violation | 35639520 Z | 030422CE05IH01 | Alteration Type 1 | 121191245 | Other Construction Related Incidents | UNAVAILABLE OWNER | Suffolk Construction Company
2022-03-04 | Queens | 25-77 | 31 STREET | 0 | 1 | A DOB inspector reported that at a 7-story new building that was fully enclosed, there were two workers that were using a ladder to install a camera system for a garage door at the grade level. One of the workers was on the ladder, and the second worker was assisting on the floor. The door went beyond the expected opening position, which startled the worker that was on the ladder. The worker that was on the ladder fell and suffered a minor cut to the head. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. There was a simple adjustment failure during the door opening. The two workers were adequately trained and oriented for the operation. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 421472999 | Worker Fell | ASTORIA 25-77 31ST STREET LLC | Penta Restoration Corp
2022-03-04 | Queens | 48-00 | GRAND AVENUE | 0 | 1 | A DOB inspector reported that at a 1-story commercial new building, there were two workers that were using a boom lift when one of the workers got their glove caught while the bolts were being tightened. The worker suffered a twisted thumb. The injured worker was taken to a local hospital. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary | none | none | NB | Q00479553-I1 | Other Construction Related Incidents | 48-00 GRAND AVENUE PE LLC | MARCH ASSOCIATES CONSTRUCTION
2022-03-07 | Brooklyn | 540 | FULTON STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was descending from a suspended scaffold at the end of the work day that hurt his leg. An ambulance was called. | No Dispatch |  |  | NEW BUILDING | 321185828-01-NB | Worker Fell | 540 FULTON OWNER LLC | PAV-LAK CONTRACTING INC
2022-03-07 | Manhattan | 351 | 6 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was handling a paver when the paver slipped and cut the worker's finger. The worker was taken to a City MD. | No Dispatch |  |  | NB | 123174803 | Other Construction Related Incidents | 351 6TH AVENUE, LLC | NEW LINE STRUCTURES & DEV
2022-03-07 | Manhattan | 430 | 7 AVENUE | 0 | 1 | A DOB inspector reported that at a one-story commercial building in which there was an interior renovation being performed, there was an exterior façade probing that had been performed a few months ago in which a lower stone façade was removed, without having the proper safety measures implemented to fully secure the upper stone facade. Approximately 2' X 5' X 4" of thick stone facade fell approximately five feet and landed on the sidewalk. A pedestrian that was passing by was injured by the fallen debris. The pedestrian was taken to an area hospital. The extent of the pedestrian's injuries were not known. An Aggravated Level 2 ECB Violation was issued for a failure to maintain. A partial Stop Work Order (PSWO) was issued for all exterior work. | ECB Violation | 039057589M | VIO22-00621 | n/a |  | Other Construction Related Incidents | KORPENN
2022-03-08 | Bronx | 1164 | RIVER AVENUE | 0 | 1 | A DOB inspector reported that at a 16-story new building that was at a seventh floor level, there was a worker that was using a forklift that drove over an open section of the first floor, and the forklift and worker went through the opening and landed in the cellar. The worker and the forklift fell approximately 20 feet. The worker was transported to Lincoln Hospital by a co-worker. Three ECB Violations were issued: one violation for a failure to safeguard, one violation for the absence of a Pre-Shift Safety Meeting, and one violation for the absence of a Site Safety Orientation refresher. A partial Stop Work Order (PSWO) was issued for all use of forklifts. The General Contractor will be required to provide and maintain safety measures for the use of forklifts going forward. | ECB Violation | 35646080J/ 81L/ 82N |  | NB | 210178127 | Worker Fell | HPDC2 HOUSING DEVELOPMENT FUND | JOY CONSTRUCTION CORP
2022-03-09 | Bronx | 341 | EAST 162 STREET | 0 | 1 | A DOB inspector reported that at a 12-story new building that was at the eleventh floor level, there was a worker that was moving a window when the window fell over the worker. An ambulance was called, and the worker was transported to a hospital to receive treatment. There had been no safety measures implemented to safeguard the personnel that was handling and transporting the windows. The site also featured an unsafe and dislodged supported scaffold and poor housekeeping. Four ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for an unsafe scaffold, one violation for dislodgement, and one violation for poor housekeeping. A partial Stop Work Order (PSWO) was issued for all window operations, and for the use of supported scaffolding at exposure 3. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35639966N/ 67P/ 68R/ 69Z |  | NB | 210179457 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | HOME BUILDERS 1 L.P
2022-03-09 | Manhattan | 111 | WEST 57 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was drilling on a soffit that complained that dust had gotten into his eye. The worker was seen by the on site medic, and was then taken to a hospital by an ambulance. The worker was wearing a hardhat and goggles. A tool box talk, and a safety talk, were provided to the worker. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-1 | 121332968 | Other Construction Related Incidents | 111 WEST 57TH PROPERTY OWNER L | JDS Construction Group
2022-03-10 | Bronx | 720 | TIFFANY STREET | 0 | 1 | A DOB inspector reported that at a 14-story new building that was topped off and fully enclosed, there was a worker that was using an A Frame dolly to move glass panels when the dolly rolled over the worker's toe, fracturing the toe. The worker went to a City MD to receive treatment, and the worker went home with a foot brace walking boot. There had been no safety measures implemented to safeguard the personnel that was working with the A Frame dolly. The evidence of the incident had been removed from the site. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the tampering with the evidence of the incident. A partial Stop Work Order (PSWO) was issued for all handling and use of the A Frame dolly. The General Contractor will be required to provide a Means and Methods for the safe use of A Frame dollies moving forward, along with a toolbox talk. | ECB Violation | 35639972J/ 35639972J |  | NB | 210178500 | Other Construction Related Incidents | NYC ACS | BROADWAY BUILDERS LLC
2022-03-10 | Brooklyn | 171 | CALYER STREET | 0 | 2 | A DOB inspector reported that there were two workers that were removing steel beams. Both of the workers were wearing a safety harness. The two workers were standing on a beam during the operation. The steel removal process went out of sequence, and as a result, the bolts at the splice point gave way, and the beam, and the two workers, fell approximately ten feet. One of the workers suffered a leg injury, and the second worker suffered a back injury. Both workers were taken to Elmhurst Hospital. One of the workers may be released from the hospital. The second worker was still in ICU. Eight ECB Violations were issued: one Aggravated Level 2 violation for a failure to institute and maintain safety measures, one violation for the performance of demolition work out of sequence, one violation for a failure to ensure that all workers had received a Site Specific Safety Orientation, one violation for a failure to maintain weatherproofing for the adjacent property, one violation for housekeeping that was not maintained as per code, one violation for the absence of Department Of Transportation (DOT) permits for a manlift that was being stored in the street, one violation for a failure to notify DOB of the incident, and one violation for the failure by the Construction Superintendent to perform their duties. A full Stop Work Order (FSWO) was issued. The General Contractor is to provide a Means and Methods for the safe continuation of the remaining work, and a revised sequence of activities, including a worker's orientation. | ECB Violation | 35640068J, 69L, 70Z, 71K, 72M, 73Y, 74X AND 35645300H, |  | DEMOLITION | 322098993 | Worker Fell | 171 CALYER MAIN OWNER, LLC | ALBA SERVICES INC
2022-03-10 | Brooklyn | 512 | GARDNER AVENUE | 0 | 1 | A DOB inspector reported that at a 1-story warehouse in which there was asbestos abatement work being performed under a DEP permit, there was a worker that fell through the roof to the grade level. The worker was transported to a hospital. There was no further information available regarding the injured worker. An ECB Violation was issued for a failure to maintain safety measures. | ECB Violation | 39057814J |  | DEP |  | Worker Fell | PRESTON TRUCKING COMPANY | New York Insulation
2022-03-10 | Manhattan | 125 | WEST END AVENUE | 0 | 1 | A DOB inspector reported that at a 7-story building in which there was alteration work being performed under an Alteration 2 application, there was a worker that was going down stairs when the worker suffered a sprained ankle. The worker was taken to a medical facility. An ambulance was not called. All required documentation for the injured worker, such as for the Site-Specific Safety Orientation, for the Pre-Shift Safety Meeting, and a Site Safety Training Card, were provided. There were no unsafe conditions observed at the site. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 140983390 | Other Construction Related Incidents | 125 WEST END ASSOCIATES LLC | JRM CONSTRUCTION MGMT LLC
2022-03-11 | Bronx | 2351 | WALTON AVENUE | 0 | 1 | The Site Safety Coordinator reported that there was a worker (an electrician) that was using a razor to cut wire when the worker cut his left hand. The worker went to an urgent care center with his supervisor. An ambulance was not called. | No Dispatch |  |  | NB | 210182283 | Other Construction Related Incidents | 2351 WALTON OWNER LLC | Archstone Builders LLC
2022-03-11 | Queens | 108-60 | HORACE HARDING EXPRESSWAY | 0 | 1 | A DOB inspector reported that at a 13-story new building that was topped off and fully enclosed, there was a worker that was pushing an overloaded A Frame dolly when sheetrock that was on the dolly tipped over and struck the worker. The worker got caught between the dolly and the wall. An ambulance was called for the injured worker. The toolbox talk required that two workers should be pushing the A Frame dolly. However, the worker pushed the dolly by himself. This was not mentioned in the Pre-Shift Safety Meeting. Additionally, there were no safety measures implemented to safeguard the workers. An ECB Violation was issued for a failure to institute and maintain safety systems. A partial Stop Work Order (PSWO) was issued for all use of A Frame dollies. The General Contractor will be required to perform another toolbox talk for the safe use of A Frame dollies. | ECB Violation | 35639609P |  | NB | 420663865 | Other Construction Related Incidents | APEX PLACE HOUSING DEVELOPMENT | MONADNOCK CONSTRUCTION IN
2022-03-14 | Manhattan | 1120 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at a 20-story existing building in which there was façade work being performed, there was a worker that was installing planks on top of a scaffold frame in order to protect three air conditioning units that were located at exposure 3 of the back of the building when the worker fell six feet. The worker was transported to a hospital in an alert and conscious state. An ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all overhead protection (OHP) installation. A Means and Methods for safe operations must be provided. | ECB Violation | 35645973M |  | ALTERATION TYPE 2 - GEN. CONSTR. | 140925257 | Worker Fell | 1120 PARK CORP | NOVA CONSTRUCTION SERVICE
2022-03-14 | Manhattan | 425 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at a 42-story new building that was topped off and fully enclosed, there was a worker on the seventeenth floor that improperly tried to open his gang box, and the worker suffered a sprained right thumb. The worker went to an urgent care center to receive treatment. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121333921 | Other Construction Related Incidents | 425 PARK AVE GROUND OWNER LLC | TISHMAN CONSTRUCTION CORP
2022-03-14 | Manhattan | 729 | 7 AVENUE | 0 | 2 | A DOB inspector reported that at a 17-story existing building in which there was both façade restoration work and bulkhead demolition work being performed, there were two workers from the façade restoration operation that removed bricks from the wall and placed them on a slab that was inside of the bulkhead. This caused the bulkhead to become overloaded, and the bulkhead failed and collapsed. The two workers fell from the eighteenth floor to the seventeenth floor. Both workers were taken to a hospital by an ambulance in a conscious state. The two workers did not suffer any fractures. The work that was being performed as part of the facade restoration operation had exceeded the scope of the permitted work, and was involved in the bulkhead demolition work. The contractor for the bulkhead demolition operation was not on site as of the time of inspection. Six total ECB Violations were issued, including four violations that were issued to the contractor associated with the facade restoration work, and two violations that were issued to the contractor that were associated with the bulkhead demolition. The violations that were issued to the facade restoration contractor included: one violation for a failure to institute safety measures, one violation for the performance of work that was contrary to the approved plan and application, one violation for poor housekeeping, as there were cables and debris present on the floor and ice present on the roof, and one violation for a failure to keep the work area adequately illuminated. The two violations that were issued to the bulkhead demolition contractor included one violation for a a failure to designate a Site Safety Manager (SSM) and one violation for a failure to provide a Site Safety Plan (SSP). A full Stop Work Order (FSWO) was issued to both jobs/operations. A Means and Methods for the safe continuation of work, as well as a Professional Engineer's structural stability report, must be provided. | ECB Violation | 35645876K, 77M, 78Y, 79X, 80N & 81P. |  | FAÇADE RESTORATION | 140898811 | Worker Fell | NAME NOT ON FILE | SKYLINE RESTORATION INC
2022-03-15 | Manhattan | 159 | WEST 48 STREET | 0 | 1 | A DOB inspector reported that at a 37-story new building that had received a TCO (Temporary Certificate of Occupancy), there was a worker that was moving a gang box when a 2 X 6 X 10 wooden plank fell on the worker's head. An ambulance was called for the worker. An ECB Violation was issued for the unsafe storage of material, and for inadequate housekeeping. | ECB Violation | 35645351H | 031522CE05SM01 | NB | 123331224 | Other Construction Related Incidents | KCPC AQUISITION, INC. | Tishman Construction Corp
2022-03-15 | Manhattan | 24 | CENTRAL PARK SOUTH | 0 | 1 | A DOB inspector reported that at a 22-story mixed use building, there was a worker from a scaffolding company that went up the stairs to the first platform of a pipe scaffold that reached out to untangle a rope when the worker fell onto the sidewalk shed. The worker was taken to a hospital. The extent of the worker's injuries were not known. An ECB Violation was issued for a failure to notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all exterior work. | ECB Violation | 039058131P |  | TEMPORARY CONSTRUCTION EQUIPMENT-ALT 3 |  | Scaffold/Shed/Fence/Shoring/Installation | 24 CENTRAL PARK SOUTH INC
2022-03-16 | Manhattan | 550 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that at a 37-story new building that was topped off and fully enclosed, there was a worker on the first floor that was using a drill to chip around a column when the worker hit the drill trigger, and the drill struck the worker's finger, causing a minor laceration. The worker was taken to a hospital by an ambulance. The Pre-Shift Safety Meeting was found to have been inadequate, as it did not mention the drilling/chipping operation, and also did not mention wearing gloves during the operation. An ECB Violation was issued for a failure to institute safety equipment measures. A partial Stop Work Order (PSWO) was issued for all chipping operations. The General Contractor will be required to provide Means and Methods for safe chipping operations moving forward. | ECB Violation | 35645360J |  | NB | 121204507 | Other Construction Related Incidents | OAC 550 OWNER LLC | TISHMAN CONSTRUCTION CORP
2022-03-17 | Manhattan | 712 | 5 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using an A Frame to move steel when the worker's hand got caught, and the worker suffered a small laceration. The worker went to an area hospital. | No Dispatch |  |  | ALTERATION TYPE 2 | 140942737-01-EW-OT | Worker Fell | 712 FIFTH AVENUE OWNER LP | SHAWMUT WOODWORKING & SUP
2022-03-18 | Brooklyn | 1 | WILLOUGHBY SQUARE | 0 | 2 | A DOB inspector reported that at a 35-story building in which there was interior fit-out work being performed between the thirteenth and fifteenth floor levels, there were two workers that were in the process of installing a glass panel that was 10' X 4' when the panel came dislodged at its base frame and hit a concrete slab. The glass shattered and fell onto the two workers, causing minor injuries. The two workers were taken to a nearby hospital to receive treatment. There were no safety measures in place for material handling, and there were tripping hazards present at the location of the operation. Four ECB Violations were issued: one violation for a failure to institute and maintain safety measures, one violation for the absence of a Site Safety Plan (SSP), one violation for a failure to immediately notify DOB of the incident, and one violation for the tampering with the evidence of the incident. A partial Stop Work Order (PSWO) was issued for all work between the thirteenth and fifteenth floors. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 35639377 P / 35639378 R 35639379 Z / 35639380 X | 031822CE02NG01 / 02 / 03 / 04 | Alteration Type 2 | B00556751 | Other Construction Related Incidents | JEMB ALBEE SQUARE LLC | OCGP LLC
2022-03-21 | Brooklyn | 219 | COURT STREET | 0 | 1 | A DOB inspector reported that at a 3-story, non for profit, 3-family dwelling building in which the second and third floors were under renovation, there was a tenant from the first floor that was walking on the third floor joists that slipped and fell from the third floor to the second floor. The tenant suffered two broken wrists. The injured tenant was transported to an area hospital. During the renovation that was being performed, some of the second and third floor joists had been removed, along with all of the interior walls throughout, which left ceilings and floors open to fall hazards. At the first floor, there had been a partial ceiling collapse at the rear of an apartment. An Aggravated Level 2 ECB Violation was issued for the performance of work without a permit. A full Stop Work Order (FSWO), and a full Vacate Order, were also issued. | ECB Violation | 039058494Y | VIO22-00776 |  |  | Other Construction Related Incidents | JUDITH ANNE BARNES
2022-03-21 | Brooklyn | 295 | ST JOHNS PLACE | 1 | 0 | A DOB inspector reported that at an existing 6-story building in which there was facade repair work being performed, there was a rigging foreman that was setting up suspended scaffolding when the foreman got caught between the scaffolding and the fire stairs, lost balance, and fell fifteen feet from the scaffolding onto a metal fence. The foreman succumbed from the injuries that were sustained. A DOB Violation was issued for a failure to safeguard persons and property affected by construction operations. A full Stop Work Order (FSWO) was issued. Appropriate ECB Violations/OATH Summonses are being prepared, and will be served once the review of all conditions is completed. | DOB Violation |  | 032122CE08O1MI | FAÇADE REPAIR | BOO522599 | Worker Fell | UNAVAILABLE OWNER | JEPOL CONSTRUCTION INC
2022-03-21 | Brooklyn | 491 | HERKIMER STREET | 0 | 1 | A DOB inspector reported that at an 8-story masonry new building that was at a roof level, there was a worker that was walking on the first floor that tripped and fell on a framing stud that was on a floor slab. The worker suffered a twisted right ankle and a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The first floor walkway and pathway were not adequately maintained to be free of tripping hazards. There were no CD5 drawings present on site for the suspended scaffolding that was present. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the absence of approved drawings for the suspended scaffolding. A partial Stop Work Order (PSWO) was issued for all work at the first floor level, and for all use of the suspended scaffolding. The General Contractor is to provide and maintain adequate safety measures for the operation going forward, and to also provide drawings for the suspended scaffolding. | ECB Violation | 35645115 X / 35645116 H | 032122CE03ML03 / 04 | New Building | 32158713 | Other Construction Related Incidents | FEDERATION HERKIMER HOUSING DE | Mega Contracting GP LLC
2022-03-21 | Manhattan | 15 | BEEKMAN STREET | 0 | 1 | A DOB inspector reported that at a 27-story new building that was at a foundation phase, there was a worker that was performing a waterproofing operation that went under a scaffold to retrieve a tool. When the worker crossed under a cross bridge, the worker hit his ribcage. The worker was taken to a hospital, and then returned to work. The worker had received a Site-Specific Safety Orientation, as well as a Pre-Shift Safety Meeting. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in response to the incident. However, an ECB Violation was issued for missing rebar caps. | ECB Violation | 35645596X |  | NB | 121208317 | Other Construction Related Incidents | J W REALTY CO LLC | NEW LINE STRUCTURES & DEV
2022-03-22 | Manhattan | 15 | EAST 30 STREET | 0 | 1 | A DOB inspector reported that at a 56-story new building that was topped off, there was a worker at the penthouse 59 level that was using a three-foot tall A Frame ladder to perform insulation work when the ladder slipped. The worker tried to hold on to a metal stud, and the metal stud's sharp edge cut the worker's fingers. The worker was taken to an urgent care center. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all insulation operations in the penthouse. Safety Measures, and a Means and Methods for the operation, must be provided. | ECB Violation | 356453721P | 032222CE05SM05 | NB | 122128679 | Other Construction Related Incidents | MADISON 30 31 OWNER LLC | Madison 30 31 Owner LLC
2022-03-22 | Queens | 146-33 | HOLLY AVENUE | 0 | 1 | A DOB inspector reported that at the site of a two and a half-story residential building in which there was work being performed under an Alteration 1 permit, there was roof work being performed when a worker fell from the roof. The worker was taken to a hospital by an ambulance. The site was closed as of the time of inspection, as there was a padlock on the fence's gate. However, evidence of water-proofing installation work was found on the roof, as well as safety lines and safety harnesses over the roof at exposures 1, 2, and 4. Four ECB Violations were issued: one Aggravated Level 2 violation for a failure to institute adequate safety measures, and three violations, including one violation that was issued to the General Contractor, one violation that was issued to the Construction Superintendent, and one violation that was issued to the building owner, for a failure to notify DOB of the incident. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39058570R, 39058585J, 39058579N, 39058586L |  | ALT | 421801642 | Worker Fell | KO, KEN | L & L CONSTRUCTION DEVELOPMENT
2022-03-23 | Manhattan | 401 | WEST 31 STREET | 0 | 1 | A DOB inspector reported that at a 60-story new building that was topped off, there was a worker in the basement level/loading dock area that was climbing down from an A Frame ladder when the worker lost balance and fell. The worker was experiencing minor pain, and was taken to an urgent care center by an ambulance. There were inadequate means of egress present at the site, as the A Frame that the worker fell from was being used as a means of egress. There was also a lack of exit signage at the site. These two factors created an unsafe falling condition. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all work at the loading dock in the basement level. A Means and Methods, and safe means of egress, must be provided. | ECB Violation | 35645373Z | 032322CE04SM01 | NB | 121204295 | Other Construction Related Incidents | BOP SE LLC | Tishman Construction
2022-03-23 | Queens | 3-50 | ST. NICHOLAS AVENUE | 0 | 1 | A DOB inspector reported that at a 17-story new building that was at a fifth floor level, there was a working that was carrying equipment that was related to a concrete operation when the worker tripped on a conduit pipe that was on the floor of the second level. The worker was found lying down. An ambulance was called, and the worker was taken to a hospital. The worker was waiting to receive an X-ray. There had been no safety measures implemented to safeguard the personnel that was working, and there was poor housekeeping in place. Five ECB Violations were issued: one violation for a failure to safeguard, one violation for a failure to conform to the Site Safety Plan (SSP), one violation for a failure to comply with the manufacturer's specifications for yodocks that were present, one violation for a failure to institute safety measures, as there were no guardrails in place, and one violation for the absence of overhead protection (OHP). A full Stop Work Order (FSWO) was issued. The General Contractor will be required to provide and maintain safety measures for the operation moving forward. | ECB Violation | 35646135H/ 35646136J/ 35646137L/ 35646138N/ 35646139P |  | NB | 421928953-01-NB | Worker Fell | RIDGEWOOD TOWER II LLC | AB CAPSTONE BUILDERS CORP
2022-03-24 | Brooklyn | 29 | HURON STREET | 0 | 1 | A DOB inspector reported that at a 13-story concrete frame new building that was at a third floor level, there was a worker that was accessing a ladder between the second and third floor levels that slipped and fell approximately three feet. The worker suffered a back injury, and was transported to a hospital. The worker was treated and then released. The ladder was found to have been consumed with water (from rain), which created a slipping and falling condition. An ECB Violation was issued for inadequate housekeeping. The General Contractor will be required to maintain the ladder to be free from tripping and falling hazards going forward. | ECB Violation | 35646275 J | 032422CE01KG01 | New Building | 321385700 | Other Construction Related Incidents | QBDK HURON, LLC | Leeding Builders Group LLC
2022-03-25 | Brooklyn | 4308 | 4 AVENUE | 0 | 1 | A DOB inspector reported that at a 4-story new building that was at a foundation phase, there were two workers that were in the process of handling approximately 20 feet of rebar when a rebar slipped from one of the worker's hands, and the rebar struck another worker that was not associated with the operation on the right arm. The struck worker walked to a nearby City MD to receive treatment. There had been no formwork observation or inspection performed, no additional safety measures implemented, and the Pre-Shift Safety Meeting did not adequately communicate the scope of work. Three ECB Violations were issued: two violations, including one that was issued to the General Contractor, and one that was issued to the Concrete Sub Contractor, for a failure to institute and maintain safety equipment, and one violation for a failure to provide window protection. A partial Stop Work Order (PSWO) was issued for all rebar handling and operations. Both the General Contractor, and the Concrete Sub Contractor, will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 35645455 M / 35645456 Y 35645457 X | 032522CE07GM03 / 04 / 05 | New Building | 302582783 | Other Construction Related Incidents | NEW YORK CITY SCHOOL CONSTRUCT | Plaza Construction LLC
2022-03-25 | Brooklyn | 791 | 3 AVENUE | 0 | 1 | A DOB inspector reported that at a one story building where there was work being performed at the roof level to replace a metal corrugated deck, and to change roof membranes at multiple locations, there was a worker that fell from a hole in the roof where corrugated decking had been removed. The worker fell approximately 25 feet, and landed inside of a dumpster on the first floor. The worker was taken to a hospital by an ambulance. There was no permit or filing for the work that was being performed. Three ECB Violations were issued: one violation for the performance of work without a permit, one violation for a failure to maintain safety measures, and one violation for the unsafe storage of combustible materials, as there were combustible flammable tanks found on the roof. A full Stop Work Order (FSWO) and a partial Vacate Order were also issued. The area of the roof where unsecured corrugated decks have been placed has been cordoned with caution tape. | ECB Violation | 39058898K, 39058899M, 39058900K | VIO22-00850 |  |  | Worker Fell | KERA JOHN PROPERTIES LLC
2022-03-28 | Brooklyn | 270 | RICHARDS STREET | 0 | 1 | A DOB inspector reported that at a 1-story concrete frame new building that was a warehouse that was at a roof level and partially enclosed, there was a worker that was driving a concrete buggy when the wheels of the buggy went into a 3' X 3' floor opening, and the buggy's handle spun wildly towards the worker and caused an injury to the worker's leg. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The floor opening had been covered by netting. The worker was found to have not been trained and certified to use the buggy. Housekeeping was not maintained at the site, and there were no additional safety measures provided for the scope of work. The designated Concrete Safety Manager (CSM) was not on site as of the time of inspection. Three ECB Violations were issued: one violation for a failure to have a designated Concrete Safety Manager on site, and two violations, including one violation that was issued to the General Contractor, and one violation that was issued to the Concrete Sub Contractor, for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all concrete operations, and for all use of concrete buggies. The General Contractor and Concrete Sub Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35646235 P / 35646236 R 35646237 Z | 032822CE06RG03 / 04 / 05 | New Building | 321597250 | Other Construction Related Incidents | 280 RICHARDS STREET LLC | March Associate Construction
2022-03-28 | Manhattan | 224 | WEST 124 STREET | 0 | 1 | A DOB inspector reported that at an 18-story new building that was topped off, there was a worker that was off-loading cabinet boxes from a tractor trailor when the cabinets came down onto the worker's left leg. The worker was transported to a hospital. The worker did not suffer any broken bones, and the worker returned to work. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for the tampering with the evidence of the incident. A partial Stop Work Order (PSWO) was issued for all cabinet deliveries. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35645980K / ECB # 35645979N / DOB # 032822CE10IH04 Tampering 35645980K / 35645979N |  | NB | 121188856 | Other Construction Related Incidents | CARTHAGE 124TH L.P. | KEY DEVELOPERS INC
2022-03-29 | Brooklyn | 1911 | ATLANTIC AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was coming down from a ladder that fell approximately four feet. The worker suffered an injury to his back side. The worker went to a hospital. | No Dispatch |  |  |  |  | Worker Fell | HP 1921 ATLANTIC AVENUE HOUSIN | MONADNOCK CONSTRUCTION IN
2022-03-30 | Bronx | 567 | EAST 149 STREET | 0 | 1 | A DOB inspector reported that at the site of a new building, there was a worker that was working on a concrete shower base that cut his finger on the base's metal flange. The worker went to a hospital, where he received stitches. The worker will be returning to work on April 2, 2022. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in response to the incident. However, two ECB Violations were issued for safety issues that were present at the site: one violation for a failure to institute safety measures, as there was scaffolding present at the site that was not as per code, as it was missing toe boards and guardrails, and featured loose planks, and one violation for the Department Of Transportation (DOT) permit for storage at the site having been expired. A partial Stop Work Order (PSWO) was issued for all scaffold use. | ECB Violation | 35645485N,86P | 033022CE01JG01,02 | NB | 220579158 | Other Construction Related Incidents | NYC ACS | Dobco Inc.
2022-03-31 | Brooklyn | 87 | COMMERCIAL STREET | 0 | 1 | A DOB inspector reported that at a 40-story concrete frame new building that was at the thirty-fourth floor level, there was a worker on the first floor level that was assisting three other workers with using an A Frame to transport diamond deck metal when the other workers slipped and fell. Control of the metal was lost, and the metal fell and cut the worker's hand (the first worker). The struck worker was taken to a nearby hospital to receive treatment. The area of operation was a staging area that was found to have been wet. The scope of work for the operation was not adequately communicated. Two ECB Violations were issued for a failure to institute safety measures: one violation to the General Contractor, and one violation to the Concrete Sub Contractor. A partial Stop Work Order (PSWO) was issued for the use of the staging area. The General Contractor and Concrete Sub Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 35646302 X / 35646303 H | 033122CE01KS02 / 03 | New Building | 320627112 | Other Construction Related Incidents | WATERVIEW OWNER LLC | Ray Builders INC
2022-03-31 | Manhattan | 350 | 5 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that was using a manlift to work on a duct. The worker was using hand tools to tighten the duct when his hand slipped at the sharp edge in the corner of the duct, and the worker suffered a cut to his forearm. The worker was taken to a hospital. A Site Safety Training (SST) card, and a manlift certificate, were provided for the worker. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-2 | M00607507-I1 | Other Construction Related Incidents | ESRT EMPIRE STATE BUILDING, L. | CROSS MANAGEMENT CORP
2022-03-31 | Manhattan | 425 | PARK AVENUE | 0 | 1 | A DOB inspector reported that there was a worker (an electrician) on the twenty-first floor that was installing inner closure panels for circuit breaker boxes. While the worker was installing hold-down screws, the worker bent down, and the cover came loose and struck the worker on the head. The worker was taken to an urgent care center and received six stitches. Toolbox Talks, and an orientation, were provided. It was determined that this incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT-2 | 140907918 | Other Construction Related Incidents | 425 PARK AVE GROUND OWNER LLC | Structure Tone llc
2022-03-31 | Manhattan | 66 | HUDSON BOULEVARD | 0 | 1 | A DOB inspector reported that there was a worker that was installing an anchor for duct work when debris fell into the worker's right eye. The worker went to a MedRite to receive treatment. The worker was in possession of a Site Safety Training (SST) card, and there had been both an orientation and a Pre-Shift Safety Meeting conducted at the site. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 122885422 | Other Construction Related Incidents | 509 W 34, L.L.C. | TURNER CONSTRUCTION COMPA