## Sheet1
Monthly Incident Details: March 2024
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2024-01-03 | Brooklyn | 316 | RUTLEDGE STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building in which there was support of excavation (SOE) work in progress, during an underpinning operation, a piece of the existing foundation from the adjacent property dislodged, and a piece of concrete foundation fell onto a worker. Four co-workers assisted with removing the piece of concrete from the struck worker. The struck worker was transported to Woodhull Hospital by an ambulance. The struck worker was conscious the entire time. There was no Professional Engineer (PE) assessment for new site conditions while performing underpinning work, which created an unsafe condition, and the General Contractor had failed to follow the underpinning sequence. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the performance of work that was contrary to the approved plans. A partial Stop Work Order (PSWO) was issued for all underpinning work. Work to correct the unsafe violating conditions will be allowed. | ECB Violation | 39524493H 39524492X |  | SE FO | B00811066 | Excavation/Soil Work | SIG 314 RUTLEDGE LLC | B T General Builders
2024-01-03 | Brooklyn | 480 | KENT AVENUE | 0 | 1 | A DOB inspector reported that at a site in which there was a multi-station mobile crane that was hoisting a power jack to the eighteenth floor, there was a worker (one worker) that was functioning as both the signal person and the rigger. The worker was landing the load when the worker's finger got caught between the forks and the surface. The worker was taken to Brooklyn Hospital by the General Contractor. The worker was attempting to give signals and guide the load at the same time, and became distracted, which led to the incident. An ECB Violation was issued for inadequate safety measures. A partial Stop Work Order (PSWO) was issued for all work under crane permit CN 131322. | ECB Violation | 39102648N |  | NB | 321599560 | Mechanical Construction Equipment | 470 KENT AVE ASSOCIATES LLC | Highbury Concrete
2024-01-03 | Manhattan | 740 | 8 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a concrete pour being performed when a worker/laborer was struck in the face by the handle of a concrete bucket. The worker went to a City MD to be evaluated. | No Dispatch |  |  | NB Major Building | 121208326 | Other Construction Related Incidents | 726 EIGHTH LLC | LENDLEASE(US)CONSTRUCTION
2024-01-04 | Manhattan | 2023 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 23-story concrete frame building that was topped off and partially enclosed, there was a worker that was moving a mini-garbage container on the loading dock when the worker was found lying down on the ground level, with the container. The worker complained about back pain. The worker was transported to a nearby hospital by an ambulance. There were no unsafe conditions observed, as there was a loading ramp in place, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | M00537657-I1-GC | Worker Fell | 2033 NATIONAL BLACK THEATRE WA | CHATSWORTH BUILDERS LLC
2024-01-05 | Brooklyn | 240 | WILLOUGHBY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 33-story building, there was a worker that was carrying a ladder while walking down a staircase between the third & fourth floors when the worker fell down. The worker was not feeling well. An ambulance was called, and the worker was taken to New York Presbyterian Brooklyn Methodist Hospital. There were no unsafe conditions observed on the staircase. The staircase had handrails provided. All requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | B00525904-S1-FO-EA | Worker Fell | 240 WILLOUGHBY GROUND LESSOR L | GALAXY DEVELOPERS LLC
2024-01-05 | Brooklyn | 577 | UNION STREET | 0 | 2 | A DOB inspector reported that at the site of a proposed new nine-story concrete frame building that was topped off, there were two workers that were using an A-Frame cart to move sheetrock when the plywood ramp was pierced by the cart load, which caused the A-Frame cart to tip over and fall on top of the two workers. The struck workers complained about leg and chest pain. Both workers were transported to a nearby hospital by an ambulance. Two ECB Violations were issued: one violation for a failure to institute & maintain safety equipment measures, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. The General Contractor will be required to provide and maintain safety measures for the operation going forward. | ECB Violation | 39524573H / 39524574J |  | NB | B00621076 | Worker Fell | GOWANUS UNION STREET LLC | Broadway Construction
2024-01-08 | Bronx | 334 | EAST 176 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building, there was a worker that was using a prybar to strip formwork when a piece of wood fell and struck the worker on his hardhat, and on his forehead, above the left eye. The worker went to an urgent care center on his own to receive treatment. There were no unsafe conditions observed at the site, and all applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 210182041-01-NB | Material Fell | COMMUNITY ACCESS HOUSING DEVEL | JOY CONSTRUCTION CORP
2024-01-08 | Brooklyn | 2931 | WEST 23 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing & occupied seventeen-story building in which there was a horizontal enlargement being performed, there were two workers that were in the process of removing a concrete pump line when the concrete pump line shifted out of control and struck one of the workers. The struck worker fell to the ground and suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION TYPE 1 | 321187327-01-AL | Worker Fell | NYC HOUSING AUTHORITY | DOBCO, INC
2024-01-08 | Brooklyn | 8 | GRAND AVENUE | 0 | 1 | A Project Manager reported that there was a worker that was using a six-foot tall ladder while working when the worker fell from the ladder. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | 7 STORY ALT-1 | 321593067 | Worker Fell | 8-10 GRAND AVENUE OWNER LLC | EMPIRE PCS
2024-01-08 | Manhattan | 270 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 57-story building, there was a worker on the fifteenth floor that was using an A-Frame cart to move eighteen pieces of galvanized steel when the cart flipped over and fell on the worker. The worker suffered an injury to his right ankle, and was transported to a nearby hospital. An ECB Violation was issued for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. The General Contractor is to provide & maintain adequate safety measures for the operation going forward. | ECB Violation | 39524590J |  | NB | 121205604 | Material Fell | 720 WEA VENTURES LLC | TISHMAN CONSTRUCTION CORP
2024-01-09 | Manhattan | 3880 | 9 AVENUE | 0 | 5 | A DOB inspector reported that at the site of a proposed seventeen-story new building that was in a superstructure phase up to the second floor level, there was a knuckle boom that was lifting a load of plywood when the boom gave way and landed on the second floor deck. Five workers were injured. Three of the workers suffered minor injuries, and the other two workers suffered injuries that were serious, but not life-threatening. Four of the injured workers were transported to hospitals. The fifth injured worker refused medical treatment. There was no inspection report provided for the equipment that was being used, and there was no orientation provided for the workers to address the safety concerns and hazards. Two ECB Violations were issued by the Construction Safety Enforcement unit: one violation for a failure to provide the requested truck logs, and one violation for a failure to maintain a record of the orientations that were performed at the site. The Construction Safety Enforcement unit also issued a partial Stop Work Order (PSWO) for all delivery operations (see Complaint # 1657543 for these two ECB Violations and the partial Stop Work Order). The Cranes & Derricks unit issued three ECB Violations for inadequate safety measures when operating a crane. The Cranes & Derricks unit also issued a partial Stop Work Order (PSWO) for all hoisting at the site (see Complaint # 1657575 for these three violations and the partial Stop Work Order). | ECB Violation | 39524685M 39524686Y 39103186M 39103198J 39103210N |  | New Building | M00666777 | Mechanical Construction Equipment | 3761 207TH STREET REALTY LLC | On Star Management
2024-01-10 | Manhattan | 25 | WATER STREET | 0 | 1 | A DOB inspector reported that at the site of an existing 22-story commercial building, there was a worker on the eighth floor that was helping with the installation of a corrugated sheet on a steel beam when the worker slipped and fell. The worker complained about knee pain and hip pain. The worker was gripping on the steel beam before being helped by co-workers. The worker was transported to a nearby hospital to receive treatment. There were no unsafe conditions found, as there was both a fall protection system and a Controlled Access Zone (CAZ) in place. All requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. | No Action Necessary |  |  | ALTERATION | M08027672-I1-GC | Worker Fell | 25 WATER OWNER, LLC | PAVARINI MCGOVERN LLC
2024-01-11 | Manhattan | 159 | WEST 53 STREET | 0 | 1 | A DOB inspector reported that at the site of a fully occupied 38-story building in which there was façade repair work being performed, there was a worker that was walking down a staircase while carrying a bucket of cement when the worker fell at the bulkhead level. The worker was found lying flat on the staircase landing, complaining about having suffered a back injury. The worker requested an ambulance, and the worker was transported to Presbyterian Hospital by an ambulance. The staircase was found to have been well lit, with handrails in place, and free of any tripping hazards. The injured worker had attended both a Pre-Shift Safety Meeting and a Site Safety Orientation. The Pre-Shift Safety Meeting was found to have been adequate for the scope of work that was being performed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration 2 | M006841163 | Worker Fell | TOWER 53 CONDO | New rock Contracting Corp
2024-01-11 | Manhattan | 40 | EAST 4 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was moving materials for a masonry operation when the worker suffered a back injury. An ambulance was called. | No Dispatch |  |  | New Building | 121209227 | Other Construction Related Incidents | 4TH ST REALTY HOLDING CORP | CM and Associates Construction
2024-01-12 | Brooklyn | 420 | CARROLL STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 21-story concrete frame building that was at a roof level, there were workers that were in the process of installing an HVAC condenser on the roof when one of the workers attempted to manually move the system into place, and the worker suffered a laceration to the right hand. The injured worker left the site to receive treatment. The worker was treated at a hospital, and received stitches. The scope of work was found to have not been adequately communicated. Two ECB Violations were issued: one violation for a failure to provide & maintain safety measures, and one violation for a failure to communicate the scope of work during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all HVAC installations, and for all hoisting operations at the roof and bulkhead levels. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524816N 39524817P |  | New Building | B00614338 | Mechanical Construction Equipment | 420 CARROLL LLC | Mega Contracting GP LLC
2024-01-12 | Queens | 23-15 | 44 ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new 70-story concrete frame building that was partially enclosed, there was a worker that was using an A-Frame ladder while performing insulation work when the worker fell approximately three feet. The worker suffered an elbow injury. An ambulance was called, and the worker was transported to an area hospital. All safety measures were in place at the site, and the paperwork at the site was found to be compliant. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building | 420656695 | Worker Fell | CP VIII LIC OWNER, LLC | CARMEL CONSTRUCTION EAST
2024-01-15 | Brooklyn | 15 | HANOVER PLACE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 34-story concrete frame building that was at a roof level and partially enclosed from the second floor up, there was a worker that was performing a fireproofing operation in the stairway that was stretching in order to reach an elevated ceiling when the worker lost balance, slipped, and fell. The worker suffered back and hand injuries. An ambulance was called, and the worker was taken to a nearby hospital for treatment. There was no working platform provided, and there were no ladders in place for an elevated operation. An ECB Violation was issued for a failure to institute and maintain safety measures. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39524842 R |  | New Building | B00588594 | Worker Fell | THE LIEBERMAN GROUP LLC | Noble Construction Group LLC
2024-01-15 | Brooklyn | 346 | AVENUE U | 0 | 1 | A DOB inspector reported that at the site of a proposed new six-story concrete frame building that was at a fifth floor level, there was a worker that was using a gang ladder to carry material from the first floor to the second floor when the material got stuck, and the worker fell down backwards. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. There were no permanent stairs in a state of readiness at the site. There were no safety measures for material handling provided. The worker had failed to maintain three points of contact during the operation. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to maintain permanent stairs at the site. A partial Stop Work Order (PSWO) was issued for all work on the fifth floor level, and for all material handling involving the use of a ladder. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524846 Y / 39524847 X |  | New Building | B08011331 | Worker Fell | DDG 346 AVE U OWNER LLC | Redhoek Construction LLC
2024-01-15 | Manhattan | 25 | TUDOR CITY PLACE | 0 | 1 | A DOB inspector reported that at the site of a fully occupied 23-story building in which there was exterior renovation and façade repair work being performed, there were two workers that were on a suspended scaffold on the fourth floor level of exposure 2 that were grinding & cutting while performing pointing work when a cable for the scaffold was cut by the grinder, and the scaffold swung ninty degress to a vertical position. The workers had lifelines, and were able to climb to the fourth floor ledge. The workers were then able to walk the ledge and access the top of the sidewalk shed. One of the two workers suffered a minor leg injury, and was transported to an area hospital. The Pre-Shift Safety Meeting that was held was found to have been inadequate, as the use of a grinder during pointing operations was not clearly discussed during the meeting. The grinder was being used contrary to the manufacturer's specifications, as the grinder was missing a handle and a wheel guard, which caused the suspended scaffold's cable to be cut. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for a failure to comminicate required information to workers prior to the start of work, and one violation for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all use of suspended scaffolding, and for all facade operations (at all exposures). | ECB Violation | 39524843Z 39524844K 39524845M |  | ew-other | 123341721 | Mechanical Construction Equipment | 25 TUDOR OWNERS | upgrade construction corp inc
2024-01-15 | Queens | 31-41 | 23 STREET | 0 | 1 | A DOB inspector reported that at the site of an occupied eleven-story building in which there was interior renovation, minor parapet, and bulkhead work being performed, there was a worker that was using an A-Frame ladder to remove sheetrock from an apartment wall when the worker hit his head on a metal door jam. An ambulance was called, and the worker was taken to a nearby hospital. All applicable documents were provided & maintained as required. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alteration Type 2 | Q00545781 | Worker Fell | CATHERIN SHERIDAN HOUSING DEV | MDG Design and Construction LLC
2024-01-16 | Brooklyn | 499 | PRESIDENT STREET | 0 | 1 | A DOB inspector reported that there was a worker that was operating a forklift in order to receive a delivery of rebar when the load of the delivery caused the forklift to tip forward, and the worker (the forklift operator) hit his head on the machine. The worker suffered a laceration. The worker was evaluated by an on site medic, and was then transported to Methodist Hospital for further treatment. The load was found to have overloaded the forklift. An ECB Violation was isssued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all forklift operations. | ECB Violation | 35593382Z |  | NEW BUILDING | 321598400 | Worker Fell | 473 PRESIDENT LLC | URBAN ATELIER GROUP LLC
2024-01-16 | Manhattan | 25 | WEST 4 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing six-story building in which there was alteration work being performed, there were two workers that were working in a three-foot deep trench/excavation that were removing foam pockets from voids in the underpinning. One of the workers was using a hammer drill, and this drill struck the other worker on his right hand. The struck worker suffered a laceration. The struck worker was escorted to an area hospital by a foreman. The hammer drill that was being used was found to have been used contrary to the manufacturer's specifications. The hammer drill was removed from the site prior to the inspector's arrival to the site. The injured worker was found to have not received a Site-Specific Safety Orientation, and to have not attended the Pre-Shift Safety Meeting, prior to the commencement of work. There was a passenger elevator at the site that was being used to transport personnel & material at the site. When asked to view a copy of the temporary permit for the conversion of the elevator, a permit was not provided. Five ECB Violations were issued: one violation for the tampering with the evidence of an incident, one violation for a failure to comply with the manufacturer's specifications, one violation for a failure to ensure that all workers had attended the Pre-Shift Safety Meeting, one violation for a failure to ensure that all workers had received a Site Safety Orientation or Refresher, and one violation for a failure to provide a temporary permit for the conversion of the elevator from a passenger elevator to construction use. A partial Stop Work Order (PSWO) was issued for all use of hammer drills, for all underpinning operations, and for all use of the elevator for construction purposes. The General Contractor will be required to maintain all safety measures moving forward. | ECB Violation | 39524899H 39524898X 39524903L 39524896M 39524897Y |  | alteration | M00791674 | Excavation/Soil Work | NEW YORK UNIVERSITY | structure tone llc
2024-01-16 | Queens | 23-15 | 44 ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new 67-story concrete frame building that was up to the 62nd floor level, there was a worker that was using an A-Frame to remove sheetrock from a hoist when the worker slipped on ice and fell. The worker suffered a back injury, as well as hand bruises. An ambulance was called, and the worker was taken to a nearby hospital. The area where the incident occurred was not adequately maintained to be free from tripping and falling hazards. The scope of work for daily operations was not communicated, and there had been no hydrostatic test performed for the work being performed above the 42nd floor level. Three ECB Violations were issued: one violation for a failure to maintain housekeeping, one violation for a failure to maintain a standpipe in a state of readiness, and one violation for a failure to communicate the scope of work for daily operations. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524889 Y / 29524890 L / 39524891 N |  | New Building | 420656695 | Worker Fell | CP VIII LIC OWNER, LLC | Carmel Construction East
2024-01-17 | Manhattan | 1076 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing four-story building in which there was gut renovation being performed, there was a worker (a carpenter) that was installing a baseboard trim that was using a handheld knife to cut masonite floor protection when the knife slipped, and the worker's wrist was cut by the knife. The worker was taken to a hospital by a co-worker. The worker did participate in the Pre-Shift Safety Meeting, and the Pre-Shift Safety Meeting was found to have adequately discussed the scope of work. There were no unsafe conditions observed, and all required documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration-1 | 121208497 | Material Fell | MAD AVE & 81 ST CP | The J Construction company llc
2024-01-18 | Bronx | 1120 | Bronx River Avenue | 0 | 1 | A DOB inspector reported that at the site of an existing two-story building in which there was an interior alteration being performed, there was a worker that was using a six-foot tall A-Frame ladder to wipe down window frames when the worker fell from the sixth step of the ladder. The worker suffered a fractured ankle, and was transported to an area hospital. The ladder that was being used was found to have been defective, as it was twisted, and the worker did not maintain contact with all points of the floor, which made the ladder unstable. The ladder was not visually inspected prior to use. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 39524942Y |  | ALTERATION 1 | X00786753 | Worker Fell | 1120 BRONX RIVER AVENUE PE LLC | CNY BUILDING CORP
2024-01-19 | Bronx | 1763 | WEST FARMS ROAD | 0 | 1 | A DOB inspector reported that at the site of a proposed new eight-story building, there was a worker that was installing concrete formwork when the worker lost balance and fell into a water main pit that was approximately five to six feet deep. The worker was taken to a hospital. An Aggravated Level 2 ECB Violation was issued for a failure to institute adequate safety measures. A partial Stop Work Order (PSWO) was issued for all concrete work. | ECB Violation | 35667686R |  |  | X00634103-I1-GC | Worker Fell | 1759-63 W. FARMS RD LLC | City Wide
2024-01-19 | Brooklyn | 268 | BARBEY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new fourteen-story building, there was a worker that using stilts while painting that tripped and fell. The worker suffered injuries to his back and to one of his knees. The worker was transported to a nearby hospital by an ambulance. The walking/working area was not maintained to be free of obstacles & tripping hazards. There were no safety measures in place. Two ECB Violations were issued: one violation for a failure to safeguard all persons and property, and one violation for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of stilts. | ECB Violation | 39524976M / 39524977Y |  | NEW BUILDING | 321594137 | Worker Fell | EMPIRE STATE DAIRY LLC | BUSHBURG BUILDERS LLC
2024-01-19 | Brooklyn | 815 | KINGS HIGHWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story concrete frame building that was at a fifth floor level, there was a worker on the first floor that was performing a housekeeping operation when the worker fell through a hole opening & landed in the cellar. The worker fell approximately seventeen feet. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. An X-ray showed that the worker did not suffer any major injuries. The hole opening that the worker fell through was being used to handle material between floors. There had been plywood placed on the opening, but the plywood was not secured, and the plywood and the opening were not marked. There were no additional safety measures (such as guardrails) implemented to safeguard personnel from a hazardous falling condition. There was a concrete washout box present at exposure 1, and a dumpster container present at exposure 4, without a Department Of Transportation (DOT) permit. Two ECB Violations were issued: one violation for a failure to institute and maintain safety measures, and one violation for a failure to obtain DOT permits. A partial Stop Work Order (PSWO) was issued for all material handling. The General Contractor will be required to provide and maintain adequate safety measures for the operation going forward. | ECB Violation | 39524974 Z / 39524975 K |  | New Building | BOO645335 | Worker Fell | 815 KHY GROUP LLC | Vinbaytel Developments LL
2024-01-19 | Manhattan | 126 | EAST 57 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 28-story building, there was a worker (a carpenter) that was using an A-Frame ladder to strip formwork when a beam slipped from the worker's hand and struck the worker on the head. The worker did not suffer any cuts, bruises, or bleeding. The worker was transported to Cornell Hospital by an ambulance. The worker had failed to maintain three points of contact while using the ladder. An ECB Violation was issued for a failure to institute and maintain safety measures. The General Contractor will be required to provide & maintain adequate safety measures for operations moving forward. | ECB Violation | 39524971N |  | NEW BUILDING | M00556884-I1-GC | Mechanical Construction Equipment | MRR 1326 LLC | PLAZA CONSTRUCTION LLC
2024-01-19 | Manhattan | 212 | WEST 124 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story building that was topped off and fully enclosed, there was a worker (a mason) that was carrying a cement bag in order bring the bag to a designated storage area when the worker tripped over two cement bags that had already been placed & stacked in the storage area. The worker was found by a co-worker bleeding on the floor. The worker that tripped suffered injuries to the back, to the neck, and to the right hand. The worker was transported to Harlem Hospital by an ambulance. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 121188847 | Worker Fell | HP MARCUS GARVEY HOUSING DEVEL | ARDSLEY CONSTRUCTION SERV
2024-01-22 | Queens | 72-01 | QUEENS BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of a proposed new twelve-story building that was topped off and fully enclosed, there was a worker on the sixth floor that was using an A-Frame ladder to install a grill for an air conditioner/AC when the worker fell off of the ladder. The worker suffered injuries to his back and to one of his legs. The worker was transported to a hospital by an ambulance. The worker had failed to maintain three points of contact on the ladder. An ECB Violation was issued for a failure to institute & maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39524997L |  | NEW BUILDING | 420666283 | Worker Fell | WOODSIDE DEVELOPMENT GROUP LLC | SBGC LLC
2024-01-24 | Brooklyn | 1352 | 36 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new eight-story concrete frame building that was at a roof level, there was a worker that performing housekeeping work that was removing tape from a painting operation in the stairway between the third & fourth floors when the worker was then found sitting in the stairway, complaining about back pain. The worker walked to an ambulance. At the hospital, the worker was treated for a sprained wrist. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, logs for the Pre-Shift Safety Meeting were found to have been inadequate. An ECB Violation, unrelated to the incident, was issued for a failure to communicate the scope of work for all trades at the construction site during the Pre-Shift Safety Meeting. | ECB Violation | 39525066H |  | New Building | 320911607 | Worker Fell | CONGREGATION BEIS SHLOIME | Ray Builders INC
2024-01-24 | Brooklyn | 20 | VITAL AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new six-story concrete frame building, there was a worker on the fourth floor level that was using an A-Frame ladder to perform a carpentry operation on a window frame when the worker lost balance and fell five feet off of the ladder. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The worker did not maintain three points of contact while using the ladder. The worker was not provided with a working platform for an elevated operation, which created an unsafe & hazardous falling condition. An ECB Violation was issued for a failure to comply with the manufacturer's specifications for the use of the ladder. The General Contractor will be required to provide and maintain adequate safety measures for elevated operations going forward. | ECB Violation | 39525068 L |  | New Building | 321600530 | Worker Fell | VBK C3 OWNER LLC | Apex Building Company INC
2024-01-24 | Queens | 78-29 | AUSTIN STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a wooden gang ladder to descend from the erection floor when the worker fell from the ladder. The worker was taken to an area hospital by an ambulance. The ladder that was being used was missing handrails. An Aggravated Level 2 ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work on the erection floor. | ECB Violation | 039104262J | 012424CERFC01 | NB 7 STORIES | Q00775081 | Worker Fell | 78-29 AUSTIN STREET HOLDING LL | RYBAK DEVELOPMENT CORP
2024-01-25 | Brooklyn | 16 | DUPONT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 41-sotry building that was topped off, there was a worker (a carpenter) at the first ring beam of the roof level that was stripping a column when the worker fell approximately ten feet. The worker was wearing a personal fall arrest system (PFAS), but was not tied off. The worker suffered a back injury, and was transported to Bellevue Hospital by an ambulance. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39525096Z |  | NEW BUILDING | B00604543-I1-GC | Worker Fell | GREENPOINT LANDING LOT 6 LLC | MONADNOCK GEN'L CONT INC
2024-01-25 | Brooklyn | 60 | CEDAR STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story concrete frame building that was at a roof level, there was a pedestrian that was walking that has alleged to have slipped and fallen on the sidewalk of exposure 1. There were no witnesses to the incident. An ambulance was called, and the pedestrian was taken to a nearby hospital. There were multiple areas that were found to have been consumed with water. An ECB Violation was issued for a failure to maintain adequate housekeeping, as there were public areas that were not maintained to be free from slipping & tripping conditions. | ECB Violation | 39525122 N |  | New Building | B00653212 | Other Construction Related Incidents | CEDAR TOWER LLC | City Builders NYC LLC
2024-01-25 | Queens | 95-25 | WALTHAM STREET | 0 | 1 | A DOB inspector reported that there was an unidentified male that walked through an open gate and entered the site that then laid down on the ramp to the hoist and claimed to have suffered an injury. The unidentified person was transported to a hospital for evaluation. An ECB Violation was issued for a construction site gate that was left wide open & easily accessible, which created a hazardous wandering and trespassing opportunity and engagement. | No Dispatch | 39525129X |  | new building | Q00682720 | Other Construction Related Incidents | AMAR MARKETING ENTERPRISE 2 LL | Shalbro construction group
2024-01-30 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 30-story building in which the thirteenth floor was being formed, there was a worker that was moving a gang box when the worker hit a reshore, and the reshore fell on the worker's shoulder. The worker went to a City MD, and then to a hospital, to receive treatment. The incident took place at 09:00 AM, but was not reported to DOB until 03:00 PM. There were no unsafe conditions found at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was taken to address a possible condition that may have caused the incident. However, an ECB Violation was issued for a failure to promptly notify DOB of an incident. | ECB Violation | 39525225X |  | NEW BUILDING | M00623712-I1-GC | Material Fell | UES RESIDENTIAL LLC | LENDLEASE(US)CONSTRUCTION
2024-01-30 | Manhattan | 600 | WEST 125 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 34-story building that was topped off, there was a worker (a carpenter) that was in a hallway on the ground floor that was using an A-Frame ladder to install top track for metal framing & drywall operations when the worker lost balance and fell from the third step of the ladder. The worker complained about back pain. An ambulance was called, and the worker was transported to Mount Sinai Hospital. The worker did not maintain three points of contact while using the A-Frame ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 39525220R |  | new building | 121206685 | Worker Fell | THE TRUSTEES OF COLUMBIA UNIV. | Pvarini Mcgovern LLC
2024-01-31 | Bronx | 323 | JACKSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new eleven-story building that was topped out and at an interior finish stage, there was a worker (a carpenter) on the sixth floor that was using a platform ladder to insulate a bathroom wall when the worker fell from the ladder. The worker was found on the floor, and the worker was complaining about having suffered an injury to the lower left side of the back. An ambulance was called, and the worker was transported to Lincoln Hospital in a conscious and stable condition. There were no witnesses to the incident. The working area was found to have been free of any unsafe conditions. The worker did maintain three points of contact while using the ladder. The worker received a Site Safety Orientation and a Pre-Shift Safety Meeting, and the use of ladders for overhead work was discussed during the Pre-Shift Safety Meeting. A valid Site Safety Training (SST) card was provided by the General Contractor. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00759977 | Worker Fell | POWERS TRANSITIONAL HOUSING DE | Archstone Builders
2024-01-31 | Brooklyn | 1333 | BROADWAY | 0 | 1 | The Site Safety Manager reported that there was a worker (a plumber) that was using an A-Frame ladder to work on a sprinkler pipe when the worker slipped off of the ladder. An ambulance was called for the worker. | No Dispatch |  |  | NEW BUILDING | 320912376 | Worker Fell | 1333 BROADWAY LLC | E&T SKYLINE CONSTRUCTION
2024-01-31 | Queens | 26-32 | JACKSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 49-story building that was at a roof level, there was a worker (a carpenter) that was climbing a platform ladder in order to perform ceiling frame work when the worker lost balance and fell. The worker claimed to be suffering pain in the left side of his body. An ambulance was called, and the worker was taken to a hospital. There were no unsafe conditions observed. All required safety measures were in place, and a Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training (SST) were all provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | Q00608144-I1-GC | Worker Fell | ITALIC REALTY, L.L.C. | HUNTER ROBERTS CONSTRUCTI
2024-02-01 | Bronx | 101 | EAST 150 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new building that was at an excavation/foundation phase, there was a worker that was operating a mini-excavator that had a dewatering tank attached to the bucket. This dewatering tank overloaded the mini-excavator, and the extra load caused the mini-excavator to tip over into an excavated area. The mini-excavator came to rest on a concrete barrier. Glass was shattered. The worker (the mini-excavator operator) suffered a head injury, as well as lacerations from the shattered glass. The worker was transported to Lincoln Hospital by an ambulance. The excavator was transporting weight that was in excess of the machine's capacity, without the proper attachment to do so. The Pre-Shift Safety Meeting that the worker/operator attended did not include contents for the use of a mini-excavator, or the proper procedure to attach & transport anything that is of significant weight. The mini-excavator, dewatering tank, and concrete barrier that were involved in the incident were removed from the area where the incident occurred. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications for the mini-excavator, one violation for the tampering with the evidence of the incident, and one violation for a failure to adequately communicate the necessary information for the use of an excavator for transporting materials during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all use of excavators throughout the entire site. The General Contractor will be required to provide Means and Methods for safe operations. | ECB Violation | 39525304Y 39525305X 39525303M |  | NEW BUILDING |  | Mechanical Construction Equipment | 586 RIVER AVE., LLC | LEON D DEMATTEIS CONSTRUCTION CO
2024-02-01 | Manhattan | 1487 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 21-story building in which the eighth floor was being formed, there was a worker (a carpenter) that was using a temporary deck ladder to carry vertical netting wire from the fifth floor to the sixth floor when the worker slipped and fell. The worker complained about suffering from back & neck pain. The worker was checked out by the on-site medic before being transported to a nearby hospital by an ambulance. An ECB Violation was issued for unsafe material handling. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39525295L |  | NB | M00648391-I1-GC | Worker Fell | CP VII 78TH STREET OWNER, LLC | CARMEL CONSTRUCTION EAST
2024-02-01 | Queens | 104-60 | QUEENS BOULEVARD | 0 | 1 | A DOB inspector reported that at the site of an existing twenty-story multiple dwelling building in which there were active permits for façade restoration work, there was a worker on the ground level that was using an electric mixer to mix concrete when the back of the electric mixer snagged the worker's thumb. The worker suffered a sprained thumb, and went to an urgent care center to receive treatment. The worker then returned to the site after receiving treatment. All safety precautions were found to have been in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION | Q00963702-I1-GC | Worker Fell | BPP PARKER TOWER PROPERTY OWNE | KAMA CONSTRUCTION CORP
2024-02-02 | Brooklyn | 1266 | 50 STREET | 1 | 0 | A DOB inspector reported that there was an existing two-story building that underwent a significant structural alteration without a permit. This alteration was comprised of structural steel and cold-formed steel framing. Significant illegal excavation was being performed as well. The cold-form steel framing collapsed, and a worker in the cellar level suffered fatal injuries. The ownership of the building did not respond to the site. There were no efforts made by the owner to correct the hazard. There was an existing partial Stop Work Order (PSWO) for the site that was issued on January 4, 2024 to stop all exterior work and all excavation & foundation work. This PSWO was issued in response to work that was being performed at the location without a permit. A full Vacate Order was issued for the address (see Complaint # 3946032 for this Vacate Order). Partial Vacate Orders were issued for the rear yard of 1272 50 Street (see Complaint # 3946023), the rear yard and garage of 1265 51 Street (see Complaint # 3946041), the rear yard of 1259 51 Street (see Complaint # 3946039), the rear yard of 1267 51 Street (see Complaint # 3946040), and the rear yard of 1262 50 Street (see Complaint # 3946024). Two Emergency Declarations (ED) were issued: one Emergency Declaration for a tight board fence at exposure 1 to safeguard the public, and one Emergency Declaration (ED) for a demolition, as the building presents a hazard to the public & property. Additional enforcement is pending. | DOB Violation |  | VIO24-00277/282/280/285/286/287/281 |  |  | Material Fell | HOROWITZ JUDA
2024-02-02 | Manhattan | 40 | EAST 4 STREET | 0 | 2 | A DOB inspector reported that at the site of a proposed new 21-story building that was at a roof level, there was a brazing operation being performed when heat/flame on a wet metal surface created a smoke condition. Two workers were affected by the condition. Both workers were transported to a hospital in a conscious state. Safety measures were found to have been in place, and the required FDNY certifications were in place. There were no unsafe conditions observed. A Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training were all provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121209227-01-NB. | Mechanical Construction Equipment | 4TH ST REALTY HOLDING CORP | CM AND ASSOCIATES CONST
2024-02-02 | Manhattan | 600 | WEST 125 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 34-story building, there was a worker at the fifth floor balcony that was performing a window installation when the worker tripped & fell off of a step platform. An ambulance was called. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Dispatch |  |  | NB | 121206685 | Worker Fell | THE TRUSTEES OF COLUMBIA UNIV. | PAVARINI MCGOVERN LLC
2024-02-03 | Brooklyn | 350 | KENT AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 52-story building in which there was an active After Hour Variance (AHV) permit, there was a worker that was performing housekeeping work on the twenty-fifth floor that was carrying drywall debris when the worker slipped. The worker complained about back and shoulder pain. An ambulance was called, and the worker was taken to a local hospital. The twenty-fifth floor was found to have been free of any construction debris and tripping hazards. However, the scope of the After Hour Variance permit for the site did not include general housekeeping. An ECB Violation was issued for the performance of work that was contrary to the AHV permit. A partial Stop Work Order (PSWO) was issued for all after hours housekeeping work. | ECB Violation | 39105131Y |  | NB | 01092719 | Other Construction Related Incidents | DOMINO A PARTNERS LLC | 316 KENT CONST
2024-02-05 | Brooklyn | 223 | TEN EYCK WALK | 0 | 1 | A Project Manager reported that there was a worker that was using a crowbar to remove a shelf when the crowbar struck the worker on his hand. The worker went to an urgent care center. | No Dispatch |  |  | Alt | B00492034 | Other Construction Related Incidents | WILLIAMSBURG PACT LLC | MDG Design & Contractor
2024-02-05 | Brooklyn | 320 | KENT AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was walking down a staircase that slipped and hurt his back. An ambulance was called. | No Dispatch |  |  | NEW BUILDING | B00629993-I1-GC | Worker Fell | DOMINO RME LLC | 316 KENT CONSTRUCTION LLC
2024-02-05 | Brooklyn | 490 | KENT AVENUE | 0 | 1 | DOB inspector reported that at the site of a proposed 22-story new building that was at a roof level, there was a worker on the seventeenth floor that was unloading a pipe with a co-worker when the pipe dropped on the worker's right foot. The struck worker was found lying on the floor, and was complaining about foot pain. An ambulance was called, and the worker was taken to a nearby hospital. A Site Safety Orientation, a Pre-Shift Safety Meeting, and Site Safety Training were all provided. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 321599551 | Material Fell | 470 KENT AVE ASSOCIATES LLC | New Line Structures & Development
2024-02-05 | Manhattan | 220 | WEST 28 STREET | 0 | 1 | A DOB inspector reported that at the site of a topped off ten-story building in which there was alteration work being performed, there was a worker (a painter) that was on a baker/supported scaffold at the second floor when the scaffold tilted over an open four-inch hole, and the worker fell off of the scaffold. The worker was suffering from arm & head pain. The worker went to an urgent care center to receive medical attention. There were no safety measures in place to prevent an incident from occurring. The injured worker was found to have not been qualified to perform the work on the scaffold. The baker scaffold was missing guardrails. The open hole was not covered or secured. Three ECB Violations were issued: one violation for a failure to provide a four-hour scaffold training card (for the injured worker), one violation for a failure to maintain the supported scaffold, and one violation for a failure to safeguard all persons & property affected by construction operations. | ECB Violation | 39525378R / 39525379Z / 39525380X |  | ALTERATION TYPE 1 | 123300828-01-AL | Worker Fell | DEPARTMENT OF EDUCATION | FORTE CONSTRUCTION CORP.
2024-02-05 | Manhattan | 280 | EAST HOUSTON STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new twelve-story building in which the third floor was being formed, there was a worker that was using an extension ladder to strip concrete form when the concrete form fell and hit the worker's hand. The worker suffered a minor cut. The worker was taken to Mount Sinai Hospital by a taxi cab. The General Contractor had failed to provide an adequate working platform for overhead work. An ECB Violation was issued for a failure to institute and maintain adequate safety measures. | ECB Violation | 39525377P |  | NB | M00647624 | Other Construction Related Incidents | 280 EH REALTY LLC | K S K CONSTRUCTION GROUP
2024-02-06 | Brooklyn | 9 | DE KALB AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker (a carpenter) on the 57th floor that was trimming the bottom of a door when the worker suffered a laceration to the left hand. The worker went to a hospital on their own. | No Dispatch |  |  | NB Major Building | 320914338 | Other Construction Related Incidents | 9 DEKALB FEE OWNER LLC | JDS CONSTRUCTION GROUP
2024-02-07 | Manhattan | 3875 | 9 AVENUE | 0 | 1 | A DOB inspector reported that there was a worker that claimed to have been struck on the knee by a concrete hose. The worker called an ambulance. There were no witnesses to the incident. There were no unsafe conditions observed. No enforcement action was necessary. | No Action Necessary |  |  | new building | 121189141 | Mechanical Construction Equipment | J 207 STREET LLC | Joy Construction Group
2024-02-08 | Manhattan | 36 | WEST 38 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was working on an A-Frame ladder that lost balance and fell. An ambulance was called for the worker. | No Dispatch |  |  | new building | 121332664 | Worker Fell | ONBOARD HOSPITALITY LLC | Omnibuild Construction inc
2024-02-08 | Queens | 51-19 | BEACH CHANNEL DRIVE | 0 | 1 | A DOB inspector reported that at the site of a proposed new fourteen-story building in which there was a concrete operation being performed, there was a worker that was carrying metal clamps up a gang ladder from the fifth floor to the sixth floor that had his Personal Fall Arrest System (PFAS)/PPE entangled on a handrail. The worker was pulled backwards from the ladder, and landed on the platform below. The worker complained about a back injury. The worker was transported to Jamaica Hospital by an ambulance. The area where the incident occurred was found to have been free of unsafe conditions. The Pre-Shift Safety Meeting that was held at the site was found to have been adequate for the concrete operations that were being performed. There was additional training available at the site. All relevant paperwork for the injured worker was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | 421133302 | Worker Fell | EC B1 HOUSING DEVELOPMENT FUND | joy construction corp
2024-02-12 | Brooklyn | 275 | ATLANTIC AVENUE | 0 | 1 | A DOB inspector reported that at the site of an eleven-story building in which there was full demolition work being performed, there was a worker that was using a manlift to cut and torch steel beams. The manlift was approximately twelve feet high. At the same location, there was a skid steer that was attempting to move a large piece of steel that was on the ground. The skid steer pushed a large I-Beam into the bottom of the manlift, which caused the manlift to tip over and fall into a pile of debris. The worker was fully harnessed in the manlift. The worker suffered arm, leg, and back injuries. The worker was transported to an area hospital by an ambulance. The worker was in a conscious state. The General Contractor was unable to provide documentation to show that the worker was qualified to operate the manlift. There were no safety measures, such as a Controlled Access Zone (CAZ) or flag persons, in place for demolition operations involving two pieces of equipment working in close proximity to each other. There was excessive debris at the work area that was not removed, and there was no visual contact established between the two machine operators. Two ECB Violations were issued: one violation for a failure to comply with manufacturer’s specifications, and one violation for a failure to provide safety measures. A partial Stop Work Order (PSWO) was issued for all use of equipment for performing overhead demolition work. The General Contractor will be required to provide a Means and Methods for all use of equipment above the ground level. | ECB Violation | 39525548K 39525549M |  | demolition | 322105422 | Mechanical Construction Equipment | DEPARTMENT OF CORRECTIONS 60 | northstar contracting group
2024-02-13 | Manhattan | 55 | BROAD STREET | 0 | 1 | A DOB inspector reported that at the site of an existing thirty-story building in which there was a vertical enlargement being performed to add two stories to the roof level, there was a worker (a carpenter) that was using the stairs to go from the twenty-second floor to the twenty-first floor when the worker fell. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. There were no unsafe conditions observed in the stairway, and the work area was found to have been maintained as per code. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary in direct response to the incident However, there was hot work being performed at the site without a Fire Safety Manager designated or on site. An ECB Violation was issued for a failure to designate a Fire Safety Manager, or have a Fire Safety Manager on site. A partial Stop Work Order (PSWO) was issued for all hot work operations. The General Contractor will be required to provide & maintain a Fire Safety Manager, as required by code. | ECB Violation | 39525585J |  | Alteration Type 1 | M08025179 | Worker Fell | 55 BROAD STREET OWNER LLC | 55 Broad GC LLC
2024-02-14 | Brooklyn | 3100 | OCEAN PARKWAY | 0 | 1 | A DOB inspector reported that at the site of an existing six-story Not-For-Profit/NFP multiple dwelling building where there was active construction & repair work being performed, there was a worker that fell from the fourth story fire escape balcony. Elements of the fire escape had been removed. The worker suffered a serious injury, and was transported to an area hospital. There was work being performed at the site without a permit. Three ECB Violations were issued: one violation for a failure to institute safety measures, one violation for a failure to maintain, and one violation for the performance of work without a permit. Two DOB Violations were issued: one for an engineer's report, and one for a request for a fire guard. A fire guard for the site has been requested because the fire escapes for ten apartments were found to have been compromised & out of service. A partial Stop Work Order (PSWO) was issued for all exterior work. | ECB Violation | 39106023L/24N/25P | VIO24-00365/66 |  |  | Worker Fell | 3100 OCEAN LLC
2024-02-14 | Manhattan | 335 | 8 AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing seven-story building, there was a worker in a twelve-foot deep excavation that was handling a concrete hose (during a concrete pour) when the outriggers of the concrete pump truck caused the dunnage to collapse, and the outriggers penetrated the sidewalk. The pump truck was leaning towards the excavation, which allowed the concrete hose to swing and strike the worker's head. The worker suffered head & neck injuries. The FDNY was able to rescue the worker from the excavation, and the worker was transported to an area hospital in a conscious state. The area where the concrete pump had been placed was not inspected for deficiencies in the sidewalk. The dunnage that had been placed under the outriggers was not sufficient to displace the weight of the concrete pump. The concrete pump was set up too close to the open excavation. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) for all concrete pouring operations. The Concrete Sub Contractor is to provide a Means and Methods for the placement of the concrete pump, as well as an engineer's assessment report for the area that is being utilized for concrete pumping. This report must include the stability of the support of excavation (SOE). | ECB Violation | 39525618R |  | new building | M00600672 | Mechanical Construction Equipment | MUTUAL REDEVELOPMENT HOUSES IN | URBAN ATELIER GROUP
2024-02-14 | Queens | 10-20 | BORDEN AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new three-story commercial building that is at a third floor level, there was a worker (a plumber) that was coming down from a ten-foot tall ladder when the worker slipped and fell down. The worker was suffering from back pain. The worker was transported to a nearby hospital by an ambulance. The work area was found to have had excessive standing water present, which created a slippery condition. An ECB Violation was issued for a failure to maintain adequate housekeeping. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 039526617P |  | FO-EA | Q00516098-S1-FO-EA | Worker Fell | GLEN GARDEN CORP | PETER PAPAMICHAEL
2024-02-15 | Queens | 35-18 | LEAVITT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed five story new building, there was a worker that was in the process of erecting a sidewalk shed when the worker fell. The worker was taken to a hospital. The worker suffered a possibly broken arm. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to immediately notify DOB of the incident (DOB was notified of the incident by the NYPD, and not by any personnel from the site). A partial Stop Work Order (PSWO) was issued for all installations and removals of sidewalk sheds. The General Contractor will be required to provide a Means and Methods for all installations & removals of sidewalk sheds going forward, and will also be required to implement additional safety measures to prevent further incidents. | ECB Violation | 39525640N 39525641P |  | equiptment | Q00985943 | Worker Fell | LIN, XUAN HUA | Reliable Enterprises
2024-02-16 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that suffered a small puncture on their hand from a piece of tie wire. The worker left the site on his own to receive treatment at a City MD. | No Dispatch |  |  | new building | M00623712 | Material Fell | UES RESIDENTIAL LLC | Lendlease Construction
2024-02-17 | Manhattan | 720 | WEST END AVENUE | 0 | 1 | On 2/17/2024, the Site Safety Manager reported that there was a worker that walked into a plank and hurt his side. The worker was taken to a hospital by an ambulance. A DOB inspector responded to the incident on 2/20/2024 and reported that the worker fell through an opening on a pipe scaffold platform that had been erected in the elevator shaft. The scaffold was found to have not been fully planked, and did not possess an adequate guardrail system. An ECB Violation was issued to address the safety hazards present on the pipe scaffold. A partial Stop Work Order (PSWO) was issued to stop all use of pipe scaffolding. | No Dispatch |  |  | ALTERATION | M00841390-I1-ST | Worker Fell | 720 WEA VENTURES LLC | CM AND ASSOCIATES CONST
2024-02-19 | Brooklyn | 150 | LAWRENCE STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 25-story new building in which there was rebar laying being performed, there was a worker that was cleaning that was standing on a wall when the worker slipped & fell. The worker was taken to a hospital. The nature of the worker's injuries were not known. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | BOO805143-S6-ST | Other Construction Related Incidents | LAWRENCE HEIGHTS HOLDINGS LLC | TWIN GROUP ASSOCIATES INC
2024-02-19 | Manhattan | 261 | 11 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was moving paving stones when the worker suffered an injury. The nature of the worker's injuries were unknown. The worker was transported to an area hospital by an ambulance. | No Dispatch |  |  |  |  | Other Construction Related Incidents | TERMINAL FEE OWNER LP
2024-02-19 | Manhattan | 650 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a 9 story semi-attached structure, there was a worker that was performing a demolition operation when the worker fell approximately fifteen feet from the ninth floor to the eighth floor. The worker was taken to an area hospital. The worker was not properly tied off. An Aggravated Level 2 ECB Violation was issued for a failure to carry out safety measures. A partial Stop Work Order (PSWO) was issued for all demolition operations on the eighth & ninth floors. | ECB Violation | 0390106280M |  | DEMO |  | Worker Fell | FIRST AND RIVER LLC
2024-02-19 | Queens | 143-06 | 135 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a twelve-story commercial building that was being converted from a hotel to a homeless shelter, there was a worker that was using the stairs to carry a metal angle from the first floor to the second floor when the worker fell backwards, landing on the first floor landing. An ambulance was called, and the worker was taken to a hospital. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt 1 | 421134276 | Worker Fell | RB 135TH AVENUE HOUSING DEVELO | SD BUILDERS AND CONSTRUCT
2024-02-20 | Brooklyn | 955 | STERLING PLACE | 0 | 1 | A DOB inspector reported that at there was a worker that was performing housekeeping work when the worker used a key to open the elevator shaft, and the worker fell approximately twenty-six feet down the shaft. The worker suffered a broken ankle. The worker was not trained or authorized to access the elevator. An elevator operator was not qualified or designated for the elevator operation. There were no restrictions provided or implemented to safeguard from a hazardous falling condition. Four ECB Violations were issued: one violation for a failure to institute safety measures (see Complaint # 3948105 for this violation), one violation for a failure by the General Contractor to notify DOB of the incident (see Complaint # 3948133 for this violation), one violation for a failure by the Construction Superintendent to perform their duties, and one violation for a failure by the Construction Superintendent to notify DOB of the incident (see Complaint # 3948140 for these two violations). A partial Stop Work Order (PSWO) was issued for all elevator use throughout the entire job site (see Complaint # 3948105 for this Stop Work Order). Adequate safety measures for the operation must be provided & maintained going forward. | ECB Violation | 39525730R 39525729J 39525732K 39525733M |  | NB | 321384471 | Worker Fell | 959 STERLING PLACE GROUND OWNE | Triton Construction
2024-02-20 | Queens | 35-15 | 19 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a topped-off proposed new four-story building that was to be a multi-level film production studio, there was a worker that was using a manlift that climbed out of the manlift in order to get on top of an HVAC/air handler unit (in order to access electrical equipment at a higher elevation) when the worker fell out of the manlift. The worker complained about back & leg pain. The worker was transported to Elmhurst Hospital by an ambulance. The injured worker did not possess the necessary certification for the use of the manlift. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of manlifts. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39525700X |  | New Building | 420667549 | Worker Fell | WF INDUSTRIAL IV LLC | Leeding Builders Group LLC
2024-02-21 | Manhattan | 200 | 5 AVENUE | 0 | 1 | A representative from the General Contractor reported that there was a worker (a painter) that complained about suffering from back spasms. The worker requested an ambulance. | No Dispatch |  |  | ALT-2 | M00933565 | Other Construction Related Incidents | 200 FIFTH OWNER LLC | L&K PARTNERS
2024-02-21 | Queens | 166-20 | 90 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new twelve-story building that was topped off, there was a worker that was using a mobile platform scaffold that was approximately 18-20 feet high to perform a stucco operation. The worker was on the scaffold and attempting to use a rope that was attached to the scaffold platform to lift a bucket of cement when the scaffold collapsed and tipped over. The scaffold came to rest on a concrete slab. The worker was not wearing a Personal Fall Arrest System (PFAS). The worker suffered a cut to the head. The worker also complained about neck, back, and arm injuries. An ambulance was called, and the on site medic treated the worker's head wound while waiting for an ambulance to arrive. The worker was transported to Jamaica Hospital. The worker was in a conscious state. The worker received four stitches to the head. The scaffold equipment was not visually inspected prior to use to ensure that all components of the scaffold had been installed. Pins to lock the scaffold in place were missing at various locations, a cross beam had been removed in order to allow for the hoisting of material, the working platform was not fully planked and was not tied down, and the outriggers were not installed as per the manufacturer's specifications. Three ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for the scaffold not being in a state of readiness. A partial Stop Work Order (PSWO) was issued for all use of elevated mobile platforms and mobile & rolling scaffolds. The General Contractor will be required to provide a Means and Methods for mobile scaffolds, in order to prevent further incident occurrences. | ECB Violation | 39525787H 39525788J 39525789L |  | new building | 421133151 | Scaffold/Shed/Fence/Shoring/Installation | 90NINETY LLC | Skycore Builders Inc
2024-02-22 | Queens | 2-29 | 50 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 12-story building that was fully topped off at the bulkhead level, there was a worker (a carpenter) that was carrying down the stairs a 4' X 4' piece of plywood from the twelfth floor to the eleventh floor when the worker tripped at the midpoint of the staircase and fell. The worker complained about having suffered an injury to his right knee. An ambulance was called, and the worker was transported to Elmhurst Hospital. The stairwell where the worker fell was found to have been free of unsafe conditions and tripping hazards. All safety requirements were in place at the stairwell. There were handrails in place at all floors and landings, the area was well lit, and there was signage present at the landings and entrances. All required documentation & training for the worker was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BIUILDING | Q00564746 | Worker Fell | 50TH & 5TH LIC LLC | Congress Builders LLC
2024-02-23 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was using a hammer to nail down a piece of plywood when the worker hit his finger with the hammer. The worker went to an urgent care center. An ambulance was not called. | No Dispatch |  |  | New Building | M00623712 | Other Construction Related Incidents | UES RESIDENTIAL LLC | Lendlease (US) Construction
2024-02-23 | Queens | 51-19 | BEACH CHANNEL DRIVE | 0 | 1 | The Site Safety Coordinator reported that there was a worker that fell down the stairs & suffered a hand injury. The worker refused an ambulance, and left the site to go to an urgent care center. | No Dispatch |  |  | New Building | 421133302 | Worker Fell | EC B1 HOUSING DEVELOPMENT FUND | Joy Construction Corp
2024-02-26 | Brooklyn | 1020 | ROGERS AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new seven story mixed-use building that was at a third floor level, while there was a pipe scaffold dismantling being performed, there was a supervisor that was returning from their break when the supervisor heard a worker screaming. The worker was found at the grade level, under the scaffold. The worker was transported to a hospital by an ambulance. The worker was in a conscious state. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 321442024 | Worker Fell | 1020 ROGERS AVE LLC | DYNAMIC DEVELOPMENT AND C
2024-02-28 | Brooklyn | 197 | STAGG WALK | 0 | 1 | A DOB inspector reported that at the site of an existing four-story building in which there was interior renovation work being performed, there was a railing installation operation being performed when a worker was struck on the head & ear by pieces of a broken grinder disc. The worker was transported to an urgent care center in a conscious state. The grinder was found to have been used without a handle. Additionally, there was no workstation provided for the use of the grinder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued to stop all railing operations. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39525981L |  | ALTERATION | B00491962-I1-GC | Other Construction Related Incidents | WILLIAMSBURG PACT LLC | MDG DESIGN & CONSTR LLC
2024-02-28 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new thirty-story mixed-use building that was at a sixteenth floor level, there was a worker (a carpenter) that was installing concrete form panels when one of the worker's fingers was squeezed between two panels. The worker went to a City MD, received treatment, and then went home after being treated. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | M00623712-I1-GC | Other Construction Related Incidents | UES RESIDENTIAL LLC | LENDLEASE(US)CONSTRUCTION
2024-02-28 | Manhattan | 18 | WEST 55 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 25-story building that was at an eleventh floor level, there was a worker (a carpenter) on the third floor that was carrying a metal stud when the worker slipped on the floor. The worker complained about suffering from knee and shoulder pain. An ambulance was called, and the worker was taken to a nearby hospital. The housekeeping at the site was found to have not been maintained as required. There was no electrical permit for the standpipe alarm system at the site. Two ECB Violations were issued: one violation for a failure to maintain adequate housekeeping, and one violation for a failure to obtain an electrical permit for the standpipe alarm system. A partial Stop Work Order (PSWO) was issued for all work on the third, fourth, and fifth floors, except for work to maintain the housekeeping, and to stop all work above seventy-five feet. An electrical permit must be obtained. | ECB Violation | 039525970X 039525972J |  | NB | 121208095-01-NB. | Worker Fell | 10 W 55 LLC | SKYLINE DEVELOPERS CONSTR
2024-02-29 | Bronx | 2500 | BARKER AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new six-story building that was at a superstructure phase up to the second floor, there were workers that were handling a sheet of plywood when one of the workers was hit in the back. The worker was transported to a hospital. There was no work being performed at the site as of the time of inspection. All safety measures were found to have been in place. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 220693961-01-NB | Worker Fell | 653 MACE DEVELOPMENT LLC | CHS CONTRACTING LLC
2024-02-29 | Brooklyn | 2378 | 82 STREET | 1 | 0 | A DOB inspector reported that at the site of a two-family home in which there was interior renovations and the replacement of roof joists & shingles being performed, and where a supported scaffold was being used in order to remove shingles from the roof, there was a worker thatwas climbing the scaffold after lunch when the worker fell approximately twenty-five feet. The worker succumbed to the injuries that were sustained. According to OSHA, the worker was the sole proprietor/employee of Ming Kee Construction. The General Contractor on record for the site, High Quality Construction,was only hired to pull the permit, and was not performing work. Ming Kee Construction was hired to perform plumbing, electrical, interior gut, and facade work. A DOB Violation was issued for a failure to safeguard. A full Stop Work Order (FSWO) was issued. | DOB Violation |  | 022924CE31101LJ/ VIO24-50326 | alteration | B00971955 | Worker Fell | CHEN, MICHAEL XIN HUAN | High Quality Construction
2024-02-29 | Queens | 44-01 | NORTHERN BOULEVARD | 0 | 1 | The Site Safety Manager reported that there was a worker in the cellar level that was on a ladder and carrying a pipe when the worker lost balance and fell 3-4 feet. The worker was taken to a nearby medical care center. | No Dispatch |  |  |  | Q00910279-I1-GC | Worker Fell | 44-01 NORTHERN OWNER, LLC | NY DEVELOPERS & MANAGEMENT
2024-03-06 | Bronx | 1900 | JEROME AVENUE | 0 | 1 | A DOB inspector reported that while there was a sidewalk shed that was being taken down, there was a worker on the ground level that stepped on equipment, lost balance, and suffered a twisted ankle. An ambulance was called, and the worker was transported to an area hospital. There were no unsafe conditions observed, and all relevant documentation was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | equiptment | X00902417 | Worker Fell | JEROMECREST REALTY CORP | construction svs con ny
2024-03-07 | Bronx | 120 | EAST 144 STREET | 0 | 1 | The Site Safety Coordinator reported that there was a worker that twisted their ankle in the dirt. The worker was taken to Lincoln Hospital. | No Dispatch |  |  | Foundation | X00648530 | Worker Fell | 120 EAST 144 LLC | On Star Management LLC
2024-03-07 | Brooklyn | 180 | ASHLAND PLACE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 49-story building that was at a 31st-floor level, there was a worker that was moving a large crate of curtain wall when the worker stepped on a riser sleeve that was being used as a hole covering, and the riser sleeve broke, causing the worker to fall backwards. The worker suffered injuries to the back and to the left knee. The worker was transported to a hospital by an ambulance. There were no safety measures in place to prevent a worker from falling backwards. The worker was moving the crate by pulling the crate from the front end while moving backwards. There was no spotter to alert the worker of any open holes or tripping hazards. There were no hole coverings provided for the path of travel, and the riser caps that were present were higher than the concrete slab. An ECB Violation was issued for a lack of safety measures during material handling. | ECB Violation | 39526239L |  | new building | 321590113 | Worker Fell | ASHLAND DEKALB LLC | 180 ashland gc
2024-03-07 | Brooklyn | 2102 | EAST 1 STREET | 0 | 1 | A DOB inspector reported that at the site if a proposed new six-story building that was at an excavation/foundation phase, there were workers that were lifting up rebars from the ground in order to place polystyrene vapor barrier under the rebar when rebar fell on the back of one of the workers. The struck worker was transported to an ambulance. The injured worker was found to have not attended the Pre-Shift Safety Meeting. An ECB Violation was issued for a failure to institute & maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39526230P |  | NEW BUILDING | B00829312-I1-GC | Other Construction Related Incidents | DDG 362 AVE U OWNER LLC | REDHOEK CONSTRUCTION LLC
2024-03-07 | Queens | 26-32 | JACKSON AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed 49-story new building, there was a worker (a carpenter) that was carrying a roll of insulation down the stairs from the eighteenth floor to the seventeenth floor when the worker fell down the stairs. The worker complained about having suffered an injury to the lower back. An ambulance was called, and the worker was transported to Elmhurst Hospital. There were no witnesses to the incident. The stairwell where the worker fell was found to have been free of any tripping hazards or debris, and was well-lit and had handrails provided. All relevant documentation for the worker was provided, and the worker had attended the Pre-Shift Safety Meeting prior to the start of the work day. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | Q00608144 | Worker Fell | ITALIC REALTY, L.L.C. | hunter roberts construction
2024-03-08 | Brooklyn | 158 | MARTENSE STREET | 0 | 1 | The Construction Superintendent reported that there was a worker (a flagger) that tripped on the steps of the site. The worker requested an ambulance. There were no witnesses to the incident. | No Dispatch |  |  | ALT-1 | B00812024 | Worker Fell | 158 MARTENSE REALTY LLC | OWNERS GC NY LLC
2024-03-08 | Manhattan | 140 | BROADWAY | 0 | 1 | A DOB inspector reported that at the site of an existing 51-story building in which there was an interior renovation being performed on the forty-fifth floor, there was a worker (a carpenter) that was using a two-by-four to support aluminum top track for a glass partition when the worker lost control of the wood, and the worker was struck on the head. The worker suffered a small bump on the head. The worker was not bleeding, but requested an ambulance. The worker was transported to Presbyterian Hospital by an ambulance. There were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration | M00818582 | Material Fell | 140 BW LLC | westbuilt construction man
2024-03-08 | Manhattan | 437 | MADISON AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 11-story building in which there were repairs being performed on the cooling tower, there was a worker that was performing repair work on a pipe railing at the setback when the worker fell through an opening in the railing, hit the staircase below, and fell to the lower setback. The worker fell eighteen feet. A co-worker called 911, and the injured worker was transported to a hospital by an ambulance. Three ECB Violations were issued: one violation for a failure to safeguard all persons and property, one violation for the tampering with the evidence of the incident, and one violation for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all worker at the roof level. The General Contractor is to provide safety measures, as well as Means and Methods, for safe operations going forward. | ECB Violation | 039626286Y 039526285M and 039526280N |  | Alt | Moo932409 | Worker Fell | MADISON AVENUE FEE | Coastal Waterproofing LLC
2024-03-08 | Queens | 42-06 | ORCHARD STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 69-story building that was at a fifty-fourth floor level in which there was work being performed under an After Hour Variance (AHV), there was a worker that was ascending a ladder that was between the 50th and 51st floors when the worker fell. The worker was taken to Cornell Hospital. There were no witnesses to the incident. The injured worker was taken to a hospital with a cousin of his, and the cousin did not fill out a report. The ladder that the worker fell down was pre-manufactured, and was not constructed on site. There were no hazardous conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building 69 Stories | Q00528973 | Worker Fell | BLDG ORCHARD LLC | TRITON CONSTRUCTION CO.,
2024-03-11 | Manhattan | 1440 | BROADWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed new 28-story building in which the second floor was being formed, there was a worker (a carpenter) that was on a ladder while working on decking formwork at the second floor level when the worker lost balance and fell. The worker was suffering from swelling in one of their legs. The worker was transported to a nearby hospital by an ambulance. The work was being performed without any safety measures. An adequate working platform was not provided. An ECB Violation was issued for a failure to institute & maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39526329P |  | NEW BUILDING | M00641741-I1-GC | Worker Fell | 1440 BROADWAY NY OWNER, LLC | ARTIMUS LLC
2024-03-11 | Manhattan | 1901 | 1 AVENUE | 0 | 4 | A DOB inspector reported that at the site of an existing fourteen-story building in which there was site wall work being performed (for a retaining wall), there was a temporary fence that was comprised of Yodock barriers & and a chain-link fence that was four feet high and approximately 100 feet in length that collapsed onto the public sidewalk at exposure 1, due to high winds. Four pedestrians suffered injuries. All four of the injured pedestrians were transported to a hospital. The Yodock barriers were not filled with water or sand to prevent displacement, and were not locked together. The chain-link fence was not tied together. There was no design drawing provided for the fence. An Aggravated Level 2 ECB Violation was issued for a failure to safeguard. | ECB Violation | 39526316X |  | alteration | M00476493 | Mechanical Construction Equipment | HEALTH AND HOSPITALS CORPORATI | Gilbane Building Company
2024-03-11 | Manhattan | 420 | EAST 72 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing nineteen-story building in which there were terrace repairs being performed, there was a debris bag that was on a scaffold that slipped from a rope knot, and fell and struck a worker. The worker complained about shoulder pain, and was taken to Cornell Hospital by an ambulance. The incident took place on March 11, 2024, but was not reported to DOB until March 12, 2024. Two ECB Violations were issued: one violation for a failure to ensure that all workers had received a Site Safety Orientation, and one violation for a failure to immediately notify DOB of the incident. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39526361P / 39526362R |  | ALTERATION | M00827699-I1-GC | Other Construction Related Incidents | 420 EAST 72ND ST TENANTS CORP | AM BUILDING RESTORATION*
2024-03-11 | Queens | 31-28 | northern blvd | 0 | 1 | A DOB inspector reported that at the site of a proposed twelve-story new building that was topped out, there was a pedestrian that was walking on the sidewalk in front of the site at exposure 1 when an eight-foot wide section of a Yodock barricade was blown over by the wind, and the section of barricade struck the pedestrian. The pedestrian suffered injuries to the head and neck, and was transported to a hospital. The barricades were found to have not been locked together, and to have not been filled with water or sand. The chain-link fence on top of the barriers were not tied together as required. An Aggravated Level 2 ECB Violation was issued for a failue to comply with the manufacturer's specifications. | ECB Violation | 39526313K |  | NEW BUILDING | 42162016 | Other Construction Related Incidents | PS NORTHEAST LLC | E.W. HOWELL COMPANY LLC
2024-03-12 | Manhattan | 2875 | BROADWAY | 0 | 1 | A Project Manager reported that there was a worker (a carpenter) that was using a router on the second floor when the worker cut his hand. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | ALT-2 | M00741089 | Other Construction Related Incidents | AG-PREMIER 2875 BROADWAY OWNER | MJM Associates Constr LLC
2024-03-12 | Manhattan | 300 | EAST 50 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 23-story building that was at a sixth floor level, there was a worker that was performing a decking operation on the sixth floor that fell through a hole, landing on the fifth floor. The worker was taken to NYU Hospital by an ambulance. There were no safety measures in place. The decking platform did not have enough support, and the decking form work did not conform to the approved plan. Two ECB Violations were issued: one violation for a failure to safeguard all persons & property, and one violation for the performance of work that does not conform to the approved plan. A partial Stop Work Order (PSWO) was issued for all work at the sixth floor or decking floor level. | ECB Violation | 039526373M and 039526374Y |  | NB | M00611352 | Worker Fell | 300 EAST 50TH STREET OWNER LLC | Urban Atelier Group LLC
2024-03-14 | Brooklyn | 326 | ROCKAWAY AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new fourteen-story building that was topped off, there was a worker (a carpenter) that was using a twelve-foot tall A-Frame ladder to frame studs when the worker lost balance and fell to the ground. The worker was conscious, but complained about back pain. The worker was transported to Brookdale Hospital to receive treatment. The worker had failed to maintain three points of contact while using the ladder to perform overhead work. An ECB Violation was issued for a failure to comply with the manufacturer's specifications (for the A-Frame ladder). A partial Stop Work Order (PSWO) was issued for all use of A-Frame Ladders. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39526454Y |  | NEW BUILDING | 321601012 | Worker Fell | 326 ROCKAWAY HOUSING DEVELOPME | SD BUILDERS AND CONSTRUCT
2024-03-14 | Brooklyn | 931 | CARROLL STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new seventeen-story building, there was a worker (an electrician) that was attempting to pull a low-voltage wire to an outlet in a stud frame wall when fourteen sheets of drywall tipped over onto the worker. The worker suffered an injury to his left leg. The worker was transported to a hospital by an ambulance. The work area was not maintained to be free of debris & tripping hazards, and the material that fell had been stored against the wall at an angle that did not prevent it from tipping over. The worker was not provided with a partner, or equipment, to assist with moving material. An ECB Violation was issued for a failure to institute safety measures. | ECB Violation | 39526452K |  | NEW BUILDING | 321080833 | Material Fell | CARROLL DEVELOPMENT PLAZA LLC | FOLXCO LLC
2024-03-14 | Queens | 26-03 | 1 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 31-story building that was topped out, there was a worker from a cable company that was pulling and splicing a fiber optic cable when the worker suffered a small cut to their hand. The worker requested to see the on-site medic, but then briefly passed out. An ambulance was called. After the worker had regained consciousness, the worker was transported to Elmhurst Hospital. There were no unsafe conditions in the work area. The worker was properly oriented prior to the start of the work, and had received all required training to be on the site. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 421476931 | Material Fell | UNAVAILABLE OWNER | URBAN ATELIER GROUP LLC
2024-03-15 | Manhattan | 537 | WEST 59 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building in which the first floor slab was being formed, there was a worker (a plumber) that was installing pipe sleeves during a concrete operation when the worker got dust in his eye. The worker went to a City MD to receive treatment, and was then released to go home. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | M00550178 | Other Construction Related Incidents | W59TH SHELTER HOUSING DEVELOPM | Broadway Builders LLC
2024-03-18 | Manhattan | 280 | EAST HOUSTON STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new thirteen-story building in which the decking for the eighth floor was being formed, there was a worker (a carpenter) that was handling column rebar when the column rebar bounced back on the worker and struck him on the shoulder. The worker was transported to a nearby hospital by an ambulance. An ECB Violation was issued for a failure to maintain proper records of orientations that were performed at the site. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39526538L |  | NEW BUILDING | M00647624-I1-GC | Other Construction Related Incidents | 280 EH REALTY LLC | K S K CONSTRUCTION GROUP
2024-03-18 | Manhattan | 520 | 5 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 71-story building, there were two workers that were using hoisting equipment in order to hoist a piston into casing when the rope got caught. The two workers tried to free the rope, and, during the process, the hoisting equipment was left unattended. When the rope was cleared, the piston moved at an unexpected speed and crushed the left hand of one of the workers. The injured worker was taken to Bellevue hospital. The permit at the site that the elevator work was being performed under had expired on March 8, 2024. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications (for the hoisting equipment having been left unattended), and one violation for a failure to obtain all required permits related to the work that was being performed. A partial Stop Work Order (PSWO) was issued for all elevator installations. The General Contractor will be required to comply with the manufacturer's specifications for the hoisting equipment, maintain all safety measures, and obtain all required permits related to work. | ECB Violation | 39526546L 39526545J |  | new elevator install | M08022619 | Material Fell | 520 FEE OWNER 2 LLC | Otis Elevator Company
2024-03-19 | Brooklyn | 148 | STUYVESANT AVENUE | 0 | 2 | A DOB inspector reported that while there was work being performed on the fourth-floor level parapet, a 16-foot long section of parapet collapsed onto the fire escape and supported scaffold. Two workers were trapped by the parapet. Both workers were transported to a hospital. Two top sections of the suspended scaffold were significantly damaged. The facade repair and parapet restoration work that was being performed was being performed without a permit. An ECB Violation was issued for the performance of work without a permit. A partial Stop Work Order (PSWO) was issued for all facade work. | ECB Violation | 39526606Y |  |  |  | Other Construction Related Incidents | 148 STUYVESANT LLC
2024-03-19 | Queens | 331 | BEACH 35 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new eight-story new building that was topped off, there was a worker that was carrying a chap saw down a ladder from the second floor to the first floor when the worker suffered an injury to his right leg and fell to the floor. The worker was transported to a nearby hospital by an ambulance. The ladder that the worker was using was found to have not had any handrails. An ECB Violation was issued for a failure to institute & maintain safety measures. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39526604K |  | NEW BUILDING | 420667148 | Worker Fell | HP BEACH GREEN DUNES III HOUSI | L & M BUILDERS GROUP LLC
2024-03-20 | Brooklyn | 600 | KINGSTON AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 3-story building (a school) in which there was alteration work being performed, and in which there was an active After Hour Variance (AHV), there was a worker that was using a circular saw to cut a two-by-four when the worker suffered a cut to one of their fingers. The worker was driven to a hospital by a co-worker. The manufacturer's specifications were found to have not been complied with, as there were wood shavings on the saw, and the support that was provided for the use of the saw was inadequate. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 35581297X |  | ALT-2 | B00696798 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | ADAMS EUROPEAN CONTRACTING
2024-03-20 | Manhattan | 533 | WEST 19 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing two-story building in which there was alteration work being performed, there were two workers that were removing guardrails from the stairs in order to install new guardrails/handrails when a section of guardrails fell from the second floor to the first floor and struck one of the workers on their foot. An ambulance was called, and the worker was taken to a City MD to receive treatment. A Controlled Access Zone (CAZ) had not been established. Two ECB Violations were issued: one violation for a failure to safeguard all persons & property, and one violation for a failure to provide a Site Safety Orientation or refresher. A partial Stop Work Order (PSWO) was issued for all operations involving the repairing of guardrails. | ECB Violation | 039526639K and 039526640H |  | ALT | M00943364-I1-GC | Material Fell | DAZW LLC | SHAWMUT WOODWORKING & SUP
2024-03-20 | Manhattan | 59 | HENRY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed nineteen-story new building, there was an A-Frame that was loaded with fourteen sheets of drywall. A worker (a hoist machine operator) attempted to stop the A-Frame from tipping over, and the load fell on the worker's leg. The worker was transported to Bellevue Hospital. The A-Frame was overloaded, and the temporary ramp that the A-Frame was being moved on was rotting, which caused one of the wheels of the A-Frame to get stuck. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to ensure that all workers had received a Site Safety Orientation or refresher. | ECB Violation | 39526621M 39526620K |  | new building | 121205365 | Material Fell | NYC HENRY STREET GROUP LLC | Front Wave Construction
2024-03-21 | Brooklyn | 71 | PRINCE STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 33-story building in which the decking of the thirteenth floor was being formed, there was a worker on the fourth floor (a carpenter) that was using a five-foot tall platform ladder to perform framing work on a ceiling when the worker attempted to step down from the ladder, and the worker lost balance and fell. The worker was suffering from knee pain, and the worker was transported to Brooklyn Hospital by an ambulance. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | B00542600-I1-GC | Worker Fell | 67 PRINCE STREET GROUND OWNER | JOY CONSTRUCTION CORP
2024-03-22 | Brooklyn | 97 | GLENMORE AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new eleven-story building in which the decking of the first floor was being formed, there was a worker that was using an extension ladder to come down from the first floor decking when the worker's foot slipped from the sixth rung of the ladder and the worker fell on the floor. The worker suffered injuries to his back and to his left leg. An ambulance was called, and the worker was transported to a nearby hospital. There were no unsafe conditions observed at the site, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | B00663906-I1-GC | Worker Fell | GLENMORE MANOR HDFC, INC | LEMLE & WOLFF CONSTR CORP
2024-03-22 | Manhattan | 386 | PARK AVENUE | 0 | 1 | A DOB inspector reported that at the site of an existing 22-story building in which there were renovations being performed on the ninth, tenth, and seventeenth floors, there was a worker (a painter) that was using a ladder to patch holes in the ceiling with joint compound that was coming down from the ladder when the worker lost balance at the last step and hit the slab. The worker suffered a cut to the forehead. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION | M00875952-I1-GC | Worker Fell | 390 TOWER ASSOCIATES, LLC | ELYSIUM CONSTRUCTION INC
2024-03-23 | Brooklyn | 499 | PRESIDENT STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nine-story building, there was a worker (a carpenter) on a staircase that was performing framing work on the ceiling when the worker fell on the stairs, landing between the sixth and seventh floors. The worker was found by a project manager. The worker was transported to a nearby hospital by an ambulance. The staircase where the incident occurred was found to have been slippery and wet. The General Contractor had failed to provide a Pre-Shift Safety Meeting for the injured worker. Two ECB Violations were issued: one violation for a failure to maintain adequate housekeeping, and one violation for a failure to ensure that all workers had attended the Pre-Shift Safety Meeting prior to the commencement of work. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39526735K / 39526736M |  | NEW BUILDING | 321598400 | Worker Fell | 473 PRESIDENT LLC | URBAN ATELIER GROUP LLC
2024-03-25 | Brooklyn | 11 | OCEAN PARKWAY | 0 | 1 | A DOB inspector reported that at the site of a proposed new eleven-story building, there was a worker (a carpenter) that was using an eight-foot tall A-Frame ladder to install sheetrock fire-stopping when the ladder tipped over, and the worker fell to the floor. The worker complained about having suffered injuries to the hand and wrist. The worker was transported to a hospital by an ambulance. The worker was found to have not maintained three points of contact when using the ladder. The area where the worker was working had debris and material present that prevented the worker from opening up the ladder to a stable position. Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for a failure to maintain adequate housekeeping. | ECB Violation | 395526766n/67p |  | new building | B00520132 | Worker Fell | INTERNATIONAL BAPT CH | Pavarini Mcgovern LLC
2024-03-25 | Queens | 35-15 | 19 AVENUE | 0 | 1 | A DOB inspector reported that at the seventh floor level, there was a new electrical panel box being installed when a short circuit/arc flash occurred, and a worker was burned. The worker walked to a nearby City MD, and was then taken to a hospital. The overcurrent devices/breakers that were being used were damaged by the arc flash. The permit that was on file for the work that was being performed only covered work from between the first & fourth floors (and not the seventh floor). Two ECB Violations were issued: one violation for unsafe/unsuitable electrical equipment or wiring, and one violation for the performance of work without a permit. | ECB Violation | 39109794N 39109872J |  |  |  | Other Construction Related Incidents | WF INDUSTRIAL IV LLC
2024-03-26 | Bronx | 1555 | Story Avenue | 0 | 1 | A DOB inspector reported that at the site of the existing vehicular ramp to the roof 3 parking deck, there was a worker that was walking on plywood when the worker slipped and fell. An ambulance was called, and the worker was taken to a nearby hospital. The worker walked on a surface that was not intended to be used for walking. All required safety measures were in place, and no unsafe conditions were observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | EARTHWORK | X00449254-S1-FO-EA | Worker Fell | CONSOLIDATED EDISON CO.OF N.Y. | GIANFIA CORP
2024-03-26 | Bronx | 261 | EAST 202 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new eleven-story building that was at a roof level, there was a worker (a painter) on the fourth floor level that was using an A-Frame ladder to paint the ceiling when the worker fell off of the ladder. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. The worker had failed to maintain three points of contact when using the ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 039526834X |  | NB | 210179965-01-NB | Worker Fell | CHV BEDFORD PARK HOUSING DEVEL | BOLIVAR BUILDERS, LLC
2024-03-26 | Brooklyn | 2940 | WEST 15 STREET | 0 | 1 | A DOB inspector reported that there was a worker that was using a spackle knife to perform taping work when the worker cut her hand. The worker went to a hospital and received eight stitches. The incident took place on March 26, 2024, but was not reported until March 27, 2024. There were working platforms at the site that were found to be unsafe, and there were no design drawings provided for the working platforms. There was no Site Safety Orientation for the injured worker. Three ECB Violations were issued: one violation for a failure to notify DOB of the incident (see Complaint # 3953624 for this violation), one violation for there being no design drawings on site, and one violation for a failure to maintain or display on site documents (see Complaint # 3953571 for these two violations). A partial Stop Work Order (PSWO) was issued for all use of supported scaffolds, all use of work platforms, and all use of access ladders (see Complaint # 3953571 for this PSWO). All unsafe working platforms must be immediately removed from the site. A Means and Methods for the safe use of scaffolding, work platforms, and ladders in a safe manner. | ECB Violation | 39526918N 39526917L 39526916J |  | NB | 321599141 | Other Construction Related Incidents | SIRENA REALTY CORP. | LRC construction LLC
2024-03-26 | Brooklyn | 3421 | SNYDER AVENUE | 0 | 2 | A DOB inspector reported that at the site of a proposed new three-story building that was at a roof level and fully enclosed, and in which there was supported pipe scaffolding present, there were two workers that fell off of a ladder. The two injured workers were transported to a nearby hospital. The incident was reported by members of the public, as both the General Contractor and the Construction Superintendent did not report the incident. When the inspector arrived at the site, the site was closed, and the workers were on the sidewalk at the perimeter of the building. The workers did not provide any information, and acted oblivious to the incident. Two ECB Violations were issued for a failure to notify DOB of the incident: one violation was issued to the General Contractor (please see Complaint # 3953330 for this violation), and one violation was issued to the Construction Superintendent (see Complaint # 3953553 for this violation). A full Stop Work Order (FSWO) was issued. The General Contractor will be required to provide access to allow for a further investigation of the incident. Additionally, there were full Stop Work Orders issued to 232 East 35th Street and 236 East 35th Street, because there were construction operations being performed at those two addresses that were related to the same General Contractor and enclosed within the same construction fence. | ECB Violation | 39526846 N / 39526895 J |  | New Building | 321231742 | Worker Fell | SNYDER EAST 35 LLC | Park USA Design and Remodeling
2024-03-26 | Manhattan | 510 | EAST 62 STREET | 0 | 1 | A DOB inspector reported that at the site of an existing nine-story building, there was a worker that was taking a measurement of the corner façade on the fourth floor when the worker's left leg was struck by loose bricks. The worker was transported to a nearby hospital. Two ECB Violations were issued: one violation for a failure to institute & maintain safety measures, and one violation for a failure to comply with the Site Safety Monitoring Program. A partial Stop Work Order (PSWO) was issued for all facade operations. The General Contractor will be required to provide and maintain adequate safety measures for operations going forward. | ECB Violation | 39526838N / 39526839P |  | FAÇADE | M00450352-I1-GC | Material Fell | THE ANIMAL MEDICAL CENTR | WEST NEW YORK RESTORATION
2024-03-26 | Queens | 147-35 | 95 AVENUE | 0 | 1 | A DOB inspector reported that at the site of a proposed new 24-story building that was topped off, there was a worker on the fifteenth floor that was removing a hoist when grout fell on the worker's hard hat, and on the side of his face. The worker did not suffer any visible injuries, but requested an ambulance. The worker was transported to a nearby hospital. There was masonry work being performed above the hoist removal operation, without a Controlled Access Zone (CAZ) or coordination in place (the grout that fell was from this masonry operation). An ECB Violation was issued for a failure to safeguard all persons and property. | ECB Violation | 39526856R |  | NEW BUILDING | Q00657656-I1-GC | Other Construction Related Incidents | SUTPHIN BOULEVARD EQUITIES LLC | HEARTFELT TOWNHOUSE BUILD
2024-03-27 | Bronx | 138 | BRUCKNER BOULEVARD | 0 | 2 | A DOB inspector reported that at the site of a proposed new twelve-story building, there were two workers that were part of a cleaning crew that were walking down the stairs from the seventh floor to the sixth floor when the workers fell on the third step from the landing. The workers complained about having suffered injuries to the neck and back. An ambulance was requested, and both workers were transported to an area hospital. The workers were not carrying any material or equipment when the incident occurred. There were no witnesses to the incident. The stairwell that the workers were walking down was found to have been well lit, with handrails in place on both sides of the staircase, and free of any tripping hazards. There were no unsafe conditions observed, and all required documentation was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | X00643715 | Worker Fell | 138 BRUCKNER GROUND LESSOR, LL | ON STAR MANAGAEMENT LLC
2024-03-28 | Manhattan | 220 | WEST 28 STREET | 0 | 1 | The covering Site Safety Manager reported that there was a worker that slipped on the stairs between the first & second floors. An ambulance was called, and the worker was transported to Bellevue Hospital. | No Dispatch |  |  | ALT-1 10 STORIES | 123300828 | Worker Fell | DEPARTMENT OF EDUCATION | FORTE CONSTRUCTION CORP
2024-03-28 | Manhattan | 32 | WEST 48 STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new 33-story building in which the eighth floor deck was being formed, there was a stripping operation being performed on the eighth floor when a six-foot long aluminum beam that was being passed through an opening between floors when the beam fell and struck a worker on the back of his neck. The worker said that he felt dizzy. An ambulance was called, and the worker was taken to a hospital. The communication between workers was inadequate. The material that was being transferred (the aluminum beam) was not secured, and the worker was found to have been using a ladder for elevated work. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for an existing site condition that does not conform to the Site Safety Plan. A partial Stop Work Order (PSWO) was issued for all stripping operations. The General Contractor will be required to maintain safety measures, and to provide Means & Methods for material handling between floors. | ECB Violation | 39526940J 39526941L |  | new building | 121208987 | Material Fell | N47 ASSOCIATES LLC | Tishman Construction Corp
2024-03-28 | Manhattan | 80 | CLARKSON STREET | 0 | 1 | The Site Safety Manager reported that there was a worker in the loading area that was unloading material when the worker slipped on a wet surface. The worker requested an ambulance. | No Dispatch |  |  | NB | M08015986 | Worker Fell | UNAVAILABLE OWNER | SUFFOLK CONSTRUCTION CORP
2024-03-29 | Manhattan | 59 | HENRY STREET | 0 | 1 | A DOB inspector reported that at the site of a proposed new nineteen-story building, there was a worker on the fourteenth floor that was using a six-foot tall A-Frame ladder to perform a curtain wall epoxy coating installation when the worker fell off of the ladder. The worker complained about back pain. The worker was transported to Bellevue Hospital by an ambulance. The worker had failed to maintain three points of contact while using the ladder to perform overhead work. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. The General Contractor will be required to provide & maintain adequate safety measures for operations going forward. | ECB Violation | 39526978P |  | 616573 | 121205365 | Worker Fell | NYC HENRY STREET GROUP LLC | FRONT WAVE CONSTRUCTION*
2024-03-30 | Brooklyn | 424 | CARROLL STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was attempting to go through a door while carrying insulation when the door closed on the worker, causing him to fall. An ambulance was called, and the worker was taken to a hospital. Responding an incident, where worker Luis Cercado fell hurting his face on the floor inspection revealed Contractor worked beyond After-Hours Variance Permit # B4000857 scope of work. No flooring work was allowed. labor was carrying a roll of subfloor insulation, pushing the self-closed door struggling, attempting to enter at apt 7 B East Building and fell hitting his face in the floor around 1135 am. Worker was released from Hospital same day. | No Dispatch |  |  | NB | B00614338 | Other Construction Related Incidents | 420 CARROLL LLC | MEGA CONTRACTING GP LLC
2024-03-30 | Manhattan | 1522 | 1 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was offloading equipment when a dolly ran over the worker's foot. The worker was taken to an urgent care center. CSE REPORT, At time of inspection in response to an incident follow up where a dolly ran over a worker foot during material movement operation , injured his toe and went to urgent care, inspection incident as worker error, no unsafe condition was noticed, and no action necessary | No Dispatch |  |  | ALT | M08011953 | Other Construction Related Incidents | UES RESIDENTIAL LLC | METRO TECH ERECTORS CORP