## Sheet1
Monthly Incident Details: May 2025
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2025-01-02 | Manhattan | 301 | PARK AVENUE | 1 | 0 | At the site of an existing 44-story building in which there was alteration work being performed, there was a worker (an electrical helper) that was assisting an electrician with the installation of a kindorf. The worker was walking on the reverse side of a finished drywall ceiling (the ceiling of the grand ballroom) when a section of ceiling that the worker stepped on gave way and collapsed, and the worker fell through the ceiling. The worker's fall was fatal. The ceiling was adjacent to a catwalk, and the worker had walked around railings and was on top of the metal framing of the ceiling when the incident occurred. Co-workers that were on the catwalk did not witness the incident. There was no fall protection or personal protective equipment (PPE) instituted for the operation. The scope of work was found to have not been adequately communicated, and the lighting at the site was poor. A DOB Violation and a full Stop Work Order (FSWO) were issued. | DOB Violation |  | VIO25-50441 | Alteration Type 1 | 121191245 | Worker Fell | UNAVAILABLE OWNER | Suffolk Construction Company
2025-01-03 | Bronx | 671 | TINTON AVENUE | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker on the eleventh floor that was using a six-foot tall A-Frame ladder in order to relocate electrical wiring. The worker was using the ladder to reach a ceiling that was approximately ten feet high. The worker was found on the ground. The worker complained about pain in the right shoulder, and requested an ambulance. The worker was taken to Lincoln Hospital for evaluation. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00695344-I1-GC | Worker Fell | TINTON APARTMENTS HOUSING DEVE | MOUNTCO CONST. & DEV.CORP
2025-01-03 | Manhattan | 140 | WEST 81 STREET | 0 | 1 | At the site of a proposed new seven-story building that was topped off and fulling enclosed, there were two workers that were exiting an elevator on the third floor when one of the workers grabbed a cordless skill saw. This accidentally triggered the saw, and the tip of the worker's left index finger was cut. The worker was transported to a hospital by an ambulance. The worker received four stitches and then went home. The skill saw was being transported to another floor without being secured, which was contrary to the manufacturer's specifications. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for the failure by the contractor to secure the area of the incident, and one violation for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all use of the skill saw for carpentry operations. | ECB Violation | 39535626X / 39535626X / 39535628J |  | Alteration Type 1 | 122042306 | Other Construction Related Incidents | 142 WEST 81ST STREET LLC | EES BUILDERS GROUP LLCS Builders Group LLC
2025-01-06 | Brooklyn | 170 | FREEMAN STREET | 0 | 1 | A project manager reported that there was a worker (a carpenter) that was on the stairs between the first floor and cellar that was handling material when the worker tripped down the stairs. There were no witnesses to the incident. The worker was transported to a hospital by an ambulance in a conscious state. | No Dispatch |  |  | NB 8 Stories | 321598277 | Worker Fell | 170 FREEMAN LLC | M.N.C. GENERAL CONTR CORP
2025-01-06 | Manhattan | 895 | PARK AVENUE | 0 | 1 | At the site of an existing 20-story building in which there were façade repairs being performed, there was a worker that was using an extension ladder to access a supported pipe scaffold (a baker scaffold) at the twentieth floor when the worker fell from the ladder. The worker complained about back pain, and was transported to a nearby hospital. The worker did not use the extension ladder as per the manufacturer's specifications, and the scaffolding was missing guardrails and other safety features. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications for the baker scaffold, and one violation for a failure by the contractor to provide and maintain adequate protection for the workers. | ECB Violation | 039535673Z and 039535674K |  | ALT | M00507711-I1-GC-CX | Worker Fell | PARK SEVENTY-NINTH CORP | NOVA CONSTRUCTION SERVICE
2025-01-06 | Queens | 33-00 | NORTHERN BOULEVARD | 0 | 1 | A project manager reported that there was a worker (a carpenter) that suffered an electrical shock. An ambulance was called, and the worker was transported to a nearby hospital to receive treatment. A DOB inspector visited the site and reported that the incident occurred due to human error. No enforcement action was necessary. | No Action Necessary |  |  | Electrical | Q01122049 | Other Construction Related Incidents | UNAVAILABLE OWNER | John Foley Forest Electric Corp
2025-01-08 | Brooklyn | 122 | SANDFORD STREET | 0 | 2 | At the site of a proposed new ten-story concrete frame building that was at a roof level and partially enclosed from the second floor up, there were two workers that were attempting to set up a baker scaffold on the stair landing between the ninth and tenth floors for a sanding operation when both workers slipped and fell down the stairway. The workers suffered arm, leg, and back injuries. An ambulance was called, and the two workers were taken to a nearby hospital. Two ECB Violations were issued: one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for a failure to provide a scaffold user certification for one of the two workers. A partial Stop Work Order (PSWO) was issued for all use of baker scaffolding, and for all stairway operations. | ECB Violation | 39535778 P / 39535779 R |  | New Building | 321588705 | Worker Fell | MYRTLE OWNER LLC | McGowan Builders INC
2025-01-09 | Brooklyn | 71 | PRINCE STREET | 0 | 1 | At the site of a proposed new 33-story building, there was a worker (an elevator technician) that was working on a platform in an elevator shaft that was using a mini crowbar to adjust railing when the worker was accidentally hit on the nose by the crowbar. The worker walked to a nearby urgent care facility. The worker was expected to return to work. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | B00542600 | Other Construction Related Incidents | 67 PRINCE STREET GROUND OWNER | Joy Construction Corp
2025-01-09 | Manhattan | 1290 | 6th Avenue | 0 | 1 | At the site of an occupied 43-story building in which there was a façade operation being performed that was nearing completion, there was a worker that was on the top of a sidewalk shed deck that was using the cross braces in order to disembark the sidewalk shed when the worker slipped and fell. The worker suffered injuries to the back and arm, and suffered a laceration to the nose. An ambulance was called, and the worker was taken to a nearby hospital. The contractor had failed to provide adequate safety measures, such as PPE or a platform, for workers to be able to safely disembark from the sidewalk shed. Three ECB Violations were issued: one violation for a failure to safeguard all persons and property (see Complaint # 1686204 for this violation) and two violations, one that was issued to the General Contractor (see Complaint # 1686204 for this violation), and one that was issued to the Site Safety Manager (see Complaint # 1686163 for this violation), for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all exterior sidewalk shed operations (see Complaint # 1686163 for this SWO). | ECB Violation | 39535845 X , 39535843 M , 39535844 Y |  | Alteration Type 2 | M00909197 | Worker Fell | 51 W. OWNER, LP | Colgate Restoration Corp
2025-01-10 | Brooklyn | 532 | NEPTUNE AVENUE | 0 | 1 | At the site of a proposed new 22-story building, while there was a scaffold removal being performed at tower 1 of exposure 3, there was a worker that was tied off to the coupling of the scaffold when the coupling gave way, and the worker fell with the scaffolding frame. The worker fell approximately seventy feet. The worker suffered extensive injuries to the left side arm, leg, hip, and back. An ambulance was called. The worker was taken to NYU Langone Trauma Center in a responsive state. The worker was not tied off to the life line that was provided. The scaffolding was being dismantled in an unsafe manner, as there was metal planking that was being lowered that was missing a pin in the scaffold frame, which caused the coupling to snap and the frame to fall, which pulled the worker from his position. The scaffolding was found to have not been maintained, and was not inspected prior to the start of operations. The General Contractor was aware of a weather advisory that was issued by DOB on January 9, 2025. According to the Site Safety Manager's log book, the Site Safety Manager (SSM) had stopped exterior work on the previous day. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property, one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or Refresher, one violation for a failure to comply with the manufacturer's specifications, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all use and dismantling of supported scaffolding at all three towers. | ECB Violation | 39535877 K , 39535878 M , 39535875 R , 39535876 Z |  | NB | 320622714 | Worker Fell | UNAVAILABLE OWNER | Rybak Development Corp
2025-01-13 | Manhattan | 174 | MOTT STREET | 0 | 1 | The Construction Superintendent reported that there was a worker that fell at the cellar level. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | Alteration | 123819305 | Worker Fell | 174 MOTT OWNER LLC | MJM ASSOCIATES
2025-01-13 | Manhattan | 660 | LEXINGTON AVENUE | 0 | 1 | The Site Safety Manager reported that there was a pedestrian that tripped in front of the site. The pedestrian took a cab to an urgent care center. | No Dispatch | 39535933X |  | new building | M08028413 | Other Construction Related Incidents | 660 LEXINGTON AVENUE DEVELOPME | RYBACK DEVELOPMENT
2025-01-14 | Manhattan | 20 | randalls island | 0 | 1 | At the site of an existing two-story building in which there was alteration work being performed, there was a worker that was using a handheld cordless drill when the worker suffered an injury to the left index finger. The worker was taken to a hospital for evaluation. All required safety measures were found to have been in place. However, there were guardrails missing at the second floor level. Two ECB Violations that were issued: one violation for a failure to promptly notify DOB if the incident, and one violation for a failure institute and maintain safety measures. | ECB Violation | 39535976X 39535977H |  | ALT | M00918146 | Mechanical Construction Equipment | NYC PARKS DEPT | HUNTER ROBRETS CONSTRUCTI
2025-01-14 | Manhattan | 30 | EAST 85 STREET | 0 | 1 | At the site of an existing 30-story residential building in which there was a façade restoration being performed, there was a worker on the twenty-first floor balcony that was walking backwards when the worker tripped over material and fell. The worker complained about back pain. An ambulance was called, and the worker was taken to a nearby hospital. The material that the worker tripped over was placed on the balcony by the worker as part of the operation. The incident was determined to have occurred as the result of a worker error. No enforcement action was taken in direct response to the incident. However, an ECB Violation was issued for a failure to immediately notify DOB of the incident. | ECB Violation | 39535992 X |  | Alteration Type 2 | M01037537 | Worker Fell | 30 E 85TH ST CONDOMINIUM | Nova Construction Service
2025-01-15 | Manhattan | 1299 | 3rd AVENUE | 0 | 1 | At the site of a proposed new 33-story building, there was a worker that was carrying an A-Frame ladder that fell down the stairs between the thirty-third floor and the roof. The worker sustained a cut to the eyebrow, and was suffering from back pain. The worker was transported to a nearby hospital by an ambulance. The worker had tripped over screws that were present on the stairs. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 039536014J |  | New Building | 121187964 | Worker Fell | 215 EAST 68TH STREETL.P. | Press Builders INC
2025-01-16 | Manhattan | 341 | WEST 38 STREET | 0 | 1 | At the site of an existing twelve-story building that was being converted into a nineteen-story building, there was a worker (a painter) that was using stilts to perform a compound operation on the ceiling when the worker fell. An ambulance was called, and the worker was transported to a hospital. The work area was found to have not been free of tripping hazards, which is not in compliance with the manufacturer's specifications for the stilts. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 039536072H |  | ALTERATION TYPE 1 | 121188801-01-AL | Worker Fell | CENTRAL PROPERTIES OWNER LLC | ELK WEST 38TH LLC
2025-01-17 | Queens | 94-15 | SUTPHIN BOULEVARD | 0 | 1 | At the site of a proposed new 24-story concrete frame building that was at a roof level, there was a worker that was sitting near a stack of sheetrock when the sheetrock collapsed onto the worker's leg. An ambulance was called, and the worker was taken to a hospital. The area where the incident occurred was supposed to be a staging area for construction materials. There was no controlled access zone (CAZ) established, and the sheetrock was not strapped, braced, or secured in order to maintain stability and prevent movement. An ECB Violation was issued for a failure to institute & maintain safety measures. | ECB Violation | 39536131 Z |  | New Building | Q00657653 | Other Construction Related Incidents | 95TH AVENUE EQUITIES LLC | JOEL WEISS
2025-01-20 | Queens | 58-01 | QUEENS BOULEVARD | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker that was performing a formwork stripping operation that fell from scaffolding. The worker fell approximately six feet, and suffered a laceration to the head and a shoulder injury. The worker was transported to a hospital. The scaffolding that the worker fell from was found to have been not been properly planked. An Aggravated Level 2 ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all stripping operations on the first floor. | ECB Violation | 39135942P |  | NB Majory Building (12 Stories) | Q00790556 | Worker Fell | 5801 MANAGEMENT LLC | NEW EMPIRE BUILDER CORP
2025-01-21 | Brooklyn | 324 | 9 STREET | 0 | 1 | At the site of an existing two-story building that was being vertically enlarged into a six-story building, there was a worker (a member of the housekeeping crew) that was walking down the stairs between the second & third floors when the worker slipped and fell. The worker was transported to Methodist Hospital for evaluation. There were no unsafe conditions observed, and all required safety measures were in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | B00668652-I1-GC | Worker Fell | ABRAMS HOLDINGS, LLC | K S K CONSTRUCTION GROUP
2025-01-21 | Manhattan | 333 | EAST 38 STREET | 0 | 1 | At the site of an existing fourteen-story building in which there was alteration work being performed, there was a worker (a steel erector) on the eleventh floor that was using a steel bar to move three long pieces of Q-decking onto a platform when a section of corrugated steel fell, and the worker fell with the steel approximately eight feet to the floor below. The worker was taken to Bellevue Hospital to be evaluated. The corrugated steel platform was not secured in accordance with the structural design drawings. An ECB Violation was issued for the performance of work that does not conform to the approved design drawings. A partial Stop Work Order (PSWO) was issued for all use of the corrugated steel platform. | ECB Violation | 39536154L |  | ALTERATION | M00958873-I1-GC | Worker Fell | UNAVAILABLE OWNER | TISHMAN CONSTRUCTION CORP
2025-01-21 | Queens | 44-01 | 11 STREET | 0 | 1 | The Construction Superintendent reported that there was a delivery truck driver that got their arm/hand stuck in a lift gate. An ambulance was called. | No Dispatch |  |  | ALTERATION - FAÇADE | Q01042930-S4-GC | Other Construction Related Incidents | METROPOLITAN LIC LLC | MEGA CONTRACTING GP LLC
2025-01-22 | Manhattan | 30 | HUDSON YARDS | 0 | 1 | At the site of an existing 68-story building in which there was an interior renovation being performed, there was a delivery worker that was unloading cement at the first floor loading dock when the worker was struck by the handle of a pallet jack. The worker complained about suffering from leg pain, and was transported to Bellevue Hospital. There were no unsafe conditions observed, and all required safety measures were in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | M01116940-I1-GC | Mechanical Construction Equipment | UNAVAILABLE OWNER | JRM CONSTRUCTION MGMT LLC
2025-01-23 | Brooklyn | 506 | 6 STREET | 1 | 0 | At the site of an existing and occupied 12-story building (a hospital) in which there were structural and concrete repairs being performed in order to accommodate an emergency room/ER ramp, there as a worker that was using a wheelbarrow to remove and load concrete debris into a container when the worker was found unconscious. The worker was transported to Methodist Hospital. The worker was diagnosed with a brain hemorrhage. The worker was in critical condition. On February 6, 2025, it was reported that the worker passed away. The housekeeping around the container was found to have been poor, as the area was wet, and there was ice present. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work under the permit associated with this work, DOB permit # B01061070-I1-ST. | ECB Violation | 39536231X |  | ALTERATION | B01061070-I1-ST | Worker Fell | M E HOSPITAL | TURNER CONSTRUCTION COMPA.
2025-01-23 | Manhattan | 1 | LIBERTY PLAZA | 0 | 1 | At the site of an existing & occupied 54-story building in which there was alteration work being performed, there was a worker (a welder) that was grinding a reinforced steel plate when sparks burned the top of the worker's left hand. The worker was transported to the Cornell Hospital Burn Unit to receive meidcal attention. The worker was wearing an inflammable shirt while performing hot work. An ECB Violation was issued for a failure to provide adequate PPE (Personal Protective Equipment) during a hot work operation. A partial Stop Work Order (PSWO) was issued for all hot work. | ECB Violation | 39536206Y |  | ALTERATION | M00925043-S1-ST | Other Construction Related Incidents | ONE LIBERTY PLAZA CONDO | TURNER CONSTRUCTION COMPA
2025-01-24 | Brooklyn | 71 | PRINCE STREET | 0 | 1 | At the site of a proposed new 33-story building, there were four workers on the second floor that were using an A-Frame cart to move doors when one of the doors slid off and struck one of the worker's feet. The struck foot began to swell, and the worker left the site to go to a City MD to receive medical attention. The A-Frame cart that was being used was found to have been modified, contrary to the manufacturer's specifications. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of A-Frame carts. | ECB Violation | 39536272M |  | NEW BUILDING | B00542600-I1-GC | Other Construction Related Incidents | 67 PRINCE STREET GROUND OWNER | JOY CONSTRUCTION CORP.
2025-01-27 | Bronx | 1480 | BRYANT AVENUE | 0 | 1 | As per update provided by General Contractor (JSB WORKS INC) representative Abe Goldberg (718-286-9425) injured worker is still hospitalized and in stable condition after 30-foot fall from roof of building. Worker is recovering from significant injuries sustained during fall. CSE will take additional enforcement action as follows in addition to full SWO issued yesterday Complaint # 2409066- Violation # 395336306L- Failure to designate construction superintendent as required for conversion of 3 family building to 10 family altering and demolishing in excess of 50 percent of building and change in egress-FSWO Complaint # 2409067- failure to maintain safety measures resulting in injury to worker B109 Aggravated 2, housekeeping, no approved documents on site-FSWO Complaint # 2409069- Failure to notify the department immediately of incident involving worker injury- A8 CSE has issued 3 FSWO with a total of 6 class 1 violations and General Contractor is required to provide means and methods for all exterior work and work at roof level to prevent further occurrence. General Contractor is required to implement and maintain all safety measures for fall protection (CAZ, guardrails, issuance of PFAS for all workers performing exterior work and work at roof level. | DOB Violation | VIO25-50448 |  | ALTERATION | X0103 | Worker Fell | 1482 BRYANT LLC | JSB WORKS INC
2025-01-27 | Bronx | 75 | CANAL STREET WEST | 0 | 1 | At the site of a proposed new seven-story building, there was "Workhorse" material lifting crab that was being relocated when the "Workhorse" struck a worker (an ironworker) on the right leg. The worker was transported to Lincoln Hospital for evaluation. There was no watchperson present, and there were no safety measures in place. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property affected by construction, one violation for a failure to provide a designated Site Safety Manager or Coordinator, one violation for a failure to notify DOB of the installation of the "Workhorse" material lifting crab, and one violation for a failure to provide an authorized supervisor for the installation of the "Workhorse" material lifting crab. A partial Stop Work order (PSWO) was issued for all construction operations. | ECB Violation | 039536294N 03953629P 039536296R 039536297Z |  | NB | X00658182-I1-GC | Mechanical Construction Equipment | CANAL WEST 75, LLC | HUNTER ROBERTS CONSTRUCTI
2025-01-27 | Brooklyn | 89 | DEKALB AVENUE | 0 | 1 | At the site of a proposed new 30-story building that was topped off and enclosed up to the twentieth floor, there was a worker that tripped on the stairs at the second floor landing. The worker complained about back pain, and was transported to a nearby hospital to receive medical attention. There were no unsafe conditions observed, and all requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building 30 Stories | B00664860 | Worker Fell | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-01-28 | Manhattan | 100 | WEST 37 STREET | 0 | 1 | At the site of a proposed new 69-story mixed-use building that was having the twenty-seventh floor framed, there was a worker (an electrician) that was unloading electrical conduits from a cart when the worker tripped on loose shoring posts that were on the ground. The worker suffered a twisted ankle. The worker was transported to a nearby hospital. Two ECB Violations were issued: one violation for a failure to maintain adequate housekeeping, and one violation for an inadequate Site Safety Orientation. | ECB Violation | 39536312H / 39536313J |  | NEW BUILDING | M00643592-I1-GC | Worker Fell | RPY 989 LLC | ERTCON BUILDERS LLC
2025-01-28 | Manhattan | 450 | 11 AVENUE | 0 | 1 | At the site of a proposed new 51-story building, there was a three-man crew on the thirteenth floor that moved a panel from an A-Frame to an upright position. After the panel was secured into a track at the exterior of the building, one of the workers complained about suffering from neck pain. The worker left the site to go to a City MD to receive treatment. The A-Frame that was being used had been modified to accept an oversized panel, contrary to the manufacturer's specifications. The A-Frame had additional plywood secured to its base, and the uprights were used in an unsafe manner. An ECB Violation was issued for a failure to comply with the manufacturer's specifications (for the A-Frame). | ECB Violation | 39536314L |  | New Building | 121188641 | Other Construction Related Incidents | 37-11 OWNER LLC | Atria Builders LLC
2025-01-30 | Bronx | 1139 | ANDERSON AVENUE | 0 | 1 | At the site of a Alteration-CO job in which a building was being both vertically and horizontally enlarged from a two-story building to a four-story building, there was a construction fence that was being removed. One worker was attempting to pass down an eight-foot piece of plywood to another worker when the worker that was passing the plywood lost control, and the intended recipient of the plywood was struck by it. The struck worker suffered injuries to his right leg, and was transported to a hospital for evaluation. There was no watchperson, and no controlled access zone (CAZ), set up for the operation. There were no safety measures implemented. Four ECB Violations were issued: one violation for a failure to safeguard all persons and property, one violation for a failure to provide adequate housekeeping (see Complaint # 2409296 for these two violations), and two violations, one that was issued to the General Contractor (please see Complaint # 2409296 for this violation), and one that was issued to the Construction Superintendent (see Complaint # 2409321 for this violation), for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all construction operations in the back yard (please see Complaint # 2409296 for this SWO). | ECB Violation | 039536463P 039536462N 039536464R 039536466K |  | NB | X00745543 | Material Fell | 1139 ANDERSON REALTY LLC | Builders Group USA INC
2025-02-04 | Manhattan | 36 | WEST 66 STREET | 0 | 1 | At the site of a proposed new 39-story building, while there was a delivery operatio being performed, there was a worker (a flagger) that was in the street that was struck by a motorist. The worker was transported to a nearby hospital in stable condition. An inspection, and video footage, revealed that the driver's vision had been obstructed by glare from the sun. The worker/flagger had failed to check for oncoming traffic. An ECB Violation was issued for a failure to provide Site Safety Refresher training. | ECB Violation | 39536575J |  | NEW BUILDING | 121190200 | Other Construction Related Incidents | WEST 66TH SPONSOR LLC | LENDLEASE(US)CONSTRUCTION
2025-02-06 | Bronx | 671 | TINTON AVENUE | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker (a brick mason) that was climbing to the first level of a supported pipe scaffold in order to retrieve tools when the worker fell approximately five feet from the scaffolding to the ground. The worker called for an ambulance on his own, and was transported to a nearby hospital. The worker suffered injuries to the left leg. The scaffolding was found to have been not maintained as required, as it was not adequately planked (the planks were not tied down), there were guardrails missing, and that was a blue tarp attached to the scaffold frames that was not indicated on the Site Safety Plan (SSP). Additionally, there was masonry debris present throughout the lower level. An ECB Violation was issued for the presence of a supported scaffold that was not maintained as per code specifications. A partial Stop Work Order (PSWO) was issued for all use of scaffolding at exposure 4. | ECB Violation | 39536700J |  | new building | X00695344 | Worker Fell | TINTON APARTMENTS HOUSING DEVE | Mounto Construction and development
2025-02-11 | Manhattan | 525 | 6 AVENUE | 0 | 2 | At the site of a new thirteen-story building that was fully enclosed, there were two workers that, during a delivery operation, were exiting a hoist at the tenth floor. The workers were pushing an A-Frame that had been loaded with eight bundles of metal studs, and the A-Frame fell on the workers. An ambulance was called, and both workers were taken to a hospital. The metal studs were found to have not been secured properly. Two ECB Violations were issued: one violation for inadequate material handling, and one violation for providing a periodic inspection letter for the supported scaffolding that was in place at exposures 1 & 4 that had expired on January 26, 2025. | ECB Violation | 39536871Y/ 39536872X |  | NEW BUILDING | M08011197-I1-GC | Other Construction Related Incidents | 525 6TH AVE LLC | HUNTER ROBERTS CONSTRUCTION
2025-02-12 | Bronx | 355 | EXTERIOR STREET | 1 | 0 | At the site of a proposed new 43-story building that was at an excavation phase, there was a worker that was using the tagline that was attached to an excavator to lift a 40-foot long steel tube in order to transport the material to a truck. The sling slid to the opposite end of the steel tube, which caused the load to become unbalanced. The load swung backwards and struck the worker in the face and head area. The worker was transported to a hospital in a non-responsive state. The worker succumbed to the injuries that he sustained. A DOB Violation and a full Stop Work Order (FSWO) were issued. | DOB Violation |  | VIO25-50454 | Foundation |  | Excavation/Soil Work | 399 EXTERIOR STREET LLC | On Star management
2025-02-12 | Brooklyn | 270 | NOSTRAND AVENUE | 0 | 1 | At the site of a proposed eleven-story new building that was at a roof level, there was a worker (an electrician) that was carrying electrical panels near a storage area in the street when the worker slipped and fell. The worker suffered a lower back injury. The worker was transported to a hospital by an ambulance. There was snow & ice present on the ground, and there were materials that were improperly stored in the street, as the materials were not fully enclosed with a fence away from the public, which created a tripping hazard. Two ECB Violations were issued: one violation for a failure to maintain adequate housekeeping, and one violation for the unsafe storage of materials in the street. A partial Stop Work Order (PSWO) was issued for all work involving the storage area in the street. | ECB Violation | 039536904L and 039536912L |  | NB | 321180155-01-NB | Worker Fell | 270 NOSTRAND PROPCO LLC | ON STAR MANAGEMENT LLC
2025-02-12 | Manhattan | 625 | 6 AVENUE | 0 | 1 | At the site of an existing five-story building, there was a worker that was on a baker scaffold that was performing a metal stud installation on the third floor. While the worker was kneeling on the scaffold platform, there was a second worker that was pushing the scaffold, and the scaffold and the worker fell. The worker complained about suffering from wrist and knee pain, and was taken to a hospital. The manufacturer's specifications for the baker scaffold were not complied with, as the casters were not in a locked position, and outriggers were missing. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of baker scaffolding. | ECB Violation | 039536902H |  | ALT | M01153466 | Worker Fell | 625 OWNERSHIP | Reidy contracting Group
2025-02-13 | Brooklyn | 1630 | EAST 15 STREET | 0 | 1 | A safety director reported that there was a worker that was struck by a pipe that had rolled off of a truck while receiving a delivery. The worker suffered a broken leg. The worker was transported to a hospital by an ambulance. The incident took place on February 13, 2025, but was not reported to DOB until February 14, 2025. | No Dispatch |  |  | ALT-2 | B01019252 | Other Construction Related Incidents | COMM 2018-COR3 1630 EAST 15TH | STRUCTURAL PREVESRVATION
2025-02-18 | Brooklyn | 3009 | GLENWOOD ROAD | 0 | 2 | There was a bundle of roofing material that was being lifted by a knuckle boom (also known as an "ABC", or "Articulating Boom Crane") when the operator swung the load over the unsupported side, with no outriggers extended, and the knuckle boom rolled over onto a parked transit van and landed on 3008 Glenwood Road. The parapet wall and roof of 3008 Glenwood Road were impacted. Two civilians suffered injuries, and were transported to an area hospital. The crane operator was not licensed, and the operation was being performed without certified riggers. Five total ECB Violations were issued. These violations include one violation that was issued by ERT, and four violations that were issued by the Cranes & Derricks unit. The violation that was issued by ERT was a violation for a failure to maintain the building in a code-complaint manner (see Complaint # 3A03398) for this violation. The four ECB Violations that were issued by the Cranes & Derricks unit include one violation for a failure to safeguard, one violation for a failure to produce rigging certifications, and two violations, one violation that was issued to the knuckle boom owner (New Castle Building Materials), and one violation that was issued to the crane/knuckle boom operator (Angelo Pacheao), for unsafe hoisting (see Complaint # 3A03410 for these four violations). A partial Stop Work Order (PSWO) was issued by ERT for all construction delivery operations, and for all use of a crane or boom truck (see Complaint # 3A03398 for this Stop Work Order). Two DOB Violations were issued by ERT to 3008 Glenwood Road (see Complaint Numbers 3A03432 and 3A03434 for these DOB Violations). A partial Vacate Order (see Complaint # 3A03432) and a request for an Engineering Report (see Complaint # 3A03434) were issued by ERT to 3008 Glenwood Road. An Immediate Emergency Declaration (IED) has been drafted for a sidewalk shed in the event that the building owner fails to act. | ECB Violation | 39138779H 39138765R 39138767K 39138771N 39138800N |  | Roof work - Permit not required. |  | Material Fell | 3009 MMLT, INC. | New Castle Building Products (Knuckleboom Owner)
2025-02-19 | Brooklyn | 97 | GLENMORE AVENUE | 0 | 1 | At the site of a proposed new eleven-story building that was at a roof level, there was a worker in a hallway on the second level that was moving a ladder to another apartment when the worker fell on ice. An ambulance was called, and the worker was taken to a nearby hospital. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 039537090X |  | NB | B00663906-I1-GC | Worker Fell | GLENMORE MANOR HDFC, INC | LEMLE AND WOLFF CC CORP
2025-02-20 | Manhattan | 83 | THOMPSON STREET | 0 | 1 | At the site of a proposed new seven-story building that was at a roof level and partially enclosed from the second floor up, there were two workers that were using an A-Frame to transport five glass panels when one of the wheels of the A-Frame got wedged between an uneven surface and unleveled plywood. This caused the A-Frame to suddenly stop, and the glass panels fell onto one of the worker's legs. An ambulance was called, and the worker was taken to a nearby hospital. The glass panels were not secured while they were on the A-Frame. The area where the operation was being performed had cracks and uneven surfaces present, which created a hazardous tripping and falling condition. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 39537146 X |  | New Building | M00553059 | Other Construction Related Incidents | SPRING STREET OWNER LLC | CM and Assoiates Const
2025-02-20 | Queens | 4-34 | 26 AVENUE | 0 | 1 | At the site of a proposed new seven-story building, there was a worker (a carpenter) on the first floor that was transporting an A-Frame dolly that had dense glass on it when the A-Frame fell backwards and struck the worker on the right leg/knee. The worker was transported to a hospital. The A-Frame had been loaded unevenly (the weight was not distributed evenly), which caused the worker to get behind the A-Frame and pull it. An ECB Violation was issued for a failure to ensure safe & proper use of the A-Frame. | ECB Violation | 39537167P |  | new building | Q00646746 | Material Fell | 2030 ASTORIA DEVELOPERS LLC | YNH Construction NY LLC
2025-02-24 | Manhattan | 125 | WEST END AVENUE | 0 | 1 | At the site of an existing seven-story building in which a temporary lighting system was under construction, there was a worker (an electrician) that was standing on a six-foot tall ladder that became dizzy and fell to the ground. The worker complained about suffering from pain in the shoulder and hip. The worker was transported to a hospital by an ambulance. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | 123725184-01-AL | Worker Fell | 125 WEST END ASSOCIATES LLC | JRM CONSTRUCTION MGMT LLC
2025-02-24 | Queens | 13-04 | NAMEOKE AVENUE | 0 | 1 | At the site of a proposed new nine-story building that was topped off and fully enclosed, there was a worker (an electrician) that was using a band saw to cut a 2 & 1/2-inch conduit when the worker cut his knuckles. The worker was transported to a nearby hospital by an ambulance. The worker was using a stack of CMU as a makeshift bench when cutting the conduit. The worker did not use a table or appropriate working station to keep the conduit stationary and stable. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of band saws during electrical operations. | ECB Violation | 39537240M |  | New Building | Q00791713-I1-GC | Other Construction Related Incidents | GRACE'S PLACE HOUSING DEVELOPM | MEGA CONTRACTING GP LLC
2025-02-26 | Brooklyn | 285 | SCHERMERHORN STREET | 0 | 1 | At the site of a proposed new fourteen-story building, on the seventh floor level, there was a worker that was using a hand grinder to cut a coiled rear when the grinder kicked back and struck another worker that was nearby. The struck worker suffered a minor cut. The struck worker was wearing gloves. The struck worker went to a medical facility on his own in order to receive treatment. The worker that was using the grinder was wearing PPE (Personal Protective Equipment), and all safety precautions were in place. This incident was determined to have occurred as the result of a worker improper action. No enforcement action was necessary. | No Action Necessary |  |  | NB | 320627416 | Other Construction Related Incidents | UNAVAILABLE OWNER | SCIAME CONSTRUCTION LLC
2025-02-26 | Brooklyn | 526 | BALTIC STREET | 0 | 1 | The Site Safety Coordinator reported that there was a worker that was walking on the first floor that slipped and fell. The worker complained about suffering from wrist pain. An ambulance was called. | No Dispatch |  |  |  |  | Worker Fell | BALTIC HEIGHTS LLC
2025-02-26 | Manhattan | 183 | CHRYSTIE STREET | 0 | 1 | At the site of a proposed new seventeen-story building that was topped off and fully enclosed, there was a worker (a plumber) that was using an A-Frame ladder to install pipes in a ceiling when the worker fell approximately four feet from the ladder. The worker was transported to a nearby hospital by an ambulance. The worker did not maintain three points of contact while using the ladder. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer’s specifications, and one violation for the tampering with the evidence of the incident. | ECB Violation | 39537341L / 39537342N |  | NEW BUILDING | M00674541-I1-GC | Worker Fell | 185 CHRYSTIE STREET LLC | DANYA CEBUS CONSTRUCTION
2025-02-27 | Brooklyn | 6502 | 5 AVENUE | 0 | 1 | At the site of an existing one-story building in which there was alteration work being performed, there was a worker that leaned into a container in order to remove a piece of copper pipe from the container when the container tipped over and pinned the worker against a wall. The worker suffered minor injuries to his legs. The worker did not suffer any broken bones. The worker was transported to a hospital for treatment. There were no unsafe conditions found in the area where the incident occurred. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | alteration | B01031201 | Material Fell | GIUFFRE EQUITIES CORP | JCT Development INC
2025-02-27 | Manhattan | 270 | PARK AVENUE | 0 | 1 | At the site of a proposed new sixty-story building, the Construction Superintendent was on a ladder inside of a shaft way when the Construction Superintendent fell approximately twelve feet from the ladder. The Construction Superintendent was taken to an area hospital. The Site Safety Manager was not sure as to what the Construction Superintendent was doing inside of the shaft way. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB Major Building 57 Stories | 121205604 | Worker Fell | JPMORGAN CHASE BANK | Tishman Construction Corp
2025-02-27 | Queens | 106-02 | ROCKAWAY BEACH BOULEVARD | 0 | 1 | At the site of a proposed new six-story building that was topped off, there was a worker on the sixth floor that was working on an A-Frame ladder when the worker turned, and the worker hit his head on a sprinkler head. The worker suffered a cut above his right eye. The worker was taken to a hospital for evaluation.An ECB Violation for a failure to ensure that all workers had received a Site Safety Orientation or Refresher prior to the commencement of work. A partial Stop Work Order (PSWO) was issued for all work, and to stay ten feet back from the leading edge on all floors above the first floor. | ECB Violation | 039537470H |  | nb | q00608821-i1 | Worker Fell | 106-02 ROCKAWAY BEACH, LLC | STANDARD CONCRETE AND EXC
2025-02-28 | Queens | 26-02 | 1 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that slipped and fell down the stairs. An ambulance was called. | No Dispatch |  |  | NEW BUILDING | 421476931 | Worker Fell | HALLETTS BUILDING 3 SPE LLC | URBAN ATELIER GROUP LLC
2025-03-01 | Manhattan | 625 | MADISON AVENUE | 0 | 1 | At the site of an existing seventeen-story building, there was a pipe demolition being performed on the seventeen floor when a pipe collapsed on a worker's head. The worker was taken to an area hospital. There was no Control Access Zone (CAZ) provided for the area where the demolition work was being performed, and there was no active AHV (After Hour Variance) permit for interior demolition for the date that the incident occurred. Two ECB Violations were issued: one violation for a failure to institute safety measures (see Complaint # 1689816 for this violation), and one violation for working after hours without an AHV permit (see Complaint # 1689820 for this violation). A partial Stop Work Order (PSWO) was issued for all demolition work on the seventeenth floor (see Complaint # 1689816 for this PSWO), and for all after hours interior demolition work. | ECB Violation | 39140064R, 39140067M |  | I1-GC-CX | M01064118 | Scaffold/Shed/Fence/Shoring/Installation | 625 MAD REALTY LLC | BREEZE NATIONAL INC
2025-03-03 | Brooklyn | 180 | ASHLAND PLACE | 0 | 1 | The Site Safety Manager reported that there was a worker on the fifth floor that claimed that sheetrock that was leaning on a wall fell over and struck the him on the leg. The worker requested an ambulance. | No Dispatch |  |  | NB | 321590113 | Material Fell | ASHLAND DEKALB LLC | 180 Ashland GC LLC
2025-03-03 | Queens | 133-25 | 37 AVENUE | 1 | 0 | At the site of a proposed new sixteen-story concrete frame building that was at a roof level, and partially enclosed from the second floor up, there were two workers that were on the seventh floor balcony that were installing and handling an exterior aluminum wall panel when one of the workers fell to the sixth floor balcony. An ambulance was called, and the worker was taken to a hospital in an unconscious state, and in critical condition. Overnight, the worker succumbed to the injuries that were sustained. A DOB Violation and a full Stop Work Order (FSWO) were issued. Any necessary additional enforcement action will be addressed under a separate complaint. | DOB Violation |  | VIO25-50463 | New building | Q00523537 | Worker Fell | 37 AVE RICHOUSE LLC | 3T GC LLC
2025-03-04 | Manhattan | 270 | PARK AVENUE | 0 | 1 | At the site of a proposed new 55-story building, there was a worker that was climbing an A-Frame ladder when the ladder collapsed, and the worker fell. The worker sustained bruises to his face, and was also suffering from pain in his right shoulder. The worker was transported to a nearby hospital by an ambulance. The legs of the ladder were placed on a surface that was unstable and obscured, which caused the ladder to collapse. The work area where the incident took place was found to have been cluttered. An ECB Violation was issued for a failure to conform to the manufacturer's specifications. | ECB Violation | 39537584X |  | NEW BUILDING | 121205604 | Worker Fell | JPMORGAN CHASE BANK | TISHMAN CONSTRUCTION CORP
2025-03-06 | Manhattan | 611 | WEST 112 STREET | 0 | 1 | At the site of an existing seven-story building in which there was alteration work being performed, there was a masonry worker in the courtyard area that was using an extension ladder to prepare an exterior brick wall for waterproofing when the worker fell from the ladder approximately six feet. The worker complained about suffering injuries to his shoulder and back. The worker was transported to a hospital by an ambulance. The worker was using the extension ladder at an unsafe angle for overhead work. The worker did not maintain three points of contact while using the ladder, because the worker was holding a bucket of waterproofing in one of his hands. The worker was not provided with the proper equipment, such as a platform ladder or rolling scaffold, to perform the operation. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, and one violation for a failure to immediately notify DOB of the incident. | ECB Violation | 39537715R 39537714P |  | alteration | M00875121 | Worker Fell | TRUSTEES OF COLUMBIA UNIVERSIT | Consigli Construction
2025-03-07 | Brooklyn | 251 | DOUGLASS STREET | 0 | 1 | At the site of a proposed new thirteen-story building that was at an eighth floor level, there was a worker on the third floor that was moving masonry material when the worker stepped on fiberglass insulation that had been placed over a hole opening (by personnel from a duct operation), and the worker fell approximately nine feet through the hole opening, landing on the second floor level. The worker was suffering from back and arm pain. An ambulance was called, and the worker was taken to a nearby hospital. A hole cover was not provided as required, and there were no additional safety measures (such as guardrails) implemented to prevent access to the area near the hole opening. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all duct work and masonry operations. | ECB Violation | 39537763L |  | New Building | B00621061 | Worker Fell | GOWANUS DOUGLASS STREET LLC | Broadway Construction Group
2025-03-07 | Manhattan | 1020 | 5 AVENUE | 0 | 1 | At the site of an existing thirteen-story building, there was a worker that was installating scaffolding protection for skylights on the roof when the worker lost his footing and fell backwards. The worker suffered a back injury. The worker was transported to a nearby hospital. A scaffold training card was not provided as of the time of inspection. An ECB Violation was issued for not having a scaffold training certificate card readily available for inspection. | ECB Violation | 39537773P |  | FAÇADE | M00953510-I1-GC | Worker Fell | 1020 FIFTH AVENUE CORPORATION | WEST NEW YORK RESTORATION
2025-03-10 | Brooklyn | 201 | 25 STREET | 0 | 1 | At the site of a proposed new fourteen-story building, there was a worker (an electrician) that was working in the cellar level electrical room that was attempting to bend a one-inch thick feeder line through a panel when the worker lost his grip, and the wire recoiled and struck the worker on the lower lip and chin. The worker was transported to an area hospital. The area where the incident occurred was found to been free of any unsafe conditions. All requested documentation for the worker was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | b00580365 | Material Fell | 745 4TH AVENUE, LLC | CM and associates Construction
2025-03-10 | Brooklyn | 2333 | WEST 11 STREET | 0 | 1 | At the site of a proposed new one-story building that was at a foundation phase, there was a worker that was attempting to remove foundation formwork with a chainsaw when the chainsaw kicked back and caused a laceration to the worker's leg. An ambulance was called, and the worker was taken to a nearby hospital. The foundation formwork that was being cut was not clear of obstructions, and contact with foreign objects caused the chainsaw to kick back. The worker was not provided with adequate protective clothing, and the worker had failed to maintain their body to be clear from the saw during use. The Pre-Shift Safety Meeting did not contain content regarding the scope of the operation, and the use of the high-powered equipment (the chainsaw). Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for inadequate Pre-Shift Safety Meeting content. A partial Stop Work Order (PSWO) was issued for all stripping operations, and for all use of the chainsaw. | ECB Violation | 39537835L 39537836N |  | New Building | B00956486 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | Consigli Construction Co
2025-03-11 | Manhattan | 255 | EAST 39 STREET | 0 | 1 | At the site of a proposed new twenty-story concrete frame building, there was a worker that was assisting with placing an HVAC condenser on the roof. The worker was using a metal kindorf to hoist the unit from the roof level to a bracket. When the unit was placed on the bracket, the unit moved and squeezed the worker's right hand. The worker went to a nearby City MD to receive treatment. There was no hoisting equipment provided to perform the operation, and proper clearance and/or communication was not maintained. The scope of work was not communicated during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to communicate required information during the Pre-Shift Safety Meeting, and one violation for a failure to comply with the manufacturer's specifications. | ECB Violation | 39537878 L / 39537879 N |  | New Building | M00672872 | Other Construction Related Incidents | NEW SECOND AVENUE OWNER LLC | Tishman Construction Corp
2025-03-12 | Bronx | 2275 | LORING PLACE | 0 | 1 | At the site of a proposed new three-story building, there was a worker (a plumber) that had a piece of pipe slip from his hand, and the pipe struck the worker's nose. The worker refused an ambulance, and the worker was taken to an urgent care center. There were no unsafe conditions observed around the area where the incident occurred. All requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X08030377 | Other Construction Related Incidents | HP MORRIS HEIGHTS NCP HOUSING | JCAL Construction
2025-03-13 | Manhattan | 80 | CLARKSON STREET | 0 | 1 | At the site of a proposed new 36-story mixed-use building, there was a worker (a plumber) on the seventh floor that was installing a water pipe when the worker's index finger got caught between a clamp and a support brace for the pipe. An ambulance was called, and the worker was transported to Bellevue Hospital. There was a lack of communication, and inadequate supervision, during the use of a chain hoist that was being used to install the pipe. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to provide a design drawing for the chain hoist. A partial Stop Work Order (PSWO) was issued for all water pipe installations. | ECB Violation | 039537967N and 039537966L |  | NB | M08015986-I1-GC | Material Fell | UNAVAILABLE OWNER | SUFFOLK CONSTRUCTION COMP
2025-03-18 | Brooklyn | 18 | INDIA STREET | 0 | 1 | At the site of a proposed new 37-story concrete frame building that was at a roof level, there were seven workers that were assembling a water tank on the roof. The workers installed panels for the operation, but the panels were not secured or braced. One of the panels was dislodged by the wind, and the panel struck one of the workers. The struck worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The scope of the operation was not adequately communicated during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to safeguard the public and property, and one violation for a failure to provide overhead protection over a suspended scaffold that was in place at exposure 3. A partial Stop Work Order (PSWO) was issued for all water tank installations, and for all use of suspended scaffolding. | ECB Violation | 39538125L 39538126N |  | New Building | B00539478 | Material Fell | 1 JAVA OWNER LLC | Lendlease (US) Construction
2025-03-19 | Bronx | 1 | ORCHARD BEACH | 0 | 1 | At the site of an existing two-story building in which there was alteration work being performed, there was a worker that was stripping forms when the worker removed a clamp, which caused a waler to drop onto the worker’s foot. The worker was transported to a hospital by his concrete foreman. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alt | X00642659-I1-GC | Material Fell | NYC PARKS DEPT | GILBANE BUILDING COMPANY
2025-03-19 | Brooklyn | 890 | ERSKINE STREET | 0 | 1 | At the site of a proposed new eight-story building, there was a worker that was walking on the roof level that accidentally tripped and fell. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The area where the incident occurred did not have any hazardous conditions present, and all applicable documents were provided & maintained. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | B08021996 | Worker Fell | NEHEMIAH SPRING CREEK 26A HOUS | Monadnock Construction
2025-03-19 | Queens | 52-35 | 74 STREET | 0 | 1 | At the site of a proposed new four-story building, there was a worker that was laying Q-decking on the fourth floor when the worker fell approximately fifteen feet to the third floor. The worker landed on his lower body. The worker was taken to a hospital by EMS. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all steel work. | ECB Violation | 039172221K |  | NB | 420667460-01-NB | Worker Fell | SNL XXIII, LLC | PARK EAST CONSTRUCTION
2025-03-20 | Bronx | 1940 | JEROME AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building that was at an eleventh floor level, there was a worker that was working on the second floor setback when a piece of formwork fell from the eleventh floor working deck and struck the worker. The worker suffered bruises and a laceration to the left hand. An ambulance was called, and the worker was taken to a nearby hospital. There was an installation operation being performed on the eleventh floor when the formwork fell. The formwork was not secured or braced near the unenclosed perimeter edge, and the alternate scaffolding system that was present did not cover the working deck. This created an unsafe dislodging condition. Two ECB Violations were issued: one violation for a failure to safeguard the public and property, and one violation for the pipe scaffold system not being at working deck height. A partial Stop Work Order (PSWO) was issued for all concrete operations. | ECB Violation | 39538212 J / 39538213 L |  | New Building | X00787559 | Material Fell | 1940 JEROME AVE HOLDINGS LLC | The Vorea Construction Co
2025-03-20 | Bronx | 2075 | WEBSTER AVENUE | 0 | 1 | At the site of an existing three-story building in which there was an interior demolition operation being performed, there was a worker on the third floor that was using an A-Frame ladder to remove duct work when a section of duct partially collapsed and struck the worker, causing the worker to fall off of the ladder. An ambulance was called, and the worker was taken to a nearby hospital. The worker was stretching beyond the limits of the A-Frame ladder, and did not maintain three points of contact while performing the operation. The elevated operation was not provided with adequate safety measures. The scope of the operation was not adequately communicated during the Pre-Shift Safety Meeting. The demolition sequence was not provided with any support, such as straps, to prevent the sections of duct from falling. Three ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for a failure to carry out demolition operations as required by code. A partial Stop Work Order (PSWO) was issued for all elevated operations, including all elevated interior demolition operations. | ECB Violation | 39538182 H , 39538183 J , 39538184 L |  | Alteration Type 2 | X01102848 | Worker Fell | DEPARTMENT OF EDUCATION | Statewide Demolition Corp
2025-03-20 | Bronx | 270 | EAST 167 STREET | 0 | 1 | At the site of an existing five-story building in which there was a pipe scaffold erection being performed, there were metal planks that were being lifted to cover the last section of scaffolding. There was a worker that was handed a section of planking. The worker went to take the planking to the other end of the unfinished section, and the worker slipped and fell twelve feet below the working deck. The worker was transported to a hospital on a conscious state. An ECB Violation was issued for a failure to institute adequate safety measures. A partial Stop Work Order (PSWO) was issued for all scaffolding erections. | ECB Violation | 391142379K |  | ALT-2 Façade Permit | X00956605 | Worker Fell | DEPARTMENT OF EDUCATION | Kel-Tech Construction INC
2025-03-20 | Manhattan | 145 | EAST 49 STREET | 0 | 1 | NYCEM has reported that, at the site of an existing ten-story building, there was a worker that fell five stories from a supported scaffold. The worker was transported to a hospital by an ambulance. The condition of the worker is not known as of this time. An ECB Violation was issued for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all facade operations, for all use of supported scaffolding, and for all work at the roof level. A follow-up inspection was performed on March 21, 2025. During this inspection, it was observed that the scaffolding was not maintained as per code, as there were gaps between the platforms and planks that were between two & three inches wide, and there were buckets and debris stored on the scaffold loading point at the ninth floor level. | ECB Violation | 39538214N |  | alteration | M01090865 | Worker Fell | 145 EAST 49TH STREET | Excel Restoration Inc
2025-03-21 | Bronx | 1298 | INWOOD AVENUE | 0 | 1 | At the site of a proposed new fifteen-story concrete frame building that was at a tenth floor level, there was a worker in the cellar level that was using a supported pipe scaffold to perform a masonry operation when the worker fell approximately five feet from the scaffold. The worker suffered a back injury. An ambulance was called, and the worker was taken to a nearby hospital. The scaffold was not maintained as per code, as it was missing guardrails, cross bracing, and screw jacks, and the planks were not secured. There were no safety measures in place, and the housekeeping was poor. Two ECB Violations were issued: one violation for a failure to maintain the supported pipe scaffold, and one violation for a failure to maintain adequate housekeeping. | ECB Violation | 039538275R and 039538276Z |  | NB | X08008823 | Worker Fell | HELP INWOOD HOUSING DEVELOPMEN | Hudson Meridian Construction
2025-03-21 | Bronx | 1387 | UNIVERSITY AVENUE | 0 | 1 | At the site of a proposed 26-story new building in which there was a concrete operation being performed at the foundation level, there was a worker that was pouring concrete when the concrete hose became blocked, and the worker was struck in the chest by the hose. An ambulance was called for the worker. The worker did not have any PPE (Personal Protective Equipment) protection. The worker did not know where the hose had been blocked, and did not turn off the machine when the hose became blocked. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all concrete pouring operations. | ECB Violation | 039538277K |  | X00980196 | NB | Mechanical Construction Equipment | SDF HB PSH HOUSING DEVELOPMENT | ERIC BYRNE
2025-03-21 | Queens | 28-90 | REVIEW AVENUE | 0 | 1 | At the site of a proposed new six-story building, there was a worker on the third floor level that was using a scissor lift while spraying steel beams when the scissor lift tipped over and fell on the deck, causing the worker to fall from the lift to the floor. An ambulance was called, and the worker was taken to a nearby hospital to receive treatment. The scissor lift was being used while there were high winds present. A witness stated that the scissor lift was being operated while it was approximately twenty feet high, and the machine had already been jolted by the wind a few times before the collapse occurred. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all scissor lift use. | ECB Violation | 39538263 J |  | New Building | q00763375 | Mechanical Construction Equipment | 28-90 REVIEW AVE PROPERTY OWNE | Leeding Builders Group LLC
2025-03-22 | Manhattan | 501 | 9 Avenue | 0 | 1 | At the site of a proposed new twelve-story building in which there was an After Hour Variance (AHV) permit, there was a worker in the cellar that was moving materials when the worker's fingers got caught between two boxes. The worker suffered a laceration. An ambulance was called, and the worker was transported to an area hospital. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all material handling operations. | ECB Violation | 39142525J |  | NEW BUILDING | M00771041-I1-GC | Other Construction Related Incidents | ZDJ HUDSON YARDS LLC | WARNER CONSTRUCTION SERVI
2025-03-24 | Manhattan | 533 | WEST 57 STREET | 0 | 1 | At the site of an existing & occupied ten-story building in which there was an interior renovation being performed on the sixth floor, there was a worker (a carpenter) that was attempting to move a metal stud when the worker's hand got cut by the sharp edges. The worker walked to an urgent care center. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION | M00566344-I1-GC | Other Construction Related Incidents | UNAVAILABLE OWNER | TRULINE CONSTRUCTION SERV
2025-03-25 | Brooklyn | 156 | 56 STREET | 0 | 1 | At the site of an existing five-story building in which there was a structural modification being performed, there was a worker that was performing a demolition operation on a metal parking structure that was pulling a pole that had been dismembered from the structure when the worker fell on a steel beam that had been left behind. The worker suffered an injury to the ribs, and was taken to a nearby emergency room. The demolition operation was being performed as per sequence, as there was debris that was left in the pathway, which created an unsafe tripping hazard. There were no safety measures implemented. Three ECB Violations were issued: one violation for a failure to immediately notify DOB of the incident, one violation for a failure to safeguard, and one violation for the presence of oxygen & acetylene on site without an FDNY permit. A partial Stop Work Order (PSWO) was issued for all demolition operations. | ECB Violation | 39538367 Y / 39538369 H / 39538368 X |  | Alteration | B01033002 | Worker Fell | NYU LANGONE HOSPITALS | Skanska USA Buildings INC
2025-03-25 | Manhattan | 400 | WEST 45 STREET | 0 | 1 | At the site of an existing & occupied five-story building in which there was masonry restoration, roof repairs, lintel replacement, and weatherproofing installations being performed, there was an engineer that was performing an inspection on the roof that was disembarking from the fire escape at exposure 3 when the engineer fell five feet to the grade. An ambulance was called, and the engineer was taken to a nearby hospital. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | Alteration Type 2 | M01116710 | Worker Fell | GRANDMA PA REALTY LTD | Maspeth Contracting Corp
2025-03-26 | Brooklyn | 65 | DUPONT STREET | 0 | 1 | At the site of a proposed new eight-story building in which there were five workers that were installing window glass, there was a glass panel that was taken out of a crate and placed in an upright position. As the workers cut the securing bands and removed the crate enclosure, the glass panel tipped, fell, and struck one of the workers. The worker was suffering from pain in his left leg. An ambulance was called, and the worker was transported to Bellevue Hospital. Two ECB Violations were issued: one violation for a failure to safeguard all persons and property effected by material handling, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all storefront glass operations. | ECB Violation | 039538386J and 039538386J |  | NB | 321805828-01-NB | Material Fell | DUPONT STREET OWNER LLC | OMNIBUILD CONSTRUCTION IN
2025-03-27 | Queens | 42-06 | ORCHARD STREET | 0 | 1 | At the site of a proposed new 69-story building, there was a worker (an elevator mechanic) that was walking down a metal staircase at the roof level when the worker tripped and fell. The worker complained about suffering from pain in the left ankle. The worker was transported to a hospital. There were no unsafe conditions observed around the area where the incident occurred. All requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No Enforcement action was necessary. | No Action Necessary |  |  | NB | Q00528973 | Worker Fell | BLDG ORCHARD LLC | Triton Construction co
2025-04-01 | Manhattan | 635 | SIXTH AVENUE | 0 | 1 | A foreman reported that there was a worker that had a container fall on their foot. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | ALT-2 | M01139578 | Other Construction Related Incidents | 635 AOA OWNER, LLC | JRM Construction Mgmt LLC
2025-04-02 | Brooklyn | 79 | QUAY STREET | 0 | 1 | At the site of a proposed new eleven-story building that was at a concrete frame level, there was a worker that was erecting an eight-foot tall door when the door fell and struck the worker. An ambulance was called, and the worker was taken to a nearby hospital. The door that the worker was lifting was approximately 100 pounds, and was not able to be lifted by one person. There was no additional personnel provided to assist with the operation, and there was no working platform, and no bracing or strapping, provided to prevent a free fall condition. The scope of work was not adequately communicated during the Pre-Shift Safety Meeting. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all door installation operations. | ECB Violation | 039538684H |  | New Building | B00591681 | Worker Fell | QUAY PLAZA LLC | Paul Jensen
2025-04-02 | Brooklyn | 89 | DEKALB AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was pushing an A-Frame when the worker cut his finger on a metal stud. The worker walked to a hospital to receive treatment. | No Dispatch |  |  | NEW BUILDING | B00664860-I1-GC | Other Construction Related Incidents | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-04-04 | Manhattan | 270 | PARK AVENUE | 0 | 1 | At the site of a proposed new 57-story building, there was a worker on the seventeenth floor that was moving an A-Frame that had been loaded with stone panels when the A-Frame fell on the worker's left leg. The worker suffered a possible leg fracture. An ambulance was called, and the worker was transported to Bellevue Hospital. There was a lack of adequate safety measures at the site, including a failure to communicate the manufacturer's specifications for the equipment, and the associated risks & safety concerns for the work being performed were not discussed during the Pre-Shift Safety Meeting. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. | ECB Violation | 039538801H 039538802J |  | NB | 121205604-01-NB | Material Fell | JPMORGAN CHASE BANK | TISHMAN CONSTRUCTION CORP
2025-04-04 | Queens | 42-06 | ORCHARD STREET | 0 | 2 | There were two workers (two electricians) that were working on a booster pump when both workers suffered shocks and burns to the face and hands. The workers were taken to a nearby hospital. The incident occurred due to human error. No enforcement action was necessary. | No Action Necessary |  |  | Electrical | Q00815120 | Other Construction Related Incidents | BLDG ORCHARD LLC | AGIR Electrical
2025-04-08 | Manhattan | 126 | EAST 57 STREET | 0 | 1 | At the site of a proposed new 28-story building, there was a worker that was using a staircase to walk from the second floor to the first floor when the worker fell down the stairs. The worker complained about back pain, and was transported to a hospital. The worker was not carrying or transporting any materials or tools when the incident occurred. There were handrails provided on both sides of the staircase, and the staircase was provided with adequate lighting. The area where the incident occurred was found to be free of any unsafe conditions. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | M00556884 | Worker Fell | MRR 1326 LLC | Plaza Construction LLC
2025-04-10 | Brooklyn | 750 | 5 AVENUE | 0 | 1 | At the site of an existing 2-story building in which there was alteration work being performed, there was a worker (a carpenter) on the second floor that was using a table saw to shave a wood base molding corner when the worker suffered deep cuts to his right index, middle, and ring fingers. The worker was transported to a hospital by an ambulance. There were no safety measures in place, and the worker did not follow the manufacturer's specifications as required. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications for the use of the table saw, and one violation for a failure to provide adequate Pre-Shift Safety Meeting content. A partial Stop Work Order (PSWO) was issued for all trimming work involving the use of a table saw. | ECB Violation | 39538991H 39538990X |  | Alt | B00671104-I1-GC | Mechanical Construction Equipment | THE GREEN-WOOD CEMETERY | HUNTER ROBERTS CONSTRUCTI
2025-04-10 | Manhattan | 270 | PARK AVENUE | 0 | 1 | At the site of a proposed new 57-story building, there was a worker on the fourteenth floor level that was attempting to disembark from a parked manlift when the worker mis-stepped and fell onto an outrigger. The worker suffered a rib injury. An ambulance was called, and the worker was taken to a hospital. The worker did not possess certification, credentials, or training to sue the manlift. An ECB Violation was issued for a failure to comply with manufacturer's specifications. | ECB Violation | 39538973 Y |  | New Building | 121205604 | Worker Fell | JPMORGAN CHASE BANK | Tiahman Construction Corp
2025-04-15 | Manhattan | 211 | WEST 84 STREET | 0 | 1 | At the site of a proposed nineteen-story new building, there was a worker on the fifteenth floor that was using an A-Frame ladder to perform overhead electrical work when the worker fell from the ladder. The worker complained about back pain, and was transported to a hospital by an ambulance. The worker was pulling electrical conduits without maintain three points of contact with the ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of an A-Frame ladder. | ECB Violation | 039539140Y |  | New Buuilding | M00728230 | Worker Fell | 211 WEST 84TH ST OWNER LLC | Titanium Construction Services
2025-04-15 | Queens | 2-33 | 50 AVENUE | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker that was using an extension ladder when the ladder slipped on a piece of protective paper that had been placed on the floor. The worker suffered injuries to his left arm and both of his legs, and was transported to a hospital. The extension ladder was twenty feet long, and had been opened to to ten feet when the incident occurred. The extension ladder was being used contrary to the manufacturer's specifications, as the ladder had been placed on a slippery surface, without friction grips, and the feet of the ladder were unstable. There was a baker scaffold present at the site, which could have been utilized by the worker, but the scaffold was found to be damaged. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all elevated work involving extension ladders. | ECB Violation | 39539151J |  |  |  | Worker Fell | 50TH & 5TH LIC LLC | Congress Builders LLC
2025-04-17 | Bronx | 3545 | BIVONA STREET | 0 | 1 | At the site of an existing eighteen-story building in which there was façade and roof restoration work being performed, there was a worker on the fifth floor level that was using a grinder to cut a metal drip edge for placement above a window when the grinder blade snapped, ripped through the mask/respirator that the worker was wearing, and cut the worker on his face and lips. The worker was transported to a hospital. The grinder had no handle attached to it, and the grinder's guard was installed backwards. The worker was wearing just a mask/respirator, and not a protective face shield. An adequate cutting station was not provided for the worker. An ECB Violation was issued for a failure to safeguard. | ECB Violation | 39539245K |  | Alteration | X00884363 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | Notias Construction
2025-04-17 | Brooklyn | 540 | DEGRAW STREET | 0 | 1 | At the site of a proposed new ten-story building that was at a grade and subsurface level, while there was a soil and environmental operation being performed, there were yodock barriers at exposure 3 that were struck by a sanitation truck, and the yodock barriers struck a worker. The worker refused medical treatment from a responding EMS unit, and walked to a City MD to receive treatment. The worker returned to the site, with a sling to support their right hand. A five-foot wide pedestrian walkway was not provided. The yodocks were not maintained as per the manufacturer's specifications, as they were not connected as required, and they were not filled halfway, as required. Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for the failure to provide a five-foot wide pedestrian walkway. A partial Stop Work Order (PSWO) was issued for all work at the exterior of the site of exposure 3, and for all work fifteen feet back in the interior of the site. A DOT permit must be obtained. | ECB Violation | 39539220 Y , 39539228 Z |  | New Building | B00600959 | Other Construction Related Incidents | 545 SACKETT LLC | Mega Contracting Group LLC
2025-04-17 | Manhattan | 20 | EAST 76 STREET | 0 | 1 | At the site of an existing sixteen-story building, there was a worker that was attempting to use a grinder to modify a piece of structural steel that was resting on an A-Frame cart when the grinder kicked back and cut the worker’s inner right thigh. The worker refused an ambulance, and walked to an urgent care center on his own. The worker was found to have been using the wrong type of blade to cut the steel, and the grinder had no guard or handle for it. The worker was not provided with a proper workstation for cutting the piece of steel. Prior to the DOB inspector's arrival, the contractor had removed the blade from the grinder, and placed a new guard on the grinder. Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for the tampering with the area of the incident. A partial Stop Work Order (PSWO) was issued for all steel operations. | ECB Violation | 39539230H 39539231J |  | ALTERATION | M00700974 | Other Construction Related Incidents | SURREY PROPCO LLC | MJM ASSOCIATES
2025-04-18 | Bronx | 1017 | OLMSTEAD AVENUE | 0 | 1 | The Construction Superintendent reported that there was a worker that was sweeping the stairs that slipped and fell. An ambulance was called. | No Dispatch |  |  | NB | 210180105 | Worker Fell |  | Joy Construction
2025-04-19 | Manhattan | 520 | 5 AVENUE | 0 | 1 | At the site of a proposed new 76-story building, while there were workers (electricians) that were leaving for the day, there was one worker that was coming down the stairs that lost their balance and fell from the sixty-fifth floor to the sixty-fourth floor. The worker suffered a dislocated shoulder. The worker was taken to a hospital. There stairs were found to be clear of any obstructions, and had railings up. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  |  |  | Worker Fell | 520 FEE OWNER 2 LLC
2025-04-21 | Manhattan | 65 | WEST 13 STREET | 0 | 1 | At the site of an existing and occupied twelve-story building, while there was a supported pipe scaffold being installed, there was a worker that was lifting a scaffolding frame when the worker complained about back pain. The worker then laid down on a plank of the scaffolding. The worker was then moved to the sidewalk shed deck by co-workers. The worker was transported to a nearby hospital. The incident was determined to have occurred as the result of a worker error. However, there were three ECB Violations issued: one violation for the absence of a Site Safety Manager at the job site, one violation for a failure to notify DOB of the incident, and one violation for a failure to notify DOB of the installation or removal of suspended scaffolding, as there had been suspended scaffolding installed at exposures 1 and 2 without a notification request having been made to DOB. A partial Stop Work Order (PSWO) was issued for façade, suspended scaffolding, and supported scaffolding operations at the site. | ECB Violation | 39539337 H , 39539338 J , 39539339 L |  | Alteration | M00893772 | Other Construction Related Incidents | THE GREENWICH CONDOMINIUM | MNR Group INC
2025-04-21 | Staten Island | 231 | WESTWOOD AVENUE | 0 | 1 | At the site of an existing six-story building in which there was alteration work being performed, there were three workers that were moving a mini-container up a ramp to the hoist area. The mini-container was loaded with debris. Two of the workers were pushing the container, and one of the workers was pulling the container. The worker that was pulling the container complained about experiencing a back injury. The worker requested an ambulance. The worker was transported to a hospital by an ambulance. The ramp that was being used was insufficient, as it was not properly sloped or cleated. There was no design drawing provided for the ramp. The scope of the work that was being performed involved the partial demolition of a 72-unit building, and the alteration of more than 50% of the building on floors 1-6. However, there was no Construction Superintendent designated for the operation. Two ECB Violations were issued: one violation for a failure to designate a Construction Superintendent at the site, and one violation for the ramp having not been installed as per code. A partial Stop Work Order (PSWO) was issued for all operations under Job # S0107759. | ECB Violation | 39539345H 39539346J |  | alteration | S01077597 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | SLSCO LTD
2025-04-22 | Brooklyn | 2435 | PACIFIC STREET | 0 | 1 | At the site of a proposed new ten-story building, there was a worker that was receiving steel angle beams from a delivery truck when one of the beams fell on the worker's foot. An ambulance was called, and the worker was taken to a nearby hospital. The worker that was injured was a scaffold foreman, and was not part of the laborers' crew. The worker did not attend the Pre-Shift Safety Meeting. The Pre-Shift Safety Meeting that was held did not adequately communicate the scope of work. There were no additional safety measures, such as straps, ties, bracing, or personnel, provided for the operation. Two ECB Violations were issued: one violation for a failure to safeguard the public and property, and one violation for the inadequate scope of work and material handling. A partial Stop Work Order (PSWO) was issued for all steel beam operations and handling. | ECB Violation | 39539404 Z , 39539405 K |  | New Building | 321601263 | Other Construction Related Incidents | LOVE FELLOWSHIP TABERNACLE INC | Mega Contracting GP LLC
2025-04-22 | Brooklyn | 600 | CROWN STREET | 0 | 1 | At the site of a proposed new seven-story building, there was a worker (an electrician) in apartment 506 that was using a six-foot tall A-Frame ladder to perform overhead cabinetry work when the worker fell from the ladder. The worker suffered a rib injury. An ambulance was called, and the worker was transported to a hospital. Two ECB Violations were issued for a failure to immediate notify DOB of the incident: one violation was issued to the General Contractor (see Complaint # 3A11083 for this violation), and one violation was issued to the Construction Superintendent (see Complaint # 3A11149 for this violation). | ECB Violation | 39539531L 39539532N |  | New Building | B00608472 | Worker Fell | 600 CROWN HOLDINGS LLC | Euro Building Group
2025-04-23 | Bronx | 1040 | GRAND CONCOURSE | 0 | 1 | At the site of an existing two-story building in which there was alteration work being performed, there was a worker that was walking to a gang box when the worker tripped over a temporary ramp. The worker was transported to a hospital. The ramp was not provided with any cleating or wire mesh to prevent a slipping or tripping hazard. The walkway at the bottom of the ramp was not secured, and had a two-inch bump. The contractor did not provide a design drawing for the ramp. Two ECB Violations were issued: one violation for a failure to maintain safety measures, and one violation for a failure to provide a design drawing. | ECB Violation | 39539462R 39539464K |  | alt | X08000548 | Worker Fell | CULTURAL AFFAIRS 2 | Consigli Construction Co
2025-04-23 | Bronx | 1751 | MONROE AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building, there were two workers on the fifth floor that were using a dolly to move sheetrock. As the workers were moving the dolly and turning a corner, one of the workers got their forearm caught between the sheetrock and a metal stud. The worker was transported to a hospital for evaluation. There were no unsafe conditions observed, and all required safety measures were in place. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00493694-I1-GC | Mechanical Construction Equipment | SPAXEL CBRE 1751 MONROE LLC | SPAXEL BUILDERS LLC
2025-04-23 | Manhattan | 25 | BROAD STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that suffered a cut/laceration to his left hand. The worker went to a City MD to receive treatment, and was later transported to a hospital by an ambulance. | No Dispatch |  |  | ALT 1 | M01005218 | Other Construction Related Incidents | 25 BROAD STREET L/CAL LLC | WEST BUILT
2025-04-23 | Manhattan | 565 | BROOM STREET CHARTER H S | 0 | 1 | At the site of an existing 25-story building in which there was a façade repair operation being performed, there was a worker that was assisting with the removal of suspended scaffolding from the roof when the scaffolding toppled over onto the worker. The worker was taken to a nearby hospital. The primary Site Safety Manager had failed to visit the site after the pedestrian protection was installed in order to verify compliance with Site Safety Plans (SSP), and to provide an inspection report. The scope of work was not provided or communicated during the Pre-Shift Safety Meeting. Three ECB Violations were issued: one violation for a failure by the Site Safety Manager to designate a qualified safety person for the site, one violation for a failure by the permit holder to ensure that all workers had attended the Pre-Shift Safety Meeting, and one violation for a failure to promptly notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all façade operations, and for installation and use of scaffolding. | ECB Violation | 39539473M 39539474Y 39539475X |  | Alteration Type 2 | M01019323 | Scaffold/Shed/Fence/Shoring/Installation | UNAVAILABLE OWNER | KNS Building Restoration INC
2025-04-23 | Manhattan | 648 | WEST 48 STREET | 0 | 1 | At the site of a proposed new six-story building, there was a worker on a truck that was offloading a delivery of structural steel & steel components that was cutting the banding around a steel cage frame when the banding struck the worker. The worker fell from the truck to the ground, and the steel cage fell and struck the worker on the head. The worker suffered a laceration, and was transported to a hospital. Prior to the worker cutting the banding, all support poles and flatbed straps were removed. The material was not secured. The worker was not oriented prior to the beginning of the operation. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or Refresher prior to the commencement of work. A partial Stop Work Order (PSWO) was issued for steel and metal delivery options. | ECB Violation | 39539434J 39539433H |  | New Building | M00816950 | Worker Fell | VGLP PROPERTIES, LLC | Pavarini Mcgovern
2025-04-24 | Bronx | 2756 | RESERVOIR AVENUE | 0 | 1 | At the site of an existing six-story building, there was a worker on the fifth floor that was using a large grinder to cut out a mortar when the grinder kicked back, and the worker suffered a cut to his lower left leg. The worker was transported to a hospital. The worker was working in a confined space, and was between a scaffold bar, a bicycle, and a facade. The grinder that was being used did not have a guard, which was contrary to the manufacturer's specifications. A copy of the worker's Supported Scaffold Training Card (SST card) was provided, and the card was expired. An updated card was not provided. Two ECB Violations were issued: one violation for the using the grinder contrary to the manufacturer's specifications, and one violation for the tampering with the evidence of an incident. A partial Stop Work Order (PSWO) was issued for all work on the facade along the "G Line". | ECB Violation | 39136000P; 39135999P |  | ALT-2 Masonry Repairs | X00844026 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | NEHAL CONTRACTING INC
2025-04-24 | Brooklyn | 927 | 41 STREET | 0 | 1 | At the site of a proposed new seven-story building, there was a worker that was assisting with guiding a column that was being lifted up by a crane when the worker fell to his knees. The worker complained about back pain. An ambulance was called, and the worker was taken to an area hospital. An ECB Violation was issued for unsafe structural steel assembly. A partial Stop Work Order (PSWO) was issued for all steel erection operations and for all crane operations. | ECB Violation | 039539539X |  | New Building | B00969604 | Mechanical Construction Equipment | YESHIVA IMREI CHAIM VIZNITZ OF | Hirschi Group LLC
2025-04-24 | Manhattan | 2130 | MADISON AVENUE | 0 | 1 | At the site of an existing fourteen-story building in which there was structural roof repair work being performed, there were workers that were hoisting material from the grade level to the roof when the tagline got tangled with a tree branch, and the tree branch broke and fell onto one of the workers. The worker suffered a facial laceration. The struck worker was taken to a nearby hospital by an Uber. An ECB Violation was issued for a failure to inspect the temporary construction equipment after installation, and before initial use. A partial Stop Work Order (PSWO) was issued for all hoisting operations. | ECB Violation | 039539510M |  |  | M00653684-I1-ST | Other Construction Related Incidents | NYC HOUSING AUTHORITY | AMB Construction INC
2025-04-28 | Brooklyn | 89 | DEKALB AVENUE | 0 | 1 | At the site of a proposed new thirty-story building, there was a worker on the second floor level that was replacing metal panels with glass that was removing silicone from an aluminum window frame when the worker suffered a cut to his right index finger. The worker walked to Brooklyn Hospital to receive treatment, and was discharged on the same day. The workstation did not have enough clearance, and there was debris present that created an unsafe condition. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 039539618Y |  | NB | B00664860-I1-GC | Mechanical Construction Equipment | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-04-28 | Manhattan | 118 | WEST 13 STREET | 0 | 1 | At the site of an existing seven-story building, there was a worker (a foreman carpenter) that was on the seventh floor that was preparing and notching a handrail for installation when the material jammed up on the table saw, and the worker's hand slipped into the saw blade. The top of one of the worker's fingers was amputated. The worker was rushed to a hospital. The table saw had not been fully erected, which resulted in the worker having to perform their work from the floor. An ECB Violation was issued for a failure to comply with the manufacturer's specifications for the table saw. A partial Stop Work Order (PSWO) was issued for all use of table saws. | ECB Violation | 39146318P |  | ALT-1 7 Storie | M00635385 | Other Construction Related Incidents | 118 WEST 13TH STREET OWNER LLC | THE ORGANIC GARDENER NYC*
2025-04-28 | Manhattan | 250 | VESEY STREET | 0 | 1 | At the site of an existing 33-story building in which there was a construction and structural operation for a façade being performed, there was a worker that was using a manually propelled free-standing scaffold to dismantle a sidewalk shed when the scaffold tipped over, and the worker fell approximately twelve feet from the scaffold. The worker suffered rib and leg injuries. An ambulance was called, and the worker was taken to a nearby hospital. The scaffold was in motion while the worker was on it. There was no safety personnel, such as a Site Safety Manager (SSM) or a Qualified Safety Person (QSP), on site during the operation. There was no Site Safety Orientation held. Seven total ECB Violations were issued, including four violations that were issued to the General Contractor, two violations that were issued to the Sidewalk Shed contractor, and one violation that was issued to the Site Safety Manager. The four violations that were issued to the General Contractor include one violation for no safety personnel on site, one violation for the castor wheel of the scaffold not being in a locked position while it was being moved, one violation for a failure to promptly notify DOB of the incident, and one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or Refresher (see Complaint # 1694278 for these four violations). The two violations that were issued to the Sidewalk Shed contractor include one violation for the scaffold castor wheel of the scaffold not being in a locked position while it was being moved, and one violation for failure to promptly notify DOB of the incident (see Complaint # 1694288 for these two violations). The one violation that was issued to the Site Safety Manager was a violation for a failure to promptly notify DOB of the incident (see Complaint # 1694287 for this violation). Two partial Stop Work Order (PSWO) were issued for all facade and sidewalk shed removal operations: one was issued to the General Contractor (see Complaint # 1694278 for this SWO), and one was issued to the Sidewalk Shed contractor (see Complaint # 1694288 for this violation). | ECB Violation | 39539577 R / 39539578 Z / 39539579 K / 80 H / 81 J 82 L / 83 N |  | Alteration Type 2 | M01029526 | Worker Fell | WFP TOWER D CO LP | Citeline Restoration LLC
2025-04-28 | Manhattan | 270 | PARK AVENUE | 0 | 1 | At the site of a proposed new 57-story building, during a metallic stair installation, there was a worker that was preparing to cut steel when the worker missed a step, the worker's leg got caught, and the worker suffered a twisted ankle. The worker was transported to a hospital. The worker was tied off. There were no unsafe conditions found near the area where the incident occurred, and all requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121205604-01-NB. | Worker Fell | JPMORGAN CHASE BANK | TISHMAN CONSTRUCTION CORP
2025-04-29 | Brooklyn | 285 | SCHERMERHORN STREET | 0 | 1 | At the site of a proposed new fourteen-story building, there were two workers that were in the process of passing a piece of concrete formwork from the roof level to the top of the bulkhead level when a gust of wind caused a piece of formwork to dislodge from one of the worker's hands, and the formwork struck another worker that was on the roof level (this worker was not involved in the passing of the concrete formwork). The struck worker was hit on the head and on the lower back, and was taken to a nearby hospital for treatment. There were no ties, braces, or ropes provided for material handling at an elevated position, and there were no additional safety measures, such as barriers or a Controlled Access Zone (CAZ), provided to safeguard personnel that was adjacent to the material handling operation. There was no horizontal safety netting in place, which created an unsafe condition. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the absence of horizontal safety netting. A partial Stop Work Order (PSWO) was issued for all concrete operations. | ECB Violation | 39539645 J / 39539646 L |  | New Building | 320627416 | Other Construction Related Incidents | UNAVAILABLE OWNER | Sciame Construction LLC
2025-04-30 | Brooklyn | 89 | DEKALB AVENUE | 0 | 1 | At the site of a proposed new thirty-story building, there was a worker (a carpenter) that had loaded an A-Frame cart with 3-4 cement boards. The worker, and a co-worker, were then attempting to pull the cart onto an elevator hoist when the cement boards tilted over. The worker (that had loaded the cart with the cement board) attempted to prevent the material from falling, and the worker's wrist got was caught against a post. The worker walked to Brooklyn Hospital to receive treatment. Documentation for toolbox meetings, safety talks, and material handling procedures was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | B00664860-I1-GC | Material Fell | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-04-30 | Manhattan | 1245 | BROADWAY | 0 | 1 | At the site of an existing building 22-story building in which there was an interior renovation being performed on the fifth floor, while there was a six-foot high baker scaffold being assembled, there was a worker (a carpenter) that was climbing the side of the scaffold in order to get to a platform when the worker lost balance and fell to the floor. The worker struck his head. The worker was transported to a hospital. The worker was using the side of the scaffold as an upright, as opposed to the center. This was contrary to the manufacturer's specifications. The wheels of the scaffold were not in a locked position in order to prevent movement. There was no guardrail system installed. The worker was not provided with a ladder that could be used to safely transition to the work platform. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 39539674Z |  | alteration | M01176406 | Worker Fell | PG1241 LLC | Triton Construction CO
2025-05-01 | Brooklyn | 432 | AVENUE U | 0 | 1 | The Construction Superintendent reported that there was a worker (an excavator operator) on the grade level that suffered a twisted ankle. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  | NB 2 stories | B00945638 | Other Construction Related Incidents | 432 AVENUE U PARTNERS LLC | PROMPT BUILDERS NY INC
2025-05-02 | Brooklyn | 210 | JORALEMON STREET | 0 | 1 | The assistant Construction Superintendent reported that there was a worker that suffered an injury to the tip of their right pointer finger. The worker was transported to a hospital by an ambulance. | No Dispatch |  |  |  |  | Other Construction Related Incidents | 210 MUNI, LLC
2025-05-02 | Manhattan | 1211 | 6 AVENUE | 0 | 1 | At the site of a proposed new 46-story building, while there was a temporary weather wall being erected at exposure 2, there was a worker that was unloading material from a delivery truck when the worker's foot came in contact with an I-Beam that had been horizontally placed on the pavement. The worker suffered an injury, and was taken to an area hospital. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to provide approved plans. A partial Stop Work Order (PSWO) was issued for all work on the temporary weather wall. | ECB Violation | 35668457H 35668456X | 050225CERCM03 050225CERCM02 | AHV | M00882673 | Other Construction Related Incidents | 1211 6TH AVENUE SYNDICATION PA | TURNER CONST
2025-05-02 | Manhattan | 157 | WEST 25 STREET | 0 | 1 | At the site of an existing twelve-story building in which there was a façade restoration operation being performed, there were workers that were in the process of dismantling roof protection from the first floor setback when a piece of an Osha plank fell on one of the workers. The worker was struck on the back. An ambulance was called, and the struck worker was taken to a nearby hospital. The Osha planks were stored vertically against a wall, in a vertical position. An ECB Violation was issued for the unsafe storage of materials. | ECB Violation | 39539790 X |  | Alteration Type 2 | M00942053 | Other Construction Related Incidents | 159 WEST 25TH STREET | Niche Waterproofing LLC
2025-05-02 | Manhattan | 19 | EAST 57 STREET | 0 | 1 | At the site of an existing 23-story building in which there was a façade alteration being performed, there was a worker (an iron worker) at the ground floor level that was using a six-foot tall A-Frame ladder to caulk a wall that was descending from the ladder when the worker lost their footing and fell. The worker’s face landed on the ground. The worker suffered cuts to the forehead, nose, and lips. The worker was transported to a hospital by an ambulance. While using the ladder, the worker had overreached, as the worker reached beyond the safe area for the ladder. An ECB Violation was issued for a failure to comply with manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all use of A-Frame ladders. | ECB Violation | 039539815N |  | ALT | M00832382-I1-GC | Worker Fell | 1896 CORP. | SCIAME CONSTRUCTION LLC
2025-05-04 | Brooklyn | 329 | CLARKSON AVENUE | 0 | 1 | The Construction Superintendent reported that there was a worker that was dismantling a tower crane when the worker suffered an injury. The worker walked to a clinic/hospital on his own. | No Dispatch |  |  |  |  | Other Construction Related Incidents | CHV 329 CLARKSON AVENUE HOUSIN
2025-05-05 | Queens | 66-37 | PLEASANT VIEW STREET | 0 | 2 | At the site of an existing two-family house where a concrete slab was removed, and new plumbing lines were installed in the cellar, there were high CO levels reported. Two individuals were taken to a local hospital. The concrete slab removal and plumbing line installation were performed without a permit. There were multiple cracks present throughout the foundation walls in the cellar level. Two ECB Violations were issued: one violation for the performance of work without a permit, and one violation for a failure to maintain the building in a code-compliant manner. A partial Stop Work Order (PSWO) was issued for all work in the cellar level. | ECB Violation | 039147142P, 039147143R |  |  |  | Other Construction Related Incidents | LUO, DORIS YU DUO
2025-05-06 | Bronx | 1600 | MACOMBS ROAD | 0 | 1 | At the site of a proposed new fourteen-story building, there was a worker in the sub cellar area that was using a ladder while drilling to install forms when the ladder slid, and the worker fell. The worker was suffering from hip pain, and was taken to a hospital by an ambulance. The worker did not maintain three points of contact when using the ladder. The work area was found to have been dark, wet, and slippery. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for inadequate temporary lighting, and one violation for inadequate housekeeping. A partial Stop Work Order (PSWO) was issued for all overhead drilling without a proper overhead working platform. | ECB Violation | 39539892R / 39539893Z / 39539894K |  | NEW BUILDING | 210180819 | Worker Fell | STARHILL PHASE II HOUSING DEVE | HOME BUILDERS 1 L.P
2025-05-06 | Bronx | 763 | PROSPECT AVENUE | 0 | 1 | At the site of a one-story building (a church) in which there was a full demolition operation being performed, there was a worker that fell approximately twelve feet from the roof to the first floor level. The worker complained about rib pain. An ambulance was called, and the worker was taken to a nearby hospital. The demolition operation was not being performed as per the approved plans, as the bell tower, which was part of phase 1, was not partially demolished, and the demolition operation for the roof, which was part of phase 2, had already started. The demolition operation on the roof was being performed by hand. However, the approved plans indicated that the roof operation would be performed mechanically. A beam on the roof was allowed to free-fall from the roof to the first floor level after a separation was made by a worker. This separation was performed without safety measures, such as bracing, ties, scaffolding, a lift, or a platform. The approved plans indicated that there would be a sidewalk shed at exposures 1 & 2. The sidewalk shed was missing as of the time of inspection. Five ECB Violations were issued: one violation for the work not conforming to the approved construction documents and/or amendments, one violation for the presence of a pedestrian walkway on the street that was not code-compliant, one violation for a failure to carry out the demolition operations as per code, due to the lack of safety measures, one violation for a failure to provide a safety zone for demolition operations, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all demolition operations. | ECB Violation | 39539871 H / 39539873 L / 39539901 J / 39539902 L / 903 N |  | Demolition | X01163501 | Worker Fell | MNYS 763 PROSPECT LLC | DNO Equipment and Development
2025-05-07 | Manhattan | 537 | EAST 71 STREET | 0 | 1 | At the site of an existing fourteen-story building in which there was alteration work being performed, there was a worker on the second floor that was using a grinder to cut/shave a steel beam on the second floor platform when the worker suffered a cut to his left forearm. The worker was transported to New York Presbyterian Hospital. The worker did not maintain a stable stance and a firm grip while using the grinder. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all grinding operations on the second floor. | ECB Violation | 039539965Z |  | ALT | 121205579-01-AL | Mechanical Construction Equipment | SOCIETY FOR RUPTURED & CRIPPLE | TISHMAN CONSTRUCTION CORP
2025-05-09 | Manhattan | 1 | LIBERTY PLAZA | 0 | 1 | There was a worker that was performing demolition work when the worker's right hand was broken. The worker was taken to a hospital by the Construction Superintendent. | No Dispatch |  |  | alteration | M10204182 | Other Construction Related Incidents | ONE LIBERTY PLAZA CONDO | AMERICON CONST INC
2025-05-10 | Brooklyn | 85 | DEKALB AVENUE | 0 | 1 | At the site of a proposed new 30-story building, there was a worker that was using an A-Frame to move material when the worker's arm got caught between the A-Frame and a wall. The worker suffered a minor abrasion, and was transported to a local hospital. There was an After Hour Variance (AHV) permit for the date that the work, and the incident, took place. There were five A-Frames present at the site, and four out of the five A-Frames had a braking mechanism that was inoperable. An ECB Violation was issued for a failure institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all use of A-Frames. | ECB Violation | 39147634L |  | NB Major Building 30 Stories | B00664860 | Other Construction Related Incidents | LONG ISLAND UNIVERSITY | LRC CONSTRUCTION LLC
2025-05-12 | Bronx | 2421 | LAFAYETTE AVENUE | 0 | 1 | At the site of a proposed new two-story building, there was a DEP inspector that was performing an inspection that slipped and suffered a twisted ankle. The DEP inspector was taken to a hospital. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Dispatch |  |  | NB | 220719337-01-NB | Worker Fell | DEPT OF ENVIRONMENTAL PROTECTI | GRAMERCY GROUP, INC
2025-05-12 | Bronx | 2444 | TIEBOUT AVENUE | 0 | 1 | At the side of a proposed new ten-story building, there was a worker that was finishing a CMU block wall when the worker sprained his shoulder. The worker was transported to a nearby hospital by an ambulance. The incident was determined to have occurred as the result of a worker error. An ECB Violation was issued for a failure to provide a guardrail system to a supported scaffold platform. This violation was not related to the incident. | ECB Violation | 39540098H |  | NEW BUILDING | X00917708-I1-GC | Other Construction Related Incidents | COMUNILIFE TIEBOUT HOUSING DEV | MEGA CONTRACTING GP LLC
2025-05-12 | Manhattan | 450 | 11 AVENUE | 0 | 1 | At the site of a proposed new 51-story building, there was a worker on the ninth floor that was installing glass in a bathroom when the worker's right foot slipped off of a shower curb, and the worker's foot was twisted. The worker left the site to go to urgent care. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121188641-01-NB | Worker Fell | 37-11 OWNER LLC | ATRIA BUILDERS LLC
2025-05-14 | Manhattan | 520 | 5 AVENUE | 0 | 1 | At the site of a proposed new 71-story building, there was a worker that on the forty-fifth floor that was using an eight-foot tall platform ladder to perform a stone installation on a wall when the worker fell. The worker suffered an injury to the lower left side of his back, and was reportedly bleeding from the mouth. The worker was transported to a hospital by an ambulance. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | 121209192-01-NB | Worker Fell | 520 FEE OWNER 2 LLC | SUFFOLK CONSTRUCTION COMP
2025-05-16 | Manhattan | 1299 | 3 AVENUE | 0 | 1 | At the site of a proposed new 33-story building, there was a worker (a cleaning professional) that stepped on a cabinet drawer, slipped, and fell to the floor. The worker complained about suffering from back pain. The worker was transported to a nearby hospital. There were no unsafe conditions observed around the area where the incident occurred, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 121187964 | Worker Fell | EL AD EAST 74 LLC | PRESS BUILDERS INC
2025-05-16 | Manhattan | 301 | EAST 64 STREET | 0 | 1 | At the site of an existing eighteen-story building in which there were façade repairs being performed, there was a worker that was moving an exterior extension ladder to a sidewalk shed that attempted to grab a guardrail when the worker missed the guardrail and fell to the ground. The worker complained about leg pain, and was transported to a nearby hospital by an ambulance. The ladder, and a material hoist that was present at the site, were not included in the approved design drawings. Two ECB Violations were issued: one violation for the performance of work that did not conform to the design drawings, and one violation for a failure to safeguard, as there was inadequate access for the sidewalk shed decking. A partial Stop Work Order (PSWO) was issued for all access to the sidewalk shed, and for all use of the hoisting system on the shed. | ECB Violation | 39540300M / 39540304J |  | FAÇADE - ALTERATION | M00942792-I1-GC | Worker Fell | REGENCY EAST APT INC | CENTRAL CONSTRUCTION MANA
2025-05-16 | Manhattan | 407 | WEST 206 STREET | 0 | 1 | AAt the site of a proposed new fourteen-story building that was topped off and fully enclosed, there was a worker that was performing housekeeping work on the fifteenth floor that was carrying a box of foam debris when the worker slipped and fell. The worker complained about body pain, and was transported to a nearby hospital by an ambulance. All railings were found to be in place, there were no unsafe conditions observed in the area where the incident occurred, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | M00599495-I1-GC | Worker Fell | 3761 207TH STREET REALTY LLC | CHATSWORTH BUILDERS LLC
2025-05-20 | Manhattan | 1211 | 6 AVENUE | 0 | 1 | At the site of an existing 46-story building in which there was alteration work being performed, there were workers on the first floor level that were using a scissor lift to perform overhead work on the ceiling when a leveler fell forty feet and struck a pedestrian on the knee. An ambulance was called, and the struck pedestrian was transported to a hospital. The contractor did not provide any overhead protection to prevent material and tools from falling into the pedestrian walkway. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all overhead operations. | ECB Violation | 03954019J |  | ALT | M00882673 | Other Construction Related Incidents | 1211 6TH AVENUE SYNDICATION PA | MATTHEW JELLETT
2025-05-21 | Manhattan | 140 | WEST END AVENUE | 0 | 1 | At the site of an existing 29-story building in which there was façade restoration work being performed, during the dismantling of a sidewalk shed, there was a worker that was attempting to remove junior beams and cross bracing when the worker slipped on wet cross bracing and fell approximately five feet. The worker landed on his personal tool bag. There was a torque wrench in the tool bag that was in a standing position, with the pointed end of the wrench facing up. When the worker landed, the worker suffered a puncture wound in the buttocks area. The worker was transported to a hospital to receive treatment. There was a lack of safety measures provided for accessing the sidewalk shed deck, as there was no ladder or rolling scaffold in place to prevent workers from climbing up and down the sidewalk shed. Workers were not oriented prior to the commencement of work, and the contents of the Pre-Shift Safety Meeting were found to have been inadequate for the operation that was being performed. Three ECB Violations were issued: one violation for a failure to provide safety measures, supervision, and training, one violation for a failure by the permit holder to ensure that all workers had received a Site Safety Orientation or Refresher, and one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all sidewalk shed dismantling operations at exposures 1, 2, and 3. | ECB Violation | 39540483Y 39540482M 39540481K |  | sidewalk shed | M01021031 | Worker Fell | 140 WEST END AVENUE OWNERS COR | Xinos Construction Corp
2025-05-22 | Manhattan | 720 | WEST END AVENUE | 0 | 1 | At the site of an existing sixteen-story building in which there was alteration work being performed, there was a worker that was installing a bathroom sink when the worker’s left middle finger got pinched between the sink and the base support. The worker was bleeding. The worker was transported to an urgent care facility to receive treatment. There were no unsafe conditions observed near the area where the incident occurred, and all requested and applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION TYPE 1 | 123580062-01-AL | Other Construction Related Incidents | 720 WEA VENTURES LLC | CM AND ASSOCIATES CONST
2025-05-24 | Manhattan | 1026 | 3 AVENUE | 0 | 1 | At the site of a proposed new 32-story building, there was a worker on the twenty-eighth floor that fell off of an A-Frame ladder. The worker complained about suffering from leg and back pain. An ambulance was called, and the worker was transported to a hospital. There was an active After Hour Variance (AHV) permit for work that was being performed that day. The ladder that the worker was using was found to have had a defective support platform bucket. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all ladder work. | ECB Violation | 039148957K |  | NB | M006638925 | Worker Fell | THIRD NORTH HOLDINGS LLC
2025-05-26 | Queens | 148 | BEACH 116 STREET | 0 | 1 | At the site of a proposed new eight-story building, there was a worker that had opened a gang box in order to retrieve tools when the lid of the gang box came down and struck the worker's mouth. The worker was taken to a hospital. The gang box was positioned in close proximity to a wall that had a temporary receptacle installed that prevented the gang box from fully opening. This caused the lid to be unsecured. An ECB Violation was issued for a failure to safeguard. | ECB Violation | 039148961N |  | NB | Q00716326 | Worker Fell | CRYSTAL AT ROCKAWAY PARK LLC
2025-05-27 | Brooklyn | 180 | ASHLAND PLACE | 0 | 1 | At the site of a proposed new 51-story building, there was a worker in an electrical room that was on an eight-foot tall platform ladder that was pulling a wire into the room. While the worker was descending the ladder, the worker missed a rung of the ladder and fell to the floor. The worker tried to break his fall, and suffered a broken wrist. The worker was transported to an area hospital. The ladder that the worker was using was the correct ladder for the task. A witness to the incident stated that the worker did not have any tools or material in his hands when the incident occurred. All relevant documents for the worker were provided. The worker had attended the Pre-Shift Safety Meeting, and the contents of the Pre-Shift Safety Meeting were found to have been adequate for the scope of work for that day. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | 321590113 | Worker Fell | ASHLAND DEKALB LLC | 180 Ashland gc llc
2025-05-28 | Manhattan | 41 | MADISON AVENUE | 0 | 1 | There was a worker (a carpenter) that fell from a ladder during a sheetrock installation. An ambulance was called. | No Dispatch | 039540755Z |  | ALT | M01187895-I1-GC | Worker Fell | 41 MADISON L.P. | TURNER CONSTRUCTION COMPA
2025-05-29 | Bronx | 1469 | TELLER AVENUE | 0 | 1 | At the site of an existing two-story building that was being converted into a ten-unit residential building, there was a partial demolition operation being performed when a ceiling collapse occurred on the second floor, and a worker suffered an injury. An ambulance was called, and the worker was taken to a nearby hospital. The work that was being performed did not conform to the approved documents. The General Contractor had failed to provide support, such as shoring or bracing, to the structural members that were being dismembered. A Construction Superintendent was not designated. The stairs from the first floor to the basement, and the stairs from the first floor to the second floor, were missing handrails. Five ECB Violations were issued: one violation for a failure to designate and/or have a Construction Superintendent present at the site, one violation for a failure to safeguard, one violation for a failure to institute/maintain safety equipment measures or temporary construction, one violation for the performance of work that does not conform to the approved construction documents, and one violation for a failure to promptly notify DOB of the incident. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39540781M 39540782Y 39540783X 39540784H 39540785J |  | X01116588 | Alteration Type 1 | Other Construction Related Incidents | BX 1469 TELLER GSR LLC | H Builders NYC LLC
2025-05-30 | Manhattan | 902 | BROADWAY | 0 | 1 | At the site of an existing twenty-story building in which there was alteration work being performed, there was a worker (an electrician) on the second floor that was using an A-Frame ladder to install wiring when the worker fell approximately ten feet from the ladder. The worker's head struck the floor. The worker was transported to a hospital by an ambulance. The worker did not maintain three points of contact while using the ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications for the A-Frame ladder. | ECB Violation | 39540838Y |  | ALTERATION | M01135676-I1-GC | Worker Fell | 902 ASSOCIATES | L&K PARTNERS, INC
2025-05-30 | Staten Island | 216 | CLAWSON STREET | 0 | 1 | A Construction Superintendent reported that there was a worker on the ground level that was passing material upwards when the worker fell on his back. The worker suffered a neck and back injury. The worker was transported to a hospital for an ambulance. | No Dispatch |  |  | ALT-2 | S00922659 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | KG CONSTRUCTION SERVICES