## Sheet1
Monthly Incident Details: May 2026
Incident Date | Borough | Address Number | Street | Fatalities | Injuries | EOC Final Description | DOB Action | ECB Violation Numbers | DOB Violation Numbers | Permit | Permit No | Incident Type | Owner's Name | Contractor Name
2026-01-02 | Queens | 59-01 | 37 AVENUE | 0 | 1 | At the site of an existing one-story building, there was a worker that lost the top of his left index finger while operating a threading machine. The worker was wearing gloves. The severed portion of the finger remained in the glove. An ambulance was called, and the worker was taken to a hospital. The manufacturer's specifications for the threading machine stated that gloves should be kept away from moving parts. Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for a failure to immediately notify DOB of the incident. | ECB Violation | 39548658N 39548655H |  | ALT | Q01077238-I1-GC | Mechanical Construction Equipment | LO NYAMSHIP ASSOCIATION USA | COW BAY SPRINKLER CORP
2026-01-05 | Bronx | 1387 | UNIVERSITY AVENUE | 0 | 1 | There was a worker on the tenth floor that was installing sheetrock when the worker was electrocuted. The worker was suffering from stomach pain. The worker was taken to a hospital by an ambulance. The incident occurred as the result of a worker error. No enforcement action was necessary. | No Dispatch |  |  | NEW BUILDING | X00980196-I1-GC | Other Construction Related Incidents | SDF HB PSH HOUSING DEVELOPMENT | MEGA CONTRACTING GP LLC
2026-01-06 | Manhattan | 95 | MADISON AVENUE | 0 | 1 | At the site of an existing sixteen-story building, there was a worker (a plumber) on the third floor that was waiting to use a threading machine when a leaning door frame fell and hit the worker on the head. The worker complained about suffering from back & neck pain. The worker was transported to a hospital by an ambulance. The door frame was not adequately secured, and was removed from the site before a DOB inspector arrived at the site. Two ECB Violations were issued: one violation for a failure to properly secure stored material, and one violation for the tampering with the evidence of the incident. | ECB Violation | 39548806X / 39548807H |  | ALTERATION CO | M01053870-I1-GC | Other Construction Related Incidents | MADISON 29 HOLDING LLC | CONSTRUCTION MNGT. AA,LLC
2026-01-07 | Bronx | 1387 | UNIVERSITY AVENUE | 0 | 1 | At the site of a proposed new 26-story building, there was a worker that was preparing to install a bathtub in the sub cellar that was bent down, and when the worker stood back up, he began to suffer from back pain. The worker was in distress, and was not able to walk. The worker was transported to a hospital by an ambulance. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | X00980196-I1-GC | Other Construction Related Incidents | SDF HB PSH HOUSING DEVELOPMENT | MEGA CONTRACTING GP LLC
2026-01-12 | Manhattan | 1427 | YORK AVENUE | 0 | 1 | At the site of an existing six-story building, there was a worker that was performing electrical work to install new circuits, breakers, and a new box when a 3 phase box arced, and the worker suffered severe burns. The worker was transported to a hospital. There was electrical, plumbing, and partition work being performed on the vacant ground floor at exposures 1 & 2. There were no permits on file for any of the work that was being performed. An ECB Violation was issued for the performance of work without a permit. A partial Stop Work Order (PSWO) was issued for all work at the vacant ground floor space at exposures 1 &2. | ECB Violation | 35668582R | 011126CERJG01 |  |  | Other Construction Related Incidents | 1427 YORK AVENUE LLC
2026-01-12 | Manhattan | 1470 | AMSTERDAM AVENUE | 0 | 1 | At the site of an existing twenty-story building, there was a worker (a plumber) on the eleventh floor that was cutting a drainpipe in the kitchen of apartment 11H when the pipe gave way and struck the worker in the chest. The worker was transported to a hospital. There were no safety measures in place for the operation, as the pipe was not secured with a clamp and strap to prevent it from freefalling. An ECB Violation was issued for a failure to safeguard the public and property. A partial Stop Work Order (PSWO) was issued for all demolition and installation activities throughout the building. | ECB Violation | 039549053P |  | ALT | M01046330 | Material Fell | NEW YORK CITY HOUSING AUTHORIT | Apex Building Company INC
2026-01-14 | Bronx | 2075 | WEBSTER AVENUE | 0 | 1 | At the site of a proposed new four-story building (a school building), there was a worker that was operating a forklift in order to remove concrete barriers at East 180 Street that was backing out of the job site when the machine collided with a TLC vehicle that was coming down the block. A passenger that was sitting in the rear of the TLC vehicle struck their head on a door. The passenger was transported to a hospital by an ambulance. There were no safety measures in place during the operation, as there was no flag person provided, the forklift operator was not qualified or trained to use the machine, and a Pre-Shift Safety Meeting was not conducted. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all forklift operations. | ECB Violation | 39549172H |  | NEW BUILDING | 201204446 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | LEON D. DEMATTEIS CONST.
2026-01-14 | Manhattan | 417 | CANAL STREET | 0 | 1 | The Construction Superintendent reported that there was a worker that fell approximately four feet from the top of a trench. The worker climbed back up, and requested to be taken to a hospital. The worker was transported to a hospital. | No Dispatch |  |  | Earth Work | M00849935-I1-EA | Worker Fell | TRINITY CHURCH CORP | GRAMERCY GROUP, INC
2026-01-15 | Manhattan | 126 | EAST 57 STREET | 0 | 1 | At the site of a proposed new 28-story building, there was a worker (a carpenter) that was descending from a six-foot tall A-Frame ladder when the worker fell. The worker complained about suffering from pain in the left shoulder. An ambulance was called, and the worker was taken to a hospital. The worker did not maintain three points of contact while descending the ladder, and the base of the ladder was found to have not been cleared of construction material. The use of ladders, and the specific safety concerns, risks, and preventions, were not clearly communicated during the Pre-Shift Safety Meeting. Additionally, unrelated to the incident, there was no wire screen or equivalent synthetic netting attached to the sidewalk shed, and no barriers & chain-link fence on the roadway, which created a hazard for pedestrians and vehicular traffic. Three ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and one violation for a failure to provide pedestrian protection for the sidewalks and walkways. | ECB Violation | 039549204N / 039549203L / 039549202J |  | NEW BUILDING | M00556884-I1-GC | Worker Fell | MRR 1326 LLC | PLAZA CONSTRUCTION LLC
2026-01-15 | Manhattan | 1345 | 6 AVENUE | 0 | 1 | At the site of an existing 50-story building, there was a worker on a baker scaffold at the fortieth floor that was installing sheetrock when the worker lost balance and fell, landing on a pile of sheetrock. The worker was transported to a hospital by an ambulance. Two ECB Violations were issued: one violation for a failure to maintain and institute safety measures, and one violation for the tampering with the evidence of an incident. | ECB Violation | 35686075L/76N |  | ALT-2 | M01238674 | Worker Fell | 1345 LEASEHOLD LLC | JRM CONSTRUCTION MGMT LLC
2026-01-16 | Manhattan | 155 | BANK STREET | 0 | 1 | At the site of an existing thirteen-story building in which there was an exterior masonry restoration being performed, there was a worker that was using a corded angle grinder to cut a steel pipe when the worker suffered a laceration to his left knee. An ambulance was called, and the worker was transported to a hospital. The corded angle grinder did not have the required side handle that provides two-hand control to resist kickback, torque reaction, and wheel snagging. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of grinders for the facade operation. | ECB Violation | 39549239N |  | FAÇADE ALTERATION | M01113570-I1-GC | Other Construction Related Incidents | WESTBETH CORP. HOUSING DEVELOP | SKYLINE RESTORATION INC.
2026-01-16 | Manhattan | 452 | 5 AVENUE | 0 | 1 | The Construction Superintendent reported that there was a worker in the cellar level that fell from a ladder. The worker suffered an ankle injury, and was transported to a hospital by an ambulance. | No Dispatch |  |  | ALT-2 Interior Demolition | M01303754 | Worker Fell | 452 FIFTH OWNERS LLC | L&K PARTNERS, INC
2026-01-21 | Bronx | 1298 | INWOOD AVENUE | 0 | 1 | At the site of a proposed new fifteen-story building, there was a worker that was moving a suspended scaffold beam when the worker lost control of the beam. The worker's index finger was pinched, and the worker suffered a laceration through his gloves. The worker was transported to a hospital. The worker moved the beam without asking for help. The Site Safety Manager provided a toolbox talk and a pre-task form, which was signed by the worker. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | X08008823 | Other Construction Related Incidents | HELP INWOOD HOUSING DEVELOPMEN | HUDSON MERIDIAN CONSTRUCT
2026-01-21 | Brooklyn | 110 | BOERUM PLACE | 0 | 1 | At the site of a proposed new six-story building, there was a worker that was using an A-Frame ladder to patch sheetrock on the ceiling of apartment 206 when the worker fell from the ladder. Co-workers heard a sound, but did not witness the worker's fall. An ambulance was called, and the worker (that fell) was taken to a hospital. The worker did not maintain three points of contact when using the ladder. An adequate working platform was not provided for the operation. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of A-Frame ladders in elevated taping operations. | ECB Violation | 39549378N |  | NEW BUILDING | B00982051-I1-GC | Worker Fell | COBBLE HILL OWNER LLC | AVDOO & PARTNERS CONSTRU*
2026-01-21 | Manhattan | 511 | EAST 20 STREET | 0 | 1 | At the site of an existing fifteen-story building, there were workers that were installing a sidewalk shed when a beam twisted, and one of the workers suffered an injury. The worker suffered a minor scratch on his neck. The worker was transported to a hospital. The worker returned to work. All safety measures were properly in place as of the time of the incident. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | SIDEWALK SHED | M01297917 | Mechanical Construction Equipment | BPP PCV OWNER LLC | PJP INSTALLERS INC
2026-01-22 | Bronx | 2530 | GRAND CONCOURSE | 0 | 1 | At the site of an existing ten-story building, there was a worker on the second floor that was using a platform ladder to adjust an overhead pipe when the worker fell from the ladder. The worker was not bleeding, but complained about suffering from neck pain. The worker was transported to a hospital by an ambulance. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | X00657984-I1-GC | Worker Fell | NAME NOT ON FILE | GDI CONSTRUCTION LLC
2026-01-22 | Manhattan | 155 | BANK STREET | 0 | 1 | At the site of an existing thirteen-story building, there was a worker that was using a jackhammer when a co-worker tried to catch a brick, and the co-worker's finger got caught between the brick and the jackhammer. The worker went to an urgent care center. There were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION - FAÇADE | M01113570-I1-GC | Other Construction Related Incidents | WESTBETH CORP. HOUSING DEVELOP | SKYLINE RESTORATION INC
2026-01-22 | Manhattan | 803 | GREENWICH STREET | 0 | 1 | At the site of an existing four-story building, there was a worker (an electrician) that was descending a temporary staircase from the first floor to the basement when the worker fell. The worker was suffering from pain in his leg and back. The worker was transported to a hospital by an ambulance. The staircase that the worker was using was found to be well lit, and free of any debris and slipping hazards. The worker was not carrying any tools or materials that could have contributed to the fall. An ECB Violation was issued for a failure to immediate notify DOB of the incident. | ECB Violation | 39549415 N |  | Alteration Type 2 | M00922013 | Worker Fell | 803 GREENWICH STREET LLC | SBG Development LLC
2026-01-22 | Queens | 126-87 | WILLETS POINT BOULEVARD | 0 | 1 | At the site of a proposed new building, there was a worker that was using a pallet jack to offload electrical material from a delivery truck. The worker was pulling the pallet jack when the worker slipped on a Mega Deck heavy duty mat, and the worker hit his knee on the pallet jack. The worker was taken to a hospital by an ambulance. The heavy duty mat was installed as per the manufacturer's specifications. All required safety measures were found to be in place. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | Q01002920 | Mechanical Construction Equipment | HOUS PRES DEVELOP | Turner construction compa
2026-01-22 | Queens | 30-78 | 29 STREET | 0 | 1 | At the site of a proposed new seven-story building, there was a worker (a mechanic) that was receiving equipment at the ground level while there was a supported pipe scaffold being dismantled on the fourth floor. There was a plank that was being pulled up when a bracket fell, bounced between the building facade and the scaffold, and struck the worker on the head. The worker was unconscious following the impact. The worker was transported to a hospital by an ambulance. The bracket that fell and struck the worker was not secured by pins. The scaffold that was being dismantled had poor housekeeping and loose planking, and was missing components, pins, and handrails. Two ECB Violations were issued: one violation for a failure to safeguard all persons and property, and one violation for a failure to maintain the supported pipe scaffold. A partial Stop Work Order (PSWO) was issued for all use of scaffolding. | ECB Violation | 39549427K 39549428M |  | NB | Q00963181-I1-GC | Scaffold/Shed/Fence/Shoring/Installation | 3078 LLC | IDENTITY CONSTRUCTION LLC
2026-01-22 | Queens | 41-02 | CRESCENT STREET | 0 | 1 | At the site of a proposed new seventeen-story building, there was a worker that was transporting glass from a storage area to an installation area in the lobby when the worker was struck on the left foot by falling debris. The debris was a piece of concrete from a core drilling operation that was being performed on the fourth floor. The worker was taken to a hospital by an ambulance. The communication between multiple trades working in the same area at different levels was inadequate. There were no signs, and the control access zone (CAZ) was inadequate. An ECB Violation was issued for a failure to safeguard all persons & property. A partial Stop Work Order (PSWO) was issued for all coring work. | ECB Violation | 039549413J |  | NB | 421068631-01-NB | Material Fell | FORTE ITALIA LLC C/O | WMCM LLC – REGISTERED
2026-01-23 | Manhattan | 665 | 665 5 AVENUE | 0 | 1 | At the site of a proposed new 28-story building, during a plumbing operation, there was a worker that on the twenty-sixth floor that was squatting to work on a heating pipe when the worker lost his balance. The worker tried to steady himself, and the worker’s left palm got caught on a stainless steel catchment pan. The worker suffered a laceration. The worker was treated by the on-site medic, and was then later transported to a hospital. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | M00505081 | Other Construction Related Incidents | ROLEX REALTY COMPANY LLC | Pavarini McGovern
2026-01-27 | Brooklyn | 540 | DEGRAW STREET | 0 | 1 | At the site of a proposed new ten-story building, there was a worker that was using a threading machine when the worker’s left index finger got caught in the machine, and the worker suffered a laceration. An ambulance was called, and the worker was taken to a nearby hospital. The worker was wearing gloves while operating the threading machine, which contradicts the manufacturer’s safety specifications. One of the machine’s three support legs was not anchored or secured to the floor. An ECB Violation was issued for a failure to comply with the manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all use of threading machines. | ECB Violation | 39549570N |  | NEW BUILDING | B00600959-I1-GC | Other Construction Related Incidents | 545 SACKETT LLC | MEGA CONTRACTING GP LLC.
2026-01-30 | Brooklyn | 329 | CLARKSON AVENUE | 0 | 1 | At the site of a proposed new nine-story building, there was a worker that was on a 25-foot tall extension ladder that was using a caulk gun to fill gaps in the siding at the rear of the building at exposure 3 when the worker fell approximately ten feet from the ladder. The worker complained about suffering from pain in his back and in his left arm. An ambulance was called, and the worker was transported to an area hospital. An adequate working platform was not provided for the operation. The worker did not maintain three points of contact while using the extension ladder. The equipment that was involved in the incident was removed from the area where the incident occurred. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer’s specifications, and one violation for the tampering with the evidence of the incident. A partial Stop Work Order (PSWO) was issued for all caulking operations that involve elevated work. | ECB Violation | 39549702X 39549703H |  | NEW BUILDING | B00681143-I1-GC | Worker Fell | CHV 329 CLARKSON AVENUE HOUSIN | BRUNO FRUSTACI CONTRACTIN
2026-01-31 | Manhattan | 111 | WALL STREET | 0 | 1 | At the site of an existing 24-story building in which there was an active After Hour Variance (AHV) permit for debris removal and general housekeeping, there were workers at the ground level that were attempting to lift a rolling debris container onto a truck when the container fell backwards and struck one of the workers. The worker complained about suffering from leg pain, and was transported to a hospital. The rolling container’s crossbar was not locked into place while it was being lifted. An ECB Violation was issued for a failure to safeguard. | ECB Violation | 03915572N |  | ALT-2 | M00528469 | Other Construction Related Incidents | 111 WALL FEE HOLDINGS LLC | 111 WALL GC LLC
2026-02-02 | Bronx | 269 | VAN CORTLANDT AVENUE EAST | 0 | 1 | At the site of a proposed new eight-story building, while there was grouting work being performed on the eighth floor, there was a worker that went up to the eighth floor to check on a co-worker when the worker slipped and suffered an injury to his right knee. The worker was transported to a hospital by his foreman. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | X01109312-I1-GC | Worker Fell | 269 VAN CORTLANDT LLC | BONEI BUILDERS LLC
2026-02-02 | Manhattan | 250 | VESEY STREET | 0 | 1 | At the site of an existing 33-story building, there was a worker (a carpenter) on the seventeenth floor that was using a platform ladder to cut sheetrock with a sawzall when the worker overreached, lost balance, and fell from the ladder. The worker complained about suffering from back pain. The worker was transported to a hospital by an ambulance. The ladder had been placed far from the cutting area, which caused the worker to overreach. The incident took place on February 2, 2026, but was not reported to DOB until the following day. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer’s specifications, and one violation for a failure to immediate notify DOB of the incident. | ECB Violation | 03954983H-039549894J |  | ALT | M01222296 | Worker Fell | WFP TOWER D CO LP | L&PARTNERS ,INC
2026-02-03 | Manhattan | 452 | 5 AVENUE | 0 | 1 | At the site of an existing 29-story building, there was a worker on the seventh floor that was dismantling a baker scaffold when a component of the scaffold fell and struck the worker on the head. The worker complained about suffering from neck pain. The worker was transported to a hospital by an ambulance. All required safety measures were found to be in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | M01303754-I1-GC | Mechanical Construction Equipment | 452 FIFTH OWNERS LLC | L&K PARTNERS, INC
2026-02-03 | Queens | 29-10 | NORTHERN BOULEVARD | 0 | 1 | At the site of a proposed new 49-story building, there was a worker (a laborer) that was carrying a long piece of lumber when the worker tripped over a 2 X 4 that was staked in soil for formwork. The worker complained about having suffered injuries to his shoulders, lower back, and hip. The worker was transported to a hospital. Debris and tripping hazards were found in the area where the incident took place. The formwork was raised four inches from the grade level, which created a tripping hazard. There were no safety measures in place for a change in elevation. An ECB Violation was issued for a failure to maintain safety measures. | ECB Violation | 39549890M |  | new buiding | Q00614075 | Worker Fell | 30-25 QUEENS BLVD TENANT LLC | Leeding Buiders Group
2026-02-05 | Manhattan | 1005 | 1 AVENUE | 0 | 1 | At the site of an existing building, there was a worker (a plumber) on the twenty-first floor that was drilling a hole into a concrete slab when the dry got stuck. The worker used a hammer to try to remove the jammed drill bit, and the worker struck his hand with a hammer. The worker suffered an injury to a finger on his left hand, and was transported to a hospital by a private vehicle to receive treatment. The worker had attempted to remove the jammed bit from the drill before disconnecting the cord, and the worker used another tool (the hammer) to remove the bit. This was contrary to the manufacturer’s specifications. An ECB Violation was issued for a failure to comply with manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all use of drilling machines for plumbing work. | ECB Violation | 39549987Z |  | ALTERATION | M01216837-I1-GC | Mechanical Construction Equipment | X11 FIRST AVE LLC | X11 FIRST AVE LLC
2026-02-07 | Manhattan | 201 | EAST 23 STREET | 0 | 1 | At the site of a proposed new eighteen-story building, there was a worker on the seventeenth floor that was using a platform ladder to perform waterproofing work when the worker fell from the tread that was second from the bottom. The worker suffered a leg injury, and was transported to a nearby hospital. The ladder was not set up properly, and there was an excessive amount of masonry material stored around the ladder. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of ladders. | ECB Violation | 039176468H |  | New Building | M00992159 | Worker Fell | SNAKE RIVER DEVELOPMENT | TITANIUM CONSTRUCTION SER
2026-02-09 | Queens | 122-02 | ROOSEVELT AVENUE | 0 | 1 | At the site of an existing five-story building, there was a worker (an iron worker) that was attempting to climb the back end of a man lift in order to install side rails when the worker fell six feet to the concrete slab. The worker suffered a broken left shoulder and left elbow. The worker was immediately taken by a co-worker to receive medical treatment. The worker was taken to a hospital. The worker was found to have been trained sufficiently in the assembly, dismantling, and operation of the man lift. The worker was transported to receive medical treatment at 10:30 AM, but the incident was not reported to DOB until three hours after the worker was transported for treatment. An ECB Violation was issued for a failure to immediately notify DOB of the incident. | ECB Violation | 39550158J |  | Alteration | Q01222548 | Worker Fell | NYC PARKS | Tishman Construction
2026-02-10 | Manhattan | 111 | WASHINGTON STREET | 0 | 1 | At the site of a proposed new 64-story building, there was a worker on the 33rd floor that was using a hammer to remove a nail from formwork when the hammer slipped from the worker's hand, fell through the netting, and struck a pedestrian on the right leg. The pedestrian was standing on the opposite side of the street when they were struck. The pedestrian took an Uber to a hospital. The extent of the injuries that the pedestrian sustained were not known. The safety netting was found to have been inadequate. An ECB Violation was issued for a failure to safeguard the public and property. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39550182J |  | NB | 121192299 | Material Fell | CARLISLE NEW YORK APARTMENTS, | Consigli Construction Co
2026-02-17 | Brooklyn | 161 | Marshall Street | 0 | 1 | At the site of a proposed new three-story building, during the installation of Doka formwork on the first floor, there was a wooden Doka beam that dislodged and struck the right arm of a worker that was climbing a ladder from the cellar level. The worker was transported to a hospital by his foreman. A control access zone (CAZ) had not been established. An ECB Violation was issued for a failure to safeguard. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39550423L |  | FO | B01002234 | Material Fell | CONSOLIDED EDISON CO/NY | Grace Industries LLC
2026-02-17 | Brooklyn | 2683 | ATLANTIC AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building, there was a worker (an electrician) on the third floor that was pulling a BX cable when the worker fell from an A-Frame ladder. The worker was transported to a hospital. The housekeeping on the third floor was inadequate, as there were pipes, metal framing components, and other debris and materials present in the area where the worker was working. An ECB Violation was issued for inadequate housekeeping. A partial Stop Work Order (PSWO) was issued for all work at the third story level. | ECB Violation | 35685882N |  |  | B00683623-I1 | Worker Fell | 2683 ATLANTIC LLC | WYTON DEVELOPERS LLC
2026-02-17 | Manhattan | 1345 | 6 AVENUE | 0 | 1 | At the site of an existing 49-story building, there was a worker that was attempting to move a large cement mixer on his own when the machine tipped forward ninety degrees, and the worker suffered a back injury. The worker was transported to a nearby hospital. The worker was trying to move the machine on his own, without using a tow-pole that would allow for the machine to be pulled forward in a safe manner. The worker also did not dump the excess load before moving the machine. Two ECB Violations were issued: one violation for a failure to comply with manufacturer's specifications, and one violation for a failure by the General Contractor to post and distribute a Tenant Protection Plan (TPP). A partial Stop Work Order (PSWO) was issued for all use of concrete mixers. | ECB Violation | 39550447X 39550448H |  | STRUCUTURAL | m01237218 | Mechanical Construction Equipment | 1345 LEASEHOLD LLC | JRM CONSTRUCTION LLC
2026-02-17 | Manhattan | 77 | WATER STREET | 0 | 1 | At the site of an existing 26-story building, there was a worker on the tenth floor that was removing glass when the worker sustained a glass splinter between his left thumb and index finger. The worker walked to a City MD to be evaluated. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | M01284072-I1-GC | Material Fell | 77 WATER LLC | 77 WATER LLC
2026-02-18 | Brooklyn | 556 | HOWARD AVENUE | 0 | 1 | At the site of a proposed new four-story building, there was a deck on the fourth floor that partially collapsed at exposures 3 & 4. There was a worker on the third floor that was directly below the collapsed area, and the worker was struck by debris and was trapped. The worker was rescued by the FDNY. The worker suffered multiple injuries, and was transported to a hospital in a responsive state. The overloading of unsupported C-Joists caused the collapse. Six total ECB Violations were issued: one violation for a failure to safeguard the public and property, one violation for a failure to extend the neighboring chimney (554 Howard Avenue) to match the height of the building, one violation for a failure to maintain adequate housekeeping, one violation for the absence of handrails at levels 2 & 4, one violation for the placement of loads on cold-formed steel without verification or acceptance from a Special Inspection Agency (SIA), and without the designation of a competent person, and one violation for a failure by the Construction Superintendent to perform their duties. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39550490L 39550492P 39550493R 39550491N 39550489Y 39550519X |  | NEW BUILDING | B01138895 | Material Fell | 556 HOWARD LLC | EZ GC CORP
2026-02-18 | Manhattan | 1000 | 5 AVENUE | 0 | 1 | At the site of an existing six-story building, there was electrical work being performed that involved the use of a manlift when a conduit pipe fell from the work location and struck a security guard. The security guard was transported to a hospital. The work location had not been properly cordoned off. An ECB Violation was issued for a failure to conform to the manufacturer’s specifications for the use of manlifts. | ECB Violation | 039550469R |  | ALT | M01216253 | Material Fell | NYC PARKS | TISHMAN CONSTRUCTION CORP
2026-02-19 | Manhattan | 111 | WALL STREET | 0 | 1 | At the site of an existing 24-story building that was being enlarged to a 31-story building, there was a worker on the tenth floor that was attempting to cut a threaded rod with a handheld band saw when the worker suffered a significant cut to his left index finger. The worker was transported to a hospital. The worker was not provided with a proper workstation to secure the material and stop the band saw from moving. The worker had one hand on the material, while using the other hand to operate the saw. Two ECB Violations were issued: one violation for a failure to comply with the manufacturer’s specifications, and one violation for the absence of a fire guard and/or fire extinguishers while there was hot work being performed on the ninth floor. A partial Stop Work Order (PSWO) was issued for all use of band saws for HVAC work, and for all hot work on the ninth floor. | ECB Violation | 39550570L 39550571N |  | alteration | M00528469 | Mechanical Construction Equipment | 111 WALL FEE HOLDINGS LLC | 1111 wall gc llc
2026-02-19 | Manhattan | 66 | HUDSON BOULEVARD | 0 | 1 | At the site of an existing 66-story building, there was a worker that was assisting with a delivery at the loading deck, while there were other workers that were using a battery-powered saw to cut a crate, when the saw’s battery dislodged and struck the right hand of the worker that was at the loading dock. The struck worker suffered a swollen hand, and was transported to a hospital. All required safety measures were found to have been in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | M01169969-I1-GC | Mechanical Construction Equipment | 509 W 34, L.L.C. | TURNER CONSTRUCTION COMPA
2026-02-21 | Manhattan | 111 | WALL STREET | 0 | 1 | At the site of an existing building 24-story building that was being enlarged into a 31-story building, there was a worker that was loading a three-yard mini container onto the back of a garbage truck when the container dislodged from the mechanical arm/bin lifter at the back of the truck and struck the worker’s foot. The worker was transported to a hospital. The worker did not attach the container to the back of the truck properly as the secondary means of attachment (a chain & hook) was not utilized. An ECB Violation was issued for a failure to safeguard the public and property. | ECB Violation | 39550710Y |  | ALTERATION | M00528469 | Material Fell | 111 WALL FEE HOLDINGS LLC | 111 wll street gc llc
2026-02-24 | Manhattan | 111 | WALL STREET | 0 | 1 | At the site of an existing 24-story building that was being enlarged into a 31-story building, there was a worker on the twenty-fifth floor that was using an OSHA plank as a makeshift platform to perform demolition work that involved the removal of concrete from I-beams when the worker slipped. The worker attempted to grab an I-beam while falling, and the worker’s right hand was struck by a jackhammer that was being operated by another worker. The struck worker was transported to an urgent care facility for evaluation and treatment. The OSHA plank that was being used was not secured or tied down, and there were no cleats or end stops in place to prevent the plank from sliding. Three ECB Violations were issued: one violation for a failure to adequately safeguard workers during demolition work, one violation for a failure to properly communicate safe demolition procedures to workers via toolbox talks, and one violation for a failure to provide and maintain adequate design drawings for the temporary platforms that were being used as the site. A partial Stop Work Order (PSWO) was issued for all demolition work. | ECB Violation | 39550849Z 39550848R 39550850X |  | ALTERATION | M00528469 | Other Construction Related Incidents | 111 WALL FEE HOLDINGS LLC | 111 WALL GC LLC
2026-02-25 | Manhattan | 1005 | 1 AVENUE | 0 | 1 | At the site of an existing twenty-story building that was being converted and enlarged into a 27-story building, during a delivery operation, there was a worker that was moving a cart that was loaded with windows when the worker suffered a laceration to his right hand. The worker was transported to an urgent care facility. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION CO | 627223 | Other Construction Related Incidents | X11 FIRST AVE LLC | X11 FIRST AVE LLC
2026-02-26 | Brooklyn | 174 | JEFFERSON STREET | 1 | 1 | At the site of an existing two-story building that was being horizontally and vertically enlarged into a four-story building, there were two workers that were beneath a rubble foundation wall that were in the process of removing debris in preparation for a footing & foundation operation when the foundation wall collapsed. The two workers were trapped. TheFDNY rescued the two workers. One of the workers succumbed to the injuries that were sustained. The second worker was transported to a hospital and had surgery, and was reported to be in stable condition and conscious. The collapse occurred because of unauthorized excavation and undermining that was performed on a test pit beneath the foundation, which was not in accordance with the approved plans. A DOB Violation and a full Stop Work Order (FSWO) were issued. An Emergency Work Order was issued for site stabilization. A Vacate Order was issued for the two rear yards at exposures 2 & 4, at 172 and 176 Jefferson Street. | DOB Violation |  | VIO26-50549 | Alteration Type 1 | B01213494 | Excavation/Soil Work | MTEK 174 JEFFERSON LLC | McKenney Construction LLC
2026-02-26 | Manhattan | 364 | WEST 54 STREET | 0 | 1 | At the site of a proposed new nine-story building, there was a worker on the second floor that was installing sheetrock when a piece of sheetrock broke, fell, and struck the worker on the neck. The worker was transported to a hospital for evaluation. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | M08022866-I1-GC | Other Construction Related Incidents | HOUSING WORKS LIRIO HOUSING DE | BROADWAY BUILDERS LLC
2026-02-26 | Manhattan | 452 | 5 AVENUE | 0 | 1 | At the site of an existing thirty-story building in which there was an interior fit-out being performed, there was a worker (an electrician) that was walking on the eleventh floor when the worker tripped. The worker complained about suffering from knee and back pain. The worker was transported to a hospital by an ambulance. There were several drain holes present on the floor that were not covered. An ECB Violation was issued for a failure to maintain safety measures. | ECB Violation | 039550988Z |  | ALT | M01283930-I1-GC | Worker Fell | 452 FIFTH OWNERS LLC | L&K PARTNERS, INC
2026-02-27 | Brooklyn | 9910 | SEAVIEW AVENUE | 0 | 1 | A project manager reported that there was a worker that was struck on the shoulder during a housekeeping operation. An ambulance was called. | No Dispatch |  |  | Façade | B01276729-I1-GC | Other Construction Related Incidents | NYC HOUSING AUTHORITY | DALE EDWARDS-EL
2026-03-02 | Manhattan | 255 | EAST 77 STREET | 0 | 1 | At the site of a proposed new 33-story building, there was a worker on the thirty-second floor that was dismantling a baker scaffold when a scaffold pin struck the worker's right eye. An ambulance was called, and the worker was transported to a hospital. All required safety measures were in place, and there were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. However, the incident took place at 11:45 AM, but was not reported to DOB until 02:47 PM. An ECB Violation was issued for a failure to promptly notify DOB of the incident. | ECB Violation | 39551118J |  | NEW BUILDING | M00798756-I1-GC | Mechanical Construction Equipment | 255 EAST 77TH ST OWNER LLC | NEW LINE STRUCTURES & DEV.
2026-03-04 | Brooklyn | 2138 | FLATBUSH AVENUE | 0 | 1 | At the site of an existing one-story building in which a full demolition was being performed, there was a worker that was removing the subflooring when the worker lost his balance and fell from the roof to the floor below. The worker was transported to a nearby hospital. There was a makeshift pry bar placed across the open joists while the subflooring was being removed. Five ECB Violations were issued: one violation for a failure to safeguard, one violation for a failure to provide and maintain a Site Safety Orientation, one violation for a failure to provide and maintain adequate guardrails, one violation for a failure to maintain adequate egress, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all demolition work. | ECB Violation | 39551257J 39551261M 39551258L 39551259N 39551260K |  | DEMOLITION | B01091704 | Worker Fell | TRILLIUM VESPER LANDCO LLC | DCI ENTERPRISE LLC
2026-03-05 | Queens | 122-02 | ROOSEVELT AVENUE | 0 | 1 | At the site of an existing building, there was a five person crew that was inspecting beam numbers while preparing for an operation when a steel beam shifted, fell, and struck a worker’s foot. The worker went to an urgent care facility on his own. The beam that shifted and fell was stored in an unsafe condition, with no safety measures in place. The steel was stored dangerously close to the leading edge, and did not meet the required 5-10 foot setback. The dunnage that was being used for staging was not uniform, which created an uneven surface that failed to properly balance the load. An ECB Violation was issued for a failure to safeguard. | ECB Violation | 39551318Y |  | ALT | Q01222548-I1-GC | Material Fell | NYC PARKS | TISHMAN CONSTRUCTION CORP
2026-03-07 | Manhattan | 1710 | BROADWAY | 0 | 1 | At the site of a proposed new 51-story building in which there was an active After Hour Variance (AHV) permit, there was a worker on the seventeenth floor that was assembling a formwork panel when the worker's hand got caught between a beam and a metal bar. The worker suffered a laceration to his fingers. The worker went to a City MD on his own. An ECB Violation was issued for a failure to institute safety measures. The worker did not handle the material properly, and there was no means & methods provided. An ECB Violation was issued for a failure to institute safety measures. A partial Stop Work Order (PSWO) was issued for all formwork operations. | ECB Violation | 39179564L |  | New Building | M00903689 | Other Construction Related Incidents | BROADWAY PT 1710 LLC | WBC SERVICES INC
2026-03-07 | Manhattan | 570 | 5 AVENUE | 0 | 1 | At the site of a proposed new 30-story building in which there was excavation work being performed and water was being thrown for dust control, there was a worker that was climbing a stair tower towards the end of the shift when the worker was found upside down on the stair tower, with a claw hammer holding the worker in a suspended state. The worker was unconscious. The worker was taken to a hospital. The worker later regained consciousness and was in stable condition. All documentation at the site was compliant. No enforcement action was taken. | No Action Necessary |  |  | SE | M01093960 | Other Construction Related Incidents | 46/47 OWNER LLC | CONSIGLI CONSTRUCTION CO
2026-03-09 | Brooklyn | 1116 | 57 STREET | 0 | 1 | At the site of a proposed new three-story building, there was a worker in the basement level that was assembling structural steel when the worker was struck by a beam. The worker was transported to a hospital. The beam that struck the worker was lacking bracing, ties, or any other means of restraint. An ECB Violation was issued for a failure to institute & maintain safety measures. A partial Stop Work Order (PSWO) was issued for all crane operations. | ECB Violation | 39551408H |  | NEW BUILDING | B01177083-I1-GC | Other Construction Related Incidents | 57TH DEV LLC | CITYSCAPE BUILDERS LLC
2026-03-09 | Manhattan | 11 | WEST 53 STREET | 0 | 1 | At the site of an existing sixteen-story building, there was a worker on the seventeenth floor that was climbing a stair tower to the scaffold platform when the worker fell approximately four feet from the scaffold. The worker suffered a compound fracture to his right leg, and was transported to a hospital. All required safety measures were found to have been in place, and there were no unsafe conditions observed. All applicable documents were on site, and the work was being performed as per plan. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | SERVICE EQUIPMENT | M01227087-S1-MS | Worker Fell | THE MUSEUM OF MODERN ART | TURNER CONSTRUCTION COMPA
2026-03-10 | Manhattan | 1710 | BROADWAY | 0 | 1 | At the site of a proposed new 55-story building, there was a worker on the eighteenth floor that was using a cordless circular saw to cut a piece of wood when the worker suffered a laceration to the tip of one of his index fingers. The worker was transported to a hospital. The worker was using one of his hands to hold the wood while operating the saw, which is contrary to the manufacturer's specifications. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of circular saws. | ECB Violation | 39551464M |  | NEW BUILDING | M00903689-I1-GC | Other Construction Related Incidents | BROADWAY PT 1710 LLC | WBC SERVICES INC.
2026-03-10 | Manhattan | 410 | WEST 53 STREET | 0 | 1 | At the site of an existing seven-story building, there was a sidewalk shed being dismantled when a worker fell eighteen feet from the deck of the sidewalk shed. The worker called 911 on his own, and was transported to a hospital in a conscious & alert state. There was no proper access point, and no PFAS (Personal Fall Arrest System) and anchor point provided. A Controlled Dismantling Procedure was not in place. The incident took place at approximately 7:45 AM, but was not reported to DOB until approximately 10:55 AM. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for a failure to immediately notify DOB of the incident. A partial Stop Work Order (PSWO) was issued for all removal and dismantling of sidewalk sheds. | ECB Violation | 39551484J 39551485L |  | alteration | M00963006 | Worker Fell | MIDWEST COURT L.L.C. | MC Superstructure INC
2026-03-10 | Queens | 166-13 | 91 AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building, there were four workers that were dismantling a supported scaffold when one of the workers was found lying on the ground, under the sidewalk shed. The worker was taken to a hospital by an ambulance in a conscious state. There were no witnesses to the incident. The crew was not in possession of any training certifications or documentation for the use or dismantling of scaffolding. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all supported scaffold operations. | ECB Violation | 39551453R |  | NEW BUILDING | Q00554634-I1-GC | Worker Fell | AMAR 16611 91ST, LLC | SKYVIEW DEVELOPERS GROUP
2026-03-11 | Brooklyn | 242 | SEIGEL STREET | 0 | 1 | At the site of a proposed new six-story building, there was a worker (a carpenter) that was working on a manlift that was using a small sledgehammer to drive in a pin when the worker suffered a small eye injury. The worker was treated on site, and then left the site on his own to be examined at a City MD. The worker was wearing safety glasses when the incident occurred. The worker was found to have not been trained properly in the use of the manlift, and was not in possession of a certificate. An ECB Violation was issued for a failure by the General Contractor to ensure that the worker had the proper safety training. | ECB Violation | 39551537Y |  | New building | B01072781 | Mechanical Construction Equipment | NYM 215 MOORE, LLC | Urban Altelier Group LLC
2026-03-12 | Bronx | 1223 | SPOFFORD AVENUE | 0 | 1 | At the site of a proposed new 13-story building, there was a worker (a plumber) that was coming down the stairs from the cellar to the first sub-cellar while carrying an A-Frame ladder when the worker slipped on a step and fell. The worker hit his head, and was taken to a hospital. The stairs that the worker was using were found to be fully enclosed, equipped with permanent handrails, adequately lit, and free of any tripping or slipping hazards. All requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | 210182256 | Worker Fell | NYC ACS | BROADWAY BUILDERS LLC
2026-03-12 | Brooklyn | 3710 | 15 AVENUE | 0 | 1 | The Construction Superintendent reported that there was a worker that was carrying a shoring post that tripped on rebar. The worker complained about suffering from back & shoulder pain. The worker went to an urgent care center for evaluation. | No Dispatch |  |  | New Building | B00953932-I1-GC | Worker Fell | TSOB 5782 LLC | CITY BUILDERS NYC LLC
2026-03-13 | Brooklyn | 552 | 2 AVENUE | 0 | 1 | At the site of a proposed new two-story building, there was a worker that was using a solvent on the open roof in order to clean the rubber membrane when the solvent spilled, and the worker slipped on the solvent. The worker was transported to a hospital. All required PPE and training was provided. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | New Building | B00895541-I1-GC | Other Construction Related Incidents | NYC DSBS | SKANSKA USA BUILDING, INC
2026-03-13 | Manhattan | 77 | WATER STREET | 0 | 1 | At the site of an existing 26-story building that was being enlarged into a 33-story building, there was a worker (a window installer) on the twelfth floor that was performing caulking work on the exterior of a window when a piece of debris from a housekeeping operation that was being performed on the fourteenth floor fell and struck the worker on the right arm. The struck worker walked to a City MD to receive treatment. There were multiple openings at the site that were unsecured and not sealed. An ECB Violation was issued for a failure to institute & maintain safety measures. A partial Stop Work Order (PSWO) was issued for all work ten feet away from the perimeter of exposure 1. | ECB Violation | 039551700P |  | ALT | M01157498-I1-GC | Other Construction Related Incidents | 77 WATER LLC | 77 WATER LLC
2026-03-16 | Bronx | 101 | EAST 150 STREET | 0 | 1 | At the site of a proposed new six-story building, there was a worker (an electrician) that was attempting to lift two spools of wire from the floor with a partner in order to place the spools in a wire rack when the worker felt pain in his back. The worker could not walk afterwards. An ambulance was called, and the worker was transported to a hospital. The workers were practicing industry standards by attempting to place the wire spools into a wire rack. There were no unsafe conditions observed. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | X00706080 | Other Construction Related Incidents | 586 RIVER AVE., LLC | Leon Dematteis Consruction
2026-03-16 | Bronx | 101 | EAST 150 STREET | 0 | 1 | At the site of a proposed new six-story building, there was a worker (an electrician) that was using a cordless drill to make small holes in the face plate of an electrical cover when the worker lost control of the drill, and a metal cutting bit ran across the palm of the worker's right hand, causing a laceration. The worker was treated by the on site medic, and then walked to a nearby City MD. The worker was not provided with a proper workstation. The worker was using the top of a wire wheel, supported by two empty tool boxes, to perform the operation. The worker was using one of their hands to hold down the material, as opposed to having the material secured. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 39551763M |  | new building | X00706080 | Material Fell | 586 RIVER AVE., LLC | Leon Dematteis Construction
2026-03-16 | Manhattan | 100 | 5 AVENUE | 0 | 1 | At the site of an existing nineteen-story building, there was a worker that was performing an interior carpentry operation when the worker fell off of a folded platform ladder. An ambulance was called, and the worker was taken to a hospital. In addition to being in a folded position, the platform ladder that the worker was using was leaning against wall. Both of these are contrary to the manufacturer's specifications. An ECB Violation was issued for a failure to institute and maintain safety measures. A partial Stop Work Order (PSWO) was issued for all elevated work involving the use of a platform ladder. | ECB Violation | 39551826K |  | ALTERATION | M01298181-I1-GC | Worker Fell | UNAVAILABLE OWNER | JRM CONSTRUCTION MGMT LLC
2026-03-19 | Bronx | 1137 | 229 DRIVE NORTH | 0 | 1 | At the site of an existing three-story building, there was a worker that was performing a window installation on the third floor that suffered a back injury. The worker was transported to a hospital. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALTERATION | X00844683-I1-GC | Other Construction Related Incidents | CSA PRESERVATION PARTNERS LLC | RIVER CITY BUILDERS LLC
2026-03-19 | Manhattan | 383 | MADISON AVENUE | 0 | 1 | At the site of an existing 44-story building, there was a worker (an electrician) on the sixteenth floor that was performing a transfer of temporary power when the worker suffered second degree burns. The worker was taken to a hospital by an ambulance. | No Dispatch |  |  |  |  | Other Construction Related Incidents | METROPOLITAN TRANSPORTATION AU | Northstar Contracting Group
2026-03-19 | Manhattan | 875 | 3 AVENUE | 0 | 1 | At the site of an existing 28-story building, there was a worker (a carpenter) that was on a platform ladder that was measuring sheetrock and communicating dimensions to a partner when the worker lost his balance and fell. The worker complained about suffering from lower back pain, and was transported to a hospital. The worker was not standing on the ladder’s working platform, and there was debris near the vicinity of the ladder. An ECB Violation was issued for a failure to comply with the manufacturer’s specifications. | ECB Violation | 039552001K |  | ALTERATION | M01300533-I1-GC | Worker Fell | 875 THIRD AVENUE LLC | JRM CONSTRUCTION MGMT LLC
2026-03-20 | Queens | 337 | BEACH 52 STREET | 0 | 1 | The Site Safety Manager reported that there was a worker that was struck in the face by the door of a porta-potty. The door was blown by the wind. The worker walked to a nearby City MD. | No Action Necessary |  |  | Q00954283 | New Building | Other Construction Related Incidents | EC A2 HOUSING DEVELOPMENT FUND | Joy Construction Corp
2026-03-23 | Bronx | 1580 | STORY AVENUE | 0 | 1 | At the site of a proposed new twenty-story building, there was a worker on the fifteenth floor that was installing metal framing when a piece of the framing came loose and struck the worker. The worker suffered a laceration on the chin. The worker went to a City MD on their own to receive treatment. The work area where the incident occurred was found to have been wet and slippery, which created a significant slip & fall hazard. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 039552110J |  | NB | 220700873-01-NB | Mechanical Construction Equipment | SOUNDVIEW EMPIRE LLC | B CONTRACTORS GROUP LLC
2026-03-23 | Manhattan | 5 | TIMES SQUARE | 0 | 1 | At the site of an existing 38-story building, there was a worker on the twenty-sixth floor that was in the process of dismantling a one-frame section of scaffolding with a partner. The worker placed his foot on the first rung of the scaffolding in order to attempt to remove the working platform when the worker lost his balance, slipped, and fell to the ground. The worker complained about suffering from lower back pain. The worker was treated by the on site medic, but then called 911 on his own. The worker was transported to a local hospital. The two workers were following the industry standard for the dismantling of scaffolding. There were no unsafe conditions observed, and all relevant paperwork was provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | M01157068 | Worker Fell | RXR 5TS OWNER LLC | Urban Ateleir Group llc
2026-03-24 | Bronx | 1400 | PELHAM PARKWAY | 0 | 1 | At the site of an existing thirteen-story building, there was a worker that was using an outrigger pulley to hoist material to the seventh floor when the pulley gave way, fell thirteen stories, and struck the worker on the shoulder. The worker was taken to a hospital. Five ECB Violations were issued. A partial Stop Work Order was issued for all exterior work at exposure 4, and for all interior work on the seventh floor. | ECB Violation | 39181740Y, 39181741X, 39181742H, 39181739R |  |  |  | Worker Fell | NYC HHC | NBA Construction Inc
2026-03-26 | Manhattan | 240 | GREENWICH STREET | 0 | 1 | At the site of an existing 23-story building, there was construction debris that was lined up to be removed, in order, from the front of the line to the back of the line. There was a worker that did not follow this order and grabbed a mini container from another area and walked around the debris that was lined up, and the worker’s leg was cut by jagged plywood. An ambulance was called. Two ECB Violations were issued: one violation for a failure to institute safety measures, and one violation for the performance of after hours work without an After Hour Variance (AHV) permit. A partial Stop Work Order (PSWO) was issued for all mini-container operations, and for all after hours work. | ECB Violation | 35668245X, 039181930 |  |  | M01292419 | Other Construction Related Incidents | THE BANK OF NEW YORK MELLON | BENCHMARK BUILDERS LLC
2026-03-27 | Bronx | 1449 | SHAKESPEARE AVENUE | 0 | 1 | At the site of an existing four-story building, there was an electrical conduit for a sidewalk shed being installed when a worker that was using a handheld saw experienced a malfunction, and the worker suffered a finger laceration. The worker was taken to an area hospital. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all electrical installations for lighting for the sidewalk shed. | ECB Violation | 39182315H |  | ALT-3 Electrical Wiring for SWS | X01324478 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | KLK Electric, INC
2026-03-27 | Manhattan | 570 | 5 AVENUE | 0 | 1 | At the site of a proposed new building in which there was an excavation operation being performed, there was a dust control worker that was standing and performing his duties when an excavator that was backing down a ramp moved and struck the worker in the back. The worker walked to an urgent care center to receive treatment. Safety measures such as a Controlled Access Zone (CAZ), adequate safe distances between workers and machines, and a designated flag person were not implemented, and there were no guardrails provided. There were more machines and equipment at the site than what was indicated on the Site Safety Plan (SSP). Three ECB Violations were issued: one violation for a failure to institute and maintain safety measures during construction operations, one violation for a failure to provide adequate protection (guardrails), and one violation for the performance of work that did not conform to the approved Site Safety Plan. A partial Stop Work Order (PSWO) was issued for all use of excavator machines. | ECB Violation | 39552328M 39552329Y 39552327K |  | FOUNDATION | M01168047-S2-FO | Other Construction Related Incidents | 46/47 OWNER LLC | RIVER CITY BUILDERS LLC.
2026-03-31 | Manhattan | 333 | EAST 38 STREET | 0 | 1 | At the site of an existing building, there was a worker (an iron worker) that was waiting at the loading dock to transport a steel cage ladder. While backing up, the worker made slight contact with an A-Frame that was loaded with material, and the A-Frame tipped over onto the worker's leg. The worker suffered a possible broken leg. The worker was transported to a hospital. There were multiple deliveries on the loading platform at the same time, and there was no room to allow the gate hoist to open at 90 degrees. The A-Frame was positioned at a slight incline, and was left unattended by workers. The length and weight of the material that was loaded onto the A-Frame was beyond the recommended amount, which caused the A-Frame to become unstable. The material was not secured, and the wheels were not chocked to prevent movement. One ECB Violation was issued. | ECB Violation | 39552435H |  | Alteration | M08030052 | Material Fell | UNAVAILABLE OWNER | Tishman Construction
2026-03-31 | Queens | 97-25 | 108 STREET | 1 | 0 | At the site of an existing three-story building, there was a worker in an exterior stairwell that lead from the ground level to the cellar that was dismantling a makeshift platform that consisted of baker scaffolding and wooden planks when the worker fell approximately twelve feet. Three days later, the worker succumbed to the injuries that were sustained. An ECB Violation was issued on April 13, 2026 for a failure to notify DOB of the incident. A full Stop Work Order (FSWO) was also issued. Additional enforcement actions were issued on April 14, 2026. | ECB Violation | 39552934M |  | Alteration | Q01011967 | Worker Fell | DEPARTMENT OF EDUCATION | Euro Castle Construction
2026-04-01 | Manhattan | 989 | 6 AVENUE | 0 | 1 | At the site of a proposed new 70-story building, there was a worker (an electrician) in the sub cellar that was on a Genie manifold that was using a bandsaw while performing a switchgear wire connection installation when the worker accidentally cut his finger. The worker was transported to a hospital. The worker did not use both hands, as required for safe operation of the bandsaw. An ECB Violation was issued for a failure to conform to the manufacturer’s specifications (for the bandsaw). | ECB Violation | 39552476Y |  | NB | M00643592 | Mechanical Construction Equipment | RPY 989 LLC | Vertcon Builders LLC
2026-04-07 | Brooklyn | 345 | LIVONIA AVENUE | 0 | 1 | At the site of an existing fourteen-story building in which there was a roof replacement and roof structure renovation being performed, during a hoisting operation, there was a worker that placed their hand in a pinch-point area between a hoisting backet and the material inside of the bucket, while the bucket was in motion, and the worker suffered an injury to a finger. The worker was transported to a hospital. The worker's action was improper, and there was a lack of effective communication at the site. An ECB Violation was issued for a failure to safeguard the public and property. A partial Stop Work Order (PSWO) was issued for all hoisting operations. | ECB Violation | 39552726H |  | ALTERATION | B00782739-I1 | Other Construction Related Incidents | NYC HOUSING AUTHORITY | J & N CONSTRUCTION GROUP
2026-04-08 | Manhattan | 45 | EAST 53 STREET | 0 | 1 | At the site of an existing twenty-story building, there was a worker on the eighteenth floor that was using stilts to perform drywall taping on a ceiling when the worker tripped and fell. The worker complained about having suffered a leg injury, and called 911 on her own. An ambulance came to the site and transported the worker to a hospital. There was material and equipment stored on the floor in the area where the incident occurred. Some of the area was covered with Masonite, which resulted in a change of elevation. The base of the worker's stilts got stuck on a piece of Masonite, which caused the worker to fall. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 39552768X |  | Alteration | M01344050 | Worker Fell | PARK 53RD OWNER LLC | Benchmark Builders LLC
2026-04-13 | Brooklyn | 809 | MIDWOOD STREET | 0 | 1 | At the site of a proposed new four-story building, there was a sidewalk shed being dismantled when a worker dropped a plank, and a co-worker was struck on the head by the plank. The struck worker was transported to a hospital. The sidewalk shed was in the last remaining stages of being dismantled when the incident took place. All required documentation for the injured worker was provided, and found to have been code complaint. However, according to the Construction Superintendent's log book, the incident took place at approximately 01:00 PM, but the incident was not reported to DOB until after 04:00 PM. An ECB Violation was issued for a failure to immediately notify DOB of the incident. | ECB Violation | 39552955L |  | New Building | B00674061 | Scaffold/Shed/Fence/Shoring/Installation | MIDWOOD RESIDENTS LLC | Precision Build USA INC
2026-04-13 | Manhattan | 655 | MADISON AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that was struck and injured during a supported pipe scaffolding operation. An ambulance was called. | No Dispatch | 39552975 Z,39552976 K ,39552977 M,39552974 R |  | Demolition | M01089781 | Material Fell | 655 MADISON LLC | Breeze National INC
2026-04-14 | Queens | 121-10 | ROOSEVELT AVENUE | 0 | 1 | At the site of a proposed new four-story building, there was a worker on the ground floor that was removing material that tripped and fell. The worker suffered a laceration to his right arm. The worker walked to a hospital on his own to be evaluated. In the area where the incident occurred, there was stored material that was not cordoned off. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 39553000N |  | NB | Q01061043-I1-GC | Other Construction Related Incidents | NYC PARKS | TISHMAN CONSTRUCTION CORP#
2026-04-15 | Manhattan | 59 | HENRY STREET | 0 | 1 | At the site of a proposed new nineteen-story building, there was a worker on the fifth floor that was using an extension ladder to attempt to remove a piece of wood from the ceiling. While the worker was descending the ladder, the ladder shifted, and the worker fell. The worker complained about suffering from pain in his right knee. An ambulance was called, and the worker was transported to a hospital. The ladder was found to have been defective, and the work area was obstructed by excessive debris & dust. Three ECB Violations were issued: one violation for a failure to comply with the manufacturer's specifications, one violation for the use of unsafe equipment, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all use of ladders, and for all elevated carpentry work. | ECB Violation | 39553030Y 39553031X 39553029R |  | NEW BUILDING | 121205365-01-NB | Worker Fell | NYC HENRY STREET GROUP LLC | FRONT WAVE CONSTRUCTION*
2026-04-16 | Manhattan | 1345 | 3 AVENUE | 0 | 1 | At the site of a proposed new sixteen-story building, there was a worker (an electrician) on the fifteenth floor that was using a pipe binder to shape a one-inch electrical conduit when the worker’s right thumb got squeezed between the binder and the pipe, and the worker’s thumb was cut. The worker was taken to a hospital by an ambulance. The worker was wearing gloves when the incident occurred. There were no unsafe conditions observed, and all requested & applicable documents were provided. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | M08013299-Z7-GC | Other Construction Related Incidents | LENOX HILL HOSPITAL | CONSIGLI CONSTRUCTION CO.
2026-04-21 | Brooklyn | 210 | JORALEMON STREET | 0 | 1 | At the site of an existing fifteen-story building, during a debris removal operation, there was a worker on the ground level that was rolling a mini-dumpster when the dumpster tipped over and landed on the worker's foot. The worker was transported to a hospital by an ambulance. All required safety procedures were being followed. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | ALT | B00907124-I1 | Other Construction Related Incidents | 210 MUNI, LLC | TECHNICO CONSTRUCTION
2026-04-21 | Brooklyn | 6414 | 8 AVENUE | 0 | 1 | At the site of a proposed new eight-story building, there were four workers on the first floor that were moving a glass panel when the glass panel slipped and fell onto one of the worker's toes. The struck worker was taken to a hospital. The safety measures to secure the glass panel during its transfer from one location to another were inadequate. An ECB Violation was issued for a failure to institute and maintain adequate safety measures. A partial Stop Work Order (PSWO) was issued for all window glass panel handling operations. | ECB Violation | 39553287J |  | NB | B00991102-I1-GC | Other Construction Related Incidents | 6418 8TH AVE REALTY LLC | XINYE CONSTRUCTION INC
2026-04-21 | Manhattan | 522 | 5 AVENUE | 0 | 1 | At the site of an existing 23-story building, there was a worker that was attempting to turn to the right a mini debris bin on the sidewalk when the debris bin fell onto the foot of another worker. The struck worker was transported to a hospital. The sidewalk was being obstructed without a Department Of Transportation (DOT) permit. The load that was in the bin was not balanced, and there were no safety measures in place for the safe handling of the debris bin. The flag person at the site did not have a flagger certificate. Two ECB Violations were issued: one violation for the absence of a DOT permit, and one violation for a failure to safeguard the public and property. A partial Stop Work Order (PSWO) was issued for all use of the sidewalk, and for all use of debris bins. | ECB Violation | 39553268Y 39553269X |  | ALT | M01352484-I1-GC | Mechanical Construction Equipment | UNAVAILABLE OWNER | L&K PARTNERS,
2026-04-22 | Brooklyn | 3 | COZINE AVENUE | 0 | 1 | At the site of a proposed new one-story building, there was a worker (a foundation laborer) that was using a hammer to remove steel plates when the banding strap around one of the plates snapped back and struck the worker's right eye. An ambulance was called, and the worker was transported to a nearby hospital. The worker was wearing all required PPE when the incident occurred. All safety requirements were found to have been met. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | B01085790-I1-GC | Other Construction Related Incidents | 303 LOUISIANA AVENUE PROPERTY | ARCO DB COMPANIES, INC
2026-04-22 | Queens | 126-87 | WILLETS POINT BOULEVARD | 0 | 1 | At the site of a proposed new five-story building (a soccer stadium), there was a worker (an electrician) that was working in the lower suite that was using a man lift to install wire racking at the top of a slab that was approximately fifteen feet in the air. The worker lowered the man lift to a height of approximately six feet, and stepped out of the machine in order to retrieve material that was stored on top of a gang box. The gang box's wheels were not locked or secured from movement, and the worker fell six feet to the concrete slab. The worker hit his head on the slab. The worker was found in an unresponsive state. The worker regained consciousness, but could not remember how he fell. The worker was transported to a hospital in a responsive and stable state. The worker was found to have been unqualified and untrained in the use of the man lift, and was not provided with a personal fall arrest system (PFAS) while operating the machine. The man lift that was being used was lowered and moved out of the area where the incident occurred. The gang box was left in place. The incident area was not isolated. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the tampering with the area of the incident. A partial Stop Work Order (PSWO) was issued for all elevated electrical work involving the use of man lifts. | ECB Violation | 39553326N 39553327P |  | new building | Q01002920 | Worker Fell | HOUS PRES DEVELOP | Turner Construction
2026-04-22 | Queens | 59-01 | 37 AVENUE | 0 | 1 | At the site of an existing one-story building that was being enlarged into a two-story building, there was a worker (a carpenter) on the second floor that was using an A-Frame ladder to install sheetrock that was attempting to close a joint and secure the sheetrock when the worker fell. The worker was transported to a hospital by an ambulance. The worker did not maintain three points of contact when using the ladder. The worker was not provided with an adequate working platform. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all use of A-Frame ladders during elevated work for carpentry operations. | ECB Violation | 39553325L |  | ALTERATION | Q01077238-I1-GC | Worker Fell | LO NYAMSHIP ASSOCIATION USA | COW BAY SPRINKLER CORP
2026-04-23 | Brooklyn | 85 | 4 AVENUE | 0 | 1 | At the site of a proposed new eighteen-story building, there was a worker on the ninth floor that was kneeling on the floor while using a grinder to cut and install aluminum metal railings for a balcony when the grinder kicked back, and the worker suffered a cut to his right hand. The worker was transported to a hospital. The grinder was not equipped with a handle, and the blade on the grinder was a diamond masonry cutting blade, and not a carbide blade. The material that was being cut was not secured. The worker did not have a proper workstation to cut the material. An ECB Violation was issued for a failure to comply with manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all exterior balcony railing installations. | ECB Violation | 39553400M |  | new building | 322002818 | Material Fell | 85 4TH AVENUE LLC | FOLXCO
2026-04-24 | Bronx | 1405 | VYSE AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building, there was a worker (a paint worker) on the eighth floor that fell approximately 4-6 feet from an A-Frame ladder. The worker was transported to a nearby hospital for evaluation. The incident occurred at 10:00 AM, but was not reported to DOB until later in the day. A step ladder was used for painting and plastering work, instead of a platform ladder. There was debris present around the work area. Three ECB Violations were issued: one violation for a failure to notify DOB of the incident, one violation for a failure to comply with the manufacturer's specifications, and one violation for a failure to maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all use of A-Frame ladders for paint work. | ECB Violation | 39553468Z 39553469K 39553495Y |  | New Buildings | X00685698-I1-GC | Worker Fell | SKMF VYSE MANAGEMENT LLC | CITY WIDE BUILDERS GRP IN
2026-04-24 | Queens | 122-02 | ROOSEVELT AVENUE | 0 | 1 | At the site of an existing five-story building, there was a worker (a steamfitter) that was standing on a six-foot tall A-Frame ladder to perform overhead hot work. The ladder was placed on top of an elevated platform. Another worker/tradesman stepped on the platform, and the platform gave way and collapsed. The worker that was on top of the ladder was tied off with a PFAS, and fell fifteen feet before the PFAS engaged. The worker was left suspended by the retractable lanyard, and was brought to the ground level by co-workers. The worker suffered a significant laceration to the wrist, and was transported to a hospital. The worker did not maintain three points of contact while using the ladder. The elevated platform that the ladder was placed on top of was incomplete and unstable. The platform was intended to be used for the storage of mechanical equipment. The area where the incident occurred was not clearly identified as a Controlled Access Zone (CAZ), which allowed for the other worker/tradesman to gain access to the platform. Three ECB Violations were issued: one Aggravated Level 2 violation for a failure to safeguard, one violation for a failure to comply with the manufacturer's specifications for ladder use, and one violation for an inadequate Pre-Shift Safety Meeting, as the Pre-Shift Safety Meeting was missing required content for the task that had been assigned to the workers. A partial Stop Work Order (PSWO) was issued for all elevated steam fitting operations on platforms or ladders. | ECB Violation | 39553471J 39553472L 39553473N |  | Alteration | Q01222548 | Worker Fell | NYC PARKS | Tishman Construction
2026-04-26 | Manhattan | 355 | EAST 86 STREET | 0 | 2 | At the site of a proposed new 23-story building, there were workers that were preparing for a crane operation that were using a forklift to unload materials from a flatbed truck when materials fell off and struck an incoming Uber vehicle. Both the Uber driver and passenger refused medical attention and remained on scene. There were flaggers in place, but the flaggers did not stop traffic. An ECB Violation was issued for a failure to safeguard the public and property. A partial Stop Work Order (PSWO) was issued for all street operations. | ECB Violation | 39186061P |  | M01146211. |  | Other Construction Related Incidents | EAST 86 REALTY LLC | B CONTRACTORS GROUP LLC
2026-04-27 | Manhattan | 1011 | 1 avenue | 0 | 1 | At the site of an existing 20-story building that is to be enlarged into a 27-story building, there was a worker on the seventeenth floor that was using an eight-foot tall ladder when the worker fell approximately four feet from the ladder, and struck and scraped his knee on metal. The worker was treated at a City MD, and was then released. The worker returned to the site. The worker was facing away while performing work, which was contrary to the manufacturer's specifications. An ECB Violation was issued for a failure to comply with the manufacturer's specifications. | ECB Violation | 39553501L |  | Alt | M01216837-I1-GC | Worker Fell | X11 FIRST AVE LLC | X11 FIRST AVE LLC
2026-04-28 | Bronx | 671 | BROOK AVENUE | 0 | 1 | At the site of a proposed new 26-story building, there was a worker on the fifteenth floor that was removing a metal angle bracket when the worker started to experience back pain. The worker was transported to a hospital. All required safety precautions were in place. However, the work area was found to have been wet and slippery. An ECB Violation was issued for a failure to maintain adequate housekeeping. | ECB Violation | 39553562P |  | NB | 210180766-01 | Other Construction Related Incidents | LA CENTRAL PHASE II HOUSING DE | SKYCORE BUILDERS, INC
2026-04-30 | Bronx | 221 | WEST 233 STREET | 1 | 0 | At the site of an existing five-story building, there was a worker that went onto a C-Hook suspended scaffold platform in order to attempt to lower the scaffold. While the scaffold was being lowered, it went vertical, and the worker fell approximately forty-five feet. An ambulance was called, and the worker was transported to a nearby hospital. The worker succumbed to the injuries that were sustained. The worker did not attach a safety harness to a lifeline. There were no additional safety measures provided to safeguard a worker from a falling hazard. The work that was being performed was not permitted, and the suspended scaffolding was installed without notifying DOB. A DOB Violation and a full Stop Work Order (FSWO) were issued. | DOB Violation |  | VIO26-50564 |  |  | Worker Fell | 217 LLC | U.S. GENERAL CON & PAINTING
2026-04-30 | Queens | 122-10 | ROOSEVELT AVENUE | 0 | 1 | At the site of a proposed new four-story building, there was a worker that was kneeling in front of an occupied scissor lift that was setting up a laser for a ceiling placement when the scissor lift was moved towards the direction of the worker, and the worker was struck on the right foot. The worker was transported to a hospital. The operator of the scissor lift failed to follow the manufacturer’s specifications. There was no documentation provided that showed that all workers were informed and trained in the use of scissor lifts. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for a failure to comply with manufacturer’s specifications. A partial Stop Work Order (PSWO) was issued for all lift operations. | ECB Violation | 39553675L 39553676N |  | nb | Q01061043-I1 | Mechanical Construction Equipment | NYC PARKS | : Tishman Construction Corp
2026-05-01 | Manhattan | 130 | LAFAYETTE STREET | 0 | 1 | At the site of a proposed new twenty-five story new building, there were four workers that were manually lifting a panel from an A-Frame. One of the workers attempted to lean the panel against another panel that was positioned along the wall, and the worker got his finger caught between the two panels. The worker received first aid on site, and was then transported to a hospital. All safety precautions were taken. The incident was determined to have occurred as the result of a worker error, as the worker's hand was placed in the wrong location during the operation. No enforcement action was necessary. | No Action Necessary |  |  | NB | M08022114-I1-NB | Other Construction Related Incidents | YEE TAI ENTERPRISESCORP
2026-05-01 | Manhattan | 510 | MAIN STREET | 0 | 1 | At the site of an existing seven-story building, there was a pipe scaffold that was above a sidewalk shed on the west side of the building that was being dismantled when a worker that was on the scaffold at a height of approximately twelve feet missed his footing and fell onto the sidewalk shed deck. The worker was transported to a hospital. The contractor had failed to provide adequate safety measures to ensure a safe scaffold dismantling operation. The scaffolding that was being dismantled was not shown on any approved drawings. Two ECB Violations were issued: one violation for a failure to maintain a record of orientations performed at the site, and one violation for the performance of work that did not conform to the approved construction documents. A partial Stop Work Order (PSWO) was issued for all supported pipe scaffolding dismantling. | ECB Violation | 39553737H - 39553738J |  | FAÇADE ALTERATION | M00468914-I1-GC | Worker Fell | ROOSEVELT ISLAND OPERATING COR | JASA NYC GROUP INC
2026-05-04 | Brooklyn | 85 | 4 AVENUE | 0 | 1 | At the site of a proposed new twelve-story building, there was a worker in a mechanical room in the cellar that was using an A-Frame ladder to install sprinkler pipes when the worker fell from the ladder and landed on the floor. The worker suffered injuries to his head, right shoulder, and elbow. The worker was transported to a hospital. The worker had tools and materials in both of his hands, and was not able to maintain three points of contact with the ladder. An ECB Violation was issued for a failure to comply with manufacturer's specifications. A partial Stop Work Order (PSWO) was issued for all elevated sprinkler work. | ECB Violation | 39553794Y |  | new building | 322002818 | Worker Fell | 85 4TH AVENUE LLC | FOLXCO LLC
2026-05-04 | Queens | 122-02 | ROOSEVELT AVENUE | 0 | 1 | At the site of a proposed new four-story building, there were two workers that were using metal framing to enter an open pit on the roof that was 8-10 feet deep when one of the workers slipped and suffered an ankle injury. The injured worker was transported to a hospital. The contractor had failed to provide an adequate means of ingress and egress for workers to the roof pit. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all operations within the roof pit. | ECB Violation | 39553754J |  | NB | Q01061043-I1-NB | Worker Fell | NYC PARKS | Tishman Construction Corp
2026-05-05 | Brooklyn | 757 | FLATBUSH AVENUE | 0 | 1 | At the site of a proposed new nine-story building that was at an earthwork/foundation phase, while there was a sidewalk shed being erected, there was a worker that was standing on a truck bed that was attempting to hoist an I-Beam when the worker lost balance and fell on the sidewalk. The worker complained about experiencing hip and neck pain. The worker was transported to a local hospital. There was a lack of safety measures and protection for the hoisting operation. An ECB Violation was issued for a failure to institute and maintain safety measures. | ECB Violation | 39553834J |  | EARTHWORK | B00902739-S6-FO-EA | Worker Fell | NERE FLATBUSH MANAGEMENT LLC | NEW EMPIRE BUILDER CORP.
2026-05-05 | Queens | 29-24 | 40 AVENUE | 0 | 1 | The Site Safety Manager reported that there was a worker that tripped down the stairs on the twelfth floor. The worker complained about suffering from leg pain. The worker was transported to a hospital. | No Dispatch |  |  | NB Major Building | Q00682330 | Worker Fell | LIC 40TH AVENUE OWNER LLC | LIC 40th ENTERPRISE LLC
2026-05-05 | Queens | 86-50 | DONGAN AVENUE | 0 | 1 | At the site of a proposed new seven-story building, there was a worker that was performing housekeeping duties that was asked to assist two workers on an exterior supported scaffold with the installation of an EIFS (Exterior Insulation Finish System) at the fifth floor level. The worker was attempting to hold onto the cross bracing when the worker fell approximately eighteen feet and landed on the third floor working platform. The worker was transported to a hospital. When the worker was transported to a hospital, he was unconscious, but breathing, and was suffering from head and neck trauma. The worker suffered multiple fractures in the right arm, shoulder, and leg. The site was under a partial Stop Work Order (PSWO) that was issued on 2/5/2026 for the presence of supported scaffolding that was not as per code. This partial SWO prohibited work on scaffolding at all exposures. The supported scaffold that was being used was red-tagged, and was not for use. The worker was not wearing a PFAS (Personal Fall Arrest System). The worker had never been on a supported scaffold before, and did not have the training to do so. There were no Construction Superintendent Log Books to review. Eight total ECB Violations were issued: one violation for a failure to safeguard, one violation for a failure to ensure that a worker had completed the required training, one violation for the absence of a log book, one violation for a failure to provide a Site Safety Orientation for all workers, one violation for a failure to conduct a Pre-Shift Safety Meeting, one violation for a failure to notify DOB of the incident, one violation for a failure to comply with a Stop Work Order, and one violation for a failure by the Construction Superintendent to perform their duties. A full Stop Work Order (FSWO) was issued. | ECB Violation | 39553852N 39553851L 39553855Z 39553854R 39553853P 39553830M 39553847Z 39553845P |  | NEW BUILDING | 420300533 | Worker Fell | 86-50 DONGAN AVE LLC | HUA YANG INC
2026-05-06 | Brooklyn | 372 | LIVINGSTON STREET | 0 | 1 | At the site of a proposed new twenty-four story building, an unidentified female entered the job site at approximately 10:00 AM to report that a falling object struck her leg at around 08:00 AM. The female left the site to seek medical attention and filed a 311 Complaint (Complaint # 3A60756). Three ECB Violations were issued: on violation for a failure to safeguard the public and property, one violation for a failure to immediate notify DOB of the incident, and one violation for a failure by the Site Safety Manager (SSM) to perform their duties. A partial Stop Work Order (PSWO) was issued for all facade operations. | ECB Violation | 39553860N 39553861P 39553862R |  | NEW BUILDING | B00814498-I1-GC | Other Construction Related Incidents | 372 LIVINGSTON LLC | DEVELOPING NY STATE LLC
2026-05-07 | Bronx | 801 | TILDEN STREET | 0 | 1 | At the site of an existing 29-story building, there were workers on the second floor that were loading wheelbarrows in order to drop material from the second floor to a container that was on the ground floor when a worker that was inside of the container was struck by bricks, and the worker fell out of the container and onto the ground. The worker was taken to a hospital by an ambulance. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the dropping or throwing of material from a building or structure. A partial Stop Work Order (PSWO) was issued for all work under Job Number X00848129. | ECB Violation | 39187683Y 39187684X |  | Alt | X00848129-l1-GC-CX | Other Construction Related Incidents | TILDEN TOWERS II | MILLENIUM RESTORATION COR
2026-05-07 | Manhattan | 1578 | LEXINGTON AVENUE | 0 | 1 | At the site of a proposed new thirteen-story building, there was a worker (a welder) that was descending from the cellar level after cutting excess piles when the worker lost his footing and fell approximately three feet. The worker suffered an injury to his right knee, and was transported to a hospital. The platform that the worker was descending from was found to have been unsafe. Two ECB Violations were issued: one violation for a failure maintain safety measures, and one violation for a failure to maintain adequate housekeeping. | ECB Violation | 39553894L 39553878L |  | NB | M00755303-I1-GC | Worker Fell | LEXINGTON TWO HOLDINGS LLC | SD BUILDERS AND CONSTRUCT
2026-05-11 | Queens | 137 | BEACH 30 STREET | 0 | 1 | At the site of a proposed new seven-story building, there was a worker on the second floor that was performing a rebar inspection when the worker slipped at a column opening. The worker suffered a laceration to his left leg. An ambulance was called, and the worker was able to walk to the ambulance to be evaluated. The column opening was not adequately secured or guarded. An ECB Violation was issued for a failure to institute safety measures. | ECB Violation | 039553964H |  | NEW BUILDING | Q01177691-I1-GC | Worker Fell | BEACH 30 MULTIFAMILY LLC | ON STAR MANAGEMENT LLC
2026-05-12 | Brooklyn | 372 | LIVINGSTON STREET | 0 | 1 | At the site of a proposed 24-story new building, there was a worker on the second floor that was cleaning while there were two other workers that were working inside of an elevator shaft above when a bolt fell from the elevator shaft and struck the worker that was cleaning. The worker was struck on her lower right torso and lower right arm. The worker was taken to a nearby medical facility. The object that was involved with the incident was not available for review as of the time of inspection. Two ECB Violations were issued: one violation for a failure to safeguard, and one violation for the tampering with the evidence of the incident. A partial Stop Work Order (PSWO) was issued for all elevator operations. | ECB Violation | 39554050X 39554051H |  | NB | B00814498-I1-GC | Other Construction Related Incidents | 372 LIVINGSTON LLC | Developing New York State LLC
2026-05-12 | Manhattan | 740 | PARK AVENUE | 0 | 1 | At the site of an existing eighteen-story building in which there was façade repair work being performed, there was a worker (a sidewalk shed installer) that was attempting to descend from a baker scaffold when the worker fell approximately six feet. The worker was suffering from back pain, and was transported to a nearby hospital. The General Contractor had failed to provide adequate safety measures to ensure a safe sidewalk shed installation. The scaffold was missing guardrails. An ECB Violation was issued for the presence of an unsafe scaffold. | ECB Violation | 39554052J |  | Façade | M01246929-I1-GC | Worker Fell | THE 740 CORPORATION C/O BROWN | WEST NEW YORK RESTORATION
2026-05-13 | Brooklyn | 540 | Degraw Street | 0 | 1 | At the site of a proposed new ten-story building, there was a worker that was carrying three studs when the worker tripped and fell. The worker was found lying on the sixth floor level near the staircase. The worker was experiencing pain in his back and neck. An ambulance was called, and the worker was transported to a hospital. All required safety measures were in place, and there were no unsafe conditions observed. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | B00600959-I1-GC | Worker Fell | 545 SACKETT LLC | MEGA CONTRACTING GP LLC
2026-05-13 | Manhattan | 222 | BROADWAY | 0 | 1 | At the site of an existing 31-story building, there was a worker that was transporting an equipment cart that was loaded with electrical material when the worker fell from the third floor to the second floor. The worker suffered injuries to her lower back, and left the site to go to a hospital on her own. The incident took place at 08:40 AM, but was not reported to DOB until 01:47 PM. The worker was using a cart to transport materials down the staircase, when there was a temporary hoist that was available for use. Two ECB Violations were issued: one violation for a failure to immediately notify DOB of the incident, and one violation for a failure to maintain safety measures. | ECB Violation | 39554104M 39554105Y |  | alteration | M01084525 | Worker Fell | BROADWAY 2024 PROPCO, LLC | Leeding Builders Group LL
2026-05-14 | Manhattan | 40 | EXCHANGE PLACE | 0 | 1 | At the site of an existing twenty-story building, there were two workers that were attempting to remove an electrical box that weighed approximately 100 pounds when one of the workers complained about suffering back pain and fell to the ground. The worker was taken to a nearby hospital. The two workers were not provided with safety measures, such as straps, bracing, or hoisting or moving equipment to lift or hoist the electrical box. The area where the incident took place was not maintained to be free of tripping or falling hazards. An ECB Violation was issued for a failure to provide and maintain adequate safety measures. | ECB Violation | 39554139 M |  | Alteration 1 | M01233357 | Other Construction Related Incidents | 40 X OWNER LLC | Promethean Builders LLC
2026-05-17 | Bronx | 1580 | STORY AVENUE | 0 | 1 | At the site of a proposed new twenty-story building that has an active After Hour Variance (AHV) permit, there was a worker on the ground floor that was loading an A-Frame with sixteen pieces of sheetrock when the A-Frame tipped over, and the worker's right hand was caught between the A-Frame and a hoist. An ambulance was called. An ECB Violation was issued for a failure to institute adequate safety measures. | ECB Violation | 39188913P |  | New Building | 220700873 | Worker Fell | SOUNDVIEW EMPIRE LLC | B CONTRACTORS GROUP LLC
2026-05-18 | Brooklyn | 295 | WILLOUGHBY AVENUE | 0 | 1 | At the site of a proposed new four-story building, there were workers that were using a mobile crane to erect a twelve-foot long steel beam from the cellar level to the first floor when the beam got wedged between two steel columns on the first floor. While the beam was being freed, the beam fell from its rigging and struck a worker (a rigger) on the first floor. The struck worker suffered arm and back injuries. An ambulance was called, and the worker was taken to a hospital. The struck worker did not possess a valid rigging certification. There was inadequate clearing for hoisting, and there was no tagline or additional safety measures provided to safeguard the steel beam for a free-fall hazard. The Pre-Shift Safety Meeting did not contain contents for the scope of work. Five total ECB Violations were issued: one violation for a failure to safeguard, one violation for a failure to communicate required information to workers during the Pre-Shift Safety Meeting, and three violations, one to the General Contractor, one to the crane user, and one to the lift director, for unsafe hoisting. A partial Stop Work Order (PSWO) was issued for all hosting operations, and for related CN’s at 297 Willoughby Avenue and 293 Willoughby Avenue. | ECB Violation | 039189031H, 039189040J, 039189047M, 39554257N, 39554258P |  | New Building | B01230448 | Mechanical Construction Equipment | 295 WILLOUGHBY LLC | Western Builders INC
2026-05-18 | Manhattan | 401 | EAST 51 STREET | 0 | 1 | At the site of a proposed new twenty-nine story building, there was a worker that was climbing a gang ladder from the 28th floor to the 29th floor when the worker lost his balance, fell, and struck his head on a concrete wall. The worker suffered a small cut on the back of his head, and was transported to a hospital. The worker was not transporting any material or equipment while climbing the ladder. All required documentation for the worker was found to be in compliance. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | new building | M00951363 | Worker Fell | 51 STREET DE OWNER LLC | CM AND ASSOCIATES
2026-05-18 | Queens | 11-37 | 44 DRIVE | 0 | 1 | At the site of a proposed new eight-story building, there were two workers that were in the process of moving a window panel onto an A-Frame cart when the panel fell onto one of the workers, and the worker suffered a cut to his lip. An ambulance was called, and the worker was transported to a hospital. There was no bracing or tiebacks in place. The General Contractor and window company failed to properly communicate to workers safety procedures for handling & moving windows, and for performing window installations. There was no documentation provided to indicate that this information was ever communicated. There was a barrier system set up in the roadway for a temporary bicycle lane that was missing coupling. Three ECB Violations were issued: one violation for a failure to maintain adequate bracing of materials, one violation for a failure to communicate safety procedures, and one violation for a failure to comply with the manufacturer's specifications (for the barrier system). A partial Stop Work Order (PSWO) was issued for all window operations. | ECB Violation | 39554241Z 39554242K 39554245X |  | NB | Q01139599-I1-NB | Other Construction Related Incidents | 44LIC DEVELOPMENT SP LLC | TERRA DEVELOPERS, LLC
2026-05-20 | Manhattan | 45 | TUDOR CITY PLACE | 0 | 1 | There was a worker that was on the fifth floor pipe scaffolding when the worker's left upper thigh was cut/lacerated by a glass panel. The worker called an ambulance, and was transported to a hospital. | No Dispatch |  |  | ALTERATION - FAÇADE | M00793721-I1-GC | Other Construction Related Incidents | PROSPECT OWNERS CORP | BREND RESTORATION LLC
2026-05-22 | Bronx | 660 | FOX STREET | 0 | 1 | The Construction Superintendent reported that there was a worker on the second floor that was installing an air conditioner bracket when the worker suffered an injury. The worker was transported to a hospital. This incident took place on May 22, 2026, but was not reported to DOB until May 26, 2026. | No Dispatch |  |  | ALT-2 Permit | X00667718 | Other Construction Related Incidents | DEPARTMENT OF EDUCATION | Padilla Construction Serv
2026-05-22 | Queens | 1-55 | 54 AVENUE | 0 | 1 | At the site of a proposed new five-story building, there was a worker on an A-Frame ladder that was in the process of moving a switchgear electrical box with other workers. The worker on the ladder was attempting to adjust a loose strap while the electrical box was in mid-air when the loose strap jolted, which caused the electrical box to swing, strike the worker, and knock the worker off of the ladder. The worker was transported to a hospital. The contractor failed to provide adequate rigging certifications and training for the workers that were performing the rigging work. A proper working platform was not provided for safe rigging operations. The workers were not informed of or trained in safe material handling during the Pre-Shift Safety Meeting. There was a Manitou rotational telescopic handler at the site. Adequate credentials from both DOB and Manitou for operating this machine were provided, but the machine was not indicated on the approved Site Safety Plan (SSP). Four ECB Violations were issued: one violation for a failure to safeguard, one violation for a failure to provide and maintain a safe working platform for workers, one violation for a failure to train and instruct workers on safe material handling, and one violation for a failure to have adequate Site Safety logistics documented. A partial Stop Work Order (PSWO) was issued for all hoisting operations, and for all use of Manitou rotational telescopic handlers. | ECB Violation | 39554543Y 39554544X 39554546J 39554545H |  | NB | 421104147 – 01-NB | Material Fell | NYC HPD | NAVILLUS TILE INC
2026-05-22 | Queens | 337 | BEACH 52 STREET | 0 | 1 | At the site of a proposed new eighteen-story building, there was a worker that was on a multi-point/suspended scaffold on the sixteenth floor level, outside of the building, that was receiving material (a brick angle iron) from the inside of the building through an open window when the worker tripped over debris and material, and the worker dropped the brick angle iron onto his leg and ankle. The worker could not stand up afterwards. The scaffold was lowered to the ground level, and the worker was transported to a hospital. The Pre-Shift Safety Meeting that was held at the site was found to have been inadequate for the scope of work that was being performed. Two ECB Violations were issued: one violation for a failure to maintain adequate safety measures, and one violation for a failure to communicate required information during the Pre-Shift Safety Meeting. A partial Stop Work Order (PSWO) was issued for all installations of brick angle shelving. | ECB Violation | 39554540Z 39554541K |  | new building | Q00954283 | Material Fell | EC A2 HOUSING DEVELOPMENT FUND | Joy Construction Group
2026-05-25 | Brooklyn | 138 | OSBORN STREET | 0 | 1 | At the site of a proposed new nine-story building, there was a worker that was attempting to install a plastic barrier to shelter other workers that were performing a welding operation when the worker slipped and fell. The worker suffered injuries to the arm, leg, and back. The worker was taken to a nearby urgent care facility by a supervisor. The area where the incident occurred was consumed with water, which created an unsafe slipping and falling condition. The General Contractor had failed to institute and maintain adequate safety measures for the scope of work. An ECB Violation was issued for a failure to provide and maintain adequate housekeeping. A partial Stop Work Order (PSWO) was issued for all work at exposure 3 ten feet back from the perimeter line. | ECB Violation | 39554590R |  | New Building | B01208799 | Worker Fell | OSBORN COMMONS LLC | Innovative Construction NYC LLC
2026-05-26 | Bronx | 3850 | REVIEW PLACE | 0 | 1 | At the site of a proposed new six-story building, there was a worker that was moving material up a ladder from the third floor to the fourth floor when the worker lost his footing and fell. The worker suffered an injury to his left shoulder, and was transported to a hospital by an ambulance. All safety measures were found to be in place. The incident was determined to have occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NB | X00875055-I1-NB | Other Construction Related Incidents | NEW YORK CITY SCHOOL CONSTRUCT | TECHNICO CONSTRUCTION
2026-05-26 | Brooklyn | 6208 | 8 AVENUE | 0 | 1 | At the site of a proposed new 28-story building, there was a worker that was in the process of insulating refrigeration lines on the ninth floor when the worker stepped on an unsecured hole opening, and the worker fell approximately eleven feet through the hole opening, landing on the eighth floor slab. The worker was conscious, and was able to walk to the temporary hoist. The worker met with emergency personnel on the ground floor, and was transported to a hospital. There was a cover over the hole opening, but the cover was not secured to the slab. The hole coverings at the site were not secured or visually inspected prior to the commencement of work. There was no Controlled Access Zone (CAZ) established. An ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all installation & insulation of refrigeration lines throughout the site. | ECB Violation | 39554629P |  | New Building | B00754062 | Worker Fell | TWRLR TOWER LLC | On Star Management
2026-05-27 | Manhattan | 740 | 8 AVENUE | 0 | 1 | At the site of a proposed new sixty-story building, there was a worker on the 39th floor deck that was using a gas-powered demo saw to cut rebar. The worker placed the saw down on the deck, while the blade was still moving, and the saw kicked back and struck the worker's right lag. The worker suffered a large cut, and was transported to a hospital. The worker was not provided with a proper workstation to cut the rebar. An ECB Violation was issued for a failure to safeguard. A partial Stop Work Order (PSWO) was issued for all use of demo saws for rebar cutting operations. | ECB Violation | 39554693J |  | New building | 121208326 | Mechanical Construction Equipment | 45TH OWNER LLC | Suffolk Construction
2026-05-27 | Manhattan | 77 | WATER STREET | 0 | 1 | At the site of an existing building 26-story building that was being enlarged into a 33-story building, there was a worker (an iron worker) that was attempting to rig a steel I-Beam to a derrick crane. When the worker pulled the tag line tight, the beam rolled and pinned the worker's leg. The worker suffered an injury, and was transported to a hospital. The I-Beam was not on the hook of the crane, and was not being lifted, as of the time of the incident. The I-Beam that was being lifted was too heavy on one side, and was not adequately supported. An ECB Violation was issued for a failure to maintain safety measures. A partial Stop Work Order (PSWO) was issued for all rigging operations on the twenty-eighth and twenty-ninth floor decks. | ECB Violation | 39554692H |  | structural | M01157498 | Material Fell | 77 WATER LLC | 77 water LLC
2026-05-28 | Manhattan | 255 | EAST 77 STREET | 0 | 1 | At the site of a proposed new 33-story building, there was a worker that was using an A-Frame ladder to perform carpentry work when the worker lost his balance and fell from the second rung of the ladder. The worker suffered an injury to his left knee, and was transported to a hospital. All required safety measures were found to have been in place. It was determined that the incident occurred as the result of a worker error. No enforcement action was necessary. | No Action Necessary |  |  | NEW BUILDING | M00798756-I1-GC | Other Construction Related Incidents | 255 EAST 77TH ST OWNER LLC | NEW LINE STRUCTURES & DEV