| A SUBSTRUCTURE: e.g: foundations, subgrade enclosures, slabs |  |
| --- | --- |
| A10 | Foundation Performance Requirements |
| Describe foundation performance requirements including but not limited to: - Soil Bearing Value – soil bearing pressure and lateral earth pressure - Load Capacity - Bearing strata - Settlement |  |
| A10 | Foundation Prescriptive Requirements |
| Describe any standard and/or special foundation prescriptive requirements |  |
| A20 | Subgrade Enclosure Performance Requirements |
| Describe subgrade enclosure performance requirements including but not limited to: - Thermal Resistance - Lateral Earth Pressures - Water Vapor Transmission |  |
| A20 | Subgrade Enclosure Prescriptive Requirements |
| Describe any subgrade enclosure prescriptive requirements, as applicable |  |
| A40 | Slab-on-Grade Performance Requirements |
| Describe slab-on-grade performance requirements including but not limited to: - Load Capacity - Thermal Resistance - Water Vapor Transmission Resistance - Levelness |  |
| A40 | Slab-on-Grade Prescriptive Requirements |
| Describe any slab-on-grade prescriptive requirements, as applicable |  |
| A60 | Water and Gas Mitigation Requirements |
| Describe any building subdrainage and off-gassing mitigation performance and/or prescriptive requirements, as applicable |  |
| A90 | Substructure Related Requirements |
| Describe any substructure excavation, dewatering, support and soil treatment performance and/or prescriptive requirements, as applicable |  |
| B SHELL: e.g. envelopes, facades, windows, skylights, roofing systems, superstructure |  |
| B10 | Superstructure Performance Requirements |
| Describe floor and roof performance requirements including but not limited to: - Load Capacity - Deflection - Allowable drift - Vibration - Fire Rating - Sound Transmission - Levelness - Thermal Resistance - Water Vapor Transmission Resistance |  |
| B10 | Superstructure Prescriptive Requirements |
| Describe any floor structure, roof structure, floor deck, slab, toppings, ramp and stair prescriptive requirements, as applicable. |  |
| B20 | Exterior Vertical Enclosure Performance Requirements |
| Describe exterior wall, window and door performance requirements including but not limited to: - Wind Load Capacity and Windborne Debris Resistance - Fire Rating - Thermal Resistance - Vapor Transmission and Water Resistance - Air Infiltration Resistance - Sound Transmission - Window Performance Class and Grade - Condensation Resistance - Shading Coefficient - Visible Light Transmittance |  |
| B20 | Exterior Vertical Enclosure Prescriptive Requirements |
| Describe any exterior wall construction, assemblies, air barriers, windows, curtain walls, storefronts and doors prescriptive requirements, as applicable. |  |
| B30 | Exterior Horizontal Enclosure Performance Requirements |
| Describe roofing enclosure and horizontal opening performance requirements including but not limited to: - Sustainable Design Requirements - Wind Resistance - Solar Reflectance - Fire Rating - Thermal Resistance and Energy Performance - Water Vapor Transmission Resistance |  |
| B30 | Exterior Horizontal Enclosure Prescriptive Requirements |
| Describe any roofing, roof appurtenance, traffic bearing horiztonal enclosure, overhead enclosure and horizontal opening prescriptive requirements, as applicable |  |
| C INTERIOR: e.g. finishes, specialty wall/floor coverings |  |
| C10 | Interior Construction Performance Requirements |
| Describe interior partition, window, door, suspended ceiling, and raised floor performance requirements including but not limited to: - Lateral Load capacity - Fire Rating - Thermal Resistance - Flame Spread Index |  |
| C10 | Interior Construction Prescriptive Requirements |
| Describe any interior partition, window, door and ceiling prescriptive requirements, as applicable. |  |
| C20 | Interior Finish Performance Requirements |
| Describe wall, floor, stair and ceiling finish performance requirements including but not limited to - Flame Spread Index - Light Reflectance - Sound Absorption - Slip Resistance - Static Dissipative - Chemical and Acid Resistance |  |
| C20 | Interior Finish Prescriptive Requirements |
| Describe any wall, floor, stair, ceiling finish’ and interior fabrication prescriptive requirements, as applicable |  |
| D SERVICES: Conveying, Plumbing, Mechanical, Fire Protection, Electrical, Communications, Electronic Safety and Security, Integrated Automation |  |
| D10 | Conveying Performance Requirements |
| Describe elevator, escalator, material handling and horizontal conveying performance requirements including but not limited to: - Cab Capacity - Car Load Capacity - Car Speed - Door Opening Speed |  |
| D10 | Conveying Prescriptive Requirements |
| Describe any elevator, escalator, material handling, horizontal conveying and operable access systems prescriptive requirements, as applicable |  |
| D20 | Plumbing Performance Requirements |
| Describe domestic water distribution, sanitary drainage, building support/stormwater systems and process water support systems performance requirements including but not limited to: - Sustainable Design Requirements - Plumbing Fixture Water Consumption - Stormwater Management |  |
| D20 | Plumbing Prescriptive Requirements |
| Describe any domestic water distribution, sanitary drainage, building support/stormwater systems and process water support systems presectriptive requirements, as applicable |  |
| D30 | HVAC Performance Requirements |
| Describe the facility fuel, heating, cooling, air distribution and ventilation performance requirements (for occupied and unoccupied conditions) including but not limited to: - Indoor and Outdoor Design Conditions - Temperature and Humidity Levels - Dew Point Analysis - Ventilation Rates - Dehumidification - Pressurization Criteria - Acoustical Performance - Sustainable design requirements - Filtration efficiency - Fan Total Airflow and External static Pressure - Pressure Class - Seal Class and Leakage Class for Exhaust Ducts |  |
| D30 | HVAC Prescriptive Requirements |
| Describe any facility fuel, heating, cooling, air distribution and ventilation prescriptive requirements, as applicable |  |
| D40 | Fire Protection Performance Requirements |
| Describe water-based fire suppression performance requirements including but not limited to: - Sprinkler Occupancy Hazard Classifications - Standard-Pressure Piping Working Pressure - High-Pressure Piping Working Pressure |  |
| D40 | Fire Protection Prescriptive Requirements |
| Describe any water-based fire suppression, fire extinguishing and fire specialty prescriptive requirements, as applicable |  |
| D50 | Electrical Performance Requirements |
| Describe facility power generation (photovoltaic, generators, etc.), electrical service and distribution, general purpose electrical, lighting and lightning protection performance requirements including but not limited to: - Voltage - Power Output Ratings - Sustainable lighting design - Light levels for various area |  |
| D50 | Electrical Prescriptive Requirements |
| Describe any facility power generation (photovoltaic, generators, etc.), electrical service and distribution, general purpose electrical, lighting and lightning protection perscriptive requirements, as applicable. |  |
| D60 | Communications Performance Requirements |
| Describe data, voice, audio/video and distributed communications and monitoring performance requirements |  |
| D60 | Communications Performance Requirements |
| Describe any data, voice, audio/video and distributed communications and monitoring prescriptive requirements, as applicable. |  |
| D70 | Electronic Safety and Security Performance Requirements |
| Describe access control, surveillance, alarm, detection and monitoring and control performance requirements as applicable |  |
| D70 | Electronic Safety and Security Prescriptive Requirements |
| Describe any access control, surveillance, alarm, detection and monitoring and control rescriptive requirements, as applicable |  |
| D80 | Integrated Automation Performance Requirements |
| Describe integrated automation facility controls performance requirements |  |
| D80 | Integrated Automation Prescriptive Requirements |
| Describe any integrated automation facility controls prescriptive requirements, as applicable |  |
| E EQUIPMENT & FURNISHINGS: e.g. furniture systems |  |
| E10 | Equipment Requirements |
| Describe any vehicle and pedestrian, commercial/institutional/residential equipment, entertainment and recreation equipment performance and/or prescriptive requirements, as applicable |  |
| E20 | Furnishings Requirements |
| Describe any fixed and moveable furnishing performance and/or prescriptive requirements, as applicable |  |
| F SPECIAL CONSTRUCTION & DEMOLITION: e.g. athletic/recreation, pools, hazmat, selective demo |  |
| F10 | Special Construction Requirements |
| Describe any integrated construction, special structure, special functional construction and facility components, etc performance and/or prescriptive requirements, as applicable |  |
| F20 | Facility Remediation Requirements |
| Describe any hazardous material remediation performance and/or prescriptive requirements, as applicable |  |
| F30 | Demolition Requirements |
| Describe any structure and/or selective demolition performance and/or prescriptive requirements, as applicable |  |
| G SITEWORK: e.g. regrading, improvements, plantings, benches, roadways, plazas, utility systems |  |
| G10 | Site Preparation Requirements |
| Describe any site clearing, demolition, remediation, relocation and earthwork performance and/or prescriptive requirements, as applicable |  |
| G20 | Site Improvement Requirements |
| Describe any site roadways, parking lots, landscaping, pedestrian plaza and walkways, athletic, recreation and playfield areas and development performance and/or prescriptive requirements, as applicable |  |
| G30 | Liquid and Gas Site Utilities Requirements |
| Describe any site water, sanitary, stormwater drainage and energy distribution performance and/or prescriptive requirements, as applicable. |  |
| G40 | Electrical Site Improvement Requirements |
| Describe any site electrical distribution and lighting performance and/or prescriptive requirements, as applicable |  |
| G50 | Site Communication Requirements |
| Describe any site communication performance and/or prescriptive requirements, as applicable |  |