## Slide 1: Enhancing New York City Utilidors Design Using Artificial Intelligence Tools
Alec Tristani, Chloé Arson
June 9th 2026
Based on the work of 17 motivated undergraduate and graduate students:
Royce Andrews, Junwon Hur, Yiksan Yu, Qinghe Xu, Tanvi Saxena, Ivy Quan, Matthew Zhang, Karen Chen, Andy Chen, Annelise Gross, Caroline Schell, Fatima Bah, Ian Grenda, Rachel Kan, Jessie Chen, Caitlyn Chen and Emi Matsumoto.

## Slide 2: New York City traffic statistics
Highest traffic delay times by city – Worldwide (2024)

## Slide 3: Why utilidors?
Hand Excavation to expose the Interfering Telecom and Electrical Utilities Overlying the New Water Main Alignment
Exposed Telecom and Electrical Utilities with the start of Casing Removal
Benefits of utilidors:
Eﬀective use of ground level surface;
Long-term management, accessibility and productivity;
Less prone to wear and tear;
Long-term outlook outweighs the short-term costs.

## Slide 4: What are utilidors?
Conventional Access to a Utilidor
 Electricity, gas, water & telecoms
Inside utilidors

## Slide 5: Plan of the presentation
2D numerical model
Cross-section shapes & dimensional requirements
Provide design recommendations for the construction of utilidors across the city
II/ Numerical study
Artificial neural networks
Dataset generation
Online application
III/ Machine learning surrogate model
Utilidors around the world
New York City’s geology
Connections with existing buildings and inside compartmentalization
I/ Practical design
Utilidor compartmentalization for access and security – Cross Section of Marina Bay Utility Tunnel

## Slide 6: Utilidors in the world
Helsinki, Finland:
200 km of technical/maintenance, of which 60km dedicated to heating, cooling and electricity.
Located 20 m to 120 m below ground level
Currently existing utilidors in China with square and circular cross-sectional shapes.
Beijing, Shanghai, China (Multi-Utility-Tunnels):
Shallow depth (3 m), large dimensions (> 6 m)
Rectangular and Circular cross sections
Objective: Conduct a literature review to examine current worldwide practices in utilidor design.

## Slide 7: Example: Abu Dhabi

## Slide 8: NYC Geology
Rock Properties in New York City
Objective: Characterize the ground properties to enable accurate numerical simulations.

## Slide 9: Access – From the street or from existing basements
Confined Space Access into a Utilidor
Conventional Access to a Utilidor

## Slide 10: Compartmentalization
Purpose:
Isolate different types of utilities and reduce risk
Tailor environment for each compartment
Technical challenge: Connecting compartment to private buildings due to crossing
Solution:
Have lateral ducts for lines from one side of compartment to reach building on other side of sidewalk
Have one cut into chamber and connect chamber to buildings
Size:
Wide enough to walk through
Vertical space
Separate water, gas, telecommunications
Separate gas and electricity to avoid fire risk
Utilidor compartmentalization for access and security – Cross Section of Marina Bay Utility Tunnel

## Slide 11: Connections – Distribution and transmission
Distribution chambers – 2D view

## Slide 12: Visualization – Distribution and transmission
Distribution chambers – 3D view

## Slide 13: Application to Worth Street – Manhattan
View from the top
Current subway network

## Slide 14: Visualization – Connections
Combination of hybrid system and utilidor-buildings connections
Service private buildings during utility segment
Connect to distribution chambers to reduce costs
Side view
View from the top

## Slide 15: Numerical Modeling – Problem Setup
Objective: Perform 2D numerical simulations to evaluate structural stability under different geotechnical configurations.

## Slide 16: Parametric studies – Comparison with analytical solutions
Bobet and Einstein, “Tunnel Design Methods” Fig 4.6

## Slide 17: Parametric studies – Section shape and depth
Manhattan Schist parameters
Young’s modulus - E = 15 x GPa
Poisson’s ratio = 0.3
(coeﬀ. of earth pressure) K = 1
Unit weight - γ = 18 kN/m3

## Slide 18: Parametric studies – Effects of depth, section shape and elastic parameters
Chart: Tangential Stress as a Function of Depth
| 3 | 3.5 | 4 | 4.5 | 5 | 5.5
stt | 2136990 | 2455530 | 2856630 | 3165670 | 3501150 | 3835800
Chart: Tangential Stress as a Function of Poisson's Ratio
| 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4
stt | 2318100 | 2277000 | 2230000 | 2185610 | 2136990 | 2102970 | 2093440

## Slide 19: Parametric studies – Effect of the support and sequential excavation
Portland cement
E = 20 GPa
Poisson’s ratio = 0.2
Density = 2,400 kg/m3 (American Shotcrete Assoc.)

## Slide 20: Neuron
Neuron representation

## Slide 21: Feedforward neural network
With:
n: number of data points in the batch

## Slide 22: Neural network backpropagation – gradient descent
: learning step
Classical neural network:

## Slide 23: Dataset

## Slide 24: Training loss
24

## Slide 25: Performance
25

## Slide 26: Conclusions and future work
Pedagogic conclusions:
Students were able to learn new concepts related to geotechnical engineering and urban design
Research skills: scientific literature review, self-learning, independence
Multidisciplinary work: geomechanics theory, infrastructure design, numerical modeling, scientific machine learning, visualization.
Technical conclusions:
Square cross section shapes at shallow depth and circular section for deeper tunnels
Recommend NYC include depth of tunnel/overburden pressure as important parameter
Distribution chambers to minimize construction costs
Future work:
Consider groundwater behavior, heterogeneities and account for plasticity
Complexify the geometry and account for side corridors
Extend the study to other areas besides Manhattan
Develop a tool readily applicable by practitioners based on machine learning

## Slide 27: Long-term vision
 Identify data sources that will be collected in practice
Generate synthetic data when necessary using analytical or numerical methods
Construct a virtual model, whether based on analytical or numerical approaches
Integrate data into the virtual model to complete a Digital Twin
Explore the use of machine learning techniques to enhance Digital Twin implementation
Typical congested condition at site of utility construction (Right) and close-up view exposed underground utilities (left)
Objective: Predictive maintenance and digital twins

## Slide 28
Urban Engineering – Shallow tunnels – Rock Mechanics – Numerical modeling – Data Analysis – Predictive maintenance
Thank you for your attention!
Contacts:
Terri Matthews: matthewte@ddc.nyc.gov
Chloé Arson: cfa36@cornell.edu
Alec Tristani: ayt34@cornell.edu

## Slide 29: PDF Question: 1 of 6
Q1: What is a utilidor?
  An aboveground corridor containing utilities
  An underground corridor containing utilities
  A secret passage for citizens?

## Slide 30: PDF Question: 1 of 6
Q1: What is a utilidor?
  An aboveground corridor containing utilities
  An underground corridor containing utilities
  A secret passage for citizens?

## Slide 31: PDF Question: 2 of 6
Q2: Why are utilidor systems especially challenging in New York City?
  The city has no underground infrastructure
  Dense urban conditions and limited underground space
  All utilities are located above ground
31

## Slide 32: PDF Question: 2 of 6
Q2: Why are utilidor systems especially challenging in New York City?
  The city has no underground infrastructure
  Dense urban conditions and limited underground space
  All utilities are located above ground

## Slide 33: PDF Question: 3 of 6
Q3: Do utilidors already exist in NYC?
  Yes
  No
33

## Slide 34: PDF Question: 3 of 6
Q3: Do utilidors already exist in NYC?
  Yes
  No
34

## Slide 35: PDF Question: 4 of 6
Q4: Which is the primary benefit of using AI in utilidor design?
  Improving design efficiency and optimization
  Increasing manual drafting time
  Eliminating the need for engineers entirely

## Slide 36: PDF Question: 4 of 6
Q4: Which is the primary benefit of using AI in utilidor design?
  Improving design efficiency and optimization
  Increasing manual drafting time
  Eliminating the need for engineers entirely
36

## Slide 37: PDF Question: 5 of 6
Q5: What is a major concern when applying AI to engineering projects?
  Too much handwritten documentation
  Lack of electricity underground
  Reliability and validation of AI-generated outputs
37

## Slide 38: PDF Question: 5 of 6
Q5: What is a major concern when applying AI to engineering projects?
  Too much handwritten documentation
  Lack of electricity underground
  Reliability and validation of AI-generated outputs
38

## Slide 39: PDF Question: 6 of 6
Q6: What role should engineers play when using AI design tools?
  Blindly accept all AI recommendations
  Eliminate human review processes
  Verify, interpret, and validate AI-generated results
39

## Slide 40: PDF Question: 6 of 6
Q6: What role should engineers play when using AI design tools?
  Blindly accept all AI recommendations
  Eliminate human review processes
  Verify, interpret, and validate AI-generated results
40