## Lvl1
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
HOE AVENUE-EAST 173RD STREET | Apartment | Architectural | 220535.378 | 3176363.75 | 1729000 |  |  | 5125899.128
|  | Electrical | 46123.6062 |  |  |  | 441488.608 | 487612.2142
|  | Mechanical | 351290.189 |  |  |  |  | 351290.189
| Apartment Total |  | 617949.1733 | 3176363.75 | 1729000 |  | 441488.608 | 5964801.5313
| Architectural | Exterior | 3599616.3084 |  |  |  |  | 3599616.3084
|  | Interior | 1919450.9512 |  | 270270.28 |  |  | 2189721.2312
| Architectural Total |  | 5519067.2597 |  | 270270.28 |  |  | 5789337.5397
| Conveying | Traction Passenger Elevator |  |  |  |  | 800000 | 800000
| Conveying Total | [5 empty] | 800000 | 800000
| Electrical | Corridor Lighting |  | 135902.88 |  |  |  | 135902.88
|  | Exit Lights | 16382.611 |  |  |  |  | 16382.611
|  | Exit/Emergency Combination | 2389.1011 |  |  |  |  | 2389.1011
|  | Lighting - Exterior Security / Riot Lights | 215196.625 |  |  |  |  | 215196.625
|  | Lighting Fixture - Fluorescent | 41256 |  |  |  |  | 41256
|  | Lighting Fixture - Incandescent | 14937.2299 |  |  |  |  | 14937.2299
|  | Lighting Fixture - LED |  |  |  |  | 2041.6487 | 2041.6487
|  | Motor Starter / Contactor | 18434.5118 |  |  |  |  | 18434.5118
|  | Panelboard | 147000 |  |  |  |  | 147000
|  | Security | 127714.5706 |  |  |  |  | 127714.5706
|  | Service Switch | 326109.1024 |  |  |  |  | 326109.1024
|  | Stairhall Lighting |  | 19587.0548 |  |  |  | 19587.0548
|  | Switchboard | 256392.8099 |  |  |  |  | 256392.8099
|  | Telephone |  | 23875.5837 |  |  |  | 23875.5837
| Electrical Total |  | 1165812.5618 | 179365.5184 |  |  | 2041.6487 | 1347219.729
| Mechanical | Domestic Water System | 32790.065 |  | 48220.0867 |  | 354977.4807 | 435987.6323
|  | Drainage / Sewage System | 5259.3333 |  |  |  | 460817.1354 | 466076.4687
|  | Gas Service |  |  |  |  | 126720 | 126720
|  | Heating | 6419.6423 | 3103.8 |  | 979775.16 |  | 989298.6023
|  | Heating Plant | 417958.7533 |  |  |  |  | 417958.7533
|  | Interior Compactor | 49000 |  |  |  |  | 49000
|  | Sprinkler System |  |  |  |  | 10461.78 | 10461.78
|  | Standpipe System |  |  |  |  | 62160 | 62160
|  | Ventilation | 4624.6765 |  |  |  |  | 4624.6765
| Mechanical Total |  | 516052.4706 | 3103.8 | 48220.0867 | 979775.16 | 1015136.3961 | 2562287.9133
| Site - Architectural | Fences | 101510.6783 |  |  |  |  | 101510.6783
|  | Fixed Equipment | 979.344 |  |  |  |  | 979.344
|  | Parking Lot | 265947.7103 |  |  |  |  | 265947.7103
|  | Paving - Non-Vehicular Area | 18271.9256 |  |  |  |  | 18271.9256
|  | Paving - Vehicular Area | 28830.5019 |  |  |  |  | 28830.5019
|  | Sidewalks & Curb | 2787.2811 |  |  |  |  | 2787.2811
| Site - Architectural Total |  | 418327.4413 |  |  |  |  | 418327.4413
| Site - Mechanical | Storm Piping |  |  |  |  | 220800 | 220800
|  | Underground Hydronic Piping |  |  |  | 178500 |  | 178500
| Site - Mechanical Total |  |  |  |  | 178500 | 220800 | 399300
HOE AVENUE-EAST 173RD STREET Total |  |  | 8237208.9067 | 3358833.0684 | 2047490.3667 | 1158275.16 | 2479466.6528 | 17281274.1545

## Lvl2
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | PBS2 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
HOE AVENUE-EAST 173RD STREET | Apartment | Architectural | Bathroom | 66360.7099 |  | 1729000 |  |  | 1795360.7099
|  |  | Ceiling | 78248.3723 |  |  |  |  | 78248.3723
|  |  | Doors | 9229.92 | 648960 |  |  |  | 658189.92
|  |  | Floor | 14265.7914 | 980403.75 |  |  |  | 994669.5414
|  |  | Kitchen | 0 | 1547000 |  |  |  | 1547000
|  |  | Wall | 52430.5844 |  |  |  |  | 52430.5844
|  | Architectural Total |  | 220535.378 | 3176363.75 | 1729000 |  |  | 5125899.128
|  | Electrical | Electrical Panel Board | 25244.0916 |  |  |  | 270231.416 | 295475.5076
|  |  | Intercom | 15275 |  |  |  |  | 15275
|  |  | Light Fixtures | 5604.5146 |  |  |  | 138407.192 | 144011.7067
|  |  | Smoke Detectors | 0 |  |  |  | 32850 | 32850
|  | Electrical Total |  | 46123.6062 |  |  |  | 441488.608 | 487612.2142
|  | Mechanical | Radiator / Convector / Baseboard | 351290.189 |  |  |  |  | 351290.189
|  | Mechanical Total |  | 351290.189 |  |  |  |  | 351290.189
| Apartment Total |  |  | 617949.1733 | 3176363.75 | 1729000 |  | 441488.608 | 5964801.5313
| Architectural | Exterior | Chimney | 19685.4912 |  |  |  |  | 19685.4912
|  |  | Coping | 68310 |  |  |  |  | 68310
|  |  | Doors | 27165.9885 |  |  |  |  | 27165.9885
|  |  | Exterior Walls | 152269.2192 |  |  |  |  | 152269.2192
|  |  | Fire Escape-Steel | 700902.3167 |  |  |  |  | 700902.3167
|  |  | Main Doors | 65611.9718 |  |  |  |  | 65611.9718
|  |  | Parapets | 711112.748 |  |  |  |  | 711112.748
|  |  | Roof | 930774.2931 |  |  |  |  | 930774.2931
|  |  | Stairs / Ramps | 9750 |  |  |  |  | 9750
|  |  | Windows | 857782.5239 |  |  |  |  | 857782.5239
|  |  | Windows Lintels | 56251.7559 |  |  |  |  | 56251.7559
|  | Exterior Total |  | 3599616.3084 |  |  |  |  | 3599616.3084
|  | Interior | Common Areas - Bathroom |  |  | 270270.28 |  |  | 270270.28
|  |  | Common Areas - Kitchen | 360000 |  |  |  |  | 360000
|  |  | Common Areas Finishes | 80836.7434 |  |  |  |  | 80836.7434
|  |  | Corridor Finishes | 157432.7091 |  |  |  |  | 157432.7091
|  |  | Directories | 3748.9065 |  |  |  |  | 3748.9065
|  |  | Entry Doors | 219761.65 |  |  |  |  | 219761.65
|  |  | Fire Rated Doors | 105758.1923 |  |  |  |  | 105758.1923
|  |  | Lobby Finishes | 22050 |  |  |  |  | 22050
|  |  | Mailboxes | 18307.6769 |  |  |  |  | 18307.6769
|  |  | Non Fire Rated Doors | 53555.0729 |  |  |  |  | 53555.0729
|  |  | Roll Down Gate | 140000 |  |  |  |  | 140000
|  |  | Stairs: Interior | 648000 |  |  |  |  | 648000
|  |  | Stairs: Lower Level | 110000 |  |  |  |  | 110000
|  | Interior Total |  | 1919450.9512 |  | 270270.28 |  |  | 2189721.2312
| Architectural Total |  |  | 5519067.2597 |  | 270270.28 |  |  | 5789337.5397
| Conveying | Traction Passenger Elevator | [5 empty] | 800000 | 800000
|  | Traction Passenger Elevator Total | [5 empty] | 800000 | 800000
| Conveying Total | [6 empty] | 800000 | 800000
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent |  | 135902.88 |  |  |  | 135902.88
|  | Corridor Lighting Total |  |  | 135902.88 |  |  |  | 135902.88
|  | Exit Lights | Battery Pack | 16382.611 |  |  |  |  | 16382.611
|  | Exit Lights Total |  | 16382.611 |  |  |  |  | 16382.611
|  | Exit/Emergency Combination | Battery Pack | 2389.1011 |  |  |  |  | 2389.1011
|  | Exit/Emergency Combination Total |  | 2389.1011 |  |  |  |  | 2389.1011
|  | Lighting - Exterior Security / Riot Lights |  | 215196.625 |  |  |  |  | 215196.625
|  | Lighting - Exterior Security / Riot Lights Total |  | 215196.625 |  |  |  |  | 215196.625
|  | Lighting Fixture - Fluorescent | Pendant Mounted | 6876 |  |  |  |  | 6876
|  |  | Recessed Mounted | 10314 |  |  |  |  | 10314
|  |  | Surface Mounted | 24066 |  |  |  |  | 24066
|  | Lighting Fixture - Fluorescent Total |  | 41256 |  |  |  |  | 41256
|  | Lighting Fixture - Incandescent | Surface Mounted | 14937.2299 |  |  |  |  | 14937.2299
|  | Lighting Fixture - Incandescent Total |  | 14937.2299 |  |  |  |  | 14937.2299
|  | Lighting Fixture - LED | Pendant Mounted |  |  |  |  | 2041.6487 | 2041.6487
|  | Lighting Fixture - LED Total | [5 empty] | 2041.6487 | 2041.6487
|  | Motor Starter / Contactor | Combination Circuit Breaker Type | 10390.3613 |  |  |  |  | 10390.3613
|  |  | Combination Fused Type | 8044.1506 |  |  |  |  | 8044.1506
|  | Motor Starter / Contactor Total |  | 18434.5118 |  |  |  |  | 18434.5118
|  | Panelboard | Molded Case Circuit Breakers | 147000 |  |  |  |  | 147000
|  | Panelboard Total |  | 147000 |  |  |  |  | 147000
|  | Security | Closed Circuit Television System | 127714.5706 |  |  |  |  | 127714.5706
|  | Security Total |  | 127714.5706 |  |  |  |  | 127714.5706
|  | Service Switch |  | 326109.1024 |  |  |  |  | 326109.1024
|  | Service Switch Total |  | 326109.1024 |  |  |  |  | 326109.1024
|  | Stairhall Lighting | Lighting Fixture - Fluorescent |  | 19587.0548 |  |  |  | 19587.0548
|  | Stairhall Lighting Total |  |  | 19587.0548 |  |  |  | 19587.0548
|  | Switchboard | Fused Disconnect Switch | 256392.8099 |  |  |  |  | 256392.8099
|  | Switchboard Total |  | 256392.8099 |  |  |  |  | 256392.8099
|  | Telephone | Standard |  | 23875.5837 |  |  |  | 23875.5837
|  | Telephone Total |  |  | 23875.5837 |  |  |  | 23875.5837
| Electrical Total |  |  | 1165812.5618 | 179365.5184 |  |  | 2041.6487 | 1347219.729
| Mechanical | Domestic Water System | Distribution Piping |  |  |  |  | 279830.88 | 279830.88
|  |  | Domestic Hot Water Circulating Pump |  |  | 4500 |  | 9000 | 13500
|  |  | Gas Fired Water Heater | 32790.065 |  | 43720.0867 |  | 43720.0867 | 120230.2383
|  |  | Remote Water Heater Storage Tank |  |  |  |  | 22426.514 | 22426.514
|  | Domestic Water System Total |  | 32790.065 |  | 48220.0867 |  | 354977.4807 | 435987.6323
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 28712.74 | 28712.74
|  |  | Sewage / Waste Piping |  |  |  |  | 103986.68 | 103986.68
|  |  | Sump Pump | 5259.3333 |  |  |  |  | 5259.3333
|  |  | Vent Piping |  |  |  |  | 328117.7154 | 328117.7154
|  | Drainage / Sewage System Total |  | 5259.3333 |  |  |  | 460817.1354 | 466076.4687
|  | Gas Service | Distribution Piping |  |  |  |  | 126720 | 126720
|  | Gas Service Total | [5 empty] | 126720 | 126720
|  | Heating | Radiator / Convector / Baseboard |  | 3103.8 |  |  |  | 3103.8
|  |  | Steam Condensate Return Piping |  |  |  | 424943.4 |  | 424943.4
|  |  | Steam Fan Coil Unit | 6419.6423 |  |  |  |  | 6419.6423
|  |  | Steam Piping |  |  |  | 554831.76 |  | 554831.76
|  | Heating Total |  | 6419.6423 | 3103.8 |  | 979775.16 |  | 989298.6023
|  | Heating Plant | Boiler Auxiliaries | 11949.42 |  |  |  |  | 11949.42
|  |  | Boiler System | 406009.3333 |  |  |  |  | 406009.3333
|  | Heating Plant Total |  | 417958.7533 |  |  |  |  | 417958.7533
|  | Interior Compactor |  | 49000 |  |  |  |  | 49000
|  | Interior Compactor Total |  | 49000 |  |  |  |  | 49000
|  | Sprinkler System | Piping |  |  |  |  | 10461.78 | 10461.78
|  | Sprinkler System Total | [5 empty] | 10461.78 | 10461.78
|  | Standpipe System | Piping |  |  |  |  | 62160 | 62160
|  | Standpipe System Total | [5 empty] | 62160 | 62160
|  | Ventilation | Exhaust Fan | 4624.6765 |  |  |  |  | 4624.6765
|  | Ventilation Total |  | 4624.6765 |  |  |  |  | 4624.6765
| Mechanical Total |  |  | 516052.4706 | 3103.8 | 48220.0867 | 979775.16 | 1015136.3961 | 2562287.9133
| Site - Architectural | Fences |  | 101510.6783 |  |  |  |  | 101510.6783
|  | Fences Total |  | 101510.6783 |  |  |  |  | 101510.6783
|  | Fixed Equipment |  | 979.344 |  |  |  |  | 979.344
|  | Fixed Equipment Total |  | 979.344 |  |  |  |  | 979.344
|  | Parking Lot |  | 265947.7103 |  |  |  |  | 265947.7103
|  | Parking Lot Total |  | 265947.7103 |  |  |  |  | 265947.7103
|  | Paving - Non-Vehicular Area |  | 18271.9256 |  |  |  |  | 18271.9256
|  | Paving - Non-Vehicular Area Total |  | 18271.9256 |  |  |  |  | 18271.9256
|  | Paving - Vehicular Area |  | 28830.5019 |  |  |  |  | 28830.5019
|  | Paving - Vehicular Area Total |  | 28830.5019 |  |  |  |  | 28830.5019
|  | Sidewalks & Curb |  | 2787.2811 |  |  |  |  | 2787.2811
|  | Sidewalks & Curb Total |  | 2787.2811 |  |  |  |  | 2787.2811
| Site - Architectural Total |  |  | 418327.4413 |  |  |  |  | 418327.4413
| Site - Mechanical | Storm Piping | [5 empty] | 220800 | 220800
|  | Storm Piping Total | [5 empty] | 220800 | 220800
|  | Underground Hydronic Piping |  |  |  |  | 178500 |  | 178500
|  | Underground Hydronic Piping Total |  |  |  |  | 178500 |  | 178500
| Site - Mechanical Total | [5 empty] | 178500 | 220800 | 399300
HOE AVENUE-EAST 173RD STREET Total |  |  |  | 8237208.9067 | 3358833.0684 | 2047490.3667 | 1158275.16 | 2479466.6528 | 17281274.1545

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Fixed Equipment |  |  |  | BENCH DAMAGED | 1 | EACH | Repair | 979.34 | First year
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Parking Lot |  |  |  | ASPHALT:CRACKED | 350 | SF | Repair | 3876.9 | First year
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | ASPHALT:CRACKS - MINOR | 230 | SF | Repair | 2547.68 | First year
HOE AVENUE-EAST 173RD STREET |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 170 | LF | Replace | 178500 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 230 | LF | Replace | 220800 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 450 | LF | Replace | 101510.68 | First year | 0
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Parking Lot |  |  |  | PBSREPLACEMENT | 7500 | SF | Replace | 262070.81 | First year | 0
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 450 | SF | Replace | 15724.25 | First year | 0
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Paving - Vehicular Area |  |  |  | PBSREPLACEMENT | 550 | SF | Replace | 28830.5 | First year | 0
HOE AVENUE-EAST 173RD STREET |  |  | Site - Architectural | Sidewalks & Curb |  |  |  | PBSREPLACEMENT | 170 | SF | Replace | 2787.28 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Security | Closed Circuit Television System |  |  | CAMERA ANTIQUATED / OBSOLETE | 1 | EACH | Replace / Upgrade | 7017.14 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Security | Closed Circuit Television System |  |  | CCTV CONTROLLER DEFECTIVE | 1 | EACH | Repair | 3192.42 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Telephone | Standard |  |  | SYSTEM ANTIQUATED / OBSOLETE | 1 | EACH | Replace / Upgrade | 23875.58 | Year 2-5
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | VCT:DAMAGED / DETERIORATED | 350 | SF | Repair | 6515.07 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Corridor Finishes | Walls |  | MASONRY:MINOR CRACKS / SPALLING | 160 | SF | Restitch | 6056.52 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | VCT:BROKEN / MISSING | 40 | SF | Replace | 334.82 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Entry Doors |  |  | METAL:DAMAGED / DETERIORATED | 5 | EACH | Replace | 11761.65 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 1751.2 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:MISSING / DETERIORATED HARDWARE | 1 | EACH | Maintenance | 2007 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 3 | EACH | Replace | 4255.07 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Chimney |  |  | STUCCO CEMENT:MINOR CRACKS / SPALLING | 30 | SF | Repair | 1355.73 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Chimney |  |  | BRICK:MINOR CRACKS / SPALLING | 140 | SF | Restitch | 18329.76 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 964.29 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 40 | SF | Replace | 1936.68 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 1100 | SF | Repoint | 43796.58 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:MINOR CRACKS / SPALLING | 750 | SF | Restitch | 102335.95 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:CRACKS AT BUILDING CORNERS | 20 | SF | Remove and Rebuild | 4200 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Fire Escape-Steel |  |  | METAL:BENT | 10 | SF | Replace | 902.32 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Transom / Side Light | STAINLESS STEEL:DENTS / RUST | 10 | LF | Replace | 5611.97 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Parapets |  |  | BRICK:MINOR CRACKS / SPALLING | 120 | LF | Repair | 50782.75 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 430 | LF | Replace | 26092.4 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Pitch Pockets | DAMAGED / DETERIORATED | 15 | EACH | Replace | 6788.57 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LOSS OF GRAVEL | 790 | SF | Install New | 4713.39 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:PONDING | 670 | SF | Replace | 28045.17 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 130 | SF | Repair | 5441.6 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 16 | EACH | Install New | 4929.73 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 22 | EACH | Install New | 10046.53 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:AIR WATER INFILTRATION | 19 | EACH | Recaulk | 3596.06 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Windows Lintels |  |  | STEEL:MINOR RUST | 180 | EACH | Repair | 56251.76 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Ventilation | Exhaust Fan |  |  | DEFECTIVE UNIT | 1 | EACH | Repair | 4624.68 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 49000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 2800 | LF | Replace | 256054.4 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 1100 | LF | Replace | 85362.2 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 370 | LF | Replace | 28712.74 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 1700 | LF | Replace | 325247.88 | Year 16-20 | 54
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5259.33 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 1100 | LF | Replace | 105600 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Steam Fan Coil Unit |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 6419.64 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 1773.6 | Year 2-5 | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 4500 | LF | Replace | 501354 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 4500 | LF | Replace | 383985 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 90 | LF | Replace | 10461.78 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 370 | LF | Replace | 62160 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 10921.74 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 32 | EACH | Replace | 215196.63 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1146 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 19 | EACH | Replace | 21774 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 12221.37 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Lighting Fixture - LED | Pendant Mounted |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2041.65 | Year 16-20 | 30
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 8044.15 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 126000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Security | Closed Circuit Television System |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 117505.01 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 65 | EACH | Replace | 208000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 17 | EACH | Replace | 57800 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 31900 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 3700 | SF | Replace | 90635.14 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 72 | EACH | Replace | 135902.88 | Year 2-5 | 4
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 12 | EACH | Replace | 19587.05 | Year 2-5 | 4
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 506 | LF | Replace | 68310 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 2 | EACH | Replace | 60000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 26201.7 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 506 | LF | Replace | 660330 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 8375 | SF | Replace | 823886.49 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 364 | SF | Replace | 35806.68 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 65 | LF | Replace | 9750 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 230 | EACH | Replace | 839210.2 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 700000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 34000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 110000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 900 | SF | Replace | 22050 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 2200 | SF | Replace | 53891.16 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 140000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 3748.91 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 18307.68 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 16-20 | 17
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:ACTIVE LEAKS | 219 | SF | Repair | 14474.99 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:DAMAGED / DETERIORATED | 182 | SF | Repair | 9177.58 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 146 | SF | Repair | 13458.69 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING ROOF | 255 | SF | Repair | 41137.11 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 511 | SF | Replace | 14265.79 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 48415 | SF | Replace | 980403.75 | Year 2-5 | 5
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 73 | SF | Repair | 3412.65 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:DAMAGED / DETERIORATED | 73 | SF | Repair | 3662.91 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:EXCESSIVE MOLD / LEAKING ROOF | 328 | SF | Repair | 45355.03 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 14 | EACH | Replace | 6153.28 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING DOOR | 7 | EACH | Replace | 3076.64 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 832 | EACH | Replace | 648960 | Year 2-5 | 2
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 65 | EACH | Replace | 1729000 | Year 6-10 | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:BROKEN / MISSING | 65 | SF | Replace | 2288.66 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 357 | SF | Repair | 16189.35 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Door Saddle |  | MARBLE/METAL:BROKEN | 13 | EACH | Replace | 3564.56 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Bathtub |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Sink |  | DEFECTIVE / DETERIORATED | 13 | EACH | Replace | 27276.9 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 6 | EACH | Install New | 17041.23 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 65 | EACH | Replace | 1547000 | Year 2-5 | 5
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE | 7 | EACH | Replace | 3192.93 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 7 | EACH | Replace | 3675 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | POORLY MOUNTED | 14 | EACH | Maintenance | 0 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 233 | EACH | Replace | 344422.26 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Intercom |  |  | APARTMENT UNIT NOT OPERATIONAL | 13 | EACH | Replace | 15275 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | DOOR LOCK IS MISSING | 26 | EACH | Replace-in-Kind | 25244.09 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 65 | EACH | Replace | 270231.42 | Year 16-20 | 32
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | BALLAST DEFECTIVE | 7 | EACH | Replace | 1868.17 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | DEFECTIVE | 7 | EACH | Repair | 1868.17 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 138 | EACH | Replace | 59688.1 | Year 16-20 | 17
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | DEFECTIVE | 7 | EACH | Repair | 1868.17 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 182 | EACH | Replace | 78719.09 | Year 16-20 | 18
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | POORLY MOUNTED | 7 | EACH | Maintenance | 0 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 73 | EACH | Replace | 32850 | Year 16-20 | 30
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | DEFECTIVE UNIT | 1 | EACH | Repair | 32790.07 | First year
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 260 | LF | Replace | 23776.48 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 28
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 6-10 | 7
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 48
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 27
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 6-10 | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 16-20 | 18
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 16-20 | 18
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 240 | LF | Replace | 18624.48 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 15 | LF | Replace | 2869.83 | Year 16-20 | 54
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 220 | LF | Replace | 21120 | Year 16-20 | 34
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 2-5 | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 480 | LF | Replace | 53477.76 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 480 | LF | Replace | 40958.4 | Year 11-15 | 14
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas / Oil Burner | PBSREPLACEMENT | 8 | EACH | Replace | 126009.33 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler Auxiliaries | Steam Condensate Return Unit - Gravity System |  | PBSREPLACEMENT | 1 | EACH | Replace | 11949.42 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 5460.87 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2389.1 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 5730 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Recessed Mounted |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 10314 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2292 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 2715.86 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 10200 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 3300 | SF | Replace | 80836.74 | First year | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 4 | TOILET STALLS | Replace | 270270.28 | Year 6-10 | 0
HOE AVENUE-EAST 173RD STREET | Building #1 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas - Kitchen |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 360000 | First year | 0
TOTAL | [11 empty] | 17281274.14