## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
QUEENS | None | NULL | CONLON LIHFE TOWER | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | CONLON LIHFE TOWER | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING LAWN |  | Reseed | 300 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING TREE |  | Plant New | 3 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 15500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 2750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 1140 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 50 | LF | 4 | 11 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
QUEENS | None | S232-000-0000 | CONLON LIHFE TOWER | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 11 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 216 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 216 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 216 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | CONCRETE | Repair | 145 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1526 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 508 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 836 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 1054 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 115812 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 72 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 218 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 2181 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 1635 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 1236 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | GYPSUM BOARD | Replace | 290 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 399 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 1127 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1468 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 421 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 33 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 81 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  |  | NULL |  |  | DEFECTIVE |  | Repair | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 7 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface |  | NULL |  |  | BALLAST DEFECTIVE |  | Replace | 21 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface |  | NULL |  |  | DEFECTIVE |  | Repair | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface |  | NULL |  |  | LAMPS MISSING |  | Replace | 7 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 254 | EACH | 4.8 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 40 | Electrical | Light Fixtures | Incandescent | Pendant | 7 | EACH | 4.5 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 494 | EACH | 4.7 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 21 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 405 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 5 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 400 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Repair | 15 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 150 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 14000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 1070 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 225 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 38 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 26 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  |  | NULL |  |  | INDICATOR LIGHT DEFECTIVE |  | Replace-in-Kind | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 5 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 4 | EACH | 4.6 | 10 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 1 | EACH | 4.6 | 10 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 217 | Lighting Fixture | HID | Pendant Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 180 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 28 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 1 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 4.4 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 9996 | SF | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 646 | SF | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0000 | CONLON LIHFE TOWER | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD | ACOUSTIC TILE | Repair | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 4800 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 30 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 63 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S232-001-0495 | CONLON LIHFE TOWER | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 459 | Air Conditioning | Window Type A/C |  |  |  | NULL |  |  | DETERIORATED |  | Replace | 3 | EACH | remediation | 2023 | 1 - Immediate Action | NULL