## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
QUEENS | None | NULL | INTERNATIONAL TOWER | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | INTERNATIONAL TOWER | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 20 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 414 | Sidewalks and Curb |  |  |  | 7355 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING LAWN |  | Reseed | 800 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 17000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 1200 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 1800 | SF | 4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 3000 | LF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-000-0000 | INTERNATIONAL TOWER | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 25 | LF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 22 | EACH | 2.039 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 159 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 22 | EACH | 2.5714 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 116 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 11775 | SF | 3 | 0.21231 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 101 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 6 | Architectural | Closet |  |  |  | NULL |  |  | BROKEN / MISSING | DOOR | Replace | 10 | EACH | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 6 | Architectural | Closet |  |  |  | NULL |  |  | BROKEN / MISSING | ROD | Replace | 3 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 43 | EACH | 3.2791 | 0.23256 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 47 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 7 | EACH | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 22 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 36 | Electrical | Light Fixtures | Fluorescent | Pendant | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 66 | EACH | 3.0606 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 46 | Electrical | Light Fixtures | LED | Surface | 4 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 22 | EACH | 4.5455 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | RUST - MAJOR |  | Repaint | 6 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 122 | Exterior | Windows | Windows |  | 390 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 15 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 19 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 68 | Exterior | Door Lintels |  |  |  | NULL |  |  | RUST - MINOR | METAL | Maintenance | 10 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair | 50 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE SLAB ON GRADE | Repair | 15 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 50 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 1200 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 160 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | DAMAGED GRID | ACOUSTIC TILE | Replace | 40 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 16950 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 10 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | MASONRY | Remove and Rebuild | 130 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 350 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 20 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 300 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 5 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 2.2857 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 38 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 13 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 20 | EACH | 3.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Elevators | Elevators | Conveying | 648 | Traction Passenger Elevator |  |  |  | 2 | EACH | 3 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Fire Protection | Fire Alarm | Electrical | 191 | Fire Alarm System | Fused Cutout Panel |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Fire Protection | Fire Alarm | Electrical | 193 | Fire Alarm System | Main Panel | Bells at Panel |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 10 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 50 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 180 | LF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Heating | Air Source Heat Pump | Mechanical | 606 | Ventilation | HV Unit |  |  | 1 | EACH | 3 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 40 | EACH | 3 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2029 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 4 | EACH | 3 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 5 | EACH | 2.8 | 6.8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 5 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 166 | Emergency Lights | Emergency Light/Exit Light Panel | Molded Case Circuit Breakers |  | 1 | EACH | 3 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  |  | NULL |  |  | Unit Defective |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 73 | EACH | 1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 30 | EACH | 2 | 15 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 12 | EACH | 1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 15 | EACH | 3 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 263 | Telephone | Standard |  |  |  | NULL |  |  | SYSTEM ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 2 | EACH | 3 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Plumbing | Building Sewage System | Mechanical | 489 | Drainage / Sewage System | Sewage / Waste Piping |  |  |  | NULL |  |  | DEFECTIVE / LEAKS |  | Replace | 10 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 3 | 11 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Plumbing | Domestic Water System | Mechanical | 482 | Domestic Water System | Distribution Piping |  |  |  | NULL |  |  | DEFECTIVE / LEAKS |  | Replace | 10 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing |  | NULL |  |  | PONDING | BUILT-UP | Repair | 50 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Roofs | Building Roof/Parapets/Misc | Architectural | 111 | Exterior | Roof | Bulkhead Roof | Leaders, Gutters, Downspouts |  | NULL |  |  | BROKEN / DETERIORATED |  | Replace | 10 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 6 | EACH | 3 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0000 | INTERNATIONAL TOWER | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  | 24 | EACH | 2.9167 | 14.5833 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 5600 | SF | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 60 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 40 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 10 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 50 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED GRID | ACOUSTIC TILE | Replace | 10 | LF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 13600 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 15 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 20 | SF | remediation | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 2 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 12 | TOILET STALLS | 2.25 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 32 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 71 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 5 | EACH | 3.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 573 | Non Residential Kitchen | Refrigeration Unit |  |  |  | NULL |  |  | ABANDONED |  | No Action | 1 | EACH | remediation | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 573 | Non Residential Kitchen | Refrigeration Unit |  |  | 2 | EACH | 2.5 | 15 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 68 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 7 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 26 | EACH | 1.2308 | 16.5385 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 78 | EACH | 3 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 226 | Lighting Fixture | LED | Recessed Mounted |  |  | NULL |  |  | Fixture Defective |  | Repair | 2 | EACH | remediation | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 3.1429 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
QUEENS | None | S316-001-0951 | INTERNATIONAL TOWER | Ventilation/Air Conditioning | Other Fans | Mechanical | 612 | Ventilation | Supply Fan (Blower) |  |  | 1 | EACH | 3 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL