## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
QUEENS | None | NULL | SHELTON HOUSE | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | SHELTON HOUSE | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
QUEENS | None | NULL | SHELTON HOUSE | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
QUEENS | None | NULL | SHELTON HOUSE | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | SHELTON HOUSE | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | SHELTON HOUSE | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | SHELTON HOUSE | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | NULL | SHELTON HOUSE | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING TREE |  | Plant New | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 1200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 5520 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 620 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-000-0000 | SHELTON HOUSE | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 18 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 155 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 155 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 155 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | CONCRETE | Repair | 135 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 543 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1901 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 475 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 111585 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 67 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 237 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 3531 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 67 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 135 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1263 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 421 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 237 | EACH | 4.8 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 40 | Electrical | Light Fixtures | Incandescent | Pendant | 27 | EACH | 4.5 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 556 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | POORLY MOUNTED |  | Maintenance | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | BROKEN DENTED BLADES |  | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 495 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 12 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 23 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair Interior Surface | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | WATER INFILTRATION | CONCRETE | Install Exterior Water Barrier | 150 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 75 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 6475 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 75 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 43 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 23 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Stairs | Interior | 277 | Interior | Stairs: Interior |  |  |  | NULL |  |  | Worn Tread / Nosing | STONE | Replace | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 24 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 4.4 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  | 1 | EACH | 3.9 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Fire Protection | Fire Alarm | Electrical | 204 | Fire Alarm System | Fire Pump Digital Alarm Communicator |  |  | 1 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 300 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 26 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE | Remove and Rebuild | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 120 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 10 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 4 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 259 | Switchboard | Fused Knife Switch |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 2 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 56 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 219 | Lighting Fixture | HID | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 84 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 361 | Lighting | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 2 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing |  | NULL |  |  | PONDING | BUILT-UP | Repair | 300 | SF | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 9152 | SF | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 4788 | SF | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 601 | SF | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-0000 | SHELTON HOUSE | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | ABANDONED |  | No Action | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 300 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 800 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 10 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 4 | EACH | 5 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
QUEENS | None | S279-001-1766 | SHELTON HOUSE | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 2 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL