## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
STATEN ISLAND | None | NULL | NEW LANE AREA | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | NULL | NEW LANE AREA | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING LAWN |  | Resod | 500 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 25150 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 2180 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 16500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 1950 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | BULGING / DISPLACED | MASONRY UNIT | Remove and Rebuild | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY UNIT | Restitch | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Stairs / Ramps | Site - Architectural | 421 | Stairs / Ramps | Cheek / Flank Walls |  |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE | Remove and Rebuild | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 220 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-000-0000 | NEW LANE AREA | Grounds | Stairs / Ramps | Site - Architectural | 423 | Stairs / Ramps | Stairs / Ramps |  |  |  | NULL |  |  | WORN-OUT TREAD / RISER / NOSING | CONCRETE | Replace | 30 | LF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 276 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 277 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 276 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 1880 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 255 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 179548 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 669 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 1083 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 63 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 2460 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 50 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 471 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 790 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | MISSING SCREEN |  | Replace | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Building Exterior/Facade/Window | Building Loading Dock | Architectural | 72 | Exterior | Loading Dock |  |  |  | NULL |  |  | SLAB - MAJOR CRACKS |  | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | DETERIORATED | METAL | Replace | 125 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 2150 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 15 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 21198 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 350 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 210 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 42 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 40 | EACH | 3.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 100 | LF | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 103 | EACH | 1.6 | 17.5728 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 92 | EACH | 5 | 17.5217 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 238 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 52 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 2 | EACH | 3.9 | 5 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-0000 | NEW LANE AREA | Plumbing | Domestic Water System | Mechanical | 472 | Domestic Water System | In Line Pressure Booster Pump / Motor |  |  | 2 | EACH | 4.6 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 2700 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | ACTIVE LEAKS | MASONRY | Repair | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 106 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | CONCRETE | Repair | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 4250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Stairs | Interior | 277 | Interior | Stairs: Interior |  |  |  | NULL |  |  | Worn Tread / Nosing | CONCRETE | Repair | 15 | LF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 2 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 8 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 5 | EACH | 4.5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 10 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 7 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 23 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 58 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1301 | NEW LANE AREA | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 3900 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 3 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 20 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 9 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 59 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 21 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
STATEN ISLAND | None | S314-001-1302 | NEW LANE AREA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL