## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | ATLANTIC TERMINAL SITE 4B | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 414 | Sidewalks and Curb |  |  |  | 600 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 7000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 9000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 1500 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 32 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 300 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 115 | LF | 4 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-000-0000 | ATLANTIC TERMINAL SITE 4B | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 100 | LF | 4 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 313 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 76 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 305 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 2708 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | GYPSUM BOARD | Replace | 534 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 1068 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 724 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 216203 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 305 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 1487 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 419 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 2174 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 305 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 457 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 6 | Architectural | Closet |  |  |  | NULL |  |  | BROKEN / MISSING | SHELF | Replace | 30 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 2876 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 1167 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 169 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 26 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 273 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 632 | Electrical | Emergency Call System (For Sr Citizens) | Bells / Other Audible Devices |  |  | NULL |  |  | DEFECTIVE |  | Repair | 26 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 633 | Electrical | Emergency Call System (For Sr Citizens) | Remote Annunciator |  |  | NULL |  |  | DEFECTIVE |  | Repair | 26 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Apartments | Apartment Renovation | Apartment | 634 | Electrical | Emergency Call System (For Sr Citizens) | Strobe Light |  |  | NULL |  |  | DEFECTIVE |  | Repair | 32 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 82 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 18 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 525 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 150 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 27931 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 130 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | MASONRY | Remove and Rebuild | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 300 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | OPEN JOINTS | MASONRY | Repoint | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2029 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 74 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 47 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 62 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 4.1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Fire Protection | Fire Alarm | Electrical | 179 | Fire Alarm System | Fire Alarm System | Bells |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  | 1 | EACH | 3.9 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Fire Protection | Fire Alarm | Electrical | 204 | Fire Alarm System | Fire Pump Digital Alarm Communicator |  |  | 1 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 32 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 32 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 220 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 75 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 34 | EACH | 3.6 | 6.5 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 169 | Emergency Lights | Emergency Lighting | Non Battery Pack |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 4 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 176 | Emergency Lights | Exit/Emergency Combination | Non Battery Pack |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Plumbing | Building Drainage | Mechanical | 492 | Drainage / Sewage System | Floor Drain |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 3.2 | 16 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8177 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 6202 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 772 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Roofs | Building Roof/Parapets/Misc | Architectural | 132 | Structural | Roof Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE CEILING | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0000 | ATLANTIC TERMINAL SITE 4B | Waste Management | Garbage Chute | Mechanical | 470 | Garbage Chute |  |  |  |  | NULL |  |  | DEFECTIVE GARBAGE CHUTE DOOR |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Heating | Through Wall/Window Heat Pump | Mechanical | 514 | Heating | Unit Heater |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Plumbing | Non Residential Spaces Plumbing Fixtures | Mechanical | 497 | Non Residential Spaces | Plumbing Fixtures | Drinking Fountain |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0077 | ATLANTIC TERMINAL SITE 4B | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0078 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0078 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0078 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0078 | ATLANTIC TERMINAL SITE 4B | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0078 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 800 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | ACTIVE LEAKS | ACOUSTIC TILE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 6250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 7 | TOILET STALLS | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 30 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 573 | Non Residential Kitchen | Refrigeration Unit |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 36 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 2.8 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 169 | Emergency Lights | Emergency Lighting | Non Battery Pack |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 4 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 176 | Emergency Lights | Exit/Emergency Combination | Non Battery Pack |  | 4 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 263 | Telephone | Standard |  |  |  | NULL |  |  | SYSTEM ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S256-001-0080 | ATLANTIC TERMINAL SITE 4B | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 455 | Air Conditioning | Packaged / Rooftop Unit |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL