## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | 1162-1176 WASHINGTON AVENUE | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | S233-000-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 2745 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-000-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 450 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-000-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 10 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-000-0000 | 1162-1176 WASHINGTON AVENUE | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 40 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S233-000-0000 | 1162-1176 WASHINGTON AVENUE | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 66 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 66 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 66 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 300 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 300 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 55785 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 941 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 370 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 12 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 66 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 200 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 140 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 63 | Exterior | Main Doors | Primary | Transom / Side Light |  | NULL |  |  | BROKEN GLASS | STAINLESS STEEL | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 23 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | OPEN JOINTS | MASONRY BEARING WALL | Repoint | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | OPEN JOINTS | STONE | Repoint | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 505 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 5248 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 470 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 4 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 278 | Interior | Stairs: Interior | Handrails |  |  | NULL |  |  | BROKEN / MISSING | METAL | Replace | 5 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 24 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 5 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 710 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 710 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 26 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 180 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | WORN-OUT TREAD / RISER / NOSING | CONCRETE | Replace | 40 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 62 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Heating | Hot Water System | Mechanical | 521 | Heating | Hot Water Piping (Hydronic Supply) |  |  | 3200 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Heating | Hot Water System | Mechanical | 522 | Heating | Hot Water Piping (Hydronic Return) |  |  | 3200 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 3 | EACH | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 5 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 5 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 27 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 219 | Lighting Fixture | HID | Surface Mounted |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 26 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 63 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 9654 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | MISSING |  | Install New | 900 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 81 | Exterior | Roof | Main Roof | Leaders, Gutters, Downspouts |  | NULL |  |  | CLOGGED |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 759 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S233-001-0000 | 1162-1176 WASHINGTON AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 116 | Exterior | Roof | Bulkhead Roof | Skylight | 4 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0005 | 1162-1176 WASHINGTON AVENUE | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0005 | 1162-1176 WASHINGTON AVENUE | Heating | Hot Water System | Mechanical | 521 | Heating | Hot Water Piping (Hydronic Supply) |  |  | 400 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0005 | 1162-1176 WASHINGTON AVENUE | Heating | Hot Water System | Mechanical | 522 | Heating | Hot Water Piping (Hydronic Return) |  |  | 400 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BRONX | None | S233-001-0005 | 1162-1176 WASHINGTON AVENUE | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 468 | Air Compressor |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL