## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 4) | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | S335-000-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-000-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 9745 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-000-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 1415 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 66 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 44 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 44 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 248 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 248 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | GYPSUM BOARD | Replace | 248 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 37700 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 248 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 2488 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 6 | Architectural | Closet |  |  |  | NULL |  |  | BROKEN / MISSING | DOOR | Replace | 74 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 273 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 348 | EACH | 4.1 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 44 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 22 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 22 | EACH | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 174 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 99 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 49 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 57 | Exterior | Chimney |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | STUCCO CEMENT | Repair | 4 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 10 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Fire Escapes | Architectural | 129 | Exterior | Fire Escape-Steel |  |  | 7 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | BULGING / DISPLACED | MASONRY BEARING WALL | Remove and Rebuild | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | WATER INFILTRATION | CONCRETE SLAB ON GRADE | Replace and WP | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | WATER INFILTRATION | STONE | Install Exterior Water Barrier | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 370 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 2896 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 100 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 3 | EACH | 3.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 10 | EACH | 2.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Elevators | Elevators | Conveying | 135 | Hydraulic Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | BULGING / BOWING | STONE | Replace | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 630 | Exterior | Areaway Ladder |  |  |  | NULL |  |  | Rust |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE | Remove and Rebuild | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 150 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 100 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 11 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 169 | Emergency Lights | Emergency Lighting | Non Battery Pack |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 37 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-005-0000 | CLAREMONT REHAB (GROUP 4) | Ventilation/Air Conditioning | Building Ductwork | Mechanical | 609 | Ventilation | Duct - Register / Diffuser |  |  |  | NULL |  |  | Cover Missing |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 19 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 9891 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 144 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 50 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 50 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 13 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 36 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 40 | Electrical | Light Fixtures | Incandescent | Pendant | 7 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 14 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 14 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 57 | Exterior | Chimney |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | STUCCO CEMENT | Repair | 8 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | BROKEN DENTED BLADES |  | Replace | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Fire Escapes | Architectural | 129 | Exterior | Fire Escape-Steel |  |  | 3 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 6 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | WATER INFILTRATION | STONE | Install Exterior Water Barrier | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 5 | EACH | 2.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | CONCRETE | Replace | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | Loss of Coating | CONCRETE | Maintenance | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 80 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | WORN-OUT TREAD / RISER / NOSING | CONCRETE | Replace | 60 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 2 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Heating | Heating System | Mechanical | 466 | Climate Control | Temperature Control Thermostat |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 2 | EACH | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 5 | EACH | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 221 | Lighting Fixture | Incandescent | Pendant Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 378 | Lighting | Stairhall Lighting | Lighting Fixture - Incandescent | Surface Mounted | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 3.2 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BRONX | None | S335-006-0000 | CLAREMONT REHAB (GROUP 4) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL