## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | CLAREMONT REHAB (GROUP 5) | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | S336-000-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 5000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-000-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 300 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-000-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 70 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 63 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 63 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 1399 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 1212 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | GYPSUM BOARD | Replace | 93 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 60552 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 93 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 186 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 93 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 186 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 93 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 93 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 625 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 23 | Architectural | Stairs | Stairs and Landings |  |  | NULL |  |  | WORN DETERIORATED TREAD / NOSING LANDING | WOOD | Repair | 15 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 317 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 31 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 158 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 363 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 70 | Exterior | Exterior Walls | Exterior Walls |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 1000 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 71 | Exterior | Exterior Walls | Bulkhead Walls |  |  | NULL |  |  | CRACKS / SPALLING | STUCCO CEMENT | Replace | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | BROKEN DENTED BLADES |  | Replace | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | MISSING SCREEN |  | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 540 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 43 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 24 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Fire Escapes | Architectural | 129 | Exterior | Fire Escape-Steel |  |  | 9 | EACH | 4.9 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 90 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | STONE | Restitch | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | OPEN JOINTS | STONE | Repoint | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 115 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 5050 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 20 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 140 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 25 | EACH | 4.5 | 2.8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 4 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 17 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  |  | NULL |  |  | ID IS MISSING |  | Maintenance | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 6 | EACH | 4.5 | 4.3333 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 1 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 30 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 38 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 20 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 4.6 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 58 | Exterior | Coping |  |  | 1039 | LF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 74 | Exterior | Parapets |  |  | 1039 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 13126 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 600 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 84 | Exterior | Roof | Main Roof | Roof Drains |  | NULL |  |  | DETERIORATED |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 330 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-001-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 116 | Exterior | Roof | Bulkhead Roof | Skylight | 4 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0461 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.3 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BRONX | None | S336-001-0461 | CLAREMONT REHAB (GROUP 5) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 39 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 39 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 39 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 52 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | GYPSUM BOARD | Replace | 158 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 52 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 31140 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 52 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 152 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 30 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 94 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 168 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 57 | Exterior | Chimney |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | STUCCO CEMENT | Repair | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 70 | Exterior | Exterior Walls | Exterior Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | BRICK | Restitch | 800 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 70 | Exterior | Exterior Walls | Exterior Walls |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 1500 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 71 | Exterior | Exterior Walls | Bulkhead Walls |  |  | NULL |  |  | CRACKS / SPALLING | STUCCO CEMENT | Replace | 300 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 260 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 15 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 17 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 128 | Exterior | Windows Lintels |  |  |  | NULL |  |  | Minor Rust | Steel | Maintenance | 40 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Fire Escapes | Architectural | 129 | Exterior | Fire Escape-Steel |  |  | 4 | EACH | 3.8 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | STONE | Restitch | 36 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 45 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 2900 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 15 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 10 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Elevators | Elevators | Conveying | 135 | Hydraulic Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 80 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 13 | EACH | 4.5 | 2.6923 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 13 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 8 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 54 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 40 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 20 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 4.6 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Gas Risers | Mechanical | 502 | Gas Service | Gas Meter Room Vent |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 58 | Exterior | Coping |  |  | 550 | LF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 74 | Exterior | Parapets |  |  | 550 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 6636 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 600 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 284 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 116 | Exterior | Roof | Bulkhead Roof | Skylight | 2 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S336-002-0000 | CLAREMONT REHAB (GROUP 5) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 33 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 33 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 33 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 166 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 27598 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 83 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 166 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 290 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 141 | EACH | 4.1 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 83 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 149 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 57 | Exterior | Chimney |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | STUCCO CEMENT | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 70 | Exterior | Exterior Walls | Exterior Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | BRICK | Restitch | 400 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 70 | Exterior | Exterior Walls | Exterior Walls |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 2000 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 71 | Exterior | Exterior Walls | Bulkhead Walls |  |  | NULL |  |  | CRACKS / SPALLING | STUCCO CEMENT | Replace | 160 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 160 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 12 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Fire Escapes | Architectural | 129 | Exterior | Fire Escape-Steel |  |  | 7 | EACH | 4.9 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | STONE | Restitch | 48 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 110 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 3780 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 10 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 23 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 10 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Elevators | Elevators | Conveying | 135 | Hydraulic Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 10 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 20 | EACH | 4.5 | 2.9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 10 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 2 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 8 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 16 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 221 | Lighting Fixture | Incandescent | Pendant Mounted |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 4.6 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 58 | Exterior | Coping |  |  | 601 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 74 | Exterior | Parapets |  |  | 601 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 5849 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 660 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 81 | Exterior | Roof | Main Roof | Leaders, Gutters, Downspouts |  | NULL |  |  | DAMAGED / MISSING |  | Replace | 10 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 284 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S336-003-0000 | CLAREMONT REHAB (GROUP 5) | Roofs | Building Roof/Parapets/Misc | Architectural | 116 | Exterior | Roof | Bulkhead Roof | Skylight | 2 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL