## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | NULL | COLLEGE AVENUE-EAST 165TH STREET | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BRONX | None | S236-000-0000 | COLLEGE AVENUE-EAST 165TH STREET | Grounds | Fixed Site Equipment | Site - Architectural | 409 | Fixed Equipment |  |  |  |  | NULL |  |  | BENCH DAMAGED |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-000-0000 | COLLEGE AVENUE-EAST 165TH STREET | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 2305 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-000-0000 | COLLEGE AVENUE-EAST 165TH STREET | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 150 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-000-0000 | COLLEGE AVENUE-EAST 165TH STREET | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 40 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S236-000-0000 | COLLEGE AVENUE-EAST 165TH STREET | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 95 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 95 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 95 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 90 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | GYPSUM BOARD | Replace | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 50285 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 181 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 453 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 688 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 253 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 205 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 205 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 102 | EACH | 2.5 | 19 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 240 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 16 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 8 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 580 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4959 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 80 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 620 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 4 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 30 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 10 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 6 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 5 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 10 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 23 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 60 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8852 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 300 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 84 | Exterior | Roof | Main Roof | Roof Drains |  | NULL |  |  | DETERIORATED |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 355 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0000 | COLLEGE AVENUE-EAST 165TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 50 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD | ACOUSTIC TILE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 155 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 80 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 130 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 1120 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 3 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 578 | Non Residential Kitchen | Range Hood Exhaust Fan |  |  |  | NULL |  |  | DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 580 | Non Residential Kitchen | Range Hood Fire Suppression System |  |  |  | NULL |  |  | DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 2 | EACH | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 29 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 5 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 5 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 4.6 | 5 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BRONX | None | S236-001-0478 | COLLEGE AVENUE-EAST 165TH STREET | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL