## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BROOKLYN | None | NULL | BROWN | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | BROWN | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | BROWN | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 180 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 414 | Sidewalks and Curb |  |  |  | 750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 9800 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 9400 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 1890 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-000-0000 | BROWN | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 20 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 97 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 98 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 97 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 174 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 57871 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 116 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 641 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 174 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1223 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 116 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 722 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 215 | EACH | 4.3 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 70 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 134 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 343 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 632 | Electrical | Emergency Call System (For Sr Citizens) | Bells / Other Audible Devices |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 10 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 632 | Electrical | Emergency Call System (For Sr Citizens) | Bells / Other Audible Devices |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 174 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 260 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 820 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 7590 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | MASONRY | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 130 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 21 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 33 | EACH | 4.5 | 2.9091 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 2 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 2 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 222 | Lighting Fixture | Incandescent | Recessed Mounted |  | 20 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 352 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Recessed Mounted | 6 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 95 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 26 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Plumbing | Domestic Water System | Mechanical | 482 | Domestic Water System | Distribution Piping |  |  |  | NULL |  |  | Inadequate Water Pressure |  | Upgrade | 0 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0000 | BROWN | Waste Management | Garbage Chute | Mechanical | 470 | Garbage Chute |  |  |  |  | NULL |  |  | DEFECTIVE GARBAGE CHUTE DOOR |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 260 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 3 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 3 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 217 | Lighting Fixture | HID | Pendant Mounted |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 219 | Lighting Fixture | HID | Surface Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-001-0290 | BROWN | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 102 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 102 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 102 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 102 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 59507 | SF | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 51 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 724 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 241 | EACH | 4.1 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 226 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 426 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 632 | Electrical | Emergency Call System (For Sr Citizens) | Bells / Other Audible Devices |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 121 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 632 | Electrical | Emergency Call System (For Sr Citizens) | Bells / Other Audible Devices |  |  | NULL |  |  | POORLY MOUNTED |  | Repair | 9 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Apartments | Apartment Renovation | Apartment | 633 | Electrical | Emergency Call System (For Sr Citizens) | Remote Annunciator |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 260 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 350 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 7220 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 130 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 6 | EACH | 3.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 3 | EACH | 4.5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 3 | EACH | 4.5 | 2.3333 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 222 | Lighting Fixture | Incandescent | Recessed Mounted |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 85 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 361 | Lighting | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0000 | BROWN | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 525 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 710 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 4270 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 5 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Common Areas/Lobbies | Non Residential Kitchen | Mechanical | 574 | Non Residential Kitchen | Dishwasher |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 30 | EACH | 4.5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 3 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 5 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 3 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 42 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 71 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0291 | BROWN | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 459 | Air Conditioning | Window Type A/C |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 1 | EACH | 4.5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S325-002-0292 | BROWN | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL