## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BROOKLYN | None | NULL | GARVEY (GROUP A) | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | GARVEY (GROUP A) | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 414 | Sidewalks and Curb |  |  |  | 1500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Fixed Site Equipment | Site - Architectural | 409 | Fixed Equipment |  |  |  |  | NULL |  |  | BENCH DAMAGED |  | Repair | 5 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Fixed Site Equipment | Site - Architectural | 409 | Fixed Equipment |  |  |  |  | NULL |  |  | GAME TABLE DAMAGED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 11300 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 2017 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 201250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 1100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 4250 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  |  | NULL |  |  | FIXTURE LIGHTING FIXTURE POORLY MOUNTED |  | Repair | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  |  | NULL |  |  | LIGHTING FIXTURE ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 7 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 20 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 300 | LF | 4 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-000-0000 | GARVEY (GROUP A) | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 300 | LF | 4 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 86 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 86 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 86 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 47275 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 318 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 636 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 86 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 86 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 190 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 180 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 196 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 25 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 650 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4899 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 140 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 1 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 142 | Electrical | Intercom System for Elevators |  |  | 1 | EACH | 1.3 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 3.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 191 | Fire Alarm System | Fused Cutout Panel |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 203 | Fire Alarm System | Sub-Panel | Standard |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 66 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 66 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 11 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 242 | Panelboard | Fused Knife Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 9 | EACH | 3.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 257 | Switchboard | Air Circuit Breaker |  |  | 3 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 155 | Emergency Generator Set | Diesel |  |  | 1 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 157 | Emergency Generator Set | Fuel Storage (Day Tank) |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 159 | Emergency Generator Set | Prime Mover / Alternator |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 160 | Emergency Generator Set | Automatic Transfer Switch (ATS) |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 161 | Emergency Generator Set | Battery Charger |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 10 | EACH | 5 | 24 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 1 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 25 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 15 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 84 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | NULL | NULL | Electrical | 151 | Emergency DC Standby Battery Power | Lead-Acid Battery Bank |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8484 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 82 | Exterior | Roof | Main Roof | Pitch Pockets |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 10 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 593 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-001-0000 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 9 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 275 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 3 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 179 | Fire Alarm System | Fire Alarm System | Bells |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 190 | Fire Alarm System | Fire Alarm System | Manual Pull Station |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  |  | NULL |  |  | Directory Missing or Requires Updating |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 3 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 26 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 24 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-001-0715 | GARVEY (GROUP A) | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 1 | EACH | 1.1 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 157 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 118 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 117 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 568 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 129128 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 1137 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 723 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 517 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1664 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 78 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 117 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 299 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 392 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 526 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 18 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 62 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CONCRETE / COLUMNS / BEAMS | Repair | 15 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 1000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | GLAZED MASONRY | Remove and Rebuild | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | OPEN JOINTS | MASONRY | Repoint | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 11769 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 60 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 1200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 4 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 44 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 28 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 4 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 28 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 1 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 142 | Electrical | Intercom System for Elevators |  |  | 1 | EACH | 1.3 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Repair | 10 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 258 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 258 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 41 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 135 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 90 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 242 | Panelboard | Fused Knife Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 13 | EACH | 3.9 | 5.8462 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 257 | Switchboard | Air Circuit Breaker |  |  | 3 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 6 | EACH | 4.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 3 | EACH | 1.1 | 19 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 160 | Emergency Generator Set | Automatic Transfer Switch (ATS) |  |  | 1 | EACH | 4.3 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 20 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 66 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 217 | Lighting Fixture | HID | Pendant Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 221 | Lighting Fixture | Incandescent | Pendant Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 25 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 145 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 35 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Plumbing | Building Drainage | Mechanical | 492 | Drainage / Sewage System | Floor Drain |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 7709 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 7763 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 1018 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0000 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 280 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 325 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 1.1 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 4 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 3.6 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 36 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-002-0717 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 459 | Air Conditioning | Window Type A/C |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 125 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 117 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 116 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 811 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | CONCRETE | Repair | 245 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 614 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 116710 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 196 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 196 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 196 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 1179 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 491 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1647 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 108 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 116 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 240 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 363 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 463 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 64 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | CRACKS / SPALLING | MASONRY BEARING WALL | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 1000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | GLAZED MASONRY | Remove and Rebuild | 5 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 15 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 11769 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 1000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 40 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 26 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 4 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 277 | Interior | Stairs: Interior |  |  |  | NULL |  |  | CRACKED | CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 28 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 1 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Elevators | Elevators | Conveying | 142 | Electrical | Intercom System for Elevators |  |  | 1 | EACH | 1.3 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 3 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 96 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 96 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 26 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 60 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Heating | Air Source Heat Pump | Mechanical | 606 | Ventilation | HV Unit |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 241 | Panelboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 10 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 62 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 217 | Lighting Fixture | HID | Pendant Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 145 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 34 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 6939 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 5970 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 1018 | SF | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-003-0000 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 30 | EACH | 3.9 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 4 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 2 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0000 | GARVEY (GROUP A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 1 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0000 | GARVEY (GROUP A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 5366 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 250 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 700 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2300 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 5 | TOILET STALLS | 3.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 4 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 3.9 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  | 1 | EACH | 3.9 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Fire Protection | Fire Alarm | Electrical | 202 | Fire Alarm System | Sub-Panel | Electronic |  | 1 | EACH | 3.9 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 10 | EACH | 5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  |  | NULL |  |  | DEFECTIVE |  | Repair | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  |  | NULL |  |  | LAMPS MISSING |  | Maintenance | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  |  | NULL |  |  | LAMPS MISSING |  | Maintenance | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 218 | Lighting Fixture | HID | Recessed Mounted |  |  | NULL |  |  | DEFECTIVE |  | Repair | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 1 | EACH | 4.9 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 3.5 | 7 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 453 | Air Conditioning | Dx Split Air-Cooled System | Outdoor Unit |  | 2 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 454 | Air Conditioning | Dx Split Air-Cooled System | Indoor Unit |  | 2 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S252-004-0720 | GARVEY (GROUP A) | Ventilation/Air Conditioning | Building Ductwork | Mechanical | 610 | Ventilation | Ductwork, Metal |  |  |  | NULL |  |  | POORLY MOUNTED |  | Maintenance | 5 | LF | remediation | 2023 | 1 - Immediate Action | NULL