## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | LONG ISLAND BAPTIST HOUSES | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 11300 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 33650 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 4390 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 2240 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKS / SPALLING | BRICK | Restitch | 240 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 460 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Underground Steam and Condensate Return Piping | Site - Mechanical | 432 | Underground Steam Piping |  |  |  | 100 | LF | 4 | 18 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Underground Steam and Condensate Return Piping | Site - Mechanical | 433 | Underground Condensate Return Piping |  |  |  | 100 | LF | 4 | 18 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 100 | LF | 4 | 18 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-000-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 100 | LF | 4 | 18 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 29 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 30 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 977 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 186 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 22555 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 69 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 316 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 107 | EACH | 4.1 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 17 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 29 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 69 | EACH | 4.1 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 88 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 115 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 13 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | WATER INFILTRATION | CONCRETE | Install Exterior Water Barrier | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 620 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | BROKEN / MISSING | CERAMIC TILE | Replace | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 3973 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 35 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 16 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 140 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 9370 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 130 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 14 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 66 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 3 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 6 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 20 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 200 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | RUST - MINOR | METAL | Repaint | 150 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 7 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 5 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 7 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 145 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Sewage System | Mechanical | 489 | Drainage / Sewage System | Sewage / Waste Piping |  |  |  | NULL |  |  | CLOGGED / DIRTY |  | Maintenance | 40 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 1 | EACH | 3.2 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 3.2 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 4286 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 6336 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 425 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-001-0000 | LONG ISLAND BAPTIST HOUSES | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 455 | Air Conditioning | Packaged / Rooftop Unit |  |  | 2 | EACH | 5 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 73 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 73 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 73 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 212 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 121 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 44713 | SF | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 151 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 151 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 587 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 206 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 33 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 73 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 139 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 175 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 34 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 21 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | RUST - MINOR | Steel / Columns / Beams | Repaint | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | DETERIORATED / DAMAGED | METAL DECK AND CONCRETE | Replace | 1600 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 480 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 6950 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 45 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 4 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 270 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 250 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 518 | Heating | Steam Condensate Return Gravity System |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 520 | Heating | Steam Condensate Return Vacuum System |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 12 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 4 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 221 | Lighting Fixture | Incandescent | Pendant Mounted |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 272 | Lighting Fixture | Lighting Explosion Proof Fixtures | Gas Meter Room |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 95 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 28 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 474 | Domestic Water System | Domestic Water Heat Exchanger - Tank Type |  |  |  | NULL |  |  | DEFECTIVE TANK |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 10507 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 626 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Ventilation/Air Conditioning | Building Ductwork | Mechanical | 609 | Ventilation | Duct - Register / Diffuser |  |  |  | NULL |  |  | DAMAGED |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-002-0000 | LONG ISLAND BAPTIST HOUSES | Waste Management | Garbage Chute | Mechanical | 470 | Garbage Chute |  |  |  |  | NULL |  |  | DEFECTIVE GARBAGE CHUTE DOOR |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 78 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 73 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 73 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 448 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 134 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 268 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 134 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 44714 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 224 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 627 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 89 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 524 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 210 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 15 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 73 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 129 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 250 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 300 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 29 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 25 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | DETERIORATED | METAL | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | DETERIORATED / DAMAGED | METAL DECK AND CONCRETE | Replace | 1800 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair Interior Surface | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 480 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | CRACKS / SPALLING | CONCRETE | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 5625 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 60 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 400 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 518 | Heating | Steam Condensate Return Gravity System |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 520 | Heating | Steam Condensate Return Vacuum System |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 7 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 260 | Switchboard | Molded Case Circuit Breaker |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 63 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 36 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Drainage | Mechanical | 492 | Drainage / Sewage System | Floor Drain |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 4.6 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 10507 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 626 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 111 | Exterior | Roof | Bulkhead Roof | Leaders, Gutters, Downspouts |  | NULL |  |  | DAMAGED / MISSING |  | Replace | 30 | LF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 740 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 9 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-003-1086 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 2 | EACH | 5 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 56 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 2027 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 77 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 272 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 155 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 43027 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1715 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 499 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 179 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 18 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 55 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 140 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 202 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 240 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 37 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 28 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | RUST - MINOR | Steel / Columns / Beams | Repaint | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | DETERIORATED / DAMAGED | METAL DECK AND CONCRETE | Replace | 800 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Building Exterior/Facade/Window | Foundations | Architectural | 134 | Structural | Foundation Walls |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair Interior Surface | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 325 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4570 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 45 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 21 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 6 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 380 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 518 | Heating | Steam Condensate Return Gravity System |  |  | 2 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Heating | Building Steam Piping | Mechanical | 520 | Heating | Steam Condensate Return Vacuum System |  |  | 1 | EACH | 4.8 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 4 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Electrical System | Electrical | 259 | Switchboard | Fused Knife Switch |  |  | 2 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 352 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Recessed Mounted | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 64 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Building Drainage | Mechanical | 494 | Drainage / Sewage System | Sump Pump |  |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 473 | Domestic Water System | Shell and Tube Heat Exchanger (Instantaneous) |  |  | 2 | EACH | 4.8 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2029 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 3.2 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 7465 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S276-004-0000 | LONG ISLAND BAPTIST HOUSES | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 419 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL