## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | NULL | UNITY PLAZA (SITES 17,24,25A) | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Fixed Site Equipment | Site - Architectural | 409 | Fixed Equipment |  |  |  |  | NULL |  |  | BENCH DAMAGED |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Parking Lot | Site - Architectural | 411 | Parking Lot |  |  |  | 7200 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 1100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 19700 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 2790 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 2030 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 90 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 140 | LF | 4 | 11 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-000-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 60 | LF | 4 | 11 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 62 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 578 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 675 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 48546 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 241 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 482 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 820 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 241 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | GYPSUM BOARD | Replace | 530 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 781 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 202 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 31 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 47 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 7 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 115 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 183 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | MISSING SCREEN |  | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 180 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 72 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames |  | NULL |  |  | MISSING / DETERIORATED HARDWARE | STAINLESS STEEL | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 160 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4280 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 23 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 20 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 160 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 8 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 2 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 3 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 3.2 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8401 | SF | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-001-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 347 | SF | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 57 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 57 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 57 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1666 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 291 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 583 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 750 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 50494 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 208 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 416 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | GYPSUM BOARD | Replace | 208 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | GYPSUM BOARD | Replace | 166 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 833 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 233 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 38 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 50 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 100 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 233 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 180 | EACH | 3.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames |  | NULL |  |  | MISSING / DETERIORATED HARDWARE | STAINLESS STEEL | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 260 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4280 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 85 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 120 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 90 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 5 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 1.1 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 2 | EACH | 4.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8401 | SF | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-002-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 347 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 66 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 55 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | GYPSUM BOARD | Replace | 420 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 323 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 48545 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 161 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 161 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 1359 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | GYPSUM BOARD | Replace | 291 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 750 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 226 | EACH | 4.1 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 27 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 55 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 103 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 207 | EACH | 4.7 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 180 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 67 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames |  | NULL |  |  | BROKEN VISION PANEL GLASS | STAINLESS STEEL | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Building Exterior/Facade/Window | Foundations | Architectural | 131 | Structural | Columns / Beams / Bearing Walls |  |  |  | NULL |  |  | RUST - MINOR | Steel / Columns / Beams | Repaint | 45 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 260 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING ROOF | PLASTER | Repair | 55 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4390 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 1950 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 4 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 40 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 12 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  |  | NULL |  |  | Photocell Not Operational |  | Replace-in-Kind | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 120 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 8 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 5 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 244 | Panelboard | Molded Case Circuit Breakers |  |  | 4 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 4 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Electrical System | Electrical | 258 | Switchboard | Fused Disconnect Switch |  |  | 2 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 42 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 25 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Building Drainage | Mechanical | 492 | Drainage / Sewage System | Floor Drain |  |  |  | NULL |  |  | DEFECTIVE |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 8401 | SF | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
BROOKLYN | None | S240-003-0000 | UNITY PLAZA (SITES 17,24,25A) | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 347 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL