## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | 154 WEST 84TH STREET | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-000-0000 | 154 WEST 84TH STREET | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 1960 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-000-0000 | 154 WEST 84TH STREET | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 1060 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-000-0000 | 154 WEST 84TH STREET | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 205 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-000-0000 | 154 WEST 84TH STREET | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 7 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 35 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 35 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 35 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 29960 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 387 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 122 | EACH | 4.1 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 67 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 122 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 74 | EACH | 2.3 | 20 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 122 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 8 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 2271 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 65 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 18 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Elevators | Elevators | Conveying | 142 | Electrical | Intercom System for Elevators |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 20 | LF | 4.2 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 29 | EACH | 4.5 | 13.2069 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 19 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 47 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 28 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 352 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Recessed Mounted | 12 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 30 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 27 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 4.5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 5079 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 436 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 335 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 50 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0000 | 154 WEST 84TH STREET | Waste Management | Interior Compactor | Mechanical | 469 | Interior Compactor |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 1075 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 4 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 4 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Plumbing | Domestic Hot Water System | Mechanical | 484 | Domestic Water System | Gas Fired Water Heater |  |  | 2 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 2 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Safety And Security | Intrusion Alarm | Electrical | 247 | Security | Intrusion Alarm |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S359-001-0008 | 154 WEST 84TH STREET | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 4.8 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2039 | 6 to 20 Years Need | NULL
Applied filters: year is 2023 development is 154 WEST 84TH STREET pact is None or Planned