## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | ROBBINS PLAZA | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | ROBBINS PLAZA | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING TREE |  | Plant New | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 1260 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 110 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 1 | EACH | 5 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2029 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 140 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Grounds | Stairs / Ramps | Site - Architectural | 423 | Stairs / Ramps | Stairs / Ramps |  |  |  | NULL |  |  | WORN-OUT TREAD / RISER / NOSING | CONCRETE | Replace | 10 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 80 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-000-0000 | ROBBINS PLAZA | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 50 | LF | 4 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2037 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 150 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 150 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 150 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 272 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | CONCRETE | Repair | 108 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 108 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 217 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1143 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 108 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 190 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 517 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 78442 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 108 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Repair | 381 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | GYPSUM BOARD | Replace | 163 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 871 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Replace | 163 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | GYPSUM BOARD | Replace | 163 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 163 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 952 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 283 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 40 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 310 | EACH | 4.6 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 40 | Electrical | Light Fixtures | Incandescent | Pendant | 10 | EACH | 4.5 | 5 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 277 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | POORLY MOUNTED |  | Maintenance | 5 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 190 | EACH | 2.3 | 19 | NULL | NULL | NULL |  | NULL | pbsrpc | 2042 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 342 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 20 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 116 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 10 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 28 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 320 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 6916 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | OPEN JOINTS | GLAZED MASONRY | Repoint | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | OPEN JOINTS | MASONRY | Repoint | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 323 | Interior | Display Unit |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 52 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 32 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 40 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Fire Protection | Fire Alarm | Electrical | 195 | Fire Alarm System | Main Panel | F A C P (Standard) |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 16 | EACH | 5 | 6 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 150 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | WORN-OUT TREAD / RISER / NOSING | CONCRETE | Replace | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 11 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 1 | EACH | 4.2 | 5 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 1 | EACH | 5 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2024 | 2 - Address within 1 Year | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 155 | Emergency Generator Set | Diesel |  |  | 1 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 157 | Emergency Generator Set | Fuel Storage (Day Tank) |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 160 | Emergency Generator Set | Automatic Transfer Switch (ATS) |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency Generator Set | Electrical | 161 | Emergency Generator Set | Battery Charger |  |  | 1 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 7 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 221 | Lighting Fixture | Incandescent | Pendant Mounted |  |  | NULL |  |  | LAMPS MISSING |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  |  | NULL |  |  | LAMPS MISSING |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 274 | Lighting Fixture | Lighting Explosion Proof Fixtures | Paint Storage Area |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 361 | Lighting | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted | 133 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 378 | Lighting | Stairhall Lighting | Lighting Fixture - Incandescent | Surface Mounted | 62 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Plumbing | Domestic Hot Water System | Mechanical | 473 | Domestic Water System | Shell and Tube Heat Exchanger (Instantaneous) |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 1 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 4297 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 100 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 82 | Exterior | Roof | Main Roof | Pitch Pockets |  | NULL |  |  | DAMAGED / DETERIORATED |  | Repair | 20 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 3435 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 93 | Exterior | Roof | Low Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 100 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 103 | Exterior | Roof | Low Roof | Skylight | 4 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 702 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 100 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 109 | Exterior | Roof | Bulkhead Roof | Hatch |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 115 | Exterior | Roof | Bulkhead Roof | Dunnage |  | NULL |  |  | EXPOSED RE-BAR | CONCRETE | Repair | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Roofs | Building Roof/Parapets/Misc | Architectural | 132 | Structural | Roof Structure |  |  |  | NULL |  |  | CRACKED / SPALLED / REINFORCEMENT EXPOSED | CONCRETE CEILING | Repair | 100 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 468 | Air Compressor |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-0000 | ROBBINS PLAZA | Waste Management | Garbage Chute | Mechanical | 470 | Garbage Chute |  |  |  |  | NULL |  |  | DEFECTIVE GARBAGE CHUTE DOOR |  | Replace | 8 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 110 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 56 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 840 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 18 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 2 | TOILET STALLS | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 3 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1624 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 250 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 210 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 50 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2840 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 7 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 15 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 27 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 21 | EACH | 1.1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 6 | EACH | 1.1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 3 | EACH | 1.1 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
MANHATTAN | None | S218-001-1625 | ROBBINS PLAZA | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL