## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | THOMAS APARTMENTS | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | THOMAS APARTMENTS | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S268-000-0000 | THOMAS APARTMENTS | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 1750 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-000-0000 | THOMAS APARTMENTS | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 90 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-000-0000 | THOMAS APARTMENTS | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 40 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-000-0000 | THOMAS APARTMENTS | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 50 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 86 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 87 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 86 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 54963 | SF | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | ACTIVE LEAKS | GYPSUM BOARD | Repair | 196 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | GYPSUM BOARD | Repair | 196 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 641 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  |  | NULL |  |  | DEFECTIVE VALVE |  | Replace | 19 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 209 | EACH | 4.6 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 274 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 111 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 221 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 53 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 12 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE SLAB ON GRADE | Replace | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 980 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 7100 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 72 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 4 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 3 | TOILET STALLS | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 30 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 20 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 10 | SF | 4.4 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2035 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 18 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 17 | EACH | 4.5 | 5.2941 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Heating | Hot Water System | Mechanical | 521 | Heating | Hot Water Piping (Hydronic Supply) |  |  | 5500 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Heating | Hot Water System | Mechanical | 522 | Heating | Hot Water Piping (Hydronic Return) |  |  | 5500 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 71 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  |  | NULL |  |  | UNIT NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 6 | EACH | 4.6 | 15 | NULL | NULL | NULL |  | NULL | pbsrpc | 2038 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 6 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 26 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 30 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 2 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 129 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 24 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Plumbing | Domestic Water System | Mechanical | 481 | Domestic Water System | Pressure Booster System |  |  | 1 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 4991 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | IMPROPERLY INSTALLED |  | Replace | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 1450 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 50 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Safety And Security | CCTV | Electrical | 254 | Security | Closed Circuit Television System |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-0000 | THOMAS APARTMENTS | Waste Management | Interior Compactor | Mechanical | 469 | Interior Compactor |  |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 330 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 286 | Interior | Corridor Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 300 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 292 | Interior | Common Areas Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | ACOUSTIC TILE | Replace | 70 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2320 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 4 | TOILET STALLS | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 13 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Heating | Hot Water System | Mechanical | 521 | Heating | Hot Water Piping (Hydronic Supply) |  |  | 300 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Heating | Hot Water System | Mechanical | 522 | Heating | Hot Water Piping (Hydronic Return) |  |  | 300 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2031 | 6 to 20 Years Need | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 214 | Lighting Fixture | Fluorescent | Recessed Mounted |  | 53 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 7 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S268-001-1949 | THOMAS APARTMENTS | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 458 | Air Conditioning | Packaged Terminal Air Conditioning |  |  | 7 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL