## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE A) 120 WEST 94TH STREET | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 414 | Sidewalks and Curb |  |  |  | 500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 6475 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 940 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 655 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKED / SPALLING / REINFORCEMENT EXPOSED | CAST IN PLACE CONCRETE | Repair | 25 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 110 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Storm Piping | Site - Mechanical | 428 | Catch Basin |  |  |  |  | NULL |  |  | CLOGGED |  | Repair | 3 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 40 | LF | 4 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S151-000-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 70 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | CONCRETE | Repair | 210 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 451 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 451 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 52617 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 1293 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Replace | 90 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 120 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 679 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 294 | EACH | 4.1 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 23 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 5 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 40 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 156 | EACH | 4.6 | 1 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 40 | Electrical | Light Fixtures | Incandescent | Pendant | 6 | EACH | 4.5 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 144 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 350 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 46 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 52 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | WATER PENETRATION | CONCRETE | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE SLAB ON GRADE | Replace | 250 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 475 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | GLAZED MASONRY | Restitch | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 4920 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 288 | Interior | Corridor Finishes | Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | MASONRY | Restitch | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 52 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 700 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 294 | Interior | Common Areas Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | GLAZED MASONRY | Remove and Rebuild | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 1 | TOILET STALLS | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 29 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 3 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 18 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Fire Protection | Fire Sprinkler | Mechanical | 589 | Sprinkler System | Valve Chain |  |  |  | NULL |  |  | Insecure / Unlocked |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Repair | 10 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 80 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 80 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 150 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 10 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 239 | Motor Starter / Contactor | Combination Fused Type |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 242 | Panelboard | Fused Knife Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 1 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Electrical System | Electrical | 259 | Switchboard | Fused Knife Switch |  |  | 1 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 3 | EACH | 4.6 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 2 | EACH | 4.6 | 9 | NULL | NULL | NULL |  | NULL | pbsrpc | 2032 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 14 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 45 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 17 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Interior Electrical/Lighting | Telephone/Intercom | Electrical | 262 | Telephone | PBX / Intercom |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 2 | EACH | 4.6 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2030 | 6 to 20 Years Need | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 5890 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 300 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 84 | Exterior | Roof | Main Roof | Roof Drains |  | NULL |  |  | DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 440 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 100 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 109 | Exterior | Roof | Bulkhead Roof | Hatch |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 114 | Exterior | Roof | Bulkhead Roof | Roof Drains |  | NULL |  |  | DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S151-003-0000 | WSUR (SITE A) 120 WEST 94TH STREET | Ventilation/Air Conditioning | Exhaust Fan | Mechanical | 611 | Ventilation | Exhaust Fan |  |  |  | NULL |  |  | DEFECTIVE UNIT |  | Repair | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL