## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE B) 74 WEST 92ND STREET | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKED BROKEN PIECES | COPING | Replace | 15 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Building Exterior Walkways and Retaining Walls | Site - Architectural | 408 | Retaining Walls |  |  |  |  | NULL |  |  | CRACKS / SPALLING | BRICK | Restitch | 110 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING LAWN |  | Reseed | 350 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 5050 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 325 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 160 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 40 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-000-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 40 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 168 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 168 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 168 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | ACTIVE LEAKS | PLASTER | Repair | 728 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 2003 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 1456 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 764 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 124302 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 3351 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1879 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 699 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 74 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  |  | NULL |  |  | DOOR LOCK IS MISSING |  | Replace-in-Kind | 6 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 74 | EACH | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 378 | EACH | 4.5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 393 | EACH | 4.6 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 14 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | BROKEN DENTED BLADES |  | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 854 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 166 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Building Windows | Architectural | 124 | Exterior | Windows | Child Guards |  |  | NULL |  |  | MISSING |  | Install New | 148 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | Deteriorated Metal Edge | CONCRETE | Replace | 25 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Repair | 40 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 66 | Exterior | Main Doors | Secondary | Transom / Side Light |  | NULL |  |  | Dents / Rust | METAL | Replace | 10 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 11 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MAJOR THRU CRACKS | CONCRETE SLAB ON GRADE | Replace | 500 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 282 | Interior | Lobby Finishes | Ceiling |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 650 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 284 | Interior | Lobby Finishes | Walls |  |  | NULL |  |  | MAJOR CRACKS / SPALLING | GLAZED MASONRY | Remove and Rebuild | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 9909 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 60 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 350 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 5 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 3 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 52 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 40 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 1 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 44 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 178 | Fire Alarm System | Fire Alarm System |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 191 | Fire Alarm System | Fused Cutout Panel |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 193 | Fire Alarm System | Main Panel | Bells at Panel |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 195 | Fire Alarm System | Main Panel | F A C P (Standard) |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Standpipe System | Mechanical | 593 | Standpipe System | Standpipe Cabinet |  |  |  | NULL |  |  | DEFECTIVE FIRE HOSE CABINET |  | Repair | 22 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Repair | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | HEAVING | ASPHALT | Replace | 60 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 60 | SF | 4.4 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 15 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Stairs / Ramps | Architectural | 118 | Exterior | Stairs / Ramps | Cheek / Flank Walls |  |  | NULL |  |  | COPING DAMAGED / MISSING | BRICK | Replace | 100 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Heating | Common Spaces Radiator / Convector / Baseboard | Mechanical | 513 | Heating | Radiator / Convector / Baseboard |  |  | 5 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 14 | EACH | 3.7 | 2.2143 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Electrical System | Electrical | 243 | Panelboard | Fused Toggle Switch |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Electrical System | Electrical | 259 | Switchboard | Fused Knife Switch |  |  | 2 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 9 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 81 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 22 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 272 | Lighting Fixture | Lighting Explosion Proof Fixtures | Gas Meter Room |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 7 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 48 | EACH | 5 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2026 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Building Sewage System | Mechanical | 490 | Drainage / Sewage System | Sewage Ejector Pump |  |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  |  | NULL |  |  | DEFECTIVE SUPPLY PUMP |  | Repair | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 2 | EACH | 4.6 | 14 | NULL | NULL | NULL |  | NULL | pbsrpc | 2040 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 6020 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 82 | Exterior | Roof | Main Roof | Pitch Pockets |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 35 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 84 | Exterior | Roof | Main Roof | Roof Drains |  | NULL |  |  | CLOGGED |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 92 | Exterior | Roof | Low Roof | Roofing | 6632 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 903 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 109 | Exterior | Roof | Bulkhead Roof | Hatch |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Roofs | Building Roof/Parapets/Misc | Architectural | 111 | Exterior | Roof | Bulkhead Roof | Leaders, Gutters, Downspouts |  | NULL |  |  | CLOGGED |  | Repair | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-0000 | WSUR (SITE B) 74 WEST 92ND STREET | Ventilation/Air Conditioning | Building Ductwork | Mechanical | 610 | Ventilation | Ductwork, Metal |  |  |  | NULL |  |  | ABANDONED |  | No Action | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 515 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 770 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 90 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 7560 | SF | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 36 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 7 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 8 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 51 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 2 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 187 | Fire Alarm System | Fire Alarm System | Smoke Detector |  |  | NULL |  |  | NOT OPERATIONAL |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Fire Protection | Fire Alarm | Electrical | 194 | Fire Alarm System | Main Panel | F A C P (Electronic) |  |  | NULL |  |  | Panel Defective |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 26 | EACH | 5 | 12 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 168 | Emergency Lights | Emergency Lighting | Battery Pack |  | 2 | EACH | 4.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 172 | Emergency Lights | Exit Lights | Battery Pack |  | 5 | EACH | 4.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 175 | Emergency Lights | Exit/Emergency Combination | Battery Pack |  | 2 | EACH | 4.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Interior Electrical/Lighting | PA System | Electrical | 232 | Local Sound System | Community Center / Other Areas |  |  | 1 | EACH | 3.4 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2041 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 453 | Air Conditioning | Dx Split Air-Cooled System | Outdoor Unit |  | 1 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
MANHATTAN | None | S173-005-2298 | WSUR (SITE B) 74 WEST 92ND STREET | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 454 | Air Conditioning | Dx Split Air-Cooled System | Indoor Unit |  | 2 | EACH | 3.3 | 17 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
Applied filters: year is 2023 development is WSUR (SITE B) 74 WEST 92ND STREET pact is None or Planned