## CAR External
Borough | pact | subjectnumber | development | primary_worktype | secondary_worktype | Discipline | classChosen | Pbs1 | Pbs2 | Pbs3 | Pbs4 | tot_qty | TotalQuantityUom | avg_rat | avg_rul | defDesc | defMaterial | def_act | def_qty | defUOM | rec_action | act_year | Timeframe | override
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment 504 Access | Section 504 | 10050 | Section 504 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Brickwork/Cladding | Local Law 11 | 10030 | Local Law 11 | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Open Spaces | Open Spaces | 10040 | Open Spaces | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 6 to 20 Years Need | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Heating | Decarbonization | Decarbonization | 10011 | Decarbonization - Domestic Hot Water | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Heating | Decarbonization | Decarbonization | 10012 | Decarbonization - Space Heat | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Lead Based Paint | Lead Based Paint | Lead | 10020 | Lead | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Safety And Security | Additional Security | Security | 10060 | Security | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | NULL | WSUR (SITE C) 589 AMSTERDAM AVENUE | Waste Management | Waste Infrastructure | Waste Infrastructure | 10070 | Waste Infrastructure | NULL | NULL | NULL |  | NULL |  |  | NULL | NULL | NULL |  | NULL | NULL |  | 3 - Address within 5 Years | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Landscaping | Site - Architectural | 410 | Landscaping |  |  |  |  | NULL |  |  | DEAD / DYING LAWN |  | Reseed | 1800 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Parking Lot | Site - Architectural | 413 | Paving - Vehicular Area |  |  |  | 2700 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Paving - Non-Vehicular Area | Site - Architectural | 412 | Paving - Non-Vehicular Area |  |  |  | 7000 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Playgrounds | Site - Architectural | 415 | Playgrounds |  |  |  | 1840 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Site Fences | Site - Architectural | 406 | Fences |  |  |  | 685 | LF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Site Lighting | Site - Electrical | 424 | Lighting |  |  |  | 5 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2025 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | CRACKS / SPALLING | BRICK | Restitch | 30 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Site Walls (Not Retaining Walls) | Site - Architectural | 407 | Site Walls (Not Retaining Walls) |  |  |  |  | NULL |  |  | OPEN JOINTS | BRICK | Repoint | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Stairs / Ramps | Site - Architectural | 422 | Stairs / Ramps | Railings |  |  | 140 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Storm Piping | Site - Mechanical | 428 | Catch Basin |  |  |  |  | NULL |  |  | CLOGGED |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Underground Hydronic Piping | Site - Mechanical | 425 | Underground Hydronic Piping |  |  |  | 100 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-000-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Underground Natural Gas Piping | Site - Mechanical | 431 | Underground Natural Gas Piping |  |  |  | 100 | LF | 4 | 3 | NULL | NULL | NULL |  | NULL | pbsrpc | 2028 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Bathroom | Apartment | 8 | Architectural | Bathroom |  |  | 177 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Entrance Doors | Interior | 2 | Interior | Entry Doors |  |  | 158 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Kitchen | Apartment | 19 | Architectural | Kitchen |  |  | 158 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 129 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Replace | 129 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 1162 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 3 | Architectural | Ceiling |  |  |  | NULL |  |  | EXCESSIVE MOLD / LEAKING PIPE | PLASTER | Repair | 129 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 4 | Architectural | Floor |  |  | 127173 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | CRACKS / SPALLING | PLASTER | Repair | 774 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | DAMAGED / DETERIORATED | PLASTER | Repair | 451 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 5 | Architectural | Wall |  |  |  | NULL |  |  | EXCESSIVE MOLD | PLASTER | Repair | 322 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 6 | Architectural | Closet |  |  |  | NULL |  |  | BROKEN / MISSING | DOOR | Replace | 38 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 7 | Architectural | Doors |  |  | 1749 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 28 | Mechanical | Radiator / Convector / Baseboard |  |  | 542 | EACH | 4.8 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 30 | Electrical | Intercom |  |  |  | NULL |  |  | APARTMENT UNIT NOT OPERATIONAL |  | Replace | 92 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 32 | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | 59 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2043 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 33 | Electrical | Electrical Panel Board | Fused Toggle Switch |  | 98 | EACH | 4.3 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 38 | Electrical | Light Fixtures | Fluorescent | Surface | 290 | EACH | 4.6 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 42 | Electrical | Light Fixtures | Incandescent | Surface | 593 | EACH | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | ANTIQUATED / OBSOLETE |  | Replace / Upgrade | 64 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  |  | NULL |  |  | DEFECTIVE |  | Repair | 19 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Apartments | Apartment Renovation | Apartment | 47 | Electrical | Smoke Detectors |  |  | 232 | EACH | 3.6 | 13 | NULL | NULL | NULL |  | NULL | pbsrpc | 2036 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Brickwork/Cladding | Architectural | 73 | Exterior | Louver |  |  |  | NULL |  |  | BROKEN DENTED BLADES |  | Replace | 10 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Building Windows | Architectural | 121 | Exterior | Windows | Windows |  | 882 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Building Windows | Architectural | 123 | Exterior | Windows | A/C Brackets and Sleeves |  |  | NULL |  |  | MISSING |  | Install New | 141 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 53 | Exterior | Awnings and Canopies |  |  |  | NULL |  |  | Deteriorated Metal Edge | CONCRETE | Replace | 10 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 62 | Exterior | Main Doors | Primary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 63 | Exterior | Main Doors | Primary | Transom / Side Light |  | NULL |  |  | Dents / Rust | METAL | Replace | 10 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 65 | Exterior | Main Doors | Secondary | Doors and Frames | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 67 | Exterior | Doors |  |  | 7 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Entrances/Exits | Architectural | 68 | Exterior | Door Lintels |  |  |  | NULL |  |  | Deterioration | Steel | Replace | 25 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Building Exterior/Facade/Window | Foundations | Architectural | 133 | Structural | Floor Structure |  |  |  | NULL |  |  | MINOR CRACKS/SPALLING | CONCRETE SLAB ON GRADE | Repair | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 283 | Interior | Lobby Finishes | Floor |  | 400 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 287 | Interior | Corridor Finishes | Floor |  | 9500 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 289 | Interior | Roll Down Gate |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 290 | Interior | Storefront |  |  | 70 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 293 | Interior | Common Areas Finishes | Floor |  | 2050 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 321 | Interior | Cabinet Work |  |  | 16 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 322 | Interior | Directories |  |  | 8 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Area Finishes | Interior | 324 | Interior | Mailboxes |  |  | 6 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Building Common Areas - Bathroom | Interior | 295 | Interior | Common Areas - Bathroom |  |  | 6 | TOILET STALLS | 4.6 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Interior Building Doors | Interior | 275 | Interior | Fire Rated Doors |  |  | 46 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Interior Building Doors | Interior | 279 | Interior | Non Fire Rated Doors |  |  | 47 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 276 | Interior | Stairs: Interior |  |  | 6 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 277 | Interior | Stairs: Interior |  |  |  | NULL |  |  | Worn Tread / Nosing | STONE | Replace | 20 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Interior Building Stairs | Interior | 327 | Interior | Stairs: Interior |  |  | 36 | EACH | 3.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Common Areas/Lobbies | Non Residential Kitchen | Interior | 305 | Interior | Common Areas - Kitchen |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Elevators | Elevators | Conveying | 136 | Traction Passenger Elevator |  |  |  | 2 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Fire Protection | Fire Sprinkler | Mechanical | 589 | Sprinkler System | Valve Chain |  |  |  | NULL |  |  | Insecure / Unlocked |  | Maintenance | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Fire Protection | Standpipe System | Mechanical | 593 | Standpipe System | Standpipe Cabinet |  |  |  | NULL |  |  | FIRE HOSE MISSING |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 49 | Exterior | Areaway Drains |  |  |  | NULL |  |  | CLOGGED |  | Repair | 15 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 50 | Exterior | Areaway Slab |  |  |  | NULL |  |  | DISPLACED | CONCRETE | Replace | 200 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 51 | Exterior | Areaway Walls |  |  |  | NULL |  |  | MINOR CRACKS / SPALLING | CONCRETE | Replace | 20 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Building Exterior Walkways and Retaining Walls | Architectural | 52 | Exterior | Areaways Grating |  |  | 150 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Lighting - Exterior Security | Electrical | 209 | Lighting | Exterior Security / Riot Lights |  |  | 24 | EACH | 5 | 2 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Stairs / Ramps | Architectural | 119 | Exterior | Stairs / Ramps | Railings |  | 135 | LF | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Grounds | Stairs / Ramps | Architectural | 120 | Exterior | Stairs / Ramps | Stairs / Ramps |  |  | NULL |  |  | RUST - MAJOR | METAL | Replace | 50 | SF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 238 | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 4 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 242 | Panelboard | Fused Knife Switch |  |  | 3 | EACH | 4.2 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 255 | Service Switch |  |  |  | 1 | EACH | 4.5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2033 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Electrical System | Electrical | 259 | Switchboard | Fused Knife Switch |  |  | 2 | EACH | 4.9 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Emergency and Exit Lighting and Panels | Electrical | 173 | Emergency Lights | Exit Lights | Non Battery Pack |  | 3 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 213 | Lighting Fixture | Fluorescent | Pendant Mounted |  | 60 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 215 | Lighting Fixture | Fluorescent | Surface Mounted |  | 70 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 223 | Lighting Fixture | Incandescent | Surface Mounted |  | 27 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 353 | Lighting | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 127 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Interior Electrical/Lighting | Interior Lighting Fixture | Electrical | 370 | Lighting | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted | 38 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Building Drainage | Mechanical | 492 | Drainage / Sewage System | Floor Drain |  |  |  | NULL |  |  | MISSING DRAIN COVER |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Domestic Hot Water System | Mechanical | 473 | Domestic Water System | Shell and Tube Heat Exchanger (Instantaneous) |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Domestic Hot Water System | Mechanical | 487 | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | 1 | EACH | 5 | 4 | NULL | NULL | NULL |  | NULL | pbsrpc | 2027 | 3 - Address within 5 Years | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Roof Tank | Mechanical | 476 | Domestic Water System | Gravity System | Supply Pump |  | 2 | EACH | 4.6 | 8 | NULL | NULL | NULL |  | NULL | pbsrpc | 2034 | 6 to 20 Years Need | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Plumbing | Roof Tank | Mechanical | 477 | Domestic Water System | Gravity System | Roof Tank |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 77 | Exterior | Roof | Main Roof | Roofing | 7027 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 78 | Exterior | Roof | Main Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 250 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 82 | Exterior | Roof | Main Roof | Pitch Pockets |  | NULL |  |  | DAMAGED / DETERIORATED |  | Replace | 50 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 84 | Exterior | Roof | Main Roof | Roof Drains |  | NULL |  |  | CLOGGED |  | Repair | 4 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 107 | Exterior | Roof | Bulkhead Roof | Roofing | 502 | SF | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 108 | Exterior | Roof | Bulkhead Roof | Flashing |  | NULL |  |  | DAMAGED / DETERIORATED / TAR COVERED |  | Replace | 100 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 110 | Exterior | Roof | Bulkhead Roof | Ladder |  | NULL |  |  | Rust |  | Maintenance | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 114 | Exterior | Roof | Bulkhead Roof | Roof Drains |  | NULL |  |  | CLOGGED |  | Repair | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Roofs | Building Roof/Parapets/Misc | Architectural | 114 | Exterior | Roof | Bulkhead Roof | Roof Drains |  | NULL |  |  | DETERIORATED |  | Replace | 1 | EACH | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Ventilation/Air Conditioning | Air Conditioning | Mechanical | 457 | Air Conditioning | Central Station Air Handler |  |  | 1 | EACH | 5 | 0 | NULL | NULL | NULL |  | NULL | pbsrpc | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Ventilation/Air Conditioning | Building Ductwork | Mechanical | 610 | Ventilation | Ductwork, Metal |  |  |  | NULL |  |  | DETERIORATED |  | Replace | 40 | LF | remediation | 2023 | 1 - Immediate Action | NULL
MANHATTAN | None | S174-001-0000 | WSUR (SITE C) 589 AMSTERDAM AVENUE | Waste Management | Garbage Chute | Mechanical | 470 | Garbage Chute |  |  |  |  | NULL |  |  | DEFECTIVE GARBAGE CHUTE DOOR |  | Replace | 2 | EACH | remediation | 2023 | 1 - Immediate Action | NULL